## List of Installations - Gujarat
S.No. | Name of Investor | Location | District | Make | Number of WEGs | Rating | Total MW | Year of commissioning | Usage
1 | Aarvee Denims & Exports Ltd | Lamba | Jamnagar | Suzlon | 2 | 1.25 | 2.5 | 2005-03-01 | Captive | Part of 13.7 MW Bundled Grid-connected wind electricity generation in Jamnagar & Kachchh, Gujarat
2 | ABS Industries | Lamba | Jamnagar | BHEL - Nordex | 6 | 0.2 | 1.2 | 1994-09-01
|  | Lamba | Jamnagar | BHEL - Nordex | 4 | 0.2 | 0.8 | 1994-09-01
|  | Lamba | Jamnagar | BHEL - Nordex | 2 | 0.2 | 0.4 | 1995-03-01
|  | Dhank | Rajkot | BHEL - Nordex | 10 | 0.2 | 2 | 1995-03-01
|  | Dhank | Rajkot | BHEL - Nordex | 2 | 0.2 | 0.4 | 1995-09-01
|  | Dhank | Rajkot | NEPC Micon | 8 | 0.225 | 1.8 | 1997-03-01
|  | Dhank | Rajkot | NEPC Micon | 8 | 0.225 | 1.8 | 1996-03-01
3 | Ahmed Steelcraft limited | Lamba | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1994-09-01
4 | Ahmedabad Strips Ltd. | Shikarpur | Kacchh | NEG Micon | 1 | 0.75 | 0.75 | 2005-03-01
|  | Kuranga | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 1996-09-01 | Captive
5 | Ajanta Transistor | Dhank | Rajkot | AMTL windworld | 4 | 0.25 | 1 | 1997-03-01
|  | Lamba | Jamnagar | Suzlon | 8 | 0.35 | 2.8 | 1997-03-01 | Captive
|  | Bhogat | Jamnagar | Suzlon | 4 | 0.35 | 1.4 | 1997-09-01 | Captive
|  | Bhogat | Jamnagar | Suzlon | 3 | 0.35 | 1.05 | 1998-03-01 | Captive
|  | Bhogat | Jamnagar | Suzlon | 6 | 0.35 | 2.1 | 2002-03-02 | Captive
6 | Ajanta Watch Limited | Bhogat | Jamnagar | Suzlon | 1 | 0.35 | 0.35 | 1997-09-01 | Captive
|  | Bhogat | Jamnagar | Suzlon | 1 | 0.35 | 0.35 | 2002-03-02 | Captive
7 | Alembic Limited | Sanodar | Bhavnagar | Suzlon | 1 | 1.25 | 1.25 | 2004-03-02 | Captive
|  | Sanodar | Bhavnagar | Suzlon | 3 | 1.25 | 3.75 | 2003-09-01 | Captive
8 | Alok Trading | Lamba | Jamnagar | BHEL - Nordex | 1 | 0.2 | 0.2 | 1995-03-01
9 | Ambuja Intermediates Pvt Ltd | Navadra | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01 | Captive | Part of 13.7 MW Bundled Grid-connected wind electricity generation in Jamnagar & Kachchh, Gujarat
|  | Lamba | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-09-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
10 | Amol Decalite Ltd. | Lamba | Jamnagar | NEPC Micon | 1 | 0.25 | 0.25 | 1994-03-01
|  | Lamba | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1995-03-01
|  | Navadra | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1995-09-01
12 | Anic Steels Limited | Lamba | Jamnagar | NEPC Micon | 4 | 0.225 | 0.9 | 1995-03-01
|  | Lamba | Jamnagar | NEPC Micon | 3 | 0.225 | 0.675 | 1995-03-01
14 | Anrai Balaji Ltd | Lamba | Jamnagar | Suzlon | 1 | 0.35 | 0.35 | 2005-09-01
15 | Antifriction Bearing Company | Lamba | Jamnagar | BHEL - Nordex | 3 | 0.2 | 0.6 | 1995-03-01
|  |  |  | Husumer TTG | 3 | 0.25 | 0.75 | 1994-09-01
16 | Apar Ltd | Navadra | Jamnagar | AMTL windworld | 2 | 0.25 | 0.5 | 1999-03-01
|  | Navadra | Jamnagar | AMTL windworld | 4 | 0.25 | 1 | 1996-09-01
|  | Navadra | Jamnagar | Flovel Tacke | 4 | 0.25 | 1 | 1996-03-01
17 | Alpha Packaging pvt Ltd | Lamba | Jamnagar | Vestas RRB | 1 | 0.225 | 0.225 | 1994-09-01
18 | Aravind Mills | Navadra | Jamnagar | BHEL - Nordex | 9 | 0.2 | 1.8 | 1994-09-01
|  | Navadra | Jamnagar | BHEL - Nordex | 6 | 0.2 | 1.2 | 1995-03-01
19 | Arun Udyog Ltd. | Navadra | Jamnagar | REPL Bonus | 1 | 0.32 | 0.32 | 1996-03-01
20 | Arunodaya Mills Ltd | Lamba | Jamnagar | Elecon | 1 | 0.3 | 0.3 | 1995-03-01
21 | Arvind Mills Ltd | Navadra | Jamnagar | REPL Bonus | 6 | 0.32 | 1.92 | 1995-03-01
|  | Navadra | Jamnagar | REPL Bonus | 4 | 0.32 | 1.28 | 1996-09-01
22 | Ashok Trasnformers Pvt Ltd. | Bhogat | Jamnagar | Suzlon | 1 | 0.35 | 0.35 | 1996-09-01 | Captive
23 | Ashvin vanaspathi India Ltd | Navadra | Jamnagar | Pioneer Wincon | 1 | 0.25 | 0.25 | 1997-03-01
24 | Asian Tiles Ltd | Vanku | Kachchh | Suzlon | 1 | 1.25 | 1.25 | 2006-03-06 | Captive
|  | Surajbari | Kachchh | NEG Micon | 2 | 0.75 | 1.5 | 2006-03-06
25 | Atul Auto Ltd. | Lamba | Jamnagar | Suzlon | 1 | 0.6 | 0.6 | 2006-03-06 | Captive | Part of 13.7 MW Bundled Grid-connected wind electricity generation in Jamnagar & Kachchh, Gujarat
26 | Austin Engineering Co. Ltd. | Kuranga | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-06 | Captive
27 | Balaji Wafers Ltd. | Patelka | Jamnagar | Suzlon | 1 | 0.35 | 0.35 | 2005-03-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
28 | Banco Aluminium Ltd | Mervadar | Rajkot | Himalaya | 2 | 0.2 | 0.4 | 1995-03-01
29 | Banco Products Ltd | Mervadar | Rajkot | Himalaya | 4 | 0.2 | 0.8 | 1995-03-01
30 | Baroda Eletric Meters | Pransla | Rajkot | Elecon | 1 | 0.3 | 0.3 | 1995-09-01
31 | Batliboi Ltd | Lamba | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-09-05
32 | Bhagwati Spherocast | Kalyanpur | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1996-09-01
|  | Bhogat | Jamnagar | Suzlon | 2 | 0.35 | 0.7 | 1998-03-01
32 | Bhavani Industries | Lamba | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-05
|  | Navadra | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-06 | Captive
34 | Bhukanwala Diamond tools | Risalka | Rajkot | Himalaya | 1 | 0.2 | 0.2 | 1996-03-01
35 | Biodeal | Shikarpur | Kachchh | NEG Micon | 4 | 0.75 | 3 | 2005-03-05
36 | Biotech Vision care Pvt Ltd. | Kalyanpur | Jamnagar | NEPC India | 1 | 0.225 | 0.225 | 2004-09-04
37 | BLA Industries Ltd | Lamba | Jamnagar | Suzlon | 2 | 0.35 | 0.7 | 2005-03-05
38 | Calibre Chemical Pvt Ltd | Kuranga | Jamnagar | Enercon | 2 | 0.8 | 1.6 | 2006-03-06 | Captive
39 | Capex | Surajbari | Kachchh | NEG Micon | 1 | 0.95 | 0.95 | 2003-03-03
40 | Cera Sanitaryware Ltd | Patelka | Jamnagar | NEPC India | 1 | 0.225 | 0.225 | 2003-09-03
41 | Champion Jointing Pvt Ltd | Navadra | Jamnagar | Suzlon | 1 | 0.35 | 0.35 | 2005-03-05
42 | Chandan steel Ltd | Lamba | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-05
|  | Vanku | Kachchh | Suzlon | 1 | 1.25 | 1.25 | 2006-03-06
43 | Choksi Tube Co. | Navadra | Jamnagar | Enercon | 8 | 0.23 | 1.84 | 1997-03-01 | Captive
44 | Cibatul Ltd | Lamba | Jamnagar | NEPC Micon | 8 | 0.25 | 2 | 1994-03-01
45 | Colour Synth Ind | Meravadar | Rajkot | Micon (Pearl) | 8 | 0.09 | 0.72 | 1997-03-01
|  | Pransla | Rajkot | Himalaya | 1 | 0.2 | 0.2 | 1995-03-01
46 | Conart Engineers Ltd. | Risalka | Rajkot | Himalaya | 1 | 0.2 | 0.2 | 1995-09-01
47 | Creative Castings Ltd | Kuranga | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-06 | Captive
48 | Crown TV | Lamba | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1995-03-01
49 | DCW Finance Ltd | Navadra | Jamnagar | Enercon | 5 | 0.23 | 1.15 | 2003-09-03 | Captive
50 | Desai Textiles | Navadra | Jamnagar | Enercon | 1 | 0.6 | 0.6 | 2004-09-04 | Captive
51 | Dhariwal Industries Ltd | Bhogat | Jamnagar | Suzlon | 10 | 0.35 | 3.5 | 1998-03-01 | Sale to Grid
|  | Bhogat | Jamnagar | Suzlon | 12 | 0.35 | 4.2 | 1999-03-01 | Sale to Grid
|  | Bhogat | Jamnagar | Suzlon | 8 | 0.35 | 2.8 | 2002-03-02 | Sale to Grid
|  | Bhogat | Jamnagar | NEPC Micon | 18 | 0.225 | 4.05 | 1996-09-01
52 | Diamines and Metals | Shikarpur | Kachchh | NEG Micon | 1 | 0.75 | 0.75 | 2005-03-05
53 | Diamond Die Chem | Satapur | Jamnagar | Enercon | 2 | 0.6 | 1.2 | 2004-09-04 | Captive
54 | Eagle Fibres Pvt Ltd | Kuranga | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-06 | Captive
55 | Echjay Ind. Pvt Ltd | Surajbari | Kachchh | NEG Micon | 1 | 0.75 | 0.75 | 2003-03-01
|  | Bhogat | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2003-03-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat.
56 | EIMCO Elecon (I) Ltd. | Lamba | Jamnagar | Elecon | 1 | 0.3 | 0.3 | 1995-03-01
|  | Pransla | Rajkot | Elecon | 2 | 0.3 | 0.6 | 1996-03-01
|  | Lamba | Jamnagar | Elecon | 1 | 0.6 | 0.6 | 2002-03-01
|  | Lamba | Jamnagar | NEPC Micon | 3 | 0.25 | 0.75 | 1994-03-01
|  | Lamba | Jamnagar | Elecon | 1 | 0.6 | 0.6 | 2005-09-01
57 | ELECON Engineering | Lamba | Jamnagar | Elecon | 2 | 0.3 | 0.6 | 1995-03-01
|  | Dhank | Rajkot | Elecon | 4 | 0.3 | 1.2 | 1995-09-01
|  | Dhank | Rajkot | Elecon | 7 | 0.3 | 2.1 | 1996-03-01
|  | Dhank | Rajkot | Elecon | 4 | 0.3 | 1.2 | 1997-03-01
|  | Navadra | Jamnagar | Elecon | 4 | 0.3 | 1.2 | 1997-03-01
|  | Dhank | Rajkot | Elecon | 2 | 0.3 | 0.6 | 1998-03-01
|  | Navadra | Jamnagar | Elecon | 4 | 0.3 | 1.2 | 1998-03-01
|  | Pransla | Rajkot | Elecon | 1 | 0.3 | 0.3 | 1998-03-01
|  | Lamba | Jamnagar | Elecon | 1 | 0.2 | 0.2 | 1994-03-01
|  | Lamba | Jamnagar | NEPC Micon | 1 | 0.25 | 0.25 | 1994-03-01
58 | Electric Control Gear | Lamba | Jamnagar | NEPC Micon | 1 | 0.25 | 0.25 | 1994-09-01
|  | Kalyanpur | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1996-09-01
|  | Kalyanpur | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1995-09-01
59 | Ellora Times Ltd. | Dhank | Rajkot | AMTL windworld | 4 | 0.25 | 1 | 1996-09-01
|  | Bhogat | Jamnagar | Suzlon | 3 | 0.35 | 1.05 | 1997-09-01 | Captive
|  | Bhogat | Jamnagar | Suzlon | 5 | 0.35 | 1.75 | 1998-03-01 | Captive
|  | Bhogat | Jamnagar | Suzlon | 7 | 0.35 | 2.45 | 2002-03-01 | Captive
60 | Empilon Fabrics Pvt Ltd | Navadra | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-06 | Captive
61 | EMTICI Engineering Ltd | Lamba | Jamnagar | NEPC Micon | 1 | 0.25 | 0.25 | 1994-03-01
62 | Excel Crop Care Ltd | Navadra | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
63 | Excel Industries Ltd | Dhank | Rajkot | Vestas RRB | 12 | 0.225 | 2.7 | 1996-03-01
64 | Fair Deal Supplies Pvt Ltd. | Shikarpur | Kachchh | NEG Micon | 1 | 0.75 | 0.75 | 2005-09-01
65 | Gandhi Special Tubes Ltd. | Bhogat | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2003-09-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat.
|  | Navadra | Jamnagar | Suzlon | 1 | 0.35 | 0.35 | 2003-09-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat.
66 | GMM Ltd | Lamba | Jamnagar | BHEL - Nordex | 4 | 0.2 | 0.8 | 1995-03-01
|  | Lamba | Jamnagar | BHEL - Nordex | 1 | 0.2 | 0.2 | 1996-03-01
|  | Navadra | Jamnagar | BHEL - Nordex | 4 | 0.2 | 0.8 | 1996-03-01
67 | Gopal Iron Steels Co. | Lamba | Jamnagar | Suzlon | 1 | 0.6 | 0.6 | 2006-03-06
68 | Gopy Synthetics | Lamba | Jamnagar | NEPC Micon | 2 | 0.225 | 0.45 | 1995-03-01
69 | GSL India Ltd | Lamba | Jamnagar | Vestas RRB | 9 | 0.225 | 2.025 | 1994-03-01
|  | Lamba | Jamnagar | Elecon | 1 | 0.3 | 0.3 | 1995-03-01
70 | Gujarat Ambuja Exports Ltd | Kuranga | Jamnagar | Enercon | 3 | 0.8 | 2.4 | 2006-03-06 | Captive | Part of 6.95 MW grid connected wind electricity generation project by Gujarat Ambuja Exports
|  | Lamba | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-09-01 | Captive | Part of 6.95 MW grid connected wind electricity generation project by Gujarat Ambuja Exports
71 | Gujarat Gas Co. | Lamba | Jamnagar | NEPC Micon | 4 | 0.25 | 1 | 1994-03-01
|  | Lamba | Jamnagar | NEPC Micon | 8 | 0.25 | 2 | 1994-09-01
72 | Gujarat Guardian Ltd. | Lamba | Jamnagar | Enercon | 14 | 0.6 | 8.4 | 2004-03-04 | Captive
|  | Bamnasa | Jamnagar | Enercon | 13 | 0.8 | 10.4 | 2005-03-05 | Captive
|  | Bamnasa | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2005-09-05 | Captive
73 | Gujarat Mitra P Ltd | Bhogat | Jamnagar | Suzlon | 1 | 0.35 | 0.35 | 1997-03-01 | Sale to Grid
74 | Gujarat NRE Coke Ltd | Bhogat | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2004-03-01 | Captive | 1.25 | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat | http://cdm.unfccc.int/Projects/Validation/DB/OW17ZTWQUDGVXQGEO59WCBOC9C6LIR/view.html
|  | Lamba | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01 | Sale to Grid | 26.25
|  | Changdai | Kachchh | Suzlon | 20 | 1.25 | 25 | 2006-03-01 | Sale to Grid |  | Part of 26.25 MW wind electricity generation project of Gujarat NRE Coke Limited at Jamnagar and Kachchh | http://cdm.unfccc.int/Projects/Validation/DB/2WHFROEPK85ARNQ1TVKJV4WC8ATMAB/view.html
75 | Gujarat Petrosynthese Ltd | Lamba | Jamnagar | REPL Bonus | 3 | 0.32 | 0.96 | 1995-03-01
76 | Gujarat Telephones | Dhank | Rajkot | Elecon | 10 | 0.3 | 3 | 1996-03-01
77 | Harsha Engineers Ltd | Patelka | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
78 | Heavy Metals & Tubes Ltd | Surajbari | Kachchh | NEG Micon | 1 | 0.75 | 0.75 | 2005-09-01
79 | Himalaya Machinary Ltd | Pransla | Rajkot | Himalaya | 1 | 0.14 | 0.14 | 1995-03-01
|  | Risalka | Rajkot | Himalaya | 3 | 0.14 | 0.42 | 1996-03-01
80 | Hindustan Inks | Lamba | Jamnagar | NEPC Micon | 2 | 0.25 | 0.5 | 1994-09-01
81 | Hipolin Ltd | Meravadar | Rajkot | Micon (Pearl) | 1 | 0.09 | 0.09 | 1998-03-01
|  | Meravadar | Rajkot | Micon (Pearl) | 5 | 0.09 | 0.45 | 1997-03-01
|  | Kalyanpur | Jamnagar | NEPC Micon | 2 | 0.225 | 0.45 | 1996-03-01
|  | Patelka | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1997-03-01
82 | Indian Gum Industries Ltd | Lamba | Jamnagar | NEPC Micon | 3 | 0.25 | 0.75 | 1994-03-01
83 | Indian Petrochemicals Co. Ltd | Meravadar | Rajkot | JMP Ecotecnia | 10 | 0.225 | 2.25 | 1996-09-01
|  | Dhank | Rajkot | NEPC Micon | 25 | 0.225 | 5.625 | 1996-03-01
|  | Dhank | Rajkot | NEPC Micon | 12 | 0.225 | 2.7 | 1997-03-01
|  | Dhank | Rajkot | Suzlon | 8 | 0.35 | 2.8 | 1996-03-01
|  | Dhank | Rajkot | Suzlon | 2 | 0.27 | 0.54 | 1996-03-01
|  | Dhank | Rajkot | Suzlon | 4 | 0.35 | 1.4 | 1997-03-01 | Captive | 15.315 | Project implemented before January 1st 2000. Not eligible for CDM.
84 | Indo Nippon Chemicals | Lamba | Jamnagar | NEPC Micon | 2 | 0.25 | 0.5 | 1994-03-01
|  | Kalyanpur | Jamnagar | NEPC Micon | 6 | 0.225 | 1.35 | 1995-09-01
85 | Indo Pashions Pvt Ltd | Kuranga | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
86 | Innova Cast Pvt Ltd | Kuranga | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
87 | Intas Pharmaceuticals Ltd | Sanodar | Bhavnagar | Suzlon | 1 | 1.25 | 1.25 | 2004-03-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
|  | Navadra | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
88 | Intricast Pvt Ltd | Navadra | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
89 | Jagdish Technocast Pvt Ltd | Navadra | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
90 | Jalan Ispat Ltd | Navadra | Jamnagar | BHEL - Nordex | 5 | 0.2 | 1 | 1995-03-01
91 | Jalaram Ceramics Ltd-1,2,3 & 4 | Surajbari | Kachchh | NEG Micon | 4 | 0.75 | 3 | 2006-03-01
92 | Jayabharat Fabrics Ltd | Kalyanpur | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1995-09-01
93 | Jayant Agro-Organics Ltd | Navadra | Jamnagar | Enercon | 2 | 0.8 | 1.6 | 2006-03-01 | Captive
94 | Jaybharat Dyeing & Ptg P Ltd | Sanodar | Bhavnagar | Suzlon | 1 | 1.25 | 1.25 | 2004-03-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
95 | Jivraj Tea Company | Bhogat | Jamnagar | Suzlon | 1 | 0.35 | 0.35 | 1998-03-01 | Sale to Grid
|  | Bhogat | Jamnagar | Suzlon | 1 | 0.35 | 0.35 | 2002-03-01
96 | Jogi Steel | Meravadar | Rajkot | Micon (Pearl) | 1 | 0.09 | 0.09 | 1998-03-01
|  | Meravadar | Rajkot | Micon (Pearl) | 5 | 0.09 | 0.45 | 1997-03-01
97 | Kalpataru Power Transmission | Kalyanpur | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1995-09-01
|  | Kalyanpur | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1996-09-01
|  | Lamba | Jamnagar | NEPC Micon | 1 | 0.25 | 0.25 | 1994-03-01
98 | Kanishka Prints Pvt Ltd | Bamnasa | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2005-09-01 | Captive
99 | Kanoria Chemicals | Dhank | Rajkot | AMTL windworld | 8 | 0.25 | 2 | 1996-03-01
100 | Kinarivala RJK Industries | Lamba | Jamnagar | Vestas RRB | 1 | 0.225 | 0.225 | 1995-03-01
101 | Komal Atomizer | Meravadar | Rajkot | Micon (Pearl) | 2 | 0.09 | 0.18 | 1996-09-01
102 | Krishnoics Ltd | Lamba | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1995-03-01
103 | Lakhani Filaments Pvt Ltd | Navadra | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01 | Captive
104 | LD Textile & Industries Ltd | Lamba | Jamnagar | Vestas RRB | 4 | 0.225 | 0.9 | 1994-03-01
105 | Leamak Health Care Pvt Ltd | Navadra | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
106 | Madhusudan Ind Ltd | Lamba | Jamnagar | NEPC Micon | 10 | 0.225 | 2.25 | 1995-03-01
107 | Mahavir Dying & Printing Mills Pvt Ltd | Navadra | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
108 | Makson Pharmasuiticals Pvt Ltd | Navadra | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01 | Captive | Part of 13.7 MW Bundled Grid-connected wind electricity generation in Jamnagar & Kachchh, Gujarat
109 | Maneklal Harilal Mills | Lamba | Jamnagar | NEPC Micon | 2 | 0.25 | 0.5 | 1994-03-01
|  | Lamba | Jamnagar | NEPC Micon | 2 | 0.25 | 0.5 | 1994-09-01
110 | Manish Packaging Pvt Ltd | Kuranga | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
111 | Mipak Plastick Pvt Ltd | Lamba | Jamnagar | Suzlon | 1 | 0.35 | 0.35 | 2006-03-01
112 | Mipco Seamless Rings | Lamba | Jamnagar | Husumer TTG | 3 | 0.25 | 0.75 | 1994-09-01
113 | MITSU Invermediates Ltd | Lamba | Jamnagar | NEPC Micon | 2 | 0.25 | 0.5 | 1994-09-01
114 | Motoral India Ltd | Meravadar | Rajkot | Himalaya | 2 | 0.2 | 0.4 | 1995-03-01
115 | MS Synthetics | Lamba | Jamnagar | Suzlon | 1 | 0.6 | 0.6 | 2006-03-01
116 | Narmada Valley Hybrid Seeds | Kalyanpur | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1995-09-01
117 | Navneet Publication | Lamba | Jamnagar | BHEL - Nordex | 4 | 0.2 | 0.8 | 1994-09-01
118 | Nawaz Silk Mills | Kuranga | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
119 | NEG-Micon (I) P Ltd | Surajbari | Kachchh | NEG Micon | 1 | 0.95 | 0.95 | 2003-03-01
|  | Surajbari | Kachchh | NEG Micon | 1 | 1.65 | 1.65 | 2004-09-01
120 | NEPC Agro Food | Kalyanpur | Jamnagar | NEPC Micon | 2 | 0.225 | 0.45 | 1996-09-01
121 | Nila Infrastructure | Meravadar | Rajkot | Micon (Pearl) | 3 | 0.09 | 0.27 | 1996-03-01
|  | Meravadar | Rajkot | Micon (Pearl) | 1 | 0.09 | 0.09 | 1996-09-01
122 | Niranjan Mills | Lamba | Jamnagar | NEPC Micon | 2 | 0.25 | 0.5 | 1994-09-01
123 | Nirma Ltd | Dhank | Rajkot | AMTL windworld | 4 | 0.25 | 1 | 1995-03-01
|  | Lamba | Jamnagar | NEPC Micon | 4 | 0.225 | 0.9 | 1995-03-01
|  | Dhank | Rajkot | NEPC Micon | 18 | 0.225 | 4.05 | 1995-09-01
124 | Nirmal Tubes | Meravadar | Rajkot | Micon (Pearl) | 2 | 0.09 | 0.18 | 1996-03-01
125 | Omkar Textiles | Lamba | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1995-03-01
126 | Pandesara Dyes | Pransla | Rajkot | Himalaya | 1 | 0.2 | 0.2 | 1995-03-01
|  | Meravadar | Rajkot | Micon (Pearl) | 27 | 0.09 | 2.43 | 1997-03-01
|  | Shikarpur | Kachchh | NEG Micon | 1 | 0.75 | 0.75 | 2004-09-01
127 | Patel Brass Works | Lamba | Jamnagar | Suzlon | 1 | 0.6 | 0.6 | 2006-03-01
128 | Patodia Textiles | Risalka | Rajkot | Himalaya | 4 | 0.2 | 0.8 | 1996-03-01
129 | PCL Ltd | Lamba | Jamnagar | Elecon | 1 | 0.6 | 0.6 | 2005-09-01
130 | Pearl Energy & Infrastr | Meravadar | Rajkot | Micon (Pearl) | 12 | 0.09 | 1.08 | 1996-03-01
131 | Peass Industrial Engrs | Pransla | Rajkot | Elecon | 1 | 0.3 | 0.3 | 1995-09-01
132 | Pedelite Industries | Pransla | Rajkot | Enercon | 3 | 0.23 | 0.69 | 1996-09-01 | Captive
133 | Power Build Ltd | Lamba | Jamnagar | Elecon | 1 | 0.3 | 0.3 | 1995-03-01
|  | Lamba | Jamnagar | NEPC Micon | 1 | 0.25 | 0.25 | 1994-03-01
134 | Prabhat Elastomers P Ltd | Kuranga | Jamnagar | Enercon | 2 | 0.8 | 1.6 | 2006-03-01 | Captive
135 | Prashant Industries Ltd | Dhank | Rajkot | BHEL - Nordex | 5 | 0.2 | 1 | 1995-09-01
136 | Raajratna Metal Industries Ltd | Sanodar | Bhavnagar | Suzlon | 1 | 1.25 | 1.25 | 2004-03-01 | Captive | Part of 13.7 MW Bundled Grid-connected wind electricity generation in Jamnagar & Kachchh, Gujarat
|  | Patelka | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
|  | Lamba | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
137 | Rachana Art Prints Pvt Ltd | Bamnasa | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2005-09-01 | Captive
138 | Radhe Enterprises | Vanku | Kachchh | Suzlon | 1 | 1.25 | 1.25 | 2006-03-01
139 | Raghuveer Synthetics | Lamba | Jamnagar | NEPC Micon | 2 | 0.25 | 0.5 | 1994-03-01
140 | Rainbow Papers | Meravadar | Rajkot | Micon (Pearl) | 7 | 0.09 | 0.63 | 1996-03-01
141 | Rajahans Foods | Meravadar | Rajkot | Micon (Pearl) | 4 | 0.09 | 0.36 | 1996-03-01
142 | Rajahans Metals Ltd | Navadra | Jamnagar | REPL Bonus | 2 | 0.32 | 0.64 | 1996-03-01
143 | Rajhans Metals Pvt Ltd | Kuranga | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
144 | Rajlaxmi Prints Pvt Ltd | Patelka | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01
145 | Rajshanti Metals Pvt Ltd | Navadra | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
146 | Ramco Industries Ltd | Vanku | Kachchh | Suzlon | 1 | 1.25 | 1.25 | 2006-03-01
147 | Ratnamani Metals & Tubes Ltd | Surajbari | Kachchh | NEG Micon | 1 | 0.75 | 0.75 | 2003-03-01
|  | Sanodar | Bhavnagar | Suzlon | 1 | 1.25 | 1.25 | 2004-03-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
|  | Patelka | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
|  | Lamba | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01 | Captive | Part of 13.7 MW Bundled Grid-connected wind electricity generation in Jamnagar & Kachchh, Gujarat
|  | Lamba | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-09-01 | Captive | Part of 13.7 MW Bundled Grid-connected wind electricity generation in Jamnagar & Kachchh, Gujarat
|  | Vanku | Kachchh | Suzlon | 1 | 1.25 | 1.25 | 2006-03-01 |  | Part of 13.25 MW Wind Power Generation by RMTL, in Kutch, Gujarat.
148 | Ratnamani Techno Casts Ltd | Surajbari | Kachchh | NEG Micon | 1 | 0.75 | 0.75 | 2006-03-01
149 | Ratnesh Metal Industries Pvt Ltd | Vanku | Kachchh | Suzlon | 1 | 1.25 | 1.25 | 2006-03-01
150 | Ravikiran Ceramics Pvt Ltd | Navadra | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
151 | Real Strips Limited | Sanodar | Bhavnagar | Suzlon | 1 | 1.25 | 1.25 | 2004-03-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
|  | Patelka | Jamnagar | Suzlon | 1 | 0.35 | 0.35 | 2005-03-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
152 | Reeva Textiles | Navadra | Jamnagar | Enercon | 2 | 0.6 | 1.2 | 2004-09-01 | Captive
153 | Reliable Dyechem | Meravadar | Rajkot | Micon (Pearl) | 2 | 0.09 | 0.18 | 1996-03-01
154 | Rohit Pulp & Papers | Pransla | Rajkot | Elecon | 1 | 0.3 | 0.3 | 1996-03-01
155 | Rolcon Engineering | Lamba | Jamnagar | Vestas RRB | 2 | 0.225 | 0.45 | 1995-03-01
156 | Rolex Rings Pvt Ltd | Bhogat | Jamnagar | Suzlon | 2 | 1.25 | 2.5 | 2003-03-01 | Captive | Part of 8.75 MW Wind Power Project in Gujarat
|  | Bhogat | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2003-09-01 | Captive | Part of 8.75 MW Wind Power Project in Gujarat
|  | Lamba | Kachchh | Suzlon | 1 | 1.25 | 1.25 | 2005-09-01 | Captive | Part of 8.75 MW Wind Power Project in Gujarat
|  | Vanku | Kachchh | Suzlon | 3 | 1.25 | 3.75 | 2006-03-01 | Captive | Part of 8.75 MW Wind Power Project in Gujarat
157 | Rubamin Ltd | Pransla | Rajkot | Himalaya | 3 | 0.2 | 0.6 | 1995-03-01
158 | Sabermati Papers Ltd | Pransla | Rajkot | Elecon | 2 | 0.3 | 0.6 | 1995-09-01
159 | SAG Wind Power | Lamba | Jamnagar | NEPC Micon | 2 | 0.225 | 0.45 | 1995-03-01
160 | Sagar Springs | Surajbari | Kachchh | NEG Micon | 1 | 0.75 | 0.75 | 2005-09-01
161 | Samay Electronics Pvt Ltd | Sanodar | Bhavnagar | Suzlon | 1 | 1.25 | 1.25 | 2003-09-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
162 | Saurashtra Fuels Pvt Ltd | Navadra | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01 | Captive
|  | Lamba | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01 | Captive
163 | Senor Metals Pvt Ltd | Navadra | Jamnagar | Enercon | 1 | 0.6 | 0.6 | 2004-03-01 | Captive
|  | Navadra | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2005-03-01 | Captive
164 | Shahlon Industries Pvt Ltd | Bhogat | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2003-09-01 | Captive | Part of 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat
165 | Shamco Plastics | Lamba | Jamnagar | BHEL - Nordex | 1 | 0.2 | 0.2 | 1995-03-01
166 | Shilp Gravures Ltd | Navadra | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
167 | Shree Extrusions | Meravadar | Rajkot | Micon (Pearl) | 1 | 0.09 | 0.09 | 1996-03-01
|  | Meravadar | Rajkot | Micon (Pearl) | 3 | 0.09 | 0.27 | 1996-09-01
168 | Shree Sai Calnates India (P) Ltd | Navadra | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
169 | Shreeji Prints Pvt Ltd | Bamnasa | Jamnagar | Enercon | 2 | 0.8 | 1.6 | 2005-09-01 | Captive
170 | Sodium Metal Ltd | Pransla | Rajkot | Himalaya | 4 | 0.2 | 0.8 | 1995-03-01
171 | Sterling Enterprises Ltd | Dhank | Rajkot | AMTL windworld | 1 | 0.25 | 0.25 | 1996-03-01
172 | Suraj Stainless Ltd | Vanku | Kachchh | Suzlon | 1 | 1.25 | 1.25 | 2006-03-01
173 | Surbhi Industries Ltd | Kuranga | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
174 | Suzlon Fibres Ltd | Dhank | Rajkot | Vestas RRB | 2 | 0.225 | 0.45 | 1995-09-01
175 | Syntex Industries | Patelka | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1996-09-01
|  | Patelka | Jamnagar | NEPC Micon | 5 | 0.225 | 1.125 | 1995-09-01
|  | Navadra | Jamnagar | REPL Bonus | 3 | 0.32 | 0.96 | 1996-09-01
|  | Navadra | Jamnagar | REPL Bonus | 4 | 0.32 | 1.28 | 1997-09-01
176 | Synthetics & Polymer Industries | Lamba | Jamnagar | Vestas RRB | 1 | 0.225 | 0.225 | 1994-09-01
177 | TA Textiles Pvt Ltd | Lamba | Jamnagar | Suzlon | 1 | 1.25 | 1.25 | 2005-03-01
178 | The Sandesh Ltd | Lamba | Jamnagar | NEPC Micon | 3 | 0.25 | 0.75 | 1994-09-01
179 | Transmetal Ltd | Navadra | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
180 | Trumac Engineering Co | Navadra | Jamnagar | REPL Bonus | 6 | 0.32 | 1.92 | 1995-09-01
181 | Umedica Laboratories Pvt Ltd | Sanodar | Bhavnagar | Suzlon | 2 | 0.35 | 0.7 | 2004-03-01
182 | Unique Tags Pvt Ltd | Navadra | Jamnagar | Enercon | 1 | 0.8 | 0.8 | 2006-03-01 | Captive
183 | Urja Enterprises | Meravadar | Rajkot | Micon (Pearl) | 1 | 0.09 | 0.09 | 1996-09-01
184 | Vadilal Ind Ltd | Lamba | Jamnagar | REPL Bonus | 4 | 0.32 | 1.28 | 1995-03-01
|  | Navadra | Jamnagar | REPL Bonus | 2 | 0.32 | 0.64 | 1996-03-01
185 | Valecha Engg Bros | Lamba | Jamnagar | Vestas RRB | 2 | 0.225 | 0.45 | 1994-03-01
|  | Lamba | Jamnagar | BHEL - Nordex | 2 | 0.2 | 0.4 | 1995-03-01
186 | Vapi Care Pharma Pvt Ltd | Bhogat | Jamnagar | Suzlon | 1 | 0.35 | 0.35 | 2003-09-01 | Captive
|  | Patelka | Jamnagar | Suzlon | 1 | 0.35 | 0.35 | 2005-03-01
187 | Vijayajothi Ceats Ltd | Kalyanpur | Jamnagar | NEPC Micon | 2 | 0.225 | 0.45 | 1996-03-01
188 | Vimal Oil & Foods | Kalyanpur | Jamnagar | NEPC Micon | 1 | 0.225 | 0.225 | 1995-09-01
189 | Vinay Paintings | Meravadar | Rajkot | Micon (Pearl) | 2 | 0.09 | 0.18 | 1997-03-01
190 | Vipan Industries | Pransla | Rajkot | Himalaya | 1 | 0.2 | 0.2 | 1995-03-01
|  | Meravadar | Rajkot | Micon (Pearl) | 12 | 0.09 | 1.08 | 1997-03-01
191 | Vishal Malliables | Dhank | Rajkot | BHEL - Nordex | 9 | 0.225 | 2.025 | 1996-03-01
|  | Dhank | Rajkot | BHEL - Nordex | 1 | 0.2 | 0.2 | 1996-09-01
192 | Vishaldeep Spinning Mills | Lamba | Jamnagar | Elecon | 1 | 0.3 | 0.3 | 1995-03-01
193 | VVN Mfg & Invest | Pransla | Rajkot | Elecon | 1 | 0.3 | 0.3 | 1995-09-01
194 | Zandu Pharmacutical Works | Kalyanpur | Jamnagar | NEPC Micon | 2 | 0.225 | 0.45 | 1996-03-01

## Private Investors in India
List of Private Windfarm Owners inIndia
(Aggregate 15 MW and Above – Other Than WEG Manufacturers)
(As on 31.03.2007)
Sl.No. | Name of Owner | Total (MW) | State | Remarks | Location Weblinks
1 | MSPL Limited | 143.15 | Karnataka, Gujarat | Wind power directory mentions 113.15 MW capacity which does not include installations in Gujarat, Gujarat Project is under CDM as part of the bundled project activity - "30 MW wind power project at Surajbari, Gujarat in India" - http://cdm.unfccc.int/Projects/Validation/DB/L59OGCJY0XLZUC0W8MMB84A2T4NKNX/view.html | Karnataka - http://cdm.unfccc.int/Projects/DB/DNV-CUK1142448670.58/view and http://kredl.kar.nic.in/commisioned.xls and the following website further substantiates that their installed capacity is in Gujarat and Karnataka http://www.ifc.org/ifcext/spiwebsite1.nsf/1ca07340e47a35cd85256efb00700cee/E34D31FC6C1789B285257290007C5E93
2 | Essel Mining & Industries Ltd. | 75 | Maharashtra | All 75 MW is a CDM project | Maharashtra 75 MW- http://cdm.unfccc.int/Projects/DB/DNV-CUK1178530835.69/view
3 | Bajaj Auto Ltd | 65.2 | Maharashtra | The two CDM projects are 45.2 + 20 = 65.2 MW | Maharashtra 65.2 MW - http://cdm.unfccc.int/Projects/DB/BVQI1135775559.33/view and http://cdm.unfccc.int/Projects/DB/BVQI1135690844.37/view
4 | Madras Cement Ltd. | 63.785 | Tamil Nadu, Karnataka | Madras cements annual report of 2006-07 shows that their wind installed capacity rose to 63.79 MW in TN | Tamil Nadu 41.6 MW- http://cdm.unfccc.int/Projects/Validation/DB/AOLO0C51SE7IUL19FP3B27HORLRSK0/view.html; Karnataka 6MW - http://kredl.kar.nic.in/commisioned.xls, http://www.madrascements.com/shareH/ar07.pdf
5 | Tata Power Company Ltd. | 54.6 | Maharashtra | The CDM projects are 50.4 + 11.25 = 61.65 MW including WEGs commissioned after march 2007 | Maharashtra 11.25 MW- http://cdm.unfccc.int/Projects/Validation/DB/HT56HSU35JRCPA72BI950VBY8REB0U/view.html; Maharashtra 50.4MW-http://cdm.unfccc.int/Projects/Validation/DB/EW3Z4AISTNLX8HM6DHB55JQMG22UA7/view.html
6 | Mohan Breweries & Distilleries | 53.25 | Tamil Nadu | The weblink substantiates that the project owner has wind farms only in Tamil Nadu | Tamil Nadu - http://www.processregister.com/Wind_Energy/Project/pid10358.htm
7 | REI Agro Limited | 46.1 | Rajasthan & Maharashtra | This is 4 CDM projects and the links are provided | Rajasthan 7.5 MW- http://cdm.unfccc.int/Projects/DB/BVQI1156146345.29/view; Maharashtra 9.9 MW - http://cdm.unfccc.int/Projects/Validation/DB/LFTIDSON660NHIT5389DOU44QT1ZI2/view.html; Tamil Nadu 6MW - http://cdm.unfccc.int/Projects/Validation/DB/C1QZHJ7KFG7HWISQM8MHLAPJKYIKXP/view.html; Maharashtra 20.8 - http://cdm.unfccc.int/Projects/Validation/DB/NEY6LY0N53NMIHHCTEZ3QHNHVV4RWV/view.html
8 | Nuziveedu Seeds Ltd | 45.85 | karnataka and TV | The website shows they have 45.85 MW installed capacity in karnataka and TN | Karnataka & Tamil Nadu - http://www.nuziveeduseeds.co.in/wind.html; Karnataka 27.65 MW - http://cdm.unfccc.int/Projects/DB/DNV-CUK1173772302.89/view and http://kredl.kar.nic.in/commisioned.xls
9 | Vijayanand Roadlines Ltd | 42.5 | Karnataka | The whole 42.5 MW is a CDM project | Karnataka 42.5 MW - http://cdm.unfccc.int/Projects/Validation/DB/5M0UJB3T8IVQ6OW8VMYEPCZ8WQBBGM/view.html
10 | Ramgad Minerals & Mining Pvt. Ltd. | 41.9 | Karnataka, Gujarat | Gujarat Project implmented Mar-07, it is a small scale installation and is under CDM as part of the bundled project activity - "30 MW wind power project at Surajbari, Gujarat in India" - http://cdm.unfccc.int/Projects/Validation/DB/L59OGCJY0XLZUC0W8MMB84A2T4NKNX/view.html | Karnataka 38.75 MW- http://cdm.unfccc.int/Projects/DB/DNV-CUK1142448670.58/view and 2.65 MW http://www.sgsqualitynetwork.com/tradeassurance/ccp/projects/434/Revised%20Final%20CDM_4_Kar_PDD.pdf
11 | Vishal Export Overseas Ltd | 39.225 | Rajasthan and TN | http://www.thehindubusinessline.com/2005/03/25/stories/2005032502480200.htm This hindu article shows that they have wind farm in Rajasthan and TN | Rajasthan - http://cdm.unfccc.int/UserManagement/FileStorage/6GHLOZR91U76CLQZN4HPK6RWRSUN5O and http://cdm.unfccc.int/UserManagement/FileStorage/7KIF6E0R55YEPEH7ANN715FEMB0WYK
12 | Hindustan Zinc Limited | 38.4 | Gujarat | Proposed Project Activity
13 | Rajasthan State Mines & Minerals Ltd. | 37.3 | Rajasthan | All the installed capacity are CDM projects | Rajasthan - 1> 14.8 MW - http://cdm.unfccc.int/Projects/Validation/DB/Z4COPZJ6ELRHG0PR1MZZ86OXKTQLNT/view.html; 2>22. 5 MW - http://cdm.unfccc.int/Projects/Validation/DB/HVGN60G0J35FYF3MINL04RRL3UKB0B/view.html; and 3> 15MW - http://cdm.unfccc.int/Projects/Validation/DB/KG5ZE4KPHD24WFWY7DAP2BAK8UPLCN/view.html
14 | Rajasthan Ren. Energy Corp. Ltd. | 36.45 | Rajasthan | All the installed capacity are CDM projects | Rajasthan 25MW - http://cdm.unfccc.int/Projects/Validation/DB/Y8W0UMSG3DAI1VHPT2U3Y4IF9N7S4G/view.html and 2> 10.2 MW - http://cdm.unfccc.int/Projects/Validation/DB/IN362CBUVYRUB6WCOT9PXIT9Y3N342/view.html
15 | Soundararaja Mills Ltd. | 34.8 | Tamil Nadu | Wind Power directory mentions this capacity of 34.8 MW in TN | Tamil Nadu - Part of projects 1>http://cdm.unfccc.int/Projects/Validation/DB/LO3RUNJBAVPC94GWP0N3IPQZM866Y0/view.html and 2>http://cdm.unfccc.int/Projects/Validation/DB/1VD4I971NMFAB70C0LGFR01GV4RI4H/view.html
16 | Godavat Pan Masala | 33.88 | Karnataka, Rajasthan, Maharashtra | Wind Power directory mentions this capacity of 33.88 MW in Kar Raj and TN | Karnataka - 15 MW - http://kredl.kar.nic.in/commisioned.xls; Rajasthan - 6.10 MW - www.rerc.gov.in/List_Generatin.xls; and 3.68 MW - http://www.mahaurja.com/PG_WE_Overview.html (List of investors for wind energy power)
17 | KPR Mill Pvt. Ltd. | 33.17 | Tamil Nadu | The website mentions that they have wind mills of 40 MW in TN. Further 19.8 MW is under CDM. | 1> 40 MW - http://www.kprmilllimited.com/admin/uploads/KPR%20Mill%20Q1%20FY2009.pdf; 2>The 40 MW includes the installations in Tamil Nadu - 19.8 MWhttp://cdm.unfccc.int/Projects/Validation/DB/KBAXDG75UAPOH4J4P20YB2AIQKM36G/view.html
18 | Patnaik Minerals Pvt Ltd | 30.2 | Gujarat, Maharashtra | Project activity implemented in phases - 15.2 MW In March 2007 and 15.2 MW in June 2007, further the project is under CDM - http://cdm.unfccc.int/Projects/Validation/DB/GQ56N39MLSZ9QDRL6RUF5YJSFDPD1U/view.html | Maharashtra 15MW - http://cdm.unfccc.int/Projects/Validation/DB/6BLYO2WUMBJR43922LAW79OC5AWQUQ/view.html
19 | Dhariwal Industries Ltd | 29.95 | Gujarat, Tamil Nadu, Maharshtra | The project size in Gujarat is 14.55 MW which is lesser than the capacity under consideration (15 MW). Fruther this size is composed of small bundled installations implemented in a different time frame as is clear from the sheet List of installations. | Maharashtra - 17.105 MW - http://www.mahaurja.com/Download/Investors_list_of_WE.xls; Maharashtra - http://cdm.unfccc.int/Projects/Validation/DB/1OM1I156HGWWJR2IAQAZ6KZYES51G2/view.html; Tamil Nadu - http://www.windpowerindia.com/statpriv.asp
20 | Tata Finance Ltd | 29.45 | TamilNadu, Maharshtra | The Mahaurja sheet shows 21.95 MW capacity and the WPD shows the rest 7.5 MW totalling to 29.45 MW in TN and Mah | Maharashtra - http://www.mahaurja.com/Download/Investors_list_of_WE.xls; Tamil Nadu - Indian Wind Power Directory
21 | Ashok Leyland Fin. Ltd | 29.175 | Tamil Nadu | The PDD is for 56.25 which included Ashok Leyland fin Ltd and its sister concerns, proof for 29.175 MW for ALFL is in Indian Wind Power directory | Tamil Nadu - http://cdm.unfccc.int/Projects/Validation/DB/37X42BG16GG63VK5L84D6WZ0UM8YGG/view.html, Indian Wind Power Directory
22 | Tamilnadu Newsprint & Paper Ltd | 28 | Tamil Nadu | The PDD is for 6.75 MW, Proof for 28 MW is Indian Wind power Directory | Tamil Nadu - http://cdm.unfccc.int/Projects/Validation/DB/QIJV59ENWGKVMRV8VFVC7SDNJTCHM6/view.html, Indian Wind power directory
23 | Ellora Times Ltd. | 27.9 | Maharashtra, Gujarat | The installations in Gujarat at the time of the start of the proposed HZL project activity were small scale and some of which implemented pre January 2000 in a different regulatory regime. | Maharashtra - http://cdm.unfccc.int/Projects/Validation/DB/FCA2YR3O40994UEYCVUN9159OW0IVA/view.html
24 | Gujarat NRE Coke Ltd | 27.5 | Gujarat | Project activity has been submitted for CDM under the projects - 1. 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat and 2. 26.25 MW wind electricity generation project of Gujarat NRE Coke Limited at Jamnagar and Kachchh http://cdm.unfccc.int/Projects/Validation/DB/2WHFROEPK85ARNQ1TVKJV4WC8ATMAB/view.html
25 | Lakshmi Machine Works | 26.5 | Tamil Nadu | The PDD is for 27.95 capacity and includes project commissioned after 31st March 2007 as well | Tamil Nadu - http://cdm.unfccc.int/UserManagement/FileStorage/7LXZLFECVXR5YBOJ5TH8J6XNHIPOCN
26 | Sapthagiri Distilleries | 25.5 | Karnataka | The KREDL list shows that the windfarm is in Karnataka. | Karnataka - http://kredl.kar.nic.in/commisioned.xls
27 | Shanmugavel Group | 25.5 | Tamil Nadu | Wind power directory shows the installed capacity of 25.5 MW | Tamil Nadu - http://cdm.unfccc.int/UserManagement/FileStorage/AE2042RXII12SBXNF29XDKVT2BCEWG
28 | Best & Co. | 25 | Tamil Nadu | Wind power directory shows the installed capacity of 25.5 MW | Tamil Nadu - http://cdm.unfccc.int/UserManagement/FileStorage/AE2042RXII12SBXNF29XDKVT2BCEWG
29 | Grace Infrastructure (P) Ltd. | 25 | Tamil Nadu | The PDD is for 31 MW including turbines commissioned after 31 march 2007, Wind power directory shows 25 MW capacity | Tamil Nadu - http://cdm.unfccc.int/Projects/Validation/DB/FFZD3FVFDVCBV7VFLEO18LOFADFR7Z/view.html
30 | Shraddha Construn. & Power Gen. P.Ltd. | 25 | Karnataka, Maharashtra | This included 0.6 MW installation in karnataka which is part of the PDD 4.8 MW PDD of shraddha group in karnataka (the rest of the WEGs under this PDD are of Shraddha constructions engineers and contractors and not SCPGL) , a 21.25 MW installation in maharashtra which is also CDM project, And a 3.15 MW installation in maharashtra which is part of the 55.555 MW wind project in Maharashtra, all three links given | Karnataka - http://cdm.unfccc.int/UserManagement/FileStorage/9ALTBMOH43CJHL8N0DBBUHJSVQ1DLZ.html ; Maharshtra - http://cdm.unfccc.int/Projects/Validation/DB/8A07E1ILQFSU987VE25G42BUJCJ90K/view.html, http://cdm.unfccc.int/UserManagement/FileStorage/KB4U21VQGNDI45MU0I2I7T5NZM03AJ
31 | SREI | 24.8 | Gujarat | The project has been implemented in March 2007 and was not under operation at the start of the HZL project activity. Furthermore, the Annual Reports of the company for the year 2006-07 and 2007-08 specifically bear a mention of availing CDM benefits for its renewable energy projects. http://www.srei.com/srei_pdf/sreiannual/2006-07.pdf http://www.srei.com/srei_pdf/sreiannual/2007-08.pdf
32 | Power Finance Corp. | 24 | Rajasthan | This 24 MW installation is given in Indian wind power directory. | Rajasthan - Indian Wind Power directory 2006
33 | Savita Chemicals Ltd | 23.7 | Karnataka, Maharashtra | This can be corroborated b y three sources Indian wind power directory gives 17.9 MW installed capacity til march 2006, after this and before 2007, 2 more 1.25 MW suzlon turbines were commissioned (refer mahaurja excel which shows 4 x 1.25 MW wheras WPD shows only 2x1.25) and 2 * 1.65 vestas turbines were commissioned (refer mahaurja excel vestas sheet shows 2 x 1.65 were commissioned before march 2007) This makes total capacity 17.9 + 2.5 + 3.3 = 29.7. | Karnataka - http://cdm.unfccc.int/UserManagement/FileStorage/DNHI9DQ9PA4L1A9J9XHHJ1OUK8IWRP; Maharahstra - http://www.windpowerindia.com/statpriv.asp and www.mahaurja.com/WindComm.xls
34 | Gujarat fluorochemicals Limited | 23.1 | Maharashtra | Mahaurja site excel sheet shows 23.1 MW capacity | Maharashtra - http://cdm.unfccc.int/Projects/Validation/DB/QRRSZJM73N47W1JXJTC60X1ZN151C8/view.html and www.mahaurja.com/WindComm.xls
35 | Premier Fine Yarns Pvt. Ltd. | 22.85 | Tamil Nadu | The link is for 29.7 MW including wind mills commissioned after march 2006 | Tamil Nadu - http://cdmindia.nic.in/cdmindia/projects/PCN_141_06.pdf
36 | Ghodawat Industries (India) Pvt Ltd | 21.9 | Karnataka, Andhra Pradesh, Gujarat | The project size of Ghodawat Industries (India) Pvt. Ltd. In Gujarat is less than 15 MW and hence cannot be compared to the HZL project activity. At the time of start of proposed project activity in January 2007, onbly 1.6 MW was commissioned by Ghodawat Industries (India) Limited. (Enercon commisioned list is attached as enclosure) | Karnataka - www.kredl.kar.nic.in/Docs/Wind-Commissioned%20list%20as%20on%20date.xls;
37 | CEPCO Industries Pvt. Ltd. | 21.175 | Karnataka, MP and Rajasthan | This is part of 2 CDM projects in karnataka, one CDM project in rajasthan and one non CDM wind farm in MP. 1.2 MW is part of 33 MW Karnataka bundle, 8.4 MW is part of 16.8 Karnataka bundle and 12 MW rajasthan is part of 2004 policy rajasthan bundle. Apart from this CEPCO has a 3.375 MW wind farm in MP. Total is 1.2 + 8.4 + 12 + 3.375 = 25.975 MW this is more because some wind mills were commissioned after march 2007 | Karnataka - http://cdm.unfccc.int/UserManagement/FileStorage/9UZAIUVWY1UPORDM010UCQ7MD2DDVS , http://cdm.unfccc.int/UserManagement/FileStorage/QB4LN5D6YY0EZ9MDEUUCSB99HHER7R , Rajasthan - http://www.sgsqualitynetwork.com/tradeassurance/ccp/projects/166/PDD-Bundled%20wind%20energy%20power%20projects%20(2004%20policy)%20in%20Rajasthan.pdf , MP - http://www.windpowerindia.com/statpriv.asp
38 | GI Windfarms Ltd. | 21 | Maharashtra | In this excel under the enercon sheet the total commissioned capacity is 21 MW | Maharashtra - http://www.mahaurja.com/Download/Investors_list_of_WE.xls
39 | Nishkalp Investment & Trading | 20.95 | Maharashtra | In this excel under the suzlon sheet the total commissioned capacity is 20.95 MW | Maharashtra - http://www.mahaurja.com/Download/Investors_list_of_WE.xls
40 | TCS Textiles Ltd. | 20.75 | Tamil Nadu | This is part of 2 CDM projects . In TASMA CDM project 4 x 1.25 and 7 x 0.5 MW is covered and another 5 x 1.25 + 4 x 1.5 Is covered under the 19.8 MW CDM project. Both links given. Total capacity is 5 + 3.5 + 6.25 + 6 = 20.75 MW | Tamil Nadu - http://cdm.unfccc.int/UserManagement/FileStorage/AE2042RXII12SBXNF29XDKVT2BCEWG , http://cdm.unfccc.int/UserManagement/FileStorage/F6UP274DD1DCT3XJTKRJCJZDZNPZY7
41 | RCI Power Ltd | 20 | Andhra Pradesh | The link gives the total capacity as 20 MW | Andhra Pradesh - http://www.retscreen.net/download.php/ang/33/3/WIND04-C.pdf
42 | Gujarat Guardian Ltd. | 31.6 | Gujarat | a. The project is different from the proposed wind power project by HZL since it is a captive installation utilizing the generated output from its project for self utilization at its industry premises. b. Further the Project activity is also considering carbon finance and has already received carbon benefits through the Voluntary VER route. http://www.carbonneutral.com/cnregistry/uploaded/Jamnagar%20Wind%20Power%20Projects%20PDDs.pdf c. Furthermore, the project activity has already applied for CDM benefits. Due to above reasons, the project is different and cannot be compared to the proposed HZL project activity
43 | Sun N Sand Hotel Pvt. Ltd. | 19.05 | Maharashtra, Rajasthan | This is part of 4 CDM projects in Rajasthan and Maharashtra. 9.6 MW is part of "Generation of electricity from 9.6 MW capacity wind mills by Sun-n-Sand Hotels Pvt. Ltd. at Bhambarwadi, Maharashtra", 2 MW is part of "Generation of electricity from 4 MW capacity wind mills by Sun-n-Sand Hotel group at Supa, Maharashtra" (the rest 2 MW of this project belong to their sister concerns) and 1.2 MW is part of "Generation of electricity from 1.2 MW capacity wind mills by Sun-n-Sand Hotels Pvt. Ltd at Satara, Maharashtra" and 6.25 MW is part of "Generation of electricity from 6.25 MW capacity wind mills by Sun-n-Sand Hotels Pvt. Ltd at Soda Mada, Rajasthan". This totals to 9.6 + 2 + 1.2 + 6.25 = 19.05 MW | Maharashtra - 1>http://cdm.unfccc.int/Projects/Validation/DB/M9EWHICU06HP68ZUSIG4PT7YP01TIX/view.html; 2>http://cdm.unfccc.int/Projects/Validation/DB/OXQQIWVKR8MAGWHPQJQ2S1ADGU210E/view.html; and 3>http://cdm.unfccc.int/Projects/Validation/DB/V8DO1PG4DJUVTWMQR4JNC1C3I85YB9/view.html; Rajsthan - http://cdm.unfccc.int/Projects/Validation/DB/DGYX3JDCR7BJGR21EH8OZ6EL90K7JY/view.html
44 | Jindal Alluminiam Ltd | 19.04 | Karnataka | Wind power directory gives this capacity as 19.04MW in Karnataka | Karnataka - http://cdm.unfccc.int/Projects/Validation/DB/079ENZ7D9SFOD29K9R2ET0772J15U5/view.html
45 | Weizmann Ltd | 19 | Andhra Pradesh, Tamil Nadu, Maharashtra | Wind power directory gives this capacity as 17MW in AP, TN and Maharashtra | Andhra Pradesh - http://www.windpowerindia.com/statpriv.asp
46 | DJ Malpani | 18.15 | Maharashtra | Wind power directory gives this capacity as 18.15 MW in Maharashtra | Maharashtra - 1>http://cdm.unfccc.int/Projects/Validation/DB/1OM1I156HGWWJR2IAQAZ6KZYES51G2/view.html; 2>http://cdm.unfccc.int/UserManagement/FileStorage/O8K9ERKXNBAPEA0YIXMNURNPEZ6J66; and 3>www.mahaurja.com/WindComm.xls
47 | Ratnamani Metals & Tubes Ltd. | 17.5 | Gujarat | The project activity has been implemented in phases. The first phase of around 5 MW has been included under two bundled CDM project activities - 1. 22.3 MW Bundled grid connected Wind Power based electricity generation project in Gujarat and 2. 13.7 MW Bundled Grid-connected wind electricity generation in Jamnagar & Kachchh, Gujarat. Post these bundled projects the second phase consisting of 13.25 MW has been proposed as a seperate CDM project activity implemented post January 2007 - 13.25 MW Wind Power Generation by RMTL, in Kutch, Gujarat. There is one single machine of 0.75 MW which is not included under CDM, but that machine has been implemented in a different timeframe and is treated as a different project whose capapcity is less than 15 MW and hence cannot be comparable to the proposed project.
48 | VSL Mining Company (P) Ltd | 17.5 | Karnataka | In the KREDL list the machines of VSL Mining commissioned on and before march 2007 total to 17.5 MW | Karnataka - http://cdm.unfccc.int/UserManagement/FileStorage/1V5DW5ZJNU9BGYUL8N04SIF0NERRP4 , http://kredl.kar.nic.in/commisioned.xls
49 | Chettinad Cement Corp. | 17.35 | Tamil Nadu | Wind power directory gives this capacity as 17.35 MW in tamil nadu | Tamil Nadu - http://www.windpowerindia.com/statpriv.asp
50 | Gangadhar Narsighdas Agrawal | 16.85 | Maharashtra | Wind power directory mention installed capacity of 7.85 MW, further to this 4 more 1.25 MW machines and 4 x 1.5 MW machines were installed this can be referred in the mahaurja excel sheet under suzlon. This totals 7.85 + 5 + 6 = 18.85 MW | Maharashtra - http://www.mahaurja.com/Download/Investors_list_of_WE.xls
51 | Dalmia Cements (B) Ltd. | 16.525 | Tamil Nadu | The website mentions this capacity of 16.525 MW | Tamil Nadu - http://www.windpowerindia.com/statpriv.asp
52 | Jaiprakash Associates Limited | 16.25 | Maharashtra, Gujarat (8.75MW) | The Gujarat project of Jaiprakash Associates Limited is a small scale project of capacity 8.75 MW. The installations are covered under the proposed CDM project - 49 MW wind power project in Western india | Maharashtra - http://cdm.unfccc.int/UserManagement/FileStorage/VR9BGLXMKOPJN0U72IYCE4ZWQ5A36H
53 | Rasi Seeds (P) Ltd. | 16.25 | Tamil Nadu | Wind power directory gives this capacity as 16.25 MW in tamil nadu | Tamil Nadu - http://cdm.unfccc.int/UserManagement/FileStorage/AE2042RXII12SBXNF29XDKVT2BCEWG
54 | Bannari Amman Spinning Mills Ltd. | 16.2 | Tamil Nadu | Wind power directory gives this capacity as 16.2 MW in tamil nadu | Tamil Nadu - http://www.bannari.com/power.html, http://www.dnv.com/focus/climate_change/upload/version%202%20-%20pdd%20%20sept%2005.pdf
55 | Bharat Forge Ltd | 15.93 | Maharashtra | website gives a total capacity of 18.33 in Maharashtra | Maharashtra - http://www.bfutilities.com/InsidePage/Technology.htm, http://www.dnv.com/focus/climate_change/Upload/BF_PDD_%20ver%201.0.pdf
56 | Indo Wind Energy Ltd | 15.9 | Karnataka, Tamil Nadu | Website shows the location of their wind farms as Karnataka and TN | Karnataka, Tamil Nadu - http://www.indowind.com/index_aboutus_projectlocationsall.html, http://cdm.unfccc.int/UserManagement/FileStorage/2MPHUG6I9HPP0WE1T23IP3Z1YSBE1T,
57 | Jayajyoti & Co. Ltd | 15.7 | Tamil Nadu | Wind power directory gives this capacity as 15.7 MW in tamil nadu | Tamil Nadu - http://cdm.unfccc.int/UserManagement/FileStorage/AE2042RXII12SBXNF29XDKVT2BCEWG
58 | Arvind A Traders | 15.6 | Tamil Nadu | 4 x 1.65 MW and 2 x 0.75 MW is part of 38.75 MW CDM project and 6 x 1.25 MW is part of 16.45 MW CDM project. Both links provided. Total is 6.6 + 1.5 + 7.5 = 15.6 MW | Tamil Nadu - http://cdm.unfccc.int/UserManagement/FileStorage/XGCBWXVO0BCUYOG0R3OGBXZGSW9HJ8, http://www.tuvdotcom.com/pi/web/PinDownload.xml?strUrlId=3&strUserId=&TUVdotCOMID=9105043814&strType=UserManualDownload&strDocumentID=19694&strTypeID=8&menuOption=process&isManualNeeded=true&isPictureNeeded=false&isRatingNeeded=false&isSecureNeeded=false&isIDNeeded=false&isTypeNeeded=true&isHolderNeeded=true
59 | Goetze (I) Finance Services Ltd | 15.58 | Madhya Pradesh and Karnataka | Wind power directory gives this capacity as 15.58 MW in MP and Karnataka | Madhya Pradesh - http://www.windpowerindia.com/statpriv.asp
60 | Loyal Textile Mills Ltd | 15.35 | Tamil Nadu | The PDD is for 22.25 including WEGs commissioned after march 2007 | Tamil Nadu - http://cdm.unfccc.int/UserManagement/FileStorage/TPAONMX73CHPZ69AQ5CSP9BI1UKU99
61 | Indian Petrochemicals Co. Ltd | 15.315 | Gujarat | The project is a captive project and hence has been excluded due to reasons stated above. Additionally the project was commissioned phase-wise in March 1997, the regulatory environment then prevailing and the policies pursued were different from those existing at the time of the start of proposed project activity by HZL. Thus this project cannot be compared to the proposed HZL project activity.
62 | MRF Ltd | 15.3 | Tamil Nadu | The PDD is for 14.4 MW enercon turbines further to this MRF have 4 x 0.225 NEPC turbines also in TN This totals to 14.4 + 0.9 = 15.3 MW. The details of NEPC turbines is given in wind power directory | Tamil Nadu - http://www.sgsqualitynetwork.com/tradeassurance/ccp/projects/272/MRF%20PDD.pdf
* Please note that out of the above list of investors, the capacity implemented by them in Gujarat is being considered for common practice analysis