## COVER
PROJECT REPORT
ON
W.H.R.B. POWER PLANT (WITHOUT CDM)
AARTI Sponge and Power Ltd.

## Assumption
ASSUMPTION
|  | WHRB | AFBC
1 | Project cost per MW | 45 | 40 | Million Rs.
2 | Capacity | 4.5 | 5.5 | MW
| Working days in year | 350 | 350 | days
| Working hours in a day | 24 | 24 | Hrs
3 | Auxiliary consultion | 10% | 0.1 | ( for Estimation, practical knowledge and evident with CEA documents)
4 | PLF | 66% | 0.95 | (conservatively estimated. Which has been even justified by the actuall issuance for CDM projects, and Actual PLF achieved by other Sponge Iron Project)
5 | Manpower (is considered based on dedicated manpower |  |  | Millioj Rs./Year
in combination of AFBC + WHRB in
comparison to Single AFBC Power Plant'
a) | Manpower required for Single AFBC Power Plant | 80 | 80
b) | Manpower considered in combination of power plants | 104
c) | Manpower considered for WHRB | 30
6 | Depreciation on straight line method |  |  | ( As per The Indian Companies Act 1956)
| a) On Building & Civil | 3.34% | 3.34% | 3.34%
| b) On P & M | 5.28% | 5.28%
7 | Interest rate | 12.5% | 12.5% | (Banker rate on which loan has been provided)
8 | Backup power cost
| a) Power | 2.25 | 0 | MW (50% back power is considered for WHRB Power Plant)
| b) Rate / KVA (fixed charges) | 200 | 200 | KVA | As per CSEB tariff
9 | Repair and Maintenance & Consumables | 3% | 3% | On Project cost
10 | Raw Material cost per MWh | 0 |  | No fuel is required.
| a) Coal | 0.25 | 25% | ton/ton @ | 1200
| b) Coal Middling | 0.9 | 90% | ton/ton @ | 300
| c) Char/ Dolochar | 0.49972 | 49.97% | ton/ton @ | 50

## Investment Analysis Page
Investment Analysis
| 4.5 | MW WHRB Power Plant |  | 5.5
WHRB BASED POWER PLANT (WITHOUTCDM)
A] | Identified Financial Indicators
1 | Capacity |  |  | 10 | MW
2 | IRR |  |  | 14.52%
3 | Average Cost Benefit Ratio |  |  | 8.344%
4 | 15 years Average unit cost of electricty generation |  |  | 1498.7126 | Rs./MWh
B] | The Parameters used for the above.
1 | Investment per MW |  |  | 42.25 | Million Rs./MWh
2 | Number of operational days/Year |  |  | 350 | Days
3 | PLF |  |  | 68.27%
a) Variable Cost
4 | Operation and Maintainance Cost/MW |  |  | 217.3105 | Rs./MWh
C] | Fixed Cost per annum
5 | Fuel Cost per MWh |  |  | 421.4404 | Rs./MWh
6 | Average Manpower cost per MWh |  |  | 257.0867 | Rs./MWh
7 | Depreciation per MW |  |  | 340.2513 | Rs./MWh
8 | Interest Rate |  | 12.5% | 148.8978 | Rs./MWh
9 | Backup power cost |  |  | 87.1612 | Rs./MWh
10 | Administrative Exp. |  |  | 26.5648 | Rs./MWh

## project
AARTI Sponge and Power Ltd.
|  | 4.5 | MW WHRB Power Plant |  | 5.5 | MW AFBC
WHRB BASED POWER PLANT (WITHOUTCDM)
TECHNICAL ANNEXURE - I :: COST OF PROJECT | [6 empty] | (Rs.in Million)
S.NO. | PARTICULARS |  |  |  |  | AMOUNT | AMOUNT | AMOUNT
[6 empty] | EXISTING | PROPOSED | TOTAL
1. | Land and Site Development Already exist | [5 empty] | 0 | 0
2. | Building and Civil Work |  |  |  |  | 0 | 63.375 | 63.375
3. | Plant & Machinery & Other Equipments |  |  |  |  | 0 | 359.125 | 359.125
4. | Electrical installation & Misc. Fixed Assets |  |  |  |  | 0 | 0 | 0
5 | Preliminary and Preoperative Expenses |  |  |  |  | 0 | 0 | 0
5 | Preliminary expenses for CDM Activity | [5 empty] | 0 | 0
6 | Deposits with C.S.E.B. & others |  |  |  |  | 0 | 0 | 0
7 | Contingencies |  |  |  |  | 0 | 0 | 0
8 | Margin Money for Working Capital |  |  |  |  | 0 | 0 | 0
|  | T O T A L |  |  |  |  | 422.5 | 422.5
M E A N S O F F I N A N C E
[7 empty] | AMOUNT | AMOUNT
S.NO. | P A R T I C U L A R S | [5 empty] | PROPOSED | TOTAL
E Q U I T Y:
| Promoters Contribution | [5 empty] | 143.5 | 143.5
2 | Unsecured loans from relatives |  |  |  |  | 0 | 0 | 0
[7 empty] | 143.5 | 143.5
D E B T:
| Term Loan from Bank |  |  | 66% |  |  | 279 | 279
|  | T O T A L |  |  |  |  | 422.5 | 422.5
DER = | 1.9443 | IRR= | 14.52%
DSCR= | 2.1414 | BEP= | 60.19%
US$ Conversion Rate in Rs. |  |  | 45
422.5

## pre-operative
0
AARTI Sponge and Power Ltd.
TECHNICAL ANNEXURE - II :: PRELIMINARY & PRE-OPERATIVE EXPENSES
(Rs.in Million)
S.NO. |  |  | P A R T I C U L A R S |  |  |  |  | AMOUNT
(A) | PRELIMINARY EXPENSES
1. |  | Adjusted in Project cost
[7 empty] | TOTAL :: | 0
(B) | PRE-OPERATIVE EXPENDITURE :
Adjusted in Project cost
[7 empty] | TOTAL :: | 0
[7 empty] | GRAND TOTAL :: | 0
CDM PRELIMINARY EXPENSES :
1 | PDD Development Consultancy Charges
2 | Validation Charges
3 | Verification Charges
4 | Additional Equipments for CDM activity
5 | Administrative Expenses i.e. Travel etc.
6 | Registration Charges |  |  | @U$ | 15000
7 | Misc.Exp.
[7 empty] | TOTAL :: | 0
Deposits:
1 | Adjusted in project cost | [6 empty] | 0
[6 empty] | TOTAL:: | OR SAY :: | 0
CONTINGENCIES: |  |  | Adjusted in project cost
S.No. | PARTICULARS |  |  |  | AMOUNT | RATE | RATE | TOTAL
1. | Site Development |  |  |  |  | 0.01 | 1% | 0
2. | Plant & Machinery |  |  |  |  | 0.01 | 1% | 0
3. | Building & Civil Work |  |  |  |  | 0.01 | 1% | 0
4. | Miscellaneous Fixed Assets |  |  |  |  | 0.01 | 1% | 0
[7 empty] | TOTAL :: | 0
[7 empty] | OR SAY :: | 0

## landsite (hidden)
0
AARTI Sponge and Power Ltd.
TECHNICAL ANNEXURE - III :: LAND & SITE DEVELOPMENT |  |  |  |  | (Rs.in Million)
S.NO. |  | P A R T I C U L A R S |  |  |  | AMOUNT
L A N D :
1. | COST OF LAND |  | Already exist |  |  | 0
including legal expenses for reg.
|  |  |  | TOTAL |  | 0
S I T E D E V E L O P M E N T :
1 | Site Development, Filling & Levelling |  |  |  | 12
2 | Tubewell with motor |  |  |  | 3
3 | Boundary Wall |  |  |  | 13
4 | Roads including Culverts |  |  |  | 6
5 | Green Belt Development |  |  |  | 3
5 | Main Gate |  |  |  | 2
|  |  |  | TOTAL |  | 0
|  |  |  | GRAND TOTAL |  | 0
|  |  |  | OR SAY :: |  | 0

## Miscfa (hidden)
#REF!
#REF!
TECHNICAL ANNEXURE - VI :: ELECTRICAL INSTALATION & MISCELLANEOUS FIXED ASSETS
#REF!
Sl.No. | Particulars |  | Amout
1 | Other Office Furniture & Equipment |  | 0
|  | Total : | 0
0
New assets to be acquired |  |  |  |  | Allocation
|  | Cost | Contin- | Total | of Pre-op. | Total | GRAND
|  |  | gencies |  | Expenses | Cost | TOTAL
Land |  | 0 | 0 | 0 | 0 | 0 | 0
Civil Work (Bldg & Site Dev.) |  | 63.375 | 0 | 63.375 | 0 | 63.375 | 63.38
Plant & Machinery |  | 359.125 | 0 | 359.125 | 0 | 359.125 | 359.13
Misc.Fixed Assets |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 422.5 | 0 | 422.5 | 0 | 422.5 | 422.51

## sales
TECHNICAL ANNEXURE - VIII :: ANNUAL SALES REALISATION
S.NO. | I T E M S |  |  |  |  | QTY. | RATE
[6 empty] | (IN MW) | PER MWh |  | AMOUNT
(INR)
Power Generation WHRB
| No of Hrs. |  |  | 24 | Hrs. | 37800 | 2250 |  | 85.05
| No. of Working Days |  |  | 350 | Days
| Net Plant Capacity |  |  | 4.5 | MW
Power Generation AFBC
| No of Hrs. |  |  | 24 | Hrs. | 46200 | 2250 |  | 103.95
| No. of Working Days |  |  | 350 | Days
| Net Plant Capacity |  |  | 5.5 | MW
[6 empty] | 84000 |  |  | 189
| Less: for own consumption @ |  |  | 10% |  | 8400 | 2250 |  | 18.9
|  | T O T A L : |  |  |  | 75600 | 0.00225 |  | 170.1
0.8195
A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E
P A R T I C U L A R S |  |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  |  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Capacity Utilisation WHRB |  |  | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66%
Capacity Utilisation AFBC |  |  | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95%
WHRB Generation |  |  | 34020 | 34020 | 34020 | 34020 | 34020 | 34020 | 34020 | 34020 | 34020 | 34020 | 34020 | 34020 | 34020 | 34020 | 34020
AFBC Generation |  |  | 41580 | 41580 | 41580 | 41580 | 41580 | 41580 | 41580 | 41580 | 41580 | 41580 | 41580 | 41580 | 41580 | 41580 | 41580
Quantity Produced |  |  | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2
Add Opening Stock of |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finished Goods
Less Closing Stock of |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finished Goods
Total Sales (Qty) |  |  | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2
Total Sales (Amt) |  |  | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4
Less: Excide Duty |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Sales |  |  | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4
ANNUAL CEF SALES REALISATION
S.NO. | I T E M S |  | A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 4th: QTY.; A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 5th: RATE
[6 empty] | (IN MW) | PER |  | AMOUNT
MT
1) | CER Generation
[6 empty] | 37132.2 | 0 | $US | #DIV/0!
| Total Power exported to for |  | A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 2nd: 29400; A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 5th: 0; A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 6th: INR
consumption in the Unit
| CO2 Reduction /MWh |  | A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 2nd: 1.263
| Convertion Rate of $US = |  | A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 2nd: 45
-
|  | T O T A L : | A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 4th: 37132.2; A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 5th: #DIV/0!; A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 7th: #DIV/0!
P A R T I C U L A R S |  |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th
|  |  | Year | Year | Year | Year | Year | Year | Year | Year
Capacity Utilisation |  |  | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66%
Emission Reduction Generate |  |  | 24507.25 | 24507.25 | 24507.25 | 24507.25 | 24507.25 | 24507.25 | 24507.25 | 24507.25
Add Opening Stock of |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finished Goods
Less Closing Stock of |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finished Goods
Total Sales (Qty) |  |  | 24507.25 | 24507.25 | 24507.25 | 24507.25 | 24507.25 | 24507.25 | 24507.25 | 24507.25
Total Sales (Amt) |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Less: Excide Duty |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Net Sales |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Applicable
Tarrif
Note: | The total annual generation considered |  | #DIV/0! 6th: 75600; #DIV/0! 7th: MWh at PLF | 100% | 2.32 | Rs./KWh
| Monthly average generation |  | #DIV/0! 6th: 6300; #DIV/0! 7th: MWh at PLF | 100% | 2.32 | Rs./KWh
| The total annual generation considered |  | #DIV/0! 6th: 49896; #DIV/0! 7th: MWh at PLF | 66% | 2.32 | Rs./KWh
| Monthly average generation |  | #DIV/0! 6th: 4158; #DIV/0! 7th: MWh at PLF | 66% | 2.32 | Rs./KWh
| Monthly average generation during the end of campaign life for 4 months |  | #DIV/0! 6th: 2835; #DIV/0! 7th: MWh at PLF | 45% | 1.74 | Rs./KWh
| Total generation during the end of campaign life of 4 months |  | #DIV/0! 6th: 11340; #DIV/0! 7th: MWh at PLF | 45% | 1.74 | Rs./KWh | 19731.6
| Balance unit generated during normal 8 months |  | #DIV/0! 6th: 38556; #DIV/0! 7th: MWh |  | 2.32 | Rs./KWh | 89449.92
| Monthly average generation during the normal campaign life for 8 months |  | #DIV/0! 6th: 4819.5; #DIV/0! 7th: MWh at PLF | 76.5% | 2.32 | Rs./KWh
[11 empty] | Total Revenue |  |  | 109181.52
[11 empty] | Total Unit |  |  | 49896
[11 empty] | Average Tariff |  |  | 2.1882
How we have arrived at 45% = Considering that 10 days shutdown is there in the plant during one month then 66% of the time the plant is not in operation
hence the average PLF for the year works out to 75% * 66% = 45%
In an other way the best average of a month can be 90% and during the campaign period maximum 50% of the best average is possible to achieve which brings
it donw to 45%.
PLF

## rawmaterial
0
TECHNICAL ANNEXURE - IX :: ANNUAL ESTIMATES OF RAW MATERIAL & FUEL REQUIRED
0
S.NO. | RAW MATERIAL | Reqd. |  | QTY |  | RATE |  |  | AMOUNT
| FUEL | per Unit |  | (In MT)
NIL
WHRB
AFB
| Coal | 0.25 |  | 11550 |  | 1200 |  |  | 13.86
| Coal Middling | 0.9 |  | 41580 |  | 300 |  |  | 12.474
| Char/ Dolochar | 0.49972 |  | 23087.0314 |  | 50 |  |  | 1.1544
| T O T A L : | 1.6497 |  | 76217.0314 |  |  |  |  | 27.4884
363.6025
1 | Thermal Efficiency of Boiler |  | 86%
2 | Steam required per ton/MWh |  | 3992.4
3 | total thermal energy required /KWh for Power generation= steam required/KWh* Enthalpy / Thermal Efficiency of Boiler
|  |  | 15656243.0233 |  | 3754494.7298 | KJ/MWh
4 | Steam energy require /KWh |  | 13464369
5 | Enthalpy of Steam |  | 3372.5 | KJ/Kg
6 | Calorific value in Fuel Required/ heat rate |  | 3754.4947 | K Cal/kWh
7 | calorifica value of fuel |  |  |  | % Energy from fuel
8 | Coal = K Cal | 3600 | 900 |  | 23.97%
| Coal Middling = K Cal | 2500 | 2250 |  | 59.93%
| Char /dolochar = K Cal | 2000 | 604.4947 | 0.30225 | 16.1%
Source of data=
ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE
P A R T I C U L A R S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Capacity Utilisation |  | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95%
Quantity ( in M.T.) |  | 72406.18 | 72406.18 | 72406.18 | 72406.18 | 72406.18 | 72406.18 | 72406.18 | 72406.18 | 72406.18 | 72406.18 | 72406.18 | 72406.18 | 72406.18 | 72406.18 | 72406.18
Amount |  | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11
CDM Operating Expenses per Annum
S.NO. | I T E M S | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 1st: Reqd.; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: QTY; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: RATE; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: AMOUNT
|  | per Unit |  | (In MT)
1) | a)CDM EB Administrative Cost@ | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 2nd: 0.1; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: 15000; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 4th: @ Rs.; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: 0; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 6th: / tCO2 eq; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 9th: 4.5
| '( upto 15000 tCO2 e) | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 2nd: ($US)
| b)CDM EB Administrative Cost@ | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 2nd: 0.2; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: 9507.25; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 4th: @ Rs.; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: 0; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 6th: / tCO2 eq; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 9th: 9
| '( 15000 and above tCO2 e) | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 2nd: ($US)
2) | Project Developer Share of CER | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 2nd: 10%; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: 24507.25; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 4th: @ Rs.; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: 0; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 6th: / tCO2 eq; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 9th: 45
3) | Annual verification charges | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: 24507.25; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 4th: @ Rs.; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: 45; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 6th: / tCO2 eq; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!
4) | Annual Administrative Expenses | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: 24507.25; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 4th: @ Rs.; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: 10; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 6th: / tCO2 eq; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!
5) | Annual Equipments Monitoring & Maintenance | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: 24507.25; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 4th: @ Rs.; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: 0; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 6th: / tCO2 eq; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 9th: 10
6) | Insurance againg CER | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!
7) | Interest and Repayment of Fixed Cost | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 4th: @; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: 0%; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: 0
| T O T A L : | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: 24507.25; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: #DIV/0!; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!
ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE
P A R T I C U L A R S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th
|  | Year | Year | Year | Year | Year | Year | Year | Year
Capacity Utilisation |  | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95%
Quantity ( in M.T.) |  | 23281.89 | 23281.89 | 23281.89 | 23281.89 | 23281.89 | 23281.89 | 23281.89 | 23281.89
Amount |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## admin
TECHNICAL ANNEXURE - X :: ADMINISTRATIVE EXPENSES
S.No. |  | P A R T I C U L A R S | [6 empty] | AMOUNT
1. | Postal Expenses | [7 empty] | 0.05
2. | Printing & Stationary | [7 empty] | 0.1
3. | Travelling & Conveyence | [7 empty] | 0.1
4 | Insurance of Fixed Assets | [7 empty] | 0.16667
5 | Telephone | [7 empty] | 0.05
6 | Staff Welfare & Entertainment | [7 empty] | 0.5
7 | Audit Fees | [7 empty] | 0.05
8 | Miscellanceous | [7 empty] | 0.1
|  |  |  | T O T A L |  |  |  |  | 1.1167
Particulars |  | Increase | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | upto 3 yrs | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Administrative |  | 0% | 1.1167 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12
Expenses
TECHNICAL ANNEXURE - XI :: REPAIRS & MAINTENANCE & CONSUMABLES |  |  | 1.1167 7th: 0
P A R T I C U L A R S |  |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  |  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Stores & Consumables |  |  | 0.7833 | 0.7833 | 0.7833 | 0.7833 | 0.7833 | 0.7833 | 0.7833 | 0.7833 | 0.7833 | 0.7833 | 0.7833 | 0.7833 | 0.7833 | 0.7833 | 0.7833
Repairs & Maintainance |  | 3% | 12.68 | 12.68 | 12.68 | 12.68 | 12.68 | 12.68 | 12.68 | 12.68 | 12.68 | 12.68 | 12.68 | 12.68 | 12.68 | 12.68 | 12.68
Base % on net block
1st Year
| 2nd Year | 2%
| 3rd Year | 2%
onwards
T O T A L : |  |  | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633
Annual Production |  |  | 1st: 75600; 2nd: Tonns
Yearly Requirement |  |  | 1st: 0; 2nd: Tonne
Rate per Ton |  |  | 1st: 2300; 2nd: Rs.Per Ton
Total |  |  | 1st: 0; 2nd: Lakhs Rs.
- | - | - | bar: 1st to 3rd
TOTAL |  |  | 1st: 0; 2nd: Lakhs Rs.

## salary
0
TECHNICAL ANNEXURE - XII :: SALARY & WAGES | [8 empty] | 0
[8 empty] | Manpower | Manpower | Manpower | MONTHLY |  | YEARLY
[8 empty] | for Stand alone | for combination of | for WHRB
S.No. | PARTICULARS |  |  |  |  | NOS. |  | AFBC PP. | AFBC + WHRB |  | SALARY |  | SALARY
A. | ADMINISTRATIVE STAFF:
(a) | Generam Manager | [6 empty] | 1 | 1 | 0 | 50000 |  | 0.6
(b) | Accountants | [6 empty] | 1 | 1 | 0.5 | 15000 |  | 0.18
(c) | Clerck | [6 empty] | 5 | 5 | 2.5 | 6500 |  | 0.39
(d) | Peons | [6 empty] | 2 | 2 | 1 | 4000 |  | 0.096
[8 empty] | 9 | 9 | 4 |  |  | 1.266
| Add : Benefits |  |  | 30% | [8 empty] | 0.3798
[11 empty] | Sub Total :: |  | 1.6458
B. | PRODUCTION STAFF :
1 | General manager Production | [6 empty] | 1 | 1 | 0 | 40000 |  | 0.48
2 | Deputy Gneral manager | [6 empty] | 3 | 3 | 2 | 30000 |  | 1.08
3 | Electrical engg, | [6 empty] | 4 | 8 | 4 | 30000 |  | 2.88
4 | Bioler Operator | [6 empty] | 4 | 12 | 8 | 15000 |  | 2.16
5 | Turbine Operator | [6 empty] | 4 | 4 | 0 | 15000 |  | 0.72
6 | Mechanical/ Electrical Asstt. | [6 empty] | 8 | 12 | 4 | 7500 |  | 1.08
7 | Field Supervisior | [6 empty] | 5 | 9 | 4 | 6000 |  | 0.648
8 | Fuel Feedding system operator | [6 empty] | 10 | 10 | 0 | 4500 |  | 0.54
8 | Skilled Workers | [6 empty] | 10 | 12 | 2 | 4500 |  | 0.648
10 | Unskilled Worker | [6 empty] | 12 | 12 | 0 | 4000 |  | 0.576
11 | Technical / Jr. Engg. | [6 empty] | 10 | 12 | 2 | 10000 |  | 1.44
[8 empty] | 71 | 95 | 26 |  |  | 12.252
26
| Add : Benefits |  |  | 30% | [8 empty] | 3.6756
[8 empty] | 80 | 104 | 30 | Sub Total :: |  | 15.9276
|  |  |  | GRAND TOTAL :: |  |  |  | 80 | 104 | 30 |  |  | 17.5734
Increase
|  | upto 3 | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
PARTICULARS |  | years | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Admn.Salary |  | 0% | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458
Salary/Wages |  | 0% | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276

## Power
0
TECHNICAL ANNEXURE - XIII :: ESTIMATES OF UTILITIES | [7 empty] | 0
1. | Power Required for Auxilary Load:
| Misc. Load |  |  |  | 0 | HP | 0 | KW | 9469.697
| a) Light & Fan Load and Misc. Load |  |  |  | 0 | HP | 0 | KW
2. | Total Installed Load | [5 empty] | 0 | KW
3. | Load at Power Factor (Rounded off) |  |  |  | 90% |  | 0 | KVA
Maximum Desired Load
4. | Computation of Power Bill
| Consumable Load at average Load Factor |  |  |  | 80% |  | 0 | K.W.
5. | Working Hrs / per day | [5 empty] | 24 | Hrs.
6. | No. of Working Days in a year | [5 empty] | 330 | Days
7. | Total Power consumed( in Lacs units) |  |  | 529.2 |  |  | 0 | Units
8. | Power Rate per unit | [5 empty] | 3.9 | Rs./unit
9. | Total Power Bill | [5 empty] | 0 | Lakh Rs.
C O S T O F U T I L I T I E S
PARTICULARS |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Capacity Utilisation |  | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66%
POWER |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T O T A L : |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Estimated of Demand Charges payable
Calculation fo Stand Bye Power Cost ::
Required contract demand |  | C O S T O F U T I L I T I E S 7th: 2.25; C O S T O F U T I L I T I E S 8th: MW
Power Factor |  | C O S T O F U T I L I T I E S 7th: 90%
Total Requirement in MVA is |  | C O S T O F U T I L I T I E S 7th: 2.5; C O S T O F U T I L I T I E S 8th: MVA
Contract Demand at PLF |  | C O S T O F U T I L I T I E S 3rd: 90%; C O S T O F U T I L I T I E S 7th: 2.25; C O S T O F U T I L I T I E S 8th: MVA
Standby Demand charges payable to the Grid |  | C O S T O F U T I L I T I E S 7th: 200; C O S T O F U T I L I T I E S 8th: per KVA/Month
[6 empty] | or Say |  | 200000 | per MVA/Month
Yearly Charges |  | C O S T O F U T I L I T I E S 7th: 5.4; C O S T O F U T I L I T I E S 8th: Million Rs./ Year

## marginemoney
0
FINANCIAL ANNEXURE - I :: WORKING CAPITAL REQUIREMENT | [8 empty] | 0
PARTICULARS |  | Period | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | (days) | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Raw Material |  | 30 | 2.24 | 2.24 | 2.24 | 2.24 | 2.24 | 2.24 | 2.24 | 2.24 | 2.24 | 2.24 | 2.24 | 2.24 | 2.24 | 2.24 | 2.24
Consumables |  | 30 | 1.15 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35 | 1.35
Goods-in-process |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finished Goods |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Receivables |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL CURRENT ASSETS |  |  | 3.39 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59
LESS : BANK FINANCE |  | 74% | 2.5086 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566
MARGIN MONEY |  |  | 0.8814 | 0.9334 | 0.9334 | 0.9334 | 0.9334 | 0.9334 | 0.9334 | 0.9334 | 0.9334 | 0.9334 | 0.9334 | 0.9334 | 0.9334 | 0.9334 | 0.9334
D.S.C.R. | :: |  | 1st: 2.1414
B.E.P. | :: |  | 1st: 39.72%
I.R.R. | :: |  | 1st: 14.52%

## profitloss
FINANCIAL ANNEXURE - II :: COST OF PRODUCTION & PROFITABILITY ESTIMATES
P A R T I C U L A R S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th | 1st
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
No. Of Working Days |  | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350
No. Of Shifts |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Installed Capacity |  | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2 | 61954.2
ANNUAL AVERAGE PLANT LOAD FACTOR |  | 100% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66% | 66%
Sales Realisation |  | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4
CDM Receipt
tCO2 equ. Sales (Qty) |  | 24507.25 | 24507.25 | 24507.25 | 24507.25 | 24507.25 | 24507.25 | 24507.25 | 24507.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CER Receipts |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less: Excise Duty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Sales |  | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4 | 139.4
Cost Of Production
a)Raw Material |  | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 26.11 | 421.4404
c)Salary & Wages |  | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 15.9276 | 257.0867
e)Power |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
f)Repairs & maintainence |  | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 13.4633 | 217.3105
g)Depreciation |  | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 340.2513
T O T A L : |  | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 1236.0889
Add : Opening Stock of |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finished Goods
|  | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 1236.0889
Less : Closing Stock of |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finished Goods
Cost Of Sales |  | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 76.5809 | 1236.0889
Gross Profit |  | 62.8191 | 62.8191 | 62.8191 | 62.8191 | 62.8191 | 62.8191 | 62.8191 | 62.8191 | 62.8191 | 62.8191 | 62.8191 | 62.8191 | 62.8191 | 62.8191 | 62.8191 | 1013.9603
Gross Profit Ratio |  | 45.0639 | 45.0639 | 45.0639 | 45.0639 | 45.0639 | 45.0639 | 45.0639 | 45.0639 | 45.0639 | 45.0639 | 45.0639 | 45.0639 | 45.0639 | 45.0639 | 45.0639 | 727.3747
Administrative Expenses
a) Admn. Staff |  | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 26.5648
a) Admn. Expenses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b) Wheeling Expense | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
c) Demand Charges payable |  | 5.4 | 5.4 | 5.4 | 5.4 | 5.4 | 5.4 | 5.4 | 5.4 | 5.4 | 5.4 | 5.4 | 5.4 | 5.4 | 5.4 | 5.4 | 87.1612
for Standby Power
Financial Expenses
a)Intt.On Long Term Loan |  | 34.88 | 33.13 | 27.9 | 20.05 | 11.34 | 4.8 | 1.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 562.9965
b)Interest on W.C. |  | 0.31357 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 5.0614
c) CDM Expenses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
G R A N D T O T A L |  | 42.2394 | 40.5079 | 35.2779 | 27.4279 | 18.7179 | 12.1779 | 8.6879 | 7.3779 | 7.3779 | 7.3779 | 7.3779 | 7.3779 | 7.3779 | 7.3779 | 7.3779 | 681.7839
Operating Profit |  | 20.5797 | 22.3112 | 27.5412 | 35.3912 | 44.1012 | 50.6412 | 54.1312 | 55.4412 | 55.4412 | 55.4412 | 55.4412 | 55.4412 | 55.4412 | 55.4412 | 55.4412 | 332.1764
Amortisation of Preliminary exp. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Amortisation of CDM Preli. exp. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit before tax |  | 20.5797 | 22.3112 | 27.5412 | 35.3912 | 44.1012 | 50.6412 | 54.1312 | 55.4412 | 55.4412 | 55.4412 | 55.4412 | 55.4412 | 55.4412 | 55.4412 | 55.4412 | 332.1764
Taxation |  | 2.3317 | 2.5279 | 3.1204 | 4.0098 | 4.9967 | 5.7377 | 6.1331 | 6.2815 | 6.2815 | 6.2815 | 23.54 | 24.04 | 24.44 | 24.74 | 24.97 | 37.6356
Net Profit after tax |  | 18.248 | 19.7834 | 24.4208 | 31.3814 | 39.1046 | 44.9036 | 47.9982 | 49.1597 | 49.1597 | 49.1597 | 31.9012 | 31.4012 | 31.0012 | 30.7012 | 30.4712 | 294.5408
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dividend |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Corporate Dividend Tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Surplus during the year |  | 18.248 | 19.7834 | 24.4208 | 31.3814 | 39.1046 | 44.9036 | 47.9982 | 49.1597 | 49.1597 | 49.1597 | 31.9012 | 31.4012 | 31.0012 | 30.7012 | 30.4712 | 294.5408
Cumulative Surplus |  | 18.248 | 38.0314 | 62.4522 | 93.8336 | 132.9382 | 177.8417 | 225.8399 | 274.9996 | 324.1594 | 373.3191 | 405.2203 | 436.6215 | 467.6228 | 498.324 | 528.7952 | 294.5408
0
Per Unit Cost |  | 1917.8728 | 1889.9247 | 1805.5075 | 1678.801 | 1538.2133 | 1432.6515 | 1376.3195 | 1355.1749 | 1355.1749 | 1355.1749 | 1355.1749 | 1355.1749 | 1355.1749 | 1355.1749 | 1355.1749 | 30956.3
Average per Unit cost |  | 1st: 1498.7126; 2nd: Rs./MWh; 1st: 24190.6541
0
Cost Benefit (year wise) |  | 4.319% | 4.682% | 5.78% | 7.428% | 9.256% | 10.63% | 11.36% | 11.64% | 11.64% | 11.64% | 7.551% | 7.432% | 7.338% | 7.267% | 7.212% | 0.69714
Average Cost benefit |  | 1st: 8.344%; 1st: 1.3468
0
Operation and Maintainance / MW |  | 217.3105 | 217.3105 | 217.3105 | 217.3105 | 217.3105 | 217.3105 | 217.3105 | 217.3105 | 217.3105 | 217.3105 | 217.3105 | 217.3105 | 217.3105 | 217.3105 | 217.3105 | 3507.5996
Average Cost benefit |  | 1st: 217.3105; 1st: 3507.5996
0
Average PLF |  | 1st: 68.27%; 1st: 11.0189
0
Fuel Cost per MW |  | 421.4404 | 421.4404 | 421.4404 | 421.4404 | 421.4404 | 421.4404 | 421.4404 | 421.4404 | 421.4404 | 421.4404 | 421.4404 | 421.4404 | 421.4404 | 421.4404 | 421.4404 | 6802.4501
|  | 421.4404 | [14 empty] | 6802.4501
Manpoer Cost /MW |  | 257.0867 | 257.0867 | 257.0867 | 257.0867 | 257.0867 | 257.0867 | 257.0867 | 257.0867 | 257.0867 | 257.0867 | 257.0867 | 257.0867 | 257.0867 | 257.0867 | 257.0867 | 4149.6248
Average Manpower cost/MW |  | 1st: 257.0867; 1st: 4149.6248
0
Depreciation / MW |  | 340.2513 | 340.2513 | 340.2513 | 340.2513 | 340.2513 | 340.2513 | 340.2513 | 340.2513 | 340.2513 | 340.2513 | 340.2513 | 340.2513 | 340.2513 | 340.2513 | 340.2513 | 5491.9819
Average Depreciation /MW |  | 1st: 340.2513; 1st: 5491.9819
Interest |  | 568.0579 | 540.1099 | 455.6927 | 328.9862 | 188.3984 | 82.8366 | 26.5047 | 5.36 | 5.36 | 5.36 | 5.36 | 5.36 | 5.36 | 5.36 | 5.36 | 9168.998
Average Depreciation /MW |  | 1st: 148.8978; 1st: 2403.3522
Backup power cost |  | 87.1612 | 87.1612 | 87.1612 | 87.1612 | 87.1612 | 87.1612 | 87.1612 | 87.1612 | 87.1612 | 87.1612 | 87.1612 | 87.1612 | 87.1612 | 87.1612 | 87.1612
Average Depreciation /MW |  | 1st: 87.1612
Administrative Exp |  | 26.5648 | 26.5648 | 26.5648 | 26.5648 | 26.5648 | 26.5648 | 26.5648 | 26.5648 | 26.5648 | 26.5648 | 26.5648 | 26.5648 | 26.5648 | 26.5648 | 26.5648
Average Depreciation /MW |  | 1st: 26.5648

## Interest
FINANCIAL ANNEXURE - III :: SCHEDULE OF INTERST ON TERM LOAN & CASH CREDIT
Interest Calculated @ | 12.5% | P.A. on Term Loan
Interest Calculated @ | 12.5% | P.A. on Cash Credit Limit
Interest Calculated@ | 12.5% | P.A. on Unsecured Loans
Moratarium Period | 24 | Months
P.A. on Unsecured Loan
Monthly Instalments | 60
Amount of Term Loan (Rs.) | 279 | Lakhs
P A R T I C U L A R S | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
| Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
TERM LOAN
1st half balance | 279 | 265.05 | 223.2 | 160.425 | 90.675 | 20.925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(Closing Balance)
2nd half balance | 279 | 251.1 | 195.3 | 125.55 | 55.8 | 20.925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(Closing Balance)
Average Balance | 279 | 265.05 | 223.2 | 160.43 | 90.68 | 38.36 | 10.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest | 34.88 | 33.13 | 27.9 | 20.05 | 11.34 | 4.8 | 1.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Repayment during year | 0 | 27.9 | 55.8 | 69.75 | 69.75 | 69.75 | 27.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CASH CREDIT LIMIT | 2.5086 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566
Interest on CC Limit | 0.31357 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208
UNSECURED LOAN
Loan Amount | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest on Unsecured Loan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Interest | 35.1936 | 33.4621 | 28.2321 | 20.3821 | 11.6721 | 5.1321 | 1.6421 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208

## dEPRI
FINANCIAL ANNEXURE - IV :: DEPRECIATION (AS PER STRAIGHT LINE METHOD)
P A R T I C U L A R S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Land | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building | 3.34% | 2.12 | 2.12 | 2.12 | 2.12 | 2.12 | 2.12 | 2.12 | 2.12 | 2.12 | 2.12 | 2.12 | 2.12 | 2.12 | 2.12 | 2.12
Residual Cost | 63.38 | 61.26 | 59.14 | 57.02 | 54.9 | 52.78 | 50.66 | 48.54 | 46.42 | 44.3 | 42.18 | 40.06 | 37.94 | 35.82 | 33.7 | 31.58
P/M & other assets | 5.28% | 18.96 | 18.96 | 18.96 | 18.96 | 18.96 | 18.96 | 18.96 | 18.96 | 18.96 | 18.96 | 18.96 | 18.96 | 18.96 | 18.96 | 18.96
Residual Cost | 359.13 | 340.17 | 321.21 | 302.25 | 283.29 | 264.33 | 245.37 | 226.41 | 207.45 | 188.49 | 169.53 | 150.57 | 131.61 | 112.65 | 93.69 | 74.73
Total Annual Depreciation |  | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08
Total Residual Cost | 422.51 | 401.43 | 380.35 | 359.27 | 338.19 | 317.11 | 296.03 | 274.95 | 253.87 | 232.79 | 211.71 | 190.63 | 169.55 | 148.47 | 127.39 | 106.31
DEPRECIATION (AS PER WRITTEN DOWN VALUE METHOD) | 226.41: (Rs. in Lacs)
P A R T I C U L A R S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Land | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building | 10% | 6.34 | 5.7 | 5.13 | 4.62 | 4.16 | 3.74 | 3.37 | 3.03 | 2.73 | 2.46 | 2.21 | 1.99 | 1.79 | 1.61 | 1.45
Residual Cost | 63.38 | 57.04 | 51.34 | 46.21 | 41.59 | 37.43 | 33.69 | 30.32 | 27.29 | 24.56 | 22.1 | 19.89 | 17.9 | 16.11 | 14.5 | 13.05
P/M & other assets | 25% | 89.78 | 67.34 | 50.5 | 37.88 | 28.41 | 21.31 | 15.98 | 11.98 | 8.99 | 6.74 | 5.06 | 3.79 | 2.84 | 2.13 | 1.6
Residual Cost | 359.13 | 269.35 | 202.01 | 151.51 | 113.63 | 85.22 | 63.91 | 47.93 | 35.95 | 26.96 | 20.22 | 15.16 | 11.37 | 8.53 | 6.4 | 4.8
Total Annual Depreciation |  | 96.12 | 73.04 | 55.63 | 42.5 | 32.57 | 25.05 | 19.35 | 15.01 | 11.72 | 9.2 | 7.27 | 5.78 | 4.63 | 3.74 | 3.05
Total Residual Cost | 422.51 | 326.39 | 253.35 | 197.72 | 155.22 | 122.65 | 97.6 | 78.25 | 63.24 | 51.52 | 42.32 | 35.05 | 29.27 | 24.64 | 20.9 | 17.85

## taxation
FINANCIAL ANNEXURE - V :: COMPUTATION OF TAXATION
P A R T I C U L A R S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Profit before tax |  | 20.5797 | 22.3112 | 27.5412 | 35.3912 | 44.1012 | 50.6412 | 54.1312 | 55.4412 | 55.4412 | 55.4412 | 55.4412 | 55.4412 | 55.4412 | 55.4412 | 55.4412
Add:Depreciation As per |  | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08
P & L A\C.
Less: Depreciation (WDV) |  | 96.12 | 73.04 | 55.63 | 42.5 | 32.57 | 25.05 | 19.35 | 15.01 | 11.72 | 9.2 | 7.27 | 5.78 | 4.63 | 3.74 | 3.05
Less: Loss carried forward |  |  | 54.46 | 84.11 | 91.12 | 77.15 | 44.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Adjusted Profit |  | -54.46 | -84.11 | -91.12 | -77.15 | -44.54 | 2.13 | 55.86 | 61.51 | 64.8 | 67.32 | 69.25 | 70.74 | 71.89 | 72.78 | 73.47
Net taxable income |  | -54.46 | -84.11 | -91.12 | -77.15 | -44.54 | 2.13 | 55.86 | 61.51 | 64.8 | 67.32 | 69.25 | 70.74 | 71.89 | 72.78 | 73.47
Taxation Percentage |  | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99%
Taxation |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.54 | 24.04 | 24.44 | 24.74 | 24.97
MAT Tax | 11.33% | 2.3317 | 2.5279 | 3.1204 | 4.0098 | 4.9967 | 5.7377 | 6.1331 | 6.2815 | 6.2815 | 6.2815 | 6.2815 | 6.2815 | 6.2815 | 6.2815 | 6.2815
Final Tax : Exemption for 10 |  | 2.3317 | 2.5279 | 3.1204 | 4.0098 | 4.9967 | 5.7377 | 6.1331 | 6.2815 | 6.2815 | 6.2815 | 23.54 | 24.04 | 24.44 | 24.74 | 24.97
Yrs. being Infrastructure Project
Profit after tax |  | -56.79 | -86.64 | -94.24 | -81.16 | -49.54 | -3.61 | 49.73 | 55.23 | 58.52 | 61.04 | 45.71 | 46.7 | 47.45 | 48.04 | 48.5

## cashFLOW
FINANCIAL ANNEXURE - VIII :: CASH FLOW STATEMENT
SOURCES OF FUND |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Net Profit before |  | 55.7733 | 55.7733 | 55.7733 | 55.7733 | 55.7733 | 55.7733 | 55.7733 | 55.7733 | 55.7733 | 55.7733 | 55.7733 | 55.7733 | 55.7733 | 55.7733 | 55.7733
taxes and intt.
Increase in Share capital & Premium |  | 143.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation |  | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08
Subsidy | 0
Inc.in Term Loan |  | 279 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pre Exp Written Off |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary CDM written Off |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inc.in W.C.Loan |  | 2.5086 | 0.148 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T O T A L : |  | 501.8619 | 77.0013 | 76.8533 | 76.8533 | 76.8533 | 76.8533 | 76.8533 | 76.8533 | 76.8533 | 76.8533 | 76.8533 | 76.8533 | 76.8533 | 76.8533 | 76.8533
DEPOSITION OF FUND | CONST. | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Preliminary Exp. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capital Expenditure |  | 422.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Current Assets |  | 3.39 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deposits |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Decrease in Term Loan |  | 0 | 27.9 | 55.8 | 69.75 | 69.75 | 69.75 | 27.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dividend |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Corporate Dividend Tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest |  | 35.1936 | 33.4621 | 28.2321 | 20.3821 | 11.6721 | 5.1321 | 1.6421 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208
Taxation |  | 2.3317 | 2.5279 | 3.1204 | 4.0098 | 4.9967 | 5.7377 | 6.1331 | 6.2815 | 6.2815 | 6.2815 | 23.54 | 24.04 | 24.44 | 24.74 | 24.97
T O T A L |  | 463.4253 | 64.0899 | 87.1525 | 94.1419 | 86.4187 | 80.6197 | 35.6751 | 6.6136 | 6.6136 | 6.6136 | 23.8721 | 24.3721 | 24.7721 | 25.0721 | 25.3021
Opening Balance |  | 0 | 38.4366 | 51.348 | 41.0488 | 23.7602 | 14.1948 | 10.4283 | 51.6065 | 121.8462 | 192.086 | 262.3257 | 315.3069 | 367.7881 | 419.8694 | 471.6506
Net Surplus (A-B) |  | 38.4366 | 12.9114 | -10.2992 | -17.2886 | -9.5654 | -3.7664 | 41.1782 | 70.2397 | 70.2397 | 70.2397 | 52.9812 | 52.4812 | 52.0812 | 51.7812 | 51.5512
Closing Balance |  | 38.4366 | 51.348 | 41.0488 | 23.7602 | 14.1948 | 10.4283 | 51.6065 | 121.8462 | 192.086 | 262.3257 | 315.3069 | 367.7881 | 419.8694 | 471.6506 | 523.2018

## dscr
FINANCIAL ANNEXURE - VI :: COMPUTATION OF DEBT SERVICE COVERAGE RATIO
. | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
| Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
SERVICES
a) Net Profit After Tax | 18.248 | 19.7834 | 24.4208 | 31.3814 | 39.1046 | 44.9036 | 47.9982 | 49.1597 | 49.1597 | 49.1597 | 31.9012 | 31.4012 | 31.0012 | 30.7012 | 30.4712
b) Depreciation (SLM) | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08 | 21.08
c) Interest On Term Loan | 34.88 | 33.13 | 27.9 | 20.05 | 11.34 | 4.8 | 1.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
d) Interest on Cash Credit | 0.31357 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208
T O T A L : | 74.5216 | 74.3254 | 73.7329 | 72.8435 | 71.8566 | 71.1156 | 70.7202 | 70.5718 | 70.5718 | 70.5718 | 53.3133 | 52.8133 | 52.4133 | 52.1133 | 51.8833
D E B T
a) Interest On Term Loan | 34.88 | 33.13 | 27.9 | 20.05 | 11.34 | 4.8 | 1.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b) Instalment of Term Loan | 0 | 27.9 | 55.8 | 69.75 | 69.75 | 69.75 | 27.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
c) Interest on Cash Credit | 0.31357 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208
T O T A L : | 35.1936 | 61.3621 | 84.0321 | 90.1321 | 81.4221 | 74.8821 | 29.5421 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208 | 0.33208
D.S.C.R. during the year | 2.1175 | 1.2113 | 0.87744 | 0.80819 | 0.88252 | 0.9497 | 2.3939 | 212.5177 | 212.5177 | 212.5177 | 160.546 | 159.0403 | 157.8357 | 156.9323 | 156.2397
Average D.S.C.R. | 1st: 2.1414

## bep
FINANCIAL ANNEXURE - VII :: COMPUTATION OF BREAK EVEN POINT (BASED ON 3RD YEAR)
S.NO. | P A R T I C U L A R S |  | AMOUNT
(A) | VARIABLE COSTS
1. | Raw Material Consumed |  | 26.11
2. | Power & Electricity |  | 0
3. | Wages |  | 15.9276
4. | Interest On Working Capital |  | 0.33208
5. | Selling Expenses |  | 0
6. | Repairs and Maintainence |  | 13.4633
7. | Salary of Administrative Staff (50%) |  | 0.8229
|  | T O T A L | 56.6559
(B) | SEMI VARIABLES & FIXED COST
1. | Salary of Administrative Staff (50%) |  | 0.8229
2. | Administrative Expenses |  | 0
3. | Depreciation |  | 21.08
4. | Interest On Term Loan |  | 27.9
|  | T O T A L | 49.8029
(C) | SALES REALISATION |  | 139.4
(D) | CONTRIBUTION (C-A) |  | 82.7441
(E) | BREAK EVEN POINT |  | 60.19%
(F) | BREAK EVEN POINT AT 100% PRODUCTION |  | 39.72%

## bs
FINANCIAL ANNEXURE - IX :: PROJECTED BALANCE SHEET
L I A B I L I T I E S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Equity Share Capital |  | 143.5 | 143.5 | 143.5 | 143.5 | 143.5 | 143.5 | 143.5 | 143.5 | 143.5 | 143.5 | 143.5 | 143.5 | 143.5 | 143.5 | 143.5
& Securities Premium
Profit & Loss A/c. |  | 18.248 | 38.0314 | 62.4522 | 93.8336 | 132.9382 | 177.8417 | 225.8399 | 274.9996 | 324.1594 | 373.3191 | 405.2203 | 436.6215 | 467.6228 | 498.324 | 528.7952
Term Loan |  | 279 | 251.1 | 195.3 | 125.55 | 55.8 | -13.95 | -41.85 | -41.85 | -41.85 | -41.85 | -41.85 | -41.85 | -41.85 | -41.85 | -41.85
Working Capital Loan |  | 2.5086 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566 | 2.6566
| T O T A L : | 443.2566 | 435.288 | 403.9088 | 365.5402 | 334.8948 | 310.0483 | 330.1465 | 379.3062 | 428.466 | 477.6257 | 509.5269 | 540.9281 | 571.9294 | 602.6306 | 633.1018
A S S E T S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Fixed Assets.(Net) |  | 401.43 | 380.35 | 359.27 | 338.19 | 317.11 | 296.03 | 274.95 | 253.87 | 232.79 | 211.71 | 190.63 | 169.55 | 148.47 | 127.39 | 106.31
Current Assets |  | 3.39 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59 | 3.59
Deposits |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Short Term Inv./Pro.expansion |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminery Expenses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminery CDM Expneses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash & Bank Balance |  | 38.4366 | 51.348 | 41.0488 | 23.7602 | 14.1948 | 10.4283 | 51.6065 | 121.8462 | 192.086 | 262.3257 | 315.3069 | 367.7881 | 419.8694 | 471.6506 | 523.2018
| T O T A L : | 443.2566 | 435.288 | 403.9088 | 365.5402 | 334.8948 | 310.0483 | 330.1465 | 379.3062 | 428.466 | 477.6257 | 509.5269 | 540.9281 | 571.9294 | 602.6306 | 633.1018
Different in B/s. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## irr
FINANCIAL ANNEXURE - X :: CALCULATION OF INTERNAL RATE OF RETURN (IRR) & NPV
YEARS | GROSS | INVENT- | TOTAL | Net Profit | INTER- | DEPREC- | GROSS | NET | DISCOUNTED VALUE AT
| FIXED | -ORIES | INVEST- | after Tax | -EST | -IATION | CASH | CASH
| ASSETS |  | -MENT |  |  |  | INFLOW | FLOW | - | -
[9 empty] | 14.52% | 24.52%
0 | 422.51 |  | 422.51 |  |  |  |  | -422.51 | -422.51 | -422.51
1 |  | 3.39 | 3.39 | 18.248 | 35.1936 | 21.08 | 74.5216 | 71.1316 | 62.1109 | 57.123
2 |  | 0.2 | 0.2 | 19.7834 | 33.4621 | 21.08 | 74.3254 | 74.1254 | 56.5168 | 47.804
3 |  | 0 | 0 | 24.4208 | 28.2321 | 21.08 | 73.7329 | 73.7329 | 49.0882 | 38.1863
4 |  | 0 | 0 | 31.3814 | 20.3821 | 21.08 | 72.8435 | 72.8435 | 42.346 | 30.296
5 |  | 0 | 0 | 39.1046 | 11.6721 | 21.08 | 71.8566 | 71.8566 | 36.4748 | 23.9999
6 |  | 0 | 0 | 44.9036 | 5.1321 | 21.08 | 71.1156 | 71.1156 | 31.5208 | 19.0747
7 |  |  |  | 47.9982 | 1.6421 | 21.08 | 70.7202 | 70.7202 | 27.3704 | 15.2329
8 |  |  |  | 49.1597 | 0.33208 | 21.08 | 70.5718 | 70.5718 | 23.8492 | 12.2073
9 |  |  |  | 49.1597 | 0.33208 | 21.08 | 70.5718 | 70.5718 | 20.8247 | 9.8032
10 |  |  |  | 49.1597 | 0.33208 | 21.08 | 70.5718 | 70.5718 | 18.1838 | 7.8726
11 |  |  |  | 31.9012 | 0.33208 | 21.08 | 53.3133 | 53.3133 | 11.9948 | 4.7761
12 |  |  |  | 31.4012 | 0.33208 | 21.08 | 52.8133 | 52.8133 | 10.3755 | 3.7995
13 |  |  |  | 31.0012 | 0.33208 | 21.08 | 52.4133 | 52.4133 | 8.9911 | 3.0281
14 |  |  |  | 30.7012 | 0.33208 | 21.08 | 52.1133 | 52.1133 | 7.8059 | 2.4178
15 |  |  |  | 30.4712 | 0.33208 | 21.08 | 115.1233 | 115.1233 | 15.0572 | 4.2894
[9 empty] | - | -
[9 empty] | 1.0214e-13 | -142.5992
[8 empty] | = | 142.5992
[7 empty] | I.R.R. | = | 14.52%