## Results
Investment Analysis
| 8.63 | MW Power Plant
COAL BASED POWER PLANT
A] | Identified Financial Indicators
1 | Capacity |  | 8.63 | MW
4 | 15 years Average cost of power |  | 1400.6415 | Rs./MWh
B] | The Parameters used for the above.
1 | Investment per MW |  | 35 | Million Rs./MWh
2 | Number of operational days/Year |  | 350 | Days
3 | PLF |  | 95%
a) Variable Cost
4 | Operation and Maintainance Cost/MW |  | 166.0098 | Rs./MWh
C] | Fixed Cost per annum
5 | Fuel Cost per MWh |  | 661.174 | Rs./MWh
6 | Average Manpower cost per MWh |  | 175.6806 | Rs./MWh
7 | Depreciation per MW |  | 243.1404 | Rs./MWh
8 | Interest Rate |  | 128.0832 | Rs./MWh
9 | Backup power cost |  | 0 | Rs./MWh
10 | Administrative Exp. |  | 26.5534 | Rs./MWh

## Assumption
ASSUMPTION
1 | Project cost per MW | 35 | Million Rs.
2 | Capacity | 8.63 | MW
| Working days in year | 350 | days
| Working hours in a day | 24 | Hrs
3 | Auxiliary consultion | 10% | ( for Estimation, practical knowledge and evident with CEA documents)
4 | PLF | 95% | (conservatively estimated. Which has been even justified by the actuall issuance for CDM projects, and Actual PLF achieved by other Sponge Iron Project)
5 | Manpower (is considered based on dedicated manpower |  | Million Rs./Year
in combination of AFBC + WHRB in
comparison to Single AFBC Power Plant'
a) | Manpower required for Single AFBC Power Plant | 80
b) | Manpower considered in combination of power plants
c) | Manpower considered for WHRB
6 | Depreciation on straight line method |  | ( As per The Indian Companies Act 1956)
| a) On Building & Civil | 3.34%
| b) On P & M | 5.28%
7 | Interest rate | 13.75% | (Banker rate on which loan has been provided)
8 | Backup power cost
| a) Power | 0 | MW (50% back power is considered for WHRB Power Plant)
| b) Rate / KVA (fixed charges) | 200 | KVA | As per CSEB tariff
9 | Repair and Maintenance & Consumables | 3% | On Project cost
10 | Raw Material cost per MWh | 1550 | No fuel is required.
| a) Coal | 0.25 | ton/MWh @ | 1200
| b) Coal Middling | 0.9 | ton/MWh @ | 300
| c) Char/ Dolochar | 0.49972 | ton/MWh @ | 50

## project
10
Hitech Power And Steel Ltd.
|  | 8.63 | MW Power Plant
COAL BASED POWER PLANT
TECHNICAL ANNEXURE - I :: COST OF PROJECT |  |  |  |  | (Rs.in Million)
S.NO. | PARTICULARS |  |  | AMOUNT | AMOUNT | AMOUNT
|  |  |  | EXISTING | PROPOSED | TOTAL
1. | Land and Site Development Already exist |  |  |  | 0 | 0
2. | Building and Civil Work |  |  | 0 | 45.3075 | 45.3075
3. | Plant & Machinery & Other Equipments |  |  | 0 | 256.7425 | 256.7425
4. | Electrical installation & Misc. Fixed Assets |  |  | 0 | #REF! | #REF!
5 | Preliminary and Preoperative Expenses |  |  | 0 | 0 | 0
5 | Preliminary expenses for CDM Activity |  |  |  | 0 | 0
6 | Deposits with C.S.E.B. & others |  |  | 0 | #REF! | #REF!
7 | Contingencies |  |  | 0 | #REF! | #REF!
8 | Margin Money for Working Capital |  |  | 0 | 0 | 0
|  | T O T A L |  |  | 302.05 | 302.05
M E A N S O F F I N A N C E
[5 empty] | AMOUNT | AMOUNT
S.NO. | P A R T I C U L A R S |  |  |  | PROPOSED | TOTAL
E Q U I T Y:
| Promoters Contribution |  |  |  | 102.697 | 102.697
[5 empty] | 102.697 | 102.697
D E B T:
| Term Loan from Bank |  | 66% |  | 199.353 | 199.353
|  | T O T A L |  |  | 302.05 | 302.05
DER = | 1.9412 | IRR= | 20.22%
DSCR= | 3.0071 | BEP= | 49.75%
US$ Conversion Rate in Rs. |  |  | 45
302.05

## sales
TECHNICAL ANNEXURE - VIII :: ANNUAL SALES REALISATION
S.NO. | I T E M S |  |  |  |  | QTY. | RATE
[6 empty] | (IN MW) | PER MWh |  | AMOUNT
(INR)
Power Generation
| No of Hrs. |  |  | 24 | Hrs. | 72492 | 2250 |  | 163.107
| No. of Working Days |  |  | 350 | Days
| Net Plant Capacity |  |  | 8.63 | MW
| Less: for own consumption @ |  |  | 10% |  | 7249.2 | 2250 |  | 16.3107
-
|  | T O T A L : |  |  |  | 65242.8 | 0.00225 |  | 146.7963
68867.4
A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E
P A R T I C U L A R S |  |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  |  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Capacity Utilisation |  |  | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95%
Quantity Produced |  |  | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66
Add Opening Stock of |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finished Goods
Less Closing Stock of |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finished Goods
Total Sales (Qty) |  |  | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66 | 61980.66
Total Sales (Amt) |  |  | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46
Less: Excide Duty |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Sales |  |  | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46
ANNUAL CEF SALES REALISATION
S.NO. | I T E M S |  | A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 4th: QTY.; A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 5th: RATE
[6 empty] | (IN MW) | PER |  | AMOUNT
MT
1) | CER Generation
[6 empty] | 0 | 0 | $US | #DIV/0!
| Total Power exported to for |  | A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 2nd: 65242.8; A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 5th: 0; A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 6th: INR
consumption in the Unit
| CO2 Reduction /MWh |  | A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 2nd: 0
| Convertion Rate of $US = |  | A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 2nd: 45
-
|  | T O T A L : | A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 4th: 0; A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 5th: #DIV/0!; A N N U A L S A L E S R E A L I S A T I O N Y E A R - W I S E 7th: #DIV/0!
P A R T I C U L A R S |  |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th
|  |  | Year | Year | Year | Year | Year | Year | Year | Year
Capacity Utilisation |  |  | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95%
Emission Reduction Generate |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Add Opening Stock of |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finished Goods
Less Closing Stock of |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finished Goods
Total Sales (Qty) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Sales (Amt) |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Less: Excide Duty |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Net Sales |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## rawmaterial
0
TECHNICAL ANNEXURE - IX :: ANNUAL ESTIMATES OF RAW MATERIAL & FUEL REQUIRED
0
S.NO. | RAW MATERIAL | Reqd. |  | QTY |  | RATE |  |  | AMOUNT
| FUEL | per Unit |  | (In MT)
| Coal | 0.25 |  | 18123 |  | 1200 |  |  | 21.7476
| coal middling | 0.9 |  | 65242.8 |  | 300 |  |  | 19.5728
| Char /dolochar = K Cal | 0.49972 |  | 36225.6511 |  | 50 |  |  | 1.8113
| T O T A L : | 1.6497 |  | 119591.4511 |  |  |  |  | 43.1317 |  |  | 30.1922
661.0955
1 | Thermal Efficiency of Boiler |  | 86%
2 | Steam required per ton/MWh |  | 3992.4
3 | total thermal energy required /KWh for Power generation= steam required/KWh* Enthalpy / Thermal Efficiency of Boiler
|  |  | 15656243.0233 |  | 3754494.7298 | KJ/MWh
4 | Steam energy require /KWh |  | 13464369
5 | Enthalpy of Steam |  | 3372.5 | KJ/Kg
6 | Calorific value in Fuel Required/ heat rate |  | 3754.4947 | K Cal/kWh
7 | calorifica value of fuel |  |  |  | % Energy from fuel
8 | Coal = K Cal | 3500 | 875 |  | 23.31%
| Coal Middling = K Cal | 2200 | 1980 |  | 52.74%
| Char /dolochar = K Cal | 1800 | 899.4947 | 0.49972 | 23.96%
ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE
P A R T I C U L A R S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Capacity Utilisation |  | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95%
Quantity ( in M.T.) |  | 113611.88 | 113611.88 | 113611.88 | 113611.88 | 113611.88 | 113611.88 | 113611.88 | 113611.88 | 113611.88 | 113611.88 | 113611.88 | 113611.88 | 113611.88 | 113611.88 | 113611.88
Amount |  | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98
CDM Operating Expenses per Annum
S.NO. | I T E M S | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 1st: Reqd.; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: QTY; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: RATE; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: AMOUNT
|  | per Unit |  | (In MT)
1) | a)CDM EB Administrative Cost@ | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 2nd: 0.1; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: 15000; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 4th: @ Rs.; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: 0; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 6th: / tCO2 eq; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 9th: 4.5
| '( upto 15000 tCO2 e) | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 2nd: ($US)
| b)CDM EB Administrative Cost@ | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 2nd: 0.2; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: -15000; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 4th: @ Rs.; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: 0; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 6th: / tCO2 eq; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 9th: 9
| '( 15000 and above tCO2 e) | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 2nd: ($US)
2) | Project Developer Share of CER | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 2nd: 10%; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: 0; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 4th: @ Rs.; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: 0; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 6th: / tCO2 eq; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 9th: 45
3) | Annual verification charges | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: 0; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 4th: @ Rs.; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: 45; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 6th: / tCO2 eq; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!
4) | Annual Administrative Expenses | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: 0; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 4th: @ Rs.; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: 10; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 6th: / tCO2 eq; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!
5) | Annual Equipments Monitoring & Maintenance | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: 0; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 4th: @ Rs.; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: 0; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 6th: / tCO2 eq; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 9th: 10
6) | Insurance againg CER | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!
7) | Interest and Repayment of Fixed Cost | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 4th: @; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: 0%; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #REF!
| T O T A L : | ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 3rd: 0; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 5th: #DIV/0!; ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE 8th: #DIV/0!
ANNUAL ESTIMATES OF RAW MATERIAL REQUIRED YEAR-WISE
P A R T I C U L A R S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th
|  | Year | Year | Year | Year | Year | Year | Year | Year
Capacity Utilisation |  | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95%
Quantity ( in M.T.) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Amount |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## admin
TECHNICAL ANNEXURE - X :: ADMINISTRATIVE EXPENSES
S.No. |  | P A R T I C U L A R S | [6 empty] | AMOUNT
1. | Postal Expenses | [7 empty] | 0.05
2. | Printing & Stationary | [7 empty] | 0.1
3. | Travelling & Conveyence | [7 empty] | 0.1
4 | Insurance of Fixed Assets | [7 empty] | 0.16667
5 | Telephone | [7 empty] | 0.05
6 | Staff Welfare & Entertainment | [7 empty] | 0.5
7 | Audit Fees | [7 empty] | 0.05
8 | Miscellanceous | [7 empty] | 0.1
|  |  |  | T O T A L |  |  |  |  | 1.1167
Particulars |  | Increase | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | upto 3 yrs | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Administrative |  | 0% | 1.1167 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12 | 1.12
Expenses
TECHNICAL ANNEXURE - XI :: REPAIRS & MAINTENANCE & CONSUMABLES |  |  | 1.1167 7th: 0
P A R T I C U L A R S |  |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  |  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Stores & Consumables |  |  | 1.2294 | 1.2294 | 1.2294 | 1.2294 | 1.2294 | 1.2294 | 1.2294 | 1.2294 | 1.2294 | 1.2294 | 1.2294 | 1.2294 | 1.2294 | 1.2294 | 1.2294
Repairs & Maintainance |  | 3% | 9.06 | 9.06 | 9.06 | 9.06 | 9.06 | 9.06 | 9.06 | 9.06 | 9.06 | 9.06 | 9.06 | 9.06 | 9.06 | 9.06 | 9.06
Base % on net block
1st Year
| 2nd Year | 2%
| 3rd Year | 2%
onwards
T O T A L : |  |  | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894

## salary
TECHNICAL ANNEXURE - XII :: SALARY & WAGES | [8 empty] | 0
[8 empty] | MONTHLY |  | YEARLY
S.No. | PARTICULARS |  |  |  |  | NOS. |  | SALARY |  | SALARY
A. | ADMINISTRATIVE STAFF:
(a) | Generam Manager |  |  |  |  | 1 |  | 50000 |  | 0.6
(b) | Accountants |  |  |  |  | 1 |  | 15000 |  | 0.18
(c) | Clerck |  |  |  |  | 5 |  | 6500 |  | 0.39
(d) | Peons |  |  |  |  | 2 |  | 4000 |  | 0.096
[6 empty] | 9 |  |  |  | 1.266
| Add : Benefits |  |  | 30% | [5 empty] | 0.3798
[8 empty] | Sub Total :: |  | 1.6458
B. | PRODUCTION STAFF :
1 | General manager Production |  |  |  |  | 1 |  | 40000 |  | 0.48
2 | Deputy Gneral manager |  |  |  |  | 3 |  | 30000 |  | 1.08
3 | Electrical engg, |  |  |  |  | 4 |  | 30000 |  | 1.44
4 | Bioler Operator |  |  |  |  | 4 |  | 15000 |  | 0.72
5 | Turbine Operator |  |  |  |  | 4 |  | 15000 |  | 0.72
6 | Mechanical/ Electrical Asstt. |  |  |  |  | 8 |  | 7500 |  | 0.72
7 | Field Supervisior |  |  |  |  | 5 |  | 6000 |  | 0.36
8 | Fuel Feedding system operator |  |  |  |  | 10 |  | 4500 |  | 0.54
9 | Skilled Workers |  |  |  |  | 10 |  | 4500 |  | 0.54
10 | Unskilled Worker |  |  |  |  | 12 |  | 4000 |  | 0.576
11 | Technical / Jr. Engg. |  |  |  |  | 10 |  | 10000 |  | 1.2
[6 empty] | 71 |  |  |  | 8.376
| Add : Benefits |  |  | 30% | [5 empty] | 2.5128
[6 empty] | 80 |  | Sub Total :: |  | 10.8888
|  |  |  | GRAND TOTAL :: |  | 80 |  |  |  | 12.5346
Increase
|  | upto 3 | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
PARTICULARS |  | years | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Admn.Salary |  | 0% | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458
Salary/Wages |  | 0% | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888

## Power
0
TECHNICAL ANNEXURE - XIII :: ESTIMATES OF UTILITIES
1. | Power Required for Auxilary Load:
| Misc. Load |  |  |  | 0 | HP | 0 | KW | 9469.697
| a) Light & Fan Load and Misc. Load |  |  |  | 0 | HP | 0 | KW
2. | Total Installed Load | [5 empty] | 0 | KW
3. | Load at Power Factor (Rounded off) |  |  |  | 90% |  | 0 | KVA
Maximum Desired Load
4. | Computation of Power Bill
| Consumable Load at average Load Factor |  |  |  | 80% |  | 0 | K.W.
5. | Working Hrs / per day | [5 empty] | 24 | Hrs.
6. | No. of Working Days in a year | [5 empty] | 322 | Days
7. | Total Power consumed( in Lacs units) |  |  | 456.6996 |  |  | 0 | Units
8. | Power Rate per unit | [5 empty] | 3.9 | Rs./unit
9. | Total Power Bill | [5 empty] | 0 | Lakh Rs.
C O S T O F U T I L I T I E S
PARTICULARS |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Capacity Utilisation |  | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95%
POWER |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T O T A L : |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Estimated of Demand Charges payable
Calculation fo Stand Bye Power Cost ::
Required contract demand |  | C O S T O F U T I L I T I E S 7th: 0; C O S T O F U T I L I T I E S 8th: MW
Power Factor |  | C O S T O F U T I L I T I E S 7th: 90%
Total Requirement in MVA is |  | C O S T O F U T I L I T I E S 7th: 0; C O S T O F U T I L I T I E S 8th: MVA
Contract Demand at PLF |  | C O S T O F U T I L I T I E S 3rd: 90%; C O S T O F U T I L I T I E S 7th: 0; C O S T O F U T I L I T I E S 8th: MVA
Standby Demand charges payable to the Grid |  | C O S T O F U T I L I T I E S 7th: 200; C O S T O F U T I L I T I E S 8th: per KVA/Month
[6 empty] | or Say |  | 200000 | per MVA/Month
Yearly Charges payable on |  | C O S T O F U T I L I T I E S 7th: 0; C O S T O F U T I L I T I E S 8th: Million Rs./ Year
Note on J48: VIKAS THAKUR: However company has obtained 5 MW power as stand bye but in future 8 MW stand bye required.

## marginemoney
FINANCIAL ANNEXURE - I :: WORKING CAPITAL REQUIREMENT
PARTICULARS |  | Period | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | (days) | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Raw Material |  | 30 | 3.51 | 3.51 | 3.51 | 3.51 | 3.51 | 3.51 | 3.51 | 3.51 | 3.51 | 3.51 | 3.51 | 3.51 | 3.51 | 3.51 | 3.51
Consumables |  | 30 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88
Goods-in-process |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finished Goods |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Receivables |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL CURRENT ASSETS |  |  | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39
LESS : BANK FINANCE |  | 74% | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486
MARGIN MONEY |  |  | 1.1414 | 1.1414 | 1.1414 | 1.1414 | 1.1414 | 1.1414 | 1.1414 | 1.1414 | 1.1414 | 1.1414 | 1.1414 | 1.1414 | 1.1414 | 1.1414 | 1.1414
D.S.C.R. | :: |  | 1st: 3.0071
B.E.P. | :: |  | 1st: 47.26%
I.R.R. | :: |  | 1st: 20.22%

## profitloss
FINANCIAL ANNEXURE - II :: COST OF PRODUCTION & PROFITABILITY ESTIMATES
P A R T I C U L A R S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th | Average | 1st
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | for 15 yrs | Year
No. Of Working Days |  | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350
No. Of Shifts |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
Installed Capacity |  | 65242.8 | 65242.8 | 65242.8 | 65242.8 | 65242.8 | 65242.8 | 65242.8 | 65242.8 | 65242.8 | 65242.8 | 65242.8 | 65242.8 | 65242.8 | 65242.8 | 65242.8 | 65242.8
ANNUAL AVERAGE PLANT LOAD FACTOR | 61980.66 | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95% | 95%
Sales Realisation |  | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46
CDM Receipt
tCO2 equ. Sales (Qty) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CER Receipts |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less: Excise Duty |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Sales |  | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46 | 139.46
Cost Of Production
a)Raw Material |  | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 40.98 | 661.174
c)Salary & Wages |  | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 10.8888 | 175.6806
e)Power |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
f)Repairs & maintainence |  | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 10.2894 | 166.0098
g)Depreciation |  | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 243.1404
T O T A L : |  | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 1246.0048
Add : Opening Stock of |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finished Goods
|  | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 1246.0048
Less : Closing Stock of |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finished Goods
Cost Of Sales |  | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 77.2282 | 1246.0048
Gross Profit |  | 62.2318 | 62.2318 | 62.2318 | 62.2318 | 62.2318 | 62.2318 | 62.2318 | 62.2318 | 62.2318 | 62.2318 | 62.2318 | 62.2318 | 62.2318 | 62.2318 | 62.2318 | 62.2318 | 1004.0519
Gross Profit Ratio |  | 44.6234 | 44.6234 | 44.6234 | 44.6234 | 44.6234 | 44.6234 | 44.6234 | 44.6234 | 44.6234 | 44.6234 | 44.6234 | 44.6234 | 44.6234 | 44.6234 | 44.6234 | 44.6234 | 719.9569
Administrative Expenses
a) Admn. Staff |  | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 1.6458 | 26.5534
a) Admn. Expenses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b) Wheeling Expense | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
c) Demand Charges payable |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
for Standby Power
Financial Expenses
a)Intt.On Long Term Loan |  | 27.41 | 26.04 | 21.93 | 16.45 | 10.96 | 6.85 | 2.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.492 | 442.2347
b)Interest on W.C. |  | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 7.2068
c) CDM Expenses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
G R A N D T O T A L |  | 29.5025 | 28.1325 | 24.0225 | 18.5425 | 13.0525 | 8.9425 | 4.8325 | 2.0925 | 2.0925 | 2.0925 | 2.0925 | 2.0925 | 2.0925 | 2.0925 | 2.0925 | 9.5845 | 475.995
Operating Profit |  | 32.7293 | 34.0993 | 38.2093 | 43.6893 | 49.1793 | 53.2893 | 57.3993 | 60.1393 | 60.1393 | 60.1393 | 60.1393 | 60.1393 | 60.1393 | 60.1393 | 60.1393 | 52.6473 | 528.0569
Amortisation of Preliminary exp. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Amortisation of CDM Preli. exp. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit before tax |  | 32.7293 | 34.0993 | 38.2093 | 43.6893 | 49.1793 | 53.2893 | 57.3993 | 60.1393 | 60.1393 | 60.1393 | 60.1393 | 60.1393 | 60.1393 | 60.1393 | 60.1393 | 52.6473
Taxation |  | 3.7082 | 3.8635 | 4.3291 | 4.95 | 5.572 | 6.0377 | 6.5033 | 6.8138 | 6.8138 | 6.8138 | 23.8 | 24.16 | 24.44 | 24.65 | 24.82 | 11.8183 | 59.8289
Net Profit after tax |  | 29.0211 | 30.2359 | 33.8802 | 38.7393 | 43.6073 | 47.2516 | 50.896 | 53.3255 | 53.3255 | 53.3255 | 36.3393 | 35.9793 | 35.6993 | 35.4893 | 35.3193 | 40.829 | 468.2281
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dividend |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Corporate Dividend Tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Surplus during the year |  | 29.0211 | 30.2359 | 33.8802 | 38.7393 | 43.6073 | 47.2516 | 50.896 | 53.3255 | 53.3255 | 53.3255 | 36.3393 | 35.9793 | 35.6993 | 35.4893 | 35.3193 | 40.829 | 468.2281
Cumulative Surplus |  | 29.0211 | 59.257 | 93.1372 | 131.8765 | 175.4838 | 222.7354 | 273.6314 | 326.9569 | 380.2824 | 433.608 | 469.9473 | 505.9266 | 541.6259 | 577.1153 | 612.4346 | 322.2026 | 468.2281
0
Per Unit Cost |  | 1721.9998 | 1699.8961 | 1633.5851 | 1545.1704 | 1456.5944 | 1390.2834 | 1323.9724 | 1279.7651 | 1279.7651 | 1279.7651 | 1279.7651 | 1279.7651 | 1279.7651 | 1279.7651 | 1279.7651 |  | 27782.8564
Average per Unit cost |  | 1st: 1400.6415; 2nd: Rs./MWh |  | 22598.0405
0
Cost Benefit (year wise) |  | 9.608% | 10.01% | 11.22% | 12.83% | 14.44% | 15.64% | 16.85% | 17.65% | 17.65% | 17.65% | 12.03% | 11.91% | 11.82% | 11.75% | 11.69% |  | 1.5502
Average Cost benefit |  | 1st: 13.52% |  | 2.1809
0
Operation and Maintainance / MW |  | 166.0098 | 166.0098 | 166.0098 | 166.0098 | 166.0098 | 166.0098 | 166.0098 | 166.0098 | 166.0098 | 166.0098 | 166.0098 | 166.0098 | 166.0098 | 166.0098 | 166.0098 |  | 2678.4137
Average Cost benefit |  | 1st: 166.0098 |  | 2678.4137
0
Average PLF |  | 1st: 95% |  | 15.3274
0
Fuel Cost per MW |  | 1st: 0 |  | 0
0
Manpoer Cost /MW |  | 175.6806 | 175.6806 | 175.6806 | 175.6806 | 175.6806 | 175.6806 | 175.6806 | 175.6806 | 175.6806 | 175.6806 | 175.6806 | 175.6806 | 175.6806 | 175.6806 | 175.6806 |  | 2834.4423
Average Manpower cost/MW |  | 1st: 175.6806 |  | 2834.4423
0
Depreciation / MW |  | 243.1404 | 243.1404 | 243.1404 | 243.1404 | 243.1404 | 243.1404 | 243.1404 | 243.1404 | 243.1404 | 243.1404 | 243.1404 | 243.1404 | 243.1404 | 243.1404 | 243.1404 |  | 3922.8424
Average Depreciation /MW |  | 1st: 243.1404 |  | 3922.8424
Fuel Cost / MW |  | 661.174 | 661.174 | 661.174 | 661.174 | 661.174 | 661.174 | 661.174 | 661.174 | 661.174 | 661.174 | 661.174 | 661.174 | 661.174 | 661.174 | 661.174
Average Fuel /MW |  | 1st: 661.174
Interest / MW |  | 449.4415 | 427.3379 | 361.0269 | 272.6122 | 184.0362 | 117.7252 | 51.4141 | 7.2068 | 7.2068 | 7.2068 | 7.2068 | 7.2068 | 7.2068 | 7.2068 | 7.2068
Average Interest /MW |  | 1st: 128.0832
Backup power cost / MW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average Interest /MW |  | 1st: 0
Backup power cost / MW |  | 26.5534 | 26.5534 | 26.5534 | 26.5534 | 26.5534 | 26.5534 | 26.5534 | 26.5534 | 26.5534 | 26.5534 | 26.5534 | 26.5534 | 26.5534 | 26.5534 | 26.5534
Average Interest /MW |  | 1st: 26.5534

## Interest
FINANCIAL ANNEXURE - III :: SCHEDULE OF INTERST ON TERM LOAN & CASH CREDIT
Interest Calculated @ | 13.75% | P.A. on Term Loan
Interest Calculated @ | 13.75% | P.A. on Cash Credit Limit
Interest Calculated@ | 13.75% | P.A. on Unsecured Loans
Moratarium Period | 24 | Months
P.A. on Unsecured Loan
Monthly Instalments | 60
Amount of Term Loan (Rs.) | 199.353 | Lakhs
P A R T I C U L A R S | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
| Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
TERM LOAN
1st half balance | 199.353 | 189.3853 | 159.4824 | 119.6118 | 79.7412 | 39.8706 | 19.9353 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(Closing Balance)
2nd half balance | 199.353 | 179.4177 | 139.5471 | 99.6765 | 59.8059 | 39.8706 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(Closing Balance)
Average Balance | 199.35 | 189.39 | 159.48 | 119.61 | 79.74 | 49.84 | 19.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest | 27.41 | 26.04 | 21.93 | 16.45 | 10.96 | 6.85 | 2.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Repayment during year | 0 | 19.9353 | 39.8706 | 39.8706 | 39.8706 | 39.8706 | 19.9353 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CASH CREDIT LIMIT | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486
Interest on CC Limit | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668
UNSECURED LOAN
Loan Amount | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest on Unsecured Loan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Interest | 27.8567 | 26.4867 | 22.3767 | 16.8967 | 11.4067 | 7.2967 | 3.1867 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668

## dEPRI
FINANCIAL ANNEXURE - IV :: DEPRECIATION (AS PER STRAIGHT LINE METHOD)
P A R T I C U L A R S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Land | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building | 3.34% | 1.51 | 1.51 | 1.51 | 1.51 | 1.51 | 1.51 | 1.51 | 1.51 | 1.51 | 1.51 | 1.51 | 1.51 | 1.51 | 1.51 | 1.51
Residual Cost | 45.3075 | 43.8 | 42.29 | 40.78 | 39.27 | 37.76 | 36.25 | 34.74 | 33.23 | 31.72 | 30.21 | 28.7 | 27.19 | 25.68 | 24.17 | 22.66
P/M & other assets | 5.28% | 13.56 | 13.56 | 13.56 | 13.56 | 13.56 | 13.56 | 13.56 | 13.56 | 13.56 | 13.56 | 13.56 | 13.56 | 13.56 | 13.56 | 13.56
Residual Cost | 256.7425 | 243.1825 | 229.6225 | 216.0625 | 202.5025 | 188.9425 | 175.3825 | 161.8225 | 148.2625 | 134.7025 | 121.1425 | 107.5825 | 94.0225 | 80.4625 | 66.9025 | 53.3425
Total Annual Depreciation |  | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07
Total Residual Cost | 302.05 | 286.98 | 271.91 | 256.84 | 241.77 | 226.7 | 211.63 | 196.56 | 181.49 | 166.42 | 151.35 | 136.28 | 121.21 | 106.14 | 91.07 | 76
DEPRECIATION (AS PER WRITTEN DOWN VALUE METHOD) |  | 7th: (Rs. in Lacs)
P A R T I C U L A R S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Land | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Building | 10% | 4.53 | 4.08 | 3.67 | 3.3 | 2.97 | 2.68 | 2.41 | 2.17 | 1.95 | 1.76 | 1.58 | 1.42 | 1.28 | 1.15 | 1.04
Residual Cost | 45.3075 | 40.78 | 36.7 | 33.03 | 29.73 | 26.76 | 24.08 | 21.67 | 19.5 | 17.55 | 15.79 | 14.21 | 12.79 | 11.51 | 10.36 | 9.32
P/M & other assets | 25% | 64.19 | 48.14 | 36.1 | 27.08 | 20.31 | 15.23 | 11.42 | 8.57 | 6.43 | 4.82 | 3.61 | 2.71 | 2.03 | 1.53 | 1.14
Residual Cost | 256.7425 | 192.55 | 144.41 | 108.31 | 81.23 | 60.92 | 45.69 | 34.27 | 25.7 | 19.27 | 14.45 | 10.84 | 8.13 | 6.1 | 4.57 | 3.43
Total Annual Depreciation |  | 68.72 | 52.22 | 39.77 | 30.38 | 23.28 | 17.91 | 13.83 | 10.74 | 8.38 | 6.58 | 5.19 | 4.13 | 3.31 | 2.68 | 2.18
Total Residual Cost | 302.05 | 233.33 | 181.11 | 141.34 | 110.96 | 87.68 | 69.77 | 55.94 | 45.2 | 36.82 | 30.24 | 25.05 | 20.92 | 17.61 | 14.93 | 12.75

## taxation
FINANCIAL ANNEXURE - V :: COMPUTATION OF TAXATION
P A R T I C U L A R S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Profit before tax |  | 32.7293 | 34.0993 | 38.2093 | 43.6893 | 49.1793 | 53.2893 | 57.3993 | 60.1393 | 60.1393 | 60.1393 | 60.1393 | 60.1393 | 60.1393 | 60.1393 | 60.1393
Add:Depreciation As per |  | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07
P & L A\C.
Less: Depreciation (WDV) |  | 68.72 | 52.22 | 39.77 | 30.38 | 23.28 | 17.91 | 13.83 | 10.74 | 8.38 | 6.58 | 5.19 | 4.13 | 3.31 | 2.68 | 2.18
Less: Loss carried forward |  |  | 20.92 | 23.97 | 10.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Adjusted Profit |  | -20.92 | -23.97 | -10.46 | 17.92 | 40.97 | 50.45 | 58.64 | 64.47 | 66.83 | 68.63 | 70.02 | 71.08 | 71.9 | 72.53 | 73.03
Net taxable income |  | -20.92 | -23.97 | -10.46 | 17.92 | 40.97 | 50.45 | 58.64 | 64.47 | 66.83 | 68.63 | 70.02 | 71.08 | 71.9 | 72.53 | 73.03
Taxation Percentage |  | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99% | 33.99%
Taxation |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23.8 | 24.16 | 24.44 | 24.65 | 24.82
MAT Tax@ | 11.33% | 3.7082 | 3.8635 | 4.3291 | 4.95 | 5.572 | 6.0377 | 6.5033 | 6.8138 | 6.8138 | 6.8138 | 6.8138 | 6.8138 | 6.8138 | 6.8138 | 6.8138
Final Tax : Exemption for 10 |  | 3.7082 | 3.8635 | 4.3291 | 4.95 | 5.572 | 6.0377 | 6.5033 | 6.8138 | 6.8138 | 6.8138 | 23.8 | 24.16 | 24.44 | 24.65 | 24.82
Yrs. being Infrastructure Project
Profit after tax |  | -24.63 | -27.83 | -14.79 | 12.97 | 35.4 | 44.41 | 52.14 | 57.66 | 60.02 | 61.82 | 46.22 | 46.92 | 47.46 | 47.88 | 48.21

## cashFLOW
FINANCIAL ANNEXURE - VIII :: CASH FLOW STATEMENT
SOURCES OF FUND |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Net Profit before |  | 60.586 | 60.586 | 60.586 | 60.586 | 60.586 | 60.586 | 60.586 | 60.586 | 60.586 | 60.586 | 60.586 | 60.586 | 60.586 | 60.586 | 60.586
taxes and intt.
Increase in Share capital & Premium |  | 102.697 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation |  | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07
Subsidy | 0
Inc.in Term Loan |  | 199.353 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pre Exp Written Off |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary CDM written Off |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inc.in W.C.Loan |  | 3.2486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
T O T A L : |  | 380.9546 | 75.656 | 75.656 | 75.656 | 75.656 | 75.656 | 75.656 | 75.656 | 75.656 | 75.656 | 75.656 | 75.656 | 75.656 | 75.656 | 75.656
DEPOSITION OF FUND | CONST. | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Preliminary Exp. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capital Expenditure |  | 302.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Current Assets |  | 4.39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deposits |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Decrease in Term Loan |  | 0 | 19.9353 | 39.8706 | 39.8706 | 39.8706 | 39.8706 | 19.9353 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dividend |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Corporate Dividend Tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest |  | 27.8567 | 26.4867 | 22.3767 | 16.8967 | 11.4067 | 7.2967 | 3.1867 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668
Taxation |  | 3.7082 | 3.8635 | 4.3291 | 4.95 | 5.572 | 6.0377 | 6.5033 | 6.8138 | 6.8138 | 6.8138 | 23.8 | 24.16 | 24.44 | 24.65 | 24.82
T O T A L |  | 338.0049 | 50.2854 | 66.5764 | 61.7173 | 56.8493 | 53.205 | 29.6253 | 7.2605 | 7.2605 | 7.2605 | 24.2467 | 24.6067 | 24.8867 | 25.0967 | 25.2667
Opening Balance |  | 0 | 42.9497 | 68.3203 | 77.3999 | 91.3386 | 110.1453 | 132.5963 | 178.627 | 247.0225 | 315.418 | 383.8136 | 435.2229 | 486.2722 | 537.0415 | 587.6009
Net Surplus (A-B) |  | 42.9497 | 25.3706 | 9.0796 | 13.9387 | 18.8067 | 22.451 | 46.0307 | 68.3955 | 68.3955 | 68.3955 | 51.4093 | 51.0493 | 50.7693 | 50.5593 | 50.3893
Closing Balance |  | 42.9497 | 68.3203 | 77.3999 | 91.3386 | 110.1453 | 132.5963 | 178.627 | 247.0225 | 315.418 | 383.8136 | 435.2229 | 486.2722 | 537.0415 | 587.6009 | 637.9902

## dscr
FINANCIAL ANNEXURE - VI :: COMPUTATION OF DEBT SERVICE COVERAGE RATIO
. | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
| Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
SERVICES
a) Net Profit After Tax | 29.0211 | 30.2359 | 33.8802 | 38.7393 | 43.6073 | 47.2516 | 50.896 | 53.3255 | 53.3255 | 53.3255 | 36.3393 | 35.9793 | 35.6993 | 35.4893 | 35.3193
b) Depreciation (SLM) | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07 | 15.07
c) Interest On Term Loan | 27.41 | 26.04 | 21.93 | 16.45 | 10.96 | 6.85 | 2.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
d) Interest on Cash Credit | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668
T O T A L : | 71.9478 | 71.7925 | 71.3269 | 70.706 | 70.084 | 69.6183 | 69.1527 | 68.8422 | 68.8422 | 68.8422 | 51.856 | 51.496 | 51.216 | 51.006 | 50.836
D E B T
a) Interest On Term Loan | 27.41 | 26.04 | 21.93 | 16.45 | 10.96 | 6.85 | 2.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b) Instalment of Term Loan | 0 | 19.9353 | 39.8706 | 39.8706 | 39.8706 | 39.8706 | 19.9353 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
c) Interest on Cash Credit | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668
T O T A L : | 27.8567 | 46.422 | 62.2473 | 56.7673 | 51.2773 | 47.1673 | 23.122 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668 | 0.44668
D.S.C.R. during the year | 2.5828 | 1.5465 | 1.1459 | 1.2455 | 1.3668 | 1.476 | 2.9908 | 154.1189 | 154.1189 | 154.1189 | 116.0914 | 115.2855 | 114.6586 | 114.1885 | 113.8079
Average D.S.C.R. | 1st: 3.0071

## bep
FINANCIAL ANNEXURE - VII :: COMPUTATION OF BREAK EVEN POINT (BASED ON 3RD YEAR)
S.NO. | P A R T I C U L A R S |  | AMOUNT
(A) | VARIABLE COSTS
1. | Raw Material Consumed |  | 40.98
2. | Power & Electricity |  | 0
3. | Wages |  | 10.8888
4. | Interest On Working Capital |  | 0.44668
5. | Selling Expenses |  | 0
6. | Repairs and Maintainence |  | 10.2894
7. | Salary of Administrative Staff (50%) |  | 0.8229
|  | T O T A L | 63.4278
(B) | SEMI VARIABLES & FIXED COST
1. | Salary of Administrative Staff (50%) |  | 0.8229
2. | Administrative Expenses |  | 0
3. | Depreciation |  | 15.07
4. | Interest On Term Loan |  | 21.93
|  | T O T A L | 37.8229
(C) | SALES REALISATION |  | 139.46
(D) | CONTRIBUTION (C-A) |  | 76.0322
(E) | BREAK EVEN POINT |  | 49.75%
(F) | BREAK EVEN POINT AT 100% PRODUCTION |  | 47.26%

## bs
FINANCIAL ANNEXURE - IX :: PROJECTED BALANCE SHEET
L I A B I L I T I E S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Equity Share Capital |  | 102.697 | 102.697 | 102.697 | 102.697 | 102.697 | 102.697 | 102.697 | 102.697 | 102.697 | 102.697 | 102.697 | 102.697 | 102.697 | 102.697 | 102.697
& Securities Premium
Profit & Loss A/c. |  | 29.0211 | 59.257 | 93.1372 | 131.8765 | 175.4838 | 222.7354 | 273.6314 | 326.9569 | 380.2824 | 433.608 | 469.9473 | 505.9266 | 541.6259 | 577.1153 | 612.4346
Term Loan |  | 199.353 | 179.4177 | 139.5471 | 99.6765 | 59.8059 | 19.9353 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Working Capital Loan |  | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486 | 3.2486
| T O T A L : | 334.3197 | 344.6203 | 338.6299 | 337.4986 | 341.2353 | 348.6163 | 379.577 | 432.9025 | 486.228 | 539.5536 | 575.8929 | 611.8722 | 647.5715 | 683.0609 | 718.3802
A S S E T S |  | 1st | 2nd | 3rd | 4th | 5th | 6th | 7th | 8th | 9th | 10th | 11th | 12th | 13th | 14th | 15th
|  | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year | Year
Fixed Assets.(Net) |  | 286.98 | 271.91 | 256.84 | 241.77 | 226.7 | 211.63 | 196.56 | 181.49 | 166.42 | 151.35 | 136.28 | 121.21 | 106.14 | 91.07 | 76
Current Assets |  | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39
Deposits |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Short Term Inv./Pro.expansion |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminery Expenses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminery CDM Expneses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash & Bank Balance |  | 42.9497 | 68.3203 | 77.3999 | 91.3386 | 110.1453 | 132.5963 | 178.627 | 247.0225 | 315.418 | 383.8136 | 435.2229 | 486.2722 | 537.0415 | 587.6009 | 637.9902
| T O T A L : | 334.3197 | 344.6203 | 338.6299 | 337.4986 | 341.2353 | 348.6163 | 379.577 | 432.9025 | 486.228 | 539.5536 | 575.8929 | 611.8722 | 647.5715 | 683.0609 | 718.3802
Different in B/s. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## irr
FINANCIAL ANNEXURE - X :: CALCULATION OF INTERNAL RATE OF RETURN (IRR) & NPV
YEARS | GROSS | INVENT- | TOTAL | NET PROFIT | INTER- | DEPREC- | GROSS | NET | DISCOUNTED VALUE AT
| FIXED | -ORIES | INVEST- | AFTER TAX | -EST | -IATION | CASH | CASH
| ASSETS |  | -MENT |  |  |  | INFLOW | FLOW | - | -
[9 empty] | 20.22% | 30.22%
0 | 302.05 |  | 302.05 |  |  |  |  | -302.05 | -302.05 | -302.05
1 |  | 4.39 | 4.39 | 29.0211 | 26.4867 | 15.07 | 70.5778 | 66.1878 | 55.0549 | 50.8271
2 |  | 0 | 0 | 30.2359 | 22.3767 | 15.07 | 67.6825 | 67.6825 | 46.8288 | 39.9127
3 |  | 0 | 0 | 33.8802 | 16.8967 | 15.07 | 65.8469 | 65.8469 | 37.8956 | 29.8186
4 |  | 0 | 0 | 38.7393 | 11.4067 | 15.07 | 65.216 | 65.216 | 31.2195 | 22.679
5 |  | 0 | 0 | 43.6073 | 7.2967 | 15.07 | 65.974 | 65.974 | 26.2702 | 17.6181
6 |  | 0 | 0 | 47.2516 | 3.1867 | 15.07 | 65.5083 | 65.5083 | 21.6972 | 13.4339
7 |  |  |  | 50.896 | 0.44668 | 15.07 | 66.4127 | 66.4127 | 18.2969 | 10.4586
8 |  |  |  | 53.3255 | 0.44668 | 15.07 | 68.8422 | 68.8422 | 15.7761 | 8.3252
9 |  |  |  | 53.3255 | 0.44668 | 15.07 | 68.8422 | 68.8422 | 13.1225 | 6.3931
10 |  |  |  | 53.3255 | 0.44668 | 15.07 | 68.8422 | 68.8422 | 10.9153 | 4.9094
11 |  |  |  | 36.3393 | 0.44668 | 15.07 | 51.856 | 51.856 | 6.8391 | 2.8398
12 |  |  |  | 35.9793 | 0.44668 | 15.07 | 51.496 | 51.496 | 5.6492 | 2.1656
13 |  |  |  | 35.6993 | 0.44668 | 15.07 | 51.216 | 51.216 | 4.6735 | 1.654
14 |  |  |  | 35.4893 | 0.44668 | 0 | 35.936 | 35.936 | 2.7276 | 0.8912
15 |  |  |  | 35.3193 | 0 | 0 | 80.5193 | 80.5193 | 5.0836 | 1.5334
[9 empty] | - | -
[9 empty] | 3.2063e-13 | -88.5901
[8 empty] | = | 88.5901
[7 empty] | I.R.R. | = | 20.22%