## Projects commisioned
Proj. No | SL.No. | Name of Developer | Manufacturer | Location/ taluk | Taluk & District | Nos of WTGs | Hub height in M | WEGs rating (KW) | Total installed capacity in MW | Date of Commissioning
1 | 176 | AbhilashGarmentsandEstates(P)Ltd., | ENERCON | Machenahalli village in Shirahatti | Gadag | 1 | 56 | 800 | 0.8 | 2006-12-29
2 | 85 | AbishekExports | SUZLON | Jogimatti | Chitradurga | 1 | 64 | 1250 | 1.25 | 2005-03-30
3 | 106 | AbletechElectroEngineersPvt.Ltd., | ENERCON | Mattighatta/Borenahalli | Chitradurga | 2 | 51 | 800 | 1.6 | 2005-08-31
4 | 155 | AllegroVenturesIndia(P)Ltd., | SUZLON | Gujunur | Bellary | 1 | 64 | 1250 | 1.25 | 2006-03-28
5 | 82 | Amitronics | SUZLON | Jogimatti | Chitradurga | 1 | 64 | 1250 | 1.25 | 2005-03-21
6 | 126 | AmritBottlersPvtLtd., | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-30
7 | 100 | AmrithBottlers | ENERCON | Vanivilasagar | Chitradurga | 2 | 48 | 600 | 1.2 | 2005-03-30
8 | 55 | AssociateAutotexAncillaries(P)Ltd., | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-03-24
9 | 0 | AssociatedAutotexAncillaries(P)Ltd., | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-07-20
10 | 116 | AvanthiFeedsLtd., | ENERCON | Lakkihalli | Chitradurga | 4 | 56 | 800 | 3.2 | 2005-09-29
11 | 0 | B.S.C.Textiles | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-07-20
12 | 0 | B.S.C.TextilesClothMerchants, | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-08-27
13 | 57 | B.S.Chanabasappa&sons | ENERCON | Kennedlu, Nandipura | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-03-24
14 | 0 | B.S.Chanabasappaandsons., | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-09-08
15 | 50 | BalasahebM.Ladkat | ENERCON | H.D.Pura | Chitradurga | 1 | 48 | 600 | 0.6 | 2003-08-05
16 | 0 | BalasahebM.Ladkat | ENERCON | Hosadurga | chitradurga | 2 | 56 | 800 | 1.6 | 2006-03-31
17 | 91 | BelladandCompany(CWEL) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 1 | 55 | 950 | 0.95 | 2005-03-31
18 | 0 | BelladandCompany(CWEL) | NEG-Micon | Gonur | Chitradurga | 1 | 72 | 950 | 0.95 | 2005-06-22
19 | 0 | BellaryIronOres(P)Ltd., | VESTAS | Betadarangenahalli | Chitradurga | 5 | 50 | 500 | 2.5 | 2005-03-31
20 | 0 | BellaryIronOresCo.Pvt.Limited(NEG) | NEG-Micon | Gonur | Chitradurga | 1 | 72 | 950 | 0.95 | 2005-06-09
21 | 0 | BellaryIronOresPvtLtd., | VESTAS | Channagiri | Davangere | 7 | 50 | 600 | 4.2 | 2006-03-31
22 | 0 | BellaryIronOresPvtLtd., | VESTAS | Channagiri | Davangere | 1 | 40 | 500 | 0.5 | 2006-03-31
23 | 88 | BellaryIronWorksPvt.,Ltd.,(CWEL) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 1 | 55 | 950 | 0.95 | 2005-03-31
24 | 0 | BhagyanagarIndiaLtd., | SUZLON | Kappatgudda | Gadag | 2 | 64 | 1250 | 2.5 | 2006-09-30
25 | 0 | BhagyanagarIndiaLtd., | SUZLON | Kappatgudda | Gadag | 2 | 64 | 1250 | 2.5 | 2006-09-30
26 | 170 | BharatElectronicsLtd., | VESTAS | Chennagiri | Davangere | 5 | 49 | 500 | 2.5 | 2006-09-30
27 | 92 | BorukaPowerCorporationLtd., | VESTAS | Betadarangenahalli | Chitradurga | 4 | 50 | 500 | 2 | 2005-03-31
28 | 96 | BrindavanAgroIndustries(P)Ltd., | ENERCON | Vanivilasagar | Chitradurga | 2 | 48 | 600 | 1.2 | 2005-03-23
29 | 125 | BrindavanAgroIndustriesLtd., | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-29
30 | 0 | BrindavanAgroIndustriesLtd., | ENERCON | Lakkihalli | Chitradurga | 3 | 56 | 800 | 2.4 | 2005-09-30
31 | 7 | BSESLimited | ENERCON | Bharampura / Hiriyur & Holalkere | Chitradurga | 33 | 50 | 230 | 7.59 | 1999-09-30
32 | 0 | BSESLimited | ENERCON | Gundikere & Budhuipura | Chitradurga | 3 | 48 | 600 | 1.8 | 2003-06-20
33 | 159 | BSKTradingInc | SUZLON | Kappatagudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-03-27
34 | 0 | BSKTradingInc | SUZLON | Mattikoppa | Gadag | 1 | 64 | 1250 | 1.25 | 2006-08-10
35 | 118 | BVFinanace&LeasingLTd., | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-29
36 | 0 | BVFinanace&LeasingLTd., | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-30
37 | 141 | CaveryCoffeeTraders | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-31
38 | 0 | CaveryCoffeeTraders | ENERCON | Machinalli | Gadag | 1 | 56 | 800 | 0.8 | 2006-12-29
39 | 114 | CBMCorporationMMCL | ENERCON | Mattighatta/Borenahalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-17
40 | 11 | CEPCOIndustriesPvt.Ltd. | ENERCON | Kurumardigere &Kennedlu/ Chitradurga | Chitradurga | 5 | 48 | 600 | 3 | 2001-08-03
41 | 0 | CEPCOIndustriesPvt.Ltd. | ENERCON | Kurumardigere &Kennedlu/ Chitradurga | Chitradurga | 9 | 48 | 600 | 5.4 | 2001-08-30
42 | 0 | CEPCOIndustriesPvt.Ltd. | ENERCON | Kumminaghatta (Jogimatti in Wind Zone | Chitradurga | 1 | 48 | 600 | 0.6 | 2003-03-30
43 | 0 | CEPCOIndustriesPvt.Ltd. | ENERCON | Elladakere | Chitradurga | 2 | 48 | 600 | 1.2 | 2004-03-29
44 | 73 | CooperFoundary(P)Ltd., | ENERCON | Elladakere | Chitradurga | 2 | 48 | 600 | 1.2 | 2004-09-30
45 | 0 | CooperFoundary(P)Ltd., | ENERCON | Elladakere | Chitradurga | 2 | 48 | 600 | 1.2 | 2004-10-13
46 | 12 | DeeDeeEnterprises, | ENERCON | Nandipura/Chitradurga | Chitradurga | 1 | 48 | 600 | 0.6 | 2001-08-03
47 | 0 | DeeDeeEnterprises, | ENERCON | Mathighatta (jogimatti in Wind zone) | Davanagere | 1 | 48 | 600 | 0.6 | 2003-03-29
48 | 67 | DefreeEngineeringP.Ltd., | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-07-20
49 | 131 | DempoIndustriesPvtLTd., | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-29
50 | 134 | DesaiBrotehrs | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-29
51 | 148 | DevchandRamsaran | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-31
52 | 133 | DineshProuchesLtd., | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-29
53 | 138 | DRContainerTerminal | ENERCON | Hosadurga | chitradurga | 2 | 56 | 800 | 1.6 | 2006-03-31
54 | 161 | E.Rammurthy | SUZLON | Kappatagudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-03-27
55 | 149 | ElproInstruments | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-31
56 | 46 | ElveetyIndustriesLtd. | AMTL | Gonur | Chitradurga | 2 | 32 | 250 | 0.5 | 2003-05-21
57 | 19 | EnconServiceLtd.,(NEG) | NEG-MICON | Chikkasiddavvanahalli / Hiriyur | Chitradurga | 4 | 52 | 750 | 3 | 2002-03-30
58 | 0 | EnerconWindFarms(Chitradurga)Ltd., | ENERCON | Bharampura village | Chitradurga | 6 | 56 | 800 | 4.8 | 2006-05-06
59 | 151 | Enerconwindfarms(Chitradurga)PvtLtd., | ENERCON | Hosadurga | chitradurga | 5 | 56 | 800 | 4 | 2006-03-31
60 | 169 | EnerconWindFarms(Hindustan)(P)Ltd.,JNI | ENERCON | Dusudi | Chitradurga | 30 | 56 | 800 | 24 | 2006-09-29
61 | 0 | EnerconWindFarms(Hindustan)(P)Ltd.,JNI | ENERCON | Chikkabyladakere | Tumkur | 26 | 56 | 800 | 20.8 | 2006-09-29
62 | 0 | EnerconWindFarms(Hindustan)(P)Ltd.,JNI | ENERCON | Dusudi | Chitradurga | 4 | 50 | 800 | 3.2 | 2006-10-26
63 | 0 | EnerconWindFarms(Hindustan)(P)Ltd.,JNI | ENERCON | Chikkabyladakere | Tumkur | 5 | 50 | 800 | 4 | 2006-10-26
64 | 0 | EnerconWindFarms(Hindustan)(P)Ltd.,JNI | ENERCON | Dasudi & Chickabaladikere Gollarahatti, Somanahalli & Thimmapanahalli | Tumkur | 21 | 56 | 800 | 16.8 | 2006-12-28
65 | 13 | EnerconWindfarms(India)Ltd., | ENERCON | Kenndlu,Chitradurga | Chitradurga | 7 | 48 | 600 | 4.2 | 2001-09-29
66 | 0 | EnerconWindfarms(India)Ltd., | ENERCON | Kenndlu,Chitradurga | Chitradurga | 7 | 48 | 600 | 4.2 | 2002-06-04
67 | 0 | EnerconWindfarms(India)Ltd., | ENERCON | Yarehalli, Thekalavatti &Kolahalu | Chitradurga | 12 | 48 | 600 | 7.2 | 2003-05-14
68 | 0 | EnerconWindfarms(India)Ltd., | ENERCON | Yarehalli, Thekalavatti &Kolahalu | Chitradurga | 23 | 48 | 600 | 13.8 | 2003-08-26
69 | 0 | EnerconWindfarms(India)Ltd., | ENERCON | Kappatagudda | Gadag | 4 | 51 | 800 | 3.2 | 2005-03-27
70 | 0 | EnerconWindfarms(Krishna)Ltd., | ENERCON | Kappatagudda | Gadag | 25 | 51 | 600 | 15 | 2005-03-15
71 | 168 | EnerconWindfarms(Krishna)Ltd., | ENERCON | Hirevadatti | Gadag | 4 | 50 | 600 | 2.4 | 2006-08-19
72 | 162 | EnsembleInfrasturuceIndiaLtd., | SUZLON | Kappatagudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-03-27
73 | 0 | ERamamurthy | SUZLON | Keluru | Gadag | 1 | 64 | 1250 | 1.25 | 2006-09-23
74 | 63 | Esawiknittings(FIZA) | NEG-MICON | G.R.Halli | Chitradurga | 2 | 55 | 750 | 1.5 | 2004-04-16
75 | 0 | Esawiknittings(FIZA) | NEG-MICON | G.R.Halli | Chitradurga | 2 | 55 | 750 | 1.5 | 2004-05-19
76 | 62 | EswariGarements(FIZA) | NEG-MICON | G.R.Halli | Chitradurga | 1 | 55 | 750 | 0.75 | 2004-04-16
77 | 0 | EswariGarements(FIZA) | NEG-MICON | G.R.Halli | Chitradurga | 1 | 55 | 750 | 0.75 | 2004-05-19
78 | 0 | EswariTextiles(FIZA) | NEG-MICON | G.R.Halli | Chitradurga | 2 | 55 | 750 | 1.5 | 2004-06-09
79 | 0 | EswariTextiles(FIZA) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 2 | 55 | 750 | 1.5 | 2004-09-08
80 | 174 | FatehpuraiTransformer&Switchgears(P)Ltd., | ENERCON | Majjur village in Shirahatti | Gadag | 1 | 56 | 800 | 0.8 | 2006-12-29
81 | 77 | FerromarShipping(P)Ltd., | SUZLON | Kurumardikere | Chitradurga | 1 | 64 | 1250 | 1.25 | 2004-09-30
82 | 40 | FizaDevelopers&Inter-TradePvt.Ltd, | ENERCON | Mathighatta and Thalya (jogimatti in Wind zone) | Chitradurga | 2 | 48 | 600 | 1.2 | 2003-03-30
83 | 44 | FriendsassociatePowerProjects. | ENERCON | Madakaripura | Chitradurga | 1 | 50 | 230 | 0.23 | 2003-04-01
84 | 78 | GangadharNaringadasAgarwal(HUF) | SUZLON | Kurumardikere | Chitradurga | 1 | 64 | 1250 | 1.25 | 2004-09-30
85 | 0 | GangadharNaringadasAgarwal(HUF) | SUZLON | Kurumardikere | Chitradurga | 1 | 64 | 1250 | 1.25 | 2004-10-18
86 | 175 | GangadharNarsingdasAgarwal | ENERCON | Majjur village in Shirahatti | Gadag | 3 | 56 | 800 | 2.4 | 2006-12-29
87 | 0 | GangadharNarsingdasAgarwal | ENERCON | Machenahalli & Ranathur village in Shirahatti | Gadag | 2 | 56 | 800 | 1.6 | 2006-12-29
88 | 146 | GauthamLadkat | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-31
89 | 142 | Gemcraft | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-31
90 | 0 | Gemcraft | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-31
91 | 97 | GemCrafts | ENERCON | Vanivilasagar | Chitradurga | 1 | 48 | 600 | 0.6 | 2005-03-23
92 | 177 | GemscabIndustriesSolutions | ENERCON | Ranathur village in Shirahatti | Gadag | 1 | 56 | 800 | 0.8 | 2006-12-29
93 | 137 | GhodawatIndustires(P)Ltd., | ENERCON | Hosadurga | chitradurga | 7 | 56 | 800 | 5.6 | 2006-03-29
94 | 0 | GhodawatpanMasalaproducts(I)Pvt.,Ltd., | ENERCON | Kennedlu, Nandipura | Chitradurga | 7 | 48 | 600 | 4.2 | 2004-03-27
95 | 0 | GhodawatPanMasalaProducts(I)PvtLtd., | ENERCON | Janakal and Janakal (Jogimatti Wind Zone) | Chitradurga | 9 | 48 | 600 | 5.4 | 2003-03-30
96 | 17 | GhodawatPanMasalProductrs(India)Pvt.Ltd. | ENERCON | Kenndlu,Nandipua & Doddapura Chitradurga | Chitradurga | 6 | 48 | 600 | 3.6 | 2002-03-29
97 | 0 | GhodawatPanMasalProductrs(India)Pvt.Ltd. | ENERCON | Kenndlu, Nandipua& Doddapura Chitradurga | Chitradurga | 3 | 48 | 600 | 1.8 | 2002-07-05
98 | 166 | GlobleTrasnsportCo.Ltd., | SUZLON | Kappatagudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-03-31
99 | 8 | Goetze(India)FinancialServicesLtd., | ENERCON | Gopalpura / Hiriyur | Chitradurga | 16 | 48 | 600 | 9.6 | 2000-03-31
100 | 54 | Goodlucksyndicate., | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-03-24
101 | 0 | HappyValleyDevelopers | SUZLON | Kappatgudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-09-28
102 | 167 | HuttiGoldMinesCompanyLtd., | VESTAS | Ingaldal | Chitradurga | 8 | 50 | 600 | 4.8 | 2006-06-12
103 | 5 | ICICIBankLtd. | RES-AWT-27 | Girgoan / Chikkodi | Belgaum | 12 | 43 | 250 | 3 | 1998-03-31
104 | 0 | ICICIBankLtd. | RES-AWT-27 | Bharampura / Hiriyur & Holalkere | Belgaum | 2 | 43 | 250 | 0.5 | 2000-03-13
105 | 99 | IGEIndia | ENERCON | Vanivilasagar | Chitradurga | 1 | 48 | 600 | 0.6 | 2005-03-30
106 | 0 | IndanEnergyPvt.Ltd | NEG-Micon | Kanchiganal | Chitradurga | 1 | 55 | 950 | 0.95 | 2006-08-04
107 | 47 | IndanEnergyPvt.Ltd(FIZA) | NEG-MICON | kanchiganhall | Chitradurga | 1 | 54 | 750 | 0.75 | 2003-05-21
108 | 157 | IndianWindEnergyAssociation | SUZLON | Kappatagudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-03-31
109 | 130 | IndiaPowerCorporationLtd., | ENERCON | Lakkihalli | Chitradurga | 6 | 56 | 800 | 4.8 | 2006-02-15
110 | 0 | IndiaPowerCorporationLtd., | ENERCON | Lakkihalli | Chitradurga | 3 | 56 | 800 | 2.4 | 2006-02-15
111 | 0 | IndiaPowerCorporationLtd., | ENERCON | Hosadurga | chitradurga | 4 | 56 | 800 | 3.2 | 2006-03-31
112 | 6 | IndoWindEnergyLtd. | NEPC-INDIA | Mallasamudraum /Gadag | Gadag | 8 | 30 | 225 | 1.8 | 1998-03-31
113 | 0 | IndoWindEnergyLtd. | NEPC-INDIA | Mallasamudraum /Gadag | Gadag | 1 | 30 | 250 | 0.25 | 1998-03-31
114 | 0 | IndoWindEnergyLtd. | NEPC-INDIA | Belathadi /Gadag | Gadag | 1 | 35 | 400 | 0.4 | 1998-03-31
115 | 0 | IndoWindEnergyLtd. | NEPC-INDIA | Belathadi /Gadag | Gadag | 1 | 30 | 225 | 0.225 | 1998-09-11
116 | 0 | IndoWindEnergyLtd. | NEPC-INDIA | Belathadi /Gadag | Gadag | 1 | 30 | 225 | 0.225 | 1998-09-18
117 | 0 | IndoWindEnergyLtd. | NEPC-INDIA | Belathadi /Gadag | Gadag | 1 | 35 | 400 | 0.4 | 1998-11-26
118 | 0 | IndoWindEnergyLtd. | NEPC-INDIA | Belathadi /Gadag | Gadag | 1 | 35 | 400 | 0.4 | 1998-12-10
119 | 0 | IndoWindEnergyLtd. | NEPC-INDIA | Belathadi /Gadag | Gadag | 1 | 35 | 400 | 0.4 | 1999-05-27
120 | 0 | IndoWindEnergyLtd. | NEPC-INDIA | Kurumardigere /Chitradurga | Gadag | 4 | 30 | 225 | 0.9 | 2002-03-11
121 | 98 | Internationalconveyors | ENERCON | Vanivilasagar | Chitradurga | 1 | 48 | 600 | 0.6 | 2005-03-30
122 | 15 | J.N.Investments&TradingCompnayPvt.Ltd.. | ENERCON | Nandipura/ Chitradurga | Chitradurga | 1 | 48 | 600 | 0.6 | 2002-01-17
123 | 4 | JindalAluminiumLtd. | ENERCON | Madhakaripura / Chitradurga | Chitradurga | 10 | 50 | 230 | 2.3 | 1997-09-28
124 | 0 | JindalAluminiumLtd. | ENERCON | Madhakaripura / Chitradurga | Chitradurga | 8 | 50 | 230 | 1.84 | 1998-01-09
125 | 0 | JindalAluminiumLtd.(FIZA) | NEG-MICON | kanchiganhall | Chitradurga | 2 | 55 | 950 | 1.9 | 2003-05-21
126 | 0 | JindalAluminiumLtd.-EIL | ENERCON | NandanaHosur | Chitradurga | 5 | 48 | 600 | 3 | 2002-09-27
127 | 0 | JindalAluminiumLtd.-EIL | ENERCON | NandanaHosur | Chitradurga | 4 | 48 | 600 | 2.4 | 2002-09-30
128 | 0 | JindalAluminiumLtd.-EIL | ENERCON | Kumminaghatta (Jogimatti Wind Zone) | Chitradurga | 1 | 48 | 600 | 0.6 | 2003-03-30
129 | 0 | JindalAluminiumLtd-EIL | ENERCON | NandanaHosur | Chitradurga | 1 | 48 | 600 | 0.6 | 2002-10-04
130 | 84 | JivrajTeaLtd., | SUZLON | Jogimatti | Chitradurga | 1 | 64 | 1250 | 1.25 | 2005-03-30
131 | 121 | JubileeTextileMills | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-29
132 | 29 | KamalTradingCo.,Pvt.Ltd., | ENERCON | Madakaripura | Chitradurga | 1 | 50 | 230 | 0.23 | 2003-03-27
133 | 65 | KariganurIron&SteelPvt.,Ltd.,(FIZA) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 1 | 55 | 750 | 0.75 | 2004-05-19
134 | 0 | KariganurIron&steels | SUZLON | Jogimatti | Chitradurga | 2 | 64 | 1250 | 2.5 | 2005-03-21
135 | 1 | KarnakakaPowerCorporationLtd. | VESTAS | Kappatagudda /Gadag | Gadag | 9 | 30 | 225 | 2.025 | 1996-10-03
136 | 2 | KarnakakaPowerCorporationLtd. | ENERCON | Kappattagudda / Gadag | Gadag | 5 | 50 | 230 | 1.15 | 2002-06-29
137 | 0 | KarnakakaPowerCorporationLtd. | ENERCON | Kappattagudda / Gadag | Gadag | 6 | 50 | 230 | 1.38 | 2002-07-08
138 | 4 | KarnatakaRenewableEnergyDevelopmentLtd. | VESTAS | Mavinahunda | Belgaum | 4 | 50 | 500 | 2 | 2003-08-30
139 | 5 | KarnatakaRenewableEnergyDevelopmentLtd. | SUZLON | Sogi | Bellary | 2 | 64 | 1250 | 2.5 | 2004-09-28
140 | 3 | KirloskarElectricCompanyLtd. | WEG(UK) | Hargapurgad /Hukkeri | Belgaum | 5 | 35 | 400 | 2 | 1997-09-27
141 | 3 | KSIIDC, | Micon Denmark | Talakaveri / Medikeri | Medikere | 5 |  | 110 | 0.55
142 | 0 | LaxmiOrganicIndustries., | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-10-21
143 | 75 | LaxmiOrganicIndustriesPvt.,Ltd., | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-09-30
144 | 14 | LovelyFragrances | ENERCON | Bharampura/ Chitradurga | Chitradurga | 1 | 48 | 600 | 0.6 | 2002-01-17
145 | 0 | LovelyFragrances | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-31
146 | 66 | MadrasCementsLtd., | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-06-28
147 | 0 | MadrasCementsLtd., | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-06-28
148 | 0 | MadrasCementsLtd., | ENERCON | Hosadurga | chitradurga | 6 | 56 | 800 | 4.8 | 2006-03-31
149 | 112 | MahalaksmiCommercialServices | SUZLON | Gujanur | Bellary | 1 | 64 | 1250 | 1.25 | 2005-09-30
150 | 124 | MahalaksmiConstructionCorporationLtd., | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-30
151 | 16 | ManipalAcademyofHigherEducation, | Pioneer Wincon | Kurumardigere /Chitradurga | Chitradurga | 15 | 50 | 250 | 3.75 | 2002-03-06
152 | 53 | MansukmahalPvt.,Ltd.,(NEG) | NEG-MICON | Kanchiganal | Chitradurga | 1 | 72 | 950 | 0.95 | 2003-11-21
153 | 80 | MantriDeveloper | SUZLON | Jogimatti | Chitradurga | 3 | 64 | 1250 | 3.75 | 2005-03-21
154 | 0 | MarisPowerSupplyCo.Limited(CWEL) | NEG-Micon | Kanchiganal (1WTGs) Madakaripura(6WTGs) | Chitradurga | 7 | 72 | 750 | 5.25 | 2005-06-09
155 | 87 | MarisPowerSupplyCompanyLtd.,(FIZA) | NEG-MICON | Gonur | Chitradurga | 7 | 52 | 750 | 5.25 | 2005-03-31
156 | 107 | MarkDataPower&EnergyLtd., | SUZLON | Gujanur | Bellary | 1 | 64 | 1250 | 1.25 | 2005-09-30
157 | 31 | MayuraSteelsPvtLtd., | ENERCON | Madakaripura | Chitradurga | 1 | 50 | 230 | 0.23 | 2003-03-27
158 | 68 | MeghnaAutomotivesPvt.Ltd. | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-09-08
159 | 72 | MineralEnterprisesLtd, | ENERCON | Elladakere | Chitradurga | 3 | 48 | 600 | 1.8 | 2004-09-30
160 | 0 | MineralEnterprisesLtd., | ENERCON | Elladakere | Chitradurga | 2 | 48 | 600 | 1.2 | 2004-10-29
161 | 115 | MineralEnterprisesLtd.,(MMCL) | ENERCON | Mattighatta/Borenahalli | Chitradurga | 3 | 56 | 800 | 2.4 | 2005-09-17
162 | 0 | MineralProject | ENERCON | Hosadurga | chitradurga | 5 | 56 | 800 | 4 | 2006-03-31
163 | 0 | MineralProject | ENERCON | Hosadurga | chitradurga | 7 | 56 | 800 | 5.6 | 2006-03-31
164 | 101 | MKAgrotech | ENERCON | Vanivilasagar | Chitradurga | 2 | 48 | 600 | 1.2 | 2005-03-31
165 | 0 | MKAgrotech(P)Ltd., | ENERCON | Majjur village in Shirahatti | Gadag | 1 | 56 | 800 | 0.8 | 2006-12-29
166 | 144 | MKAgrotechPvtLTd., | ENERCON | Hosadurga | chitradurga | 2 | 56 | 800 | 1.6 | 2006-03-31
167 | 23 | Mohite&Mohite(engineers&Contractor), | ENERCON | Nadan Hosur | Chitradurga | 4 | 48 | 600 | 2.4 | 2002-09-27
168 | 0 | MPRWidnFarms | SUZLON | Kappatgudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-09-28
169 | 63 | MSPL | SUZLON | Jogimatti | Chitradurga | 2 | 65 | 1250 | 2.5 | 2004-04-10
170 | 0 | MSPL | SUZLON | Sogi | Bellary | 15 | 64 | 1250 | 18.75 | 2005-03-22
171 | 0 | MSPL | SUZLON | Sogi | Bellary | 4 | 64 | 1250 | 5 | 2005-03-28
172 | 0 | MSPL | SUZLON | Jajikalgudda | Davangere | 13 | 64 | 1250 | 16.25 | 2005-03-31
173 | 0 | MSPL | SUZLON | Jajikalgudda | Davangere | 2 | 64 | 1250 | 2.5 | 2005-03-31
174 | 0 | MSPL-2 | SUZLON | Jogimatti | Chitradurga | 4 | 64 | 1250 | 5 | 2005-03-21
175 | 0 | MSPL--2(NEG) | NEG-MICON | GRHalli | Chitradurga | 5 | 66 | 950 | 4.75 | 2003-09-30
176 | 0 | MSPL-3(NEG) | NEG-MICON | G.R.Halli | Chitradurga | 4 | 55 | 950 | 3.8 | 2004-03-31
177 | 0 | MSPL-4 | NEG-MICON | G.R.Halli | Chitradurga | 2 | 55 | 750 | 1.5 | 2004-04-16
178 | 0 | MSPL-4 | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 3 | 55 | 950 | 2.85 | 2004-09-08
179 | 0 | MSPL-5 | SUZLON | Sogi | Bellary | 1 | 64 | 1250 | 1.25 | 2005-12-31
180 | 0 | MSPL-5(FIZA) | NEG-MICON | G.R.Halli | Chitradurga | 3 | 55 | 750 | 2.25 | 2004-04-16
181 | 0 | MSPL-5(FIZA) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 2 | 55 | 750 | 1.5 | 2004-09-08
182 | 0 | MSPL-6(NEG) | NEG-MICON | GRHalli | Chitradurga | 4 | 55 | 950 | 3.8 | 2004-03-31
183 | 0 | MSPL-7(NEG) | NEG-MICON | Chikapanahalli | Chitradurga | 3 | 55 | 950 | 2.85 | 2004-03-31 | 89.65 | 0
184 | 0 | MSPL-8(FIZA) | NEG-MICON | G.R.Halli | Chitradurga | 1 | 55 | 950 | 0.95 | 2004-05-19
185 | 0 | MSPL-8(FIZA) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 1 | 55 | 950 | 0.95 | 2004-09-08
186 | 0 | MSPLLimited-6 | SUZLON | Jajikalgudda | Davangere | 1 | 64 | 1250 | 1.25 | 2005-04-30
187 | 0 | MSPLLimited-6 | SUZLON | Jajikalgudda | Davangere | 1 | 64 | 1250 | 1.25 | 2005-05-31
188 | 0 | MSPLLtd. | SUZLON | Jogimatti | Chitradurga | 3 | 65 | 1250 | 3.75 | 2004-03-31
189 | 0 | MSPLLtd., | VESTAS | Channagiri | Davangere | 10 | 50 | 600 | 6 | 2006-03-31
190 | 28 | MSPLLtd.-1(NEG) | NEG-MICON | G.R.Halli/Gonur | Chitradurga | 1 | 55 | 950 | 0.95 | 2003-03-21
191 | 140 | MumbaiStcokBrokersPvtLTd., | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-31
192 | 105 | MysoreMercantileCompanyLtd., | ENERCON | Mattighatta/Holakere | Chitradurga | 2 | 51 | 800 | 1.6 | 2005-08-18
193 | 0 | MysoreMercantileCompanyLtd., | ENERCON | Mattighatta/Holakere | Chitradurga | 3 | 51 | 800 | 2.4 | 2005-08-29
194 | 0 | MysoreMercantileCompanyLtd., | ENERCON | Mattighatta/Holakere | Chitradurga | 1 | 51 | 800 | 0.8 | 2005-08-31
195 | 81 | NavalakhasTravles | SUZLON | Jogimatti | Chitradurga | 1 | 64 | 1250 | 1.25 | 2005-03-22
196 | 164 | NavBaharatIntenationalLtd., | SUZLON | Kappatagudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-03-31
197 | 48 | NEGMicon(I)Pvtl.Ltd | NEG-MICON | G.R.Halli/Gonur | Chitradurga | 4 | 55 | 950 | 3.8 | 2003-05-21
198 | 127 | NeharajEnegry | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-29
199 | 0 | NuziveeduSeedsLtd | NEG-MICON | Biderekere /Jagalur | Davanagere | 5 | 55 | 950 | 4.75 | 2003-07-28
200 | 0 | NuziveeduSeedsLtd. | GE-WIND | Jagalur | Davanagere | 4 | 33 | 1500 | 6 | 2004-08-06
201 | 0 | NuziveeduSeedsLtd., | SUZLON | Kappatgudda | Gadag | 3 | 64 | 1250 | 3.75 | 2006-09-28
202 | 0 | NuziveeduSeedsLtd., | SUZLON | Kappatgudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-09-30
203 | 0 | NuziveeduSeedsLtd.7 | GE-WIND | Jagalur | Davanagere | 2 | 33 | 1500 | 3 | 2004-09-02
204 | 9 | NuzveeduSeedsLimited, | NEG-MICON | Biderekere / Jagalur | Davanagere | 5 | 54 | 750 | 3.75 | 2001-03-31
205 | 0 | NuzveeduSeedsLimited, | NEG-MICON | Biderekere / Jagalur | Davanagere | 11 | 54 | 750 | 8.25 | 2003-03-27
206 | 0 | NuzveeduSeedsLimited, | NEG-MICON | Biderekere / Jagalur | Davanagere | 2 | 55 | 950 | 1.9 | 2003-08-31
207 | 70 | P.MohanLal., | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-09-24
208 | 83 | P.VengannaSetty&Bros. | SUZLON | Sogi | Bellary | 6 | 64 | 1250 | 7.5 | 2005-03-28
209 | 0 | P.VengannaSetty&Bros. | VESTAS | Channagiri | Davangere | 1 | 50 | 600 | 0.6 | 2006-03-31
210 | 69 | P.VijayKumar., | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-09-24
211 | 51 | PallaviGreenPower(FIZA) | NEG-MICON | Kanchignhal | Chitradurga | 1 | 55 | 750 | 0.75 | 2003-08-31
212 | 0 | PanamaBusinessCentre | ENERCON | Hosadurga | chitradurga | 2 | 56 | 800 | 1.6 | 2006-03-31
213 | 42 | PanamaBusinesscentre, | ENERCON | Kumminaghatta (Jogimatti Wind Zone) | Chitradurga | 1 | 48 | 600 | 0.6 | 2003-03-30
214 | 49 | PanamaCredit&CapitalPvt.Ltd. | ENERCON | H.D.Pura | Chitradurga | 1 | 48 | 600 | 0.6 | 2003-08-05
215 | 147 | PanamaInfrastructerPvtLTd., | ENERCON | Hosadurga | chitradurga | 2 | 56 | 800 | 1.6 | 2006-03-31
216 | 34 | PatelShantiSteelsPvt.Ltd, | ENERCON | Madakaripura | Chitradurga | 1 | 50 | 230 | 0.23 | 2003-03-27
217 | 0 | PatelShantiSteelsPvt.Ltd, | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-09-24
218 | 0 | PatelShantiSteelsPvt.Ltd, | ENERCON | Vanivilasagar | Chitradurga | 1 | 48 | 600 | 0.6 | 2005-03-23
219 | 103 | PeenyaPowerCompany(P)Ltd., | VESTAS | Betadarangenahalli | Chitradurga | 1 | 50 | 500 | 0.5 | 2005-03-31
220 | 0 | PeenyaPowerCompany(P)Ltd., | VESTAS | Bettedanagenahalli | Chitradurga | 1 | 40 | 500 | 0.5 | 2005-04-04
221 | 20 | PrabhatAgri-BitechPvt.Ltd.(NEG) | NEG-MICON | Chikkasiddavvanahalli / Hiriyur | Chitradurga | 1 | 52 | 750 | 0.75 | 2002-03-31
222 | 171 | PragathiAromaOilDistillers(P)Ltd., | VESTAS | Chennagiri | Davangere | 2 | 49 | 600 | 1.2 | 2006-09-30
223 | 173 | PrasadGlobalSolutions | ENERCON | Majjur village in Shirahatti | Gadag | 1 | 56 | 800 | 0.8 | 2006-12-29
224 | 0 | PrasadGlobalSolutions | ENERCON | Ranathur village in Shirahatti | Gadag | 1 | 56 | 800 | 0.8 | 2006-12-29
225 | 138 | PrasadTechnologyPark | ENERCON | Hosadurga | chitradurga | 2 | 56 | 800 | 1.6 | 2006-03-31
226 | 0 | PrimeLabelsLtd.-PWL | REPL | Palavanahalli | Chitradurga | 2 | 48 | 320 | 0.64 | 2004-03-31
227 | 22 | PrimeLable(P)Ltd.,-PWL | Pioneer Wincon | Kurumardigere /Chitradurga | Chitradurga | 1 | 50 | 250 | 0.25 | 2002-07-07
228 | 74 | PrimtexApparelsIndia(P)Ltd., | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-09-30
229 | 178 | ProtectronElectromech(P)Ltd., | ENERCON | Ranathur village in Shirahatti | Gadag | 1 | 56 | 800 | 0.8 | 2006-12-29
230 | 153 | R.B.SethShreeramNaringdas | VESTAS | Channagiri | Davangere | 4 | 50 | 600 | 2.4 | 2006-03-31
231 | 41 | RajaMagneticsLtd, | ENERCON | Thalya and Horakerer (Jogimatti in Wind Zone) | Chitradurga | 1 | 48 | 600 | 0.6 | 2003-03-30
232 | 76 | RajeshConstructionCompany | SUZLON | Kurumardikere | Chitradurga | 1 | 64 | 1250 | 1.25 | 2004-09-30
233 | 0 | RajeshConstructionCompany | SUZLON | Kurumardikere | Chitradurga | 1 | 64 | 1250 | 1.25 | 2004-10-18
234 | 33 | RajinikanthFoundation, | ENERCON | Madakaripura | Chitradurga | 1 | 50 | 230 | 0.23 | 2003-03-27
235 | 136 | Ramco | ENERCON | Hosadurga | chitradurga | 1 | 51 | 330 | 0.33 | 2006-03-29
236 | 143 | RamcoIndustriesLtd., | ENERCON | Hosadurga | chitradurga | 2 | 56 | 800 | 1.6 | 2006-03-31
237 | 165 | RameshKumarHajarimalRathod | SUZLON | Kappatagudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-03-31
238 | 52 | RamgadMineralandminingPvt.Ltd-1(NEG) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 2 | 55 | 950 | 1.9 | 2003-09-30
239 | 0 | RamgadMineralandminingPvt.Ltd-2(FIZA) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 1 | 55 | 750 | 0.75 | 2004-05-19
240 | 0 | RamgadMinerals&MiningPvt.Ltd, | SUZLON | Jajikalgudda | Davangere | 6 | 64 | 1250 | 7.5 | 2005-03-27
241 | 0 | RamgadMinerals&MiningPvt.Ltd, | SUZLON | Sogi | Bellary | 6 | 64 | 1250 | 7.5 | 2005-03-28
242 | 0 | RamgadMinerals&MiningPvt.Ltd, | SUZLON | Jajikalgudda | Davangere | 8 | 64 | 1250 | 10 | 2005-03-31
243 | 0 | RamgadMinerals&MiningPvt.Ltd-3 | SUZLON | Jajikalgudda | Davangere | 1 | 64 | 1250 | 1.25 | 2005-05-31
244 | 0 | RamgadMinerals&MiningPvt.Ltd-3 | SUZLON | Jajikalgudda | Davangere | 2 | 64 | 1250 | 2.5 | 2005-06-13
245 | 0 | RamgadMinerals&MiningPvt.Ltd-4 | SUZLON | Jajikalgudda | Davangere | 5 | 64 | 1250 | 6.25 | 2005-04-30
246 | 0 | RamgadMinerals&MiningPvt.Ltd-4 | SUZLON | Jajikalgudda | Davangere | 3 | 64 | 1250 | 3.75 | 2005-05-31
247 | 123 | RDSConstructionCompany | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-29
248 | 158 | ResearchDevelopmentandManufactueringcorporation | SUZLON | Kappatagudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-03-27
249 | 0 | RevathiRaju | SUZLON | Kappatgudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-09-28
250 | 0 | RevathiRaju | SUZLON | Kappatgudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-09-30
251 | 135 | RKMarbles | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-29
252 | 71 | RohitsurfactantsPvtLtd.,(FormerlyShriMahadeoSoapIndustriesPvt.Ltd.,) | ENERCON | Elladakere | Chitradurga | 5 | 48 | 600 | 3 | 2004-09-30
253 | 0 | RohitsurfactantsPvtLtd.,(FormerlyShriMahadeoSoapIndustriesPvt.Ltd.,) | ENERCON | Elladakere | Chitradurga | 5 | 48 | 600 | 3 | 2004-11-20
254 | 38 | RoyalEnergyCompany, | ENERCON | Thalya (Jogimatti in Wind Zone) | Davanagere | 1 | 48 | 600 | 0.6 | 2003-03-29
255 | 2 | RPGTelecomLtd. | BONUS | Hanumasagar / Kustagi | Koppal | 6 | 40 | 320 | 1.92 | 1997-03-27
256 | 32 | RSMAutokastLtd., | ENERCON | Madakaripura | Chitradurga | 2 | 50 | 230 | 0.46 | 2003-03-27
257 | 129 | RSSuriya | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-30
258 | 89 | S.Kumar(CWEL) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 1 | 55 | 950 | 0.95 | 2005-03-31
259 | 0 | S.Kumar(CWEL) | NEG-Micon | Gonur | Chitradurga | 1 | 72 | 950 | 0.95 | 2005-06-09
260 | 145 | SameerLadkat | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-31
261 | 64 | SanghviMoversLtd.,(FIZA) | NEG-MICON | G.R.Halli | Chitradurga | 1 | 55 | 750 | 0.75 | 2004-04-16
262 | 56 | SanjaDGhodawat(HUF) | ENERCON | Kennedlu, Nandipura | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-03-24
263 | 0 | Sanjanapower | ENERCON | Vanivilasagar | Chitradurga | 1 | 48 | 600 | 0.6 | 2005-03-30
264 | 86 | SanjanaPowers | SUZLON | Jogimatti | Chitradurga | 1 | 64 | 1250 | 1.25 | 2005-03-30
265 | 18 | SanjayDGhodawat | ENERCON | Nandipua , Chitradurga | Chitradurga | 1 | 48 | 600 | 0.6 | 2002-03-29
266 | 172 | SanjayDGhodawat | VESTAS | Chennagiri | Davangere | 7 | 49 | 600 | 4.2 | 2006-09-30
267 | 0 | SanjayDGhodawat(Individual) | ENERCON | Kennedlu, Nandipura | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-03-27
268 | 0 | SavithaChemicalsLimited(CWEL) | NEG-Micon | Gonur | Chitradurga | 2 | 72 | 950 | 1.9 | 2005-06-09
269 | 90 | SavithachemicalsLtd.(CWEL) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 2 | 55 | 950 | 1.9 | 2005-03-31
270 | 21 | SavithaChemicalsLtd.(NEG) | NEG-MICON | Chikkasiddavvanahalli / Hiriyur | Chitradurga | 1 | 52 | 750 | 0.75 | 2002-06-04
271 | 0 | SavithaChemicalsLtd.(NEG) | NEG-MICON | Kanchiganhal | Chitradurga | 4 | 55 | 950 | 3.8 | 2003-07-01
272 | 93 | SEInvestements | ENERCON | Vanivilasagar | Chitradurga | 4 | 48 | 600 | 2.4 | 2005-03-23
273 | 160 | ShakhambariEnterprises | SUZLON | Kappatagudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-03-27
274 | 0 | ShakhambariEnterprises | SUZLON | Kappatgudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-09-28
275 | 104 | ShanmugaCompacts(FIZA) | NEG-Micon | Gonur | Chitradurga | 1 | 72 | 750 | 0.75 | 2005-03-31
276 | 58 | ShardhaConstructionsEnginnersandContractors | ENERCON | Elladakere | Chitradurga | 7 | 48 | 600 | 4.2 | 2004-03-27
277 | 30 | SharpPumpsPvtLtd., | ENERCON | Madakaripura | Chitradurga | 1 | 50 | 230 | 0.23 | 2003-03-27
278 | 36 | ShilpaMedicareLimited | ENERCON | Madakaripura | Chitradurga | 2 | 50 | 230 | 0.46 | 2003-03-27
279 | 0 | ShilpaMedicareLimited | ENERCON | Kumminaghati | Chitradurga | 1 | 48 | 600 | 0.6 | 2003-08-05
280 | 0 | ShilpaMedicareLimited | ENERCON | Vanivilasagar | Chitradurga | 2 | 48 | 600 | 1.2 | 2005-03-30
281 | 0 | ShraddhaConstructions&PowerGeneration(P)Ltd.,(FormerlyShardhaConstructionsEnginnersandContractors) | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-06-14
282 | 60 | Shreyalakshmiandproperties | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-03-27
283 | 94 | ShriJintendraDMajethia | ENERCON | Vanivilasagar | Chitradurga | 1 | 48 | 600 | 0.6 | 2005-03-23
284 | 27 | ShriramCityUnionFinanceLtd. | ENERCON | Budipura/ Gundikere | Chitradurga | 3 | 48 | 600 | 1.8 | 2002-09-28
285 | 25 | ShriramInvestmentsLtd. | ENERCON | Budipura/ Nakikere | Chitradurga | 7 | 48 | 600 | 4.2 | 2002-09-28
286 | 26 | ShriramTransportFinanceCo.Ltd. | ENERCON | Budipura/ Gundikere | Chitradurga | 7 | 48 | 600 | 4.2 | 2002-09-28
287 | 39 | SiddagangaOilExtractionsLtd., | ENERCON | Mathighatta (jogimatti in Wind zone) | Chitradurga | 2 | 48 | 600 | 1.2 | 2003-03-30
288 | 0 | SiddagangaOilExtractionsLtd., | ENERCON | Elladakere | Chitradurga | 2 | 48 | 600 | 1.2 | 2004-08-06
289 | 0 | SiddagangaOilExtractionsLtd., | ENERCON | Machenahalli & Ranathur village in Shirahatti | Gadag | 2 | 56 | 800 | 1.6 | 2006-12-29
290 | 0 | SiddgangaOilExtractionLtd., | ENERCON | Hosadurga | chitradurga | 2 | 56 | 800 | 1.6 | 2006-03-31
291 | 109 | SiddhayuAyurvedicResarchFoundation(P)Ltd., | SUZLON | Gujanur | Bellary | 2 | 64 | 1250 | 2.5 | 2005-09-30
292 | 117 | SrinivasaCystineLtd., | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-29
293 | 0 | SrinivasaCystineLtd., | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-30
294 | 0 | SrinivasaSririgieri | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-29
295 | 59 | StarFlexiPackIndustries | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-03-27
296 | 150 | SteelfabsOversees | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-31
297 | 45 | SupremePowerCompany | ENERCON | Mattighatta/ Holakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2003-04-01
298 | 0 | SureshKumarSharma(HUF) | SUZLON | Horigeri | Gadag | 1 | 64 | 1250 | 1.25 | 2006-09-23
299 | 61 | SureshProductions(FIZA) | NEG-MICON | G.R.Halli | Chitradurga | 1 | 55 | 750 | 0.75 | 2004-03-31
300 | 43 | SuttatiEnterprisesPvtLtd., | ENERCON | Kumminaghatta (Jogimatti Wind Zone) | Chitradurga | 2 | 48 | 600 | 1.2 | 2003-03-30
301 | 102 | SwarajPipes | ENERCON | Vanivilasagar | Chitradurga | 1 | 48 | 600 | 0.6 | 2005-03-30
302 | 24 | TexmoIndustries | ENERCON | NadanHosur & H.D.Pura | Chitradurga | 3 | 48 | 600 | 1.8 | 2002-09-27
303 | 37 | TexmoPrecisionCastings., | ENERCON | Biderekere / Jagalur | Davanagere | 2 | 48 | 600 | 1.2 | 2003-03-29
304 | 10 | TopazInvestmentsPvt.Ltd., | ENERCON | Nandipura/Chitradurga | Chitradurga | 2 | 48 | 600 | 1.2 | 2001-07-17
305 | 0 | TopazInvestmentsPvt.Ltd., | ENERCON | Nandipura/Chitradurga | Chitradurga | 1 | 48 | 600 | 0.6 | 2001-08-03
306 | 157 | TreveniEnterprises | SUZLON | Kappatagudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-03-27
307 | 139 | UnnathiProjectLtd., | ENERCON | Hosadurga | chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-31
308 | 95 | UnnathiProjects | ENERCON | Vanivilasagar | Chitradurga | 1 | 48 | 600 | 0.6 | 2005-03-23
309 | 0 | UnnathiProjects | ENERCON | Vanivilasagar | Chitradurga | 3 | 48 | 600 | 1.8 | 2005-03-30
310 | 0 | UnnathiProjects | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2006-03-31
311 | 132 | UshdevInternationalLtd., | ENERCON | Hosadurga | chitradurga | 2 | 56 | 800 | 1.6 | 2006-03-29
312 | 154 | V.T.Switchgears&Transforms | VESTAS | Channagiri | Davangere | 1 | 50 | 600 | 0.6 | 2006-03-31
313 | 120 | VanadanaRollingMillsLtd., | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-30
314 | 119 | VandanaGlobalLtd., | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-30
315 | 0 | VandanaGlobalLtd., | SUZLON | Kappatagudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-03-31
316 | 113 | VandanaIspatLtd., | SUZLON | Kurumadikere | Chitradurga | 2 | 64 | 1250 | 2.5 | 2005-09-30
317 | 1 | VictoryGlassAndIndustriesLtd. | NEPC-MICON | Kappatagudda/ Gadag | Gadag | 6 | 30 | 225 | 1.35 | 1996-03-28
318 | 0 | VictoryGlassAndIndustriesLtd. | NEPC (I) Ltd. | Hargapurgad /Hukkeri | Gadag | 2 | 30 | 225 | 0.45 | 1997-09-28
319 | 0 | VictusAssociate(FIZA) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 1 | 55 | 750 | 0.75 | 2004-06-09
320 | 0 | VictusAssociate(FIZA) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 1 | 55 | 750 | 0.75 | 2004-09-08
321 | 0 | VijayanandaRoadLinesLtd.,(Phase-1) | SUZLON | Hirevadatti | Gadag | 2 | 64 | 1250 | 2.5 | 2006-09-23
322 | 0 | VijayanandaRoadLinesLtd.,(Phase-2) | SUZLON | Hirevadatti | Gadag | 8 | 64 | 1250 | 10 | 2006-09-23
323 | 179 | VikramTraders | ENERCON | Machenahalli village in Shirahatti | Gadag | 1 | 56 | 800 | 0.8 | 2006-12-29
324 | 163 | VivaVishalEngineering | SUZLON | Kappatagudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-03-28
325 | 128 | VivekPharmaChemIndiaLtd., | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-30
326 | 122 | VivekTradingCompany | ENERCON | Lakkihalli | Chitradurga | 1 | 56 | 800 | 0.8 | 2005-09-30
327 | 156 | VMSalgocar&Bros(P)Ltd., | SUZLON | Kappatagudda | Gadag | 3 | 64 | 1250 | 3.75 | 2006-03-31
328 | 111 | VSLad&Sons | SUZLON | Gujanur | Bellary | 3 | 64 | 1250 | 3.75 | 2005-09-30
329 | 0 | VSLad&Sons | VESTAS | Channagiri | Davangere | 2 | 50 | 600 | 1.2 | 2006-03-31
330 | 0 | VSLad&Sons | SUZLON | Kalkeri | Gadag | 3 | 64 | 1250 | 3.75 | 2006-08-10
331 | 0 | VSLad&Sons | SUZLON | Kalkeri | Gadag | 2 | 64 | 1250 | 2.5 | 2006-09-28
332 | 108 | VSLMiningCompany | SUZLON | Gujanur | Bellary | 5 | 64 | 1250 | 6.25 | 2005-09-30
333 | 110 | VSLMiningCompany | SUZLON | Gujanur | Bellary | 2 | 64 | 1250 | 2.5 | 2005-09-30
334 | 0 | VSLMiningCompany(P)Ltd., | SUZLON | Kalkeri | Gadag | 3 | 64 | 1250 | 3.75 | 2006-08-10
335 | 0 | VSLMiningCompany(P)Ltd., | SUZLON | Kalkeri | Gadag | 1 | 64 | 1250 | 1.25 | 2006-08-30
336 | 0 | VSLMiningCompany(P)Ltd., | SUZLON | Kalkeri | Gadag | 1 | 64 | 1250 | 1.25 | 2006-09-28
337 | 0 | VSLMiningProjects(P)Ltd., | SUZLON | Mattikoppa | Gadag | 2 | 64 | 1250 | 2.5 | 2006-08-10
338 | 0 | VXLSystems | ENERCON | Majjur village in Shirahatti | Gadag | 1 | 56 | 800 | 0.8 | 2006-12-29
339 | 35 | VXLSystems., | ENERCON | Madakaripura | Chitradurga | 2 | 50 | 230 | 0.46 | 2003-03-27
340 | 0 | VXLSystems., | ENERCON | Elladakere | Chitradurga | 1 | 48 | 600 | 0.6 | 2004-03-27
341 | 79 | WorldInstituteofSustainableEnergy | ENERCON | Elladakere | Chitradurga | 2 | 48 | 600 | 1.2 | 2004-11-20
342 | 152 | Y.Mahabaleswarappa&Sons | VESTAS | Channagiri | Davangere | 2 | 50 | 600 | 1.2 | 2006-03-31

## Large Scale Project Activities
Large Scale Projects
Capacity under CDM
VSLad&Sons | SUZLON | Gujanur | Bellary | 3 | 64 | 1250 | 3.75 | 2005-09-30
VSLad&Sons | VESTAS | Channagiri | Davangere | 2 | 50 | 600 | 1.2 | 2006-03-31 | not under CDM project
VSLad&Sons | SUZLON | Kalkeri | Gadag | 3 | 64 | 1250 | 3.75 | 2006-08-10
VSLad&Sons | SUZLON | Kalkeri | Gadag | 2 | 64 | 1250 | 2.5 | 2006-09-28
VSLMiningCompany | SUZLON | Gujanur | Bellary | 5 | 64 | 1250 | 6.25 | 2005-09-30 |  | 27.5 | MW | http://cdm.unfccc.int/UserManagement/FileStorage/1V5DW5ZJNU9BGYUL8N04SIF0NERRP4
VSLMiningCompany | SUZLON | Gujanur | Bellary | 2 | 64 | 1250 | 2.5 | 2005-09-30
VSLMiningCompany(P)Ltd., | SUZLON | Kalkeri | Gadag | 3 | 64 | 1250 | 3.75 | 2006-08-10
VSLMiningCompany(P)Ltd., | SUZLON | Kalkeri | Gadag | 1 | 64 | 1250 | 1.25 | 2006-08-30
VSLMiningCompany(P)Ltd., | SUZLON | Kalkeri | Gadag | 1 | 64 | 1250 | 1.25 | 2006-09-28
VSLMiningProjects(P)Ltd., | SUZLON | Mattikoppa | Gadag | 2 | 64 | 1250 | 2.5 | 2006-08-10
28.7
RamgadMineralandminingPvt.Ltd-1(NEG) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 2 | 55 | 950 | 1.9 | 2003-09-30 |  | 2.65 | MW | http://www.sgsqualitynetwork.com/tradeassurance/ccp/projects/434/Revised%20Final%20CDM_4_Kar_PDD.pdf
RamgadMineralandminingPvt.Ltd-2(FIZA) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 1 | 55 | 750 | 0.75 | 2004-05-19
RamgadMinerals&MiningPvt.Ltd, | SUZLON | Jajikalgudda | Davangere | 6 | 64 | 1250 | 7.5 | 2005-03-27
RamgadMinerals&MiningPvt.Ltd, | SUZLON | Sogi | Bellary | 6 | 64 | 1250 | 7.5 | 2005-03-28
RamgadMinerals&MiningPvt.Ltd, | SUZLON | Jajikalgudda | Davangere | 8 | 64 | 1250 | 10 | 2005-03-31 |  | 38.75 | MW | http://cdm.unfccc.int/Projects/DB/DNV-CUK1142448670.58/view
RamgadMinerals&MiningPvt.Ltd-3 | SUZLON | Jajikalgudda | Davangere | 1 | 64 | 1250 | 1.25 | 2005-05-31
RamgadMinerals&MiningPvt.Ltd-3 | SUZLON | Jajikalgudda | Davangere | 2 | 64 | 1250 | 2.5 | 2005-06-13
RamgadMinerals&MiningPvt.Ltd-4 | SUZLON | Jajikalgudda | Davangere | 5 | 64 | 1250 | 6.25 | 2005-04-30
RamgadMinerals&MiningPvt.Ltd-4 | SUZLON | Jajikalgudda | Davangere | 3 | 64 | 1250 | 3.75 | 2005-05-31
41.4
NuziveeduSeedsLtd | NEG-MICON | Biderekere /Jagalur | Davanagere | 5 | 55 | 950 | 4.75 | 2003-07-28
NuziveeduSeedsLtd. | GE-WIND | Jagalur | Davanagere | 4 | 33 | 1500 | 6 | 2004-08-06
NuziveeduSeedsLtd., | SUZLON | Kappatgudda | Gadag | 3 | 64 | 1250 | 3.75 | 2006-09-28 | not under CDM project
NuziveeduSeedsLtd., | SUZLON | Kappatgudda | Gadag | 1 | 64 | 1250 | 1.25 | 2006-09-30 | not under CDM project
NuziveeduSeedsLtd.7 | GE-WIND | Jagalur | Davanagere | 2 | 33 | 1500 | 3 | 2004-09-02
NuzveeduSeedsLimited, | NEG-MICON | Biderekere / Jagalur | Davanagere | 5 | 54 | 750 | 3.75 | 2001-03-31 |  | 27.65 | MW | http://cdm.unfccc.int/Projects/DB/DNV-CUK1173772302.89/view
NuzveeduSeedsLimited, | NEG-MICON | Biderekere / Jagalur | Davanagere | 11 | 54 | 750 | 8.25 | 2003-03-27
NuzveeduSeedsLimited, | NEG-MICON | Biderekere / Jagalur | Davanagere | 2 | 55 | 950 | 1.9 | 2003-08-31
32.65
MSPL | SUZLON | Jogimatti | Chitradurga | 2 | 65 | 1250 | 2.5 | 2004-04-10
MSPL | SUZLON | Sogi | Bellary | 15 | 64 | 1250 | 18.75 | 2005-03-22
MSPL | SUZLON | Sogi | Bellary | 4 | 64 | 1250 | 5 | 2005-03-28
MSPL | SUZLON | Jajikalgudda | Davangere | 13 | 64 | 1250 | 16.25 | 2005-03-31
MSPL | SUZLON | Jajikalgudda | Davangere | 2 | 64 | 1250 | 2.5 | 2005-03-31
MSPL-2 | SUZLON | Jogimatti | Chitradurga | 4 | 64 | 1250 | 5 | 2005-03-21
MSPL--2(NEG) | NEG-MICON | GRHalli | Chitradurga | 5 | 66 | 950 | 4.75 | 2003-09-30
MSPL-3(NEG) | NEG-MICON | G.R.Halli | Chitradurga | 4 | 55 | 950 | 3.8 | 2004-03-31
MSPL-4 | NEG-MICON | G.R.Halli | Chitradurga | 2 | 55 | 750 | 1.5 | 2004-04-16
MSPL-4 | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 3 | 55 | 950 | 2.85 | 2004-09-08 |  | 4.75 | MW | http://www.sgsqualitynetwork.com/tradeassurance/ccp/projects/434/Revised%20Final%20CDM_4_Kar_PDD.pdf
MSPL-5 | SUZLON | Sogi | Bellary | 1 | 64 | 1250 | 1.25 | 2005-12-31
MSPL-5(FIZA) | NEG-MICON | G.R.Halli | Chitradurga | 3 | 55 | 750 | 2.25 | 2004-04-16
MSPL-5(FIZA) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 2 | 55 | 750 | 1.5 | 2004-09-08 |  | 78.9 | MW | http://cdm.unfccc.int/Projects/DB/DNV-CUK1142448670.58/view
MSPL-6(NEG) | NEG-MICON | GRHalli | Chitradurga | 4 | 55 | 950 | 3.8 | 2004-03-31
MSPL-7(NEG) | NEG-MICON | Chikapanahalli | Chitradurga | 3 | 55 | 950 | 2.85 | 2004-03-31
MSPL-8(FIZA) | NEG-MICON | G.R.Halli | Chitradurga | 1 | 55 | 950 | 0.95 | 2004-05-19
MSPL-8(FIZA) | NEG-MICON | G.R.Halli/ Gonur | Chitradurga | 1 | 55 | 950 | 0.95 | 2004-09-08
MSPLLimited-6 | SUZLON | Jajikalgudda | Davangere | 1 | 64 | 1250 | 1.25 | 2005-04-30
MSPLLimited-6 | SUZLON | Jajikalgudda | Davangere | 1 | 64 | 1250 | 1.25 | 2005-05-31
MSPLLtd. | SUZLON | Jogimatti | Chitradurga | 3 | 65 | 1250 | 3.75 | 2004-03-31
MSPLLtd., | VESTAS | Channagiri | Davangere | 10 | 50 | 600 | 6 | 2006-03-31 |  | 6 | MW | http://cdm.unfccc.int/UserManagement/FileStorage/Q7FCFG27XNUZ6IB32EM7CTVC7KZG6R
MSPLLtd.-1(NEG) | NEG-MICON | G.R.Halli/Gonur | Chitradurga | 1 | 55 | 950 | 0.95 | 2003-03-21
89.65
EnerconWindFarms(Chitradurga)Ltd., | ENERCON | Bharampura village | Chitradurga | 6 | 56 | 800 | 4.8 | 2006-05-06
Enerconwindfarms(Chitradurga)PvtLtd., | ENERCON | Hosadurga | chitradurga | 5 | 56 | 800 | 4 | 2006-03-31
EnerconWindFarms(Hindustan)(P)Ltd.,JNI | ENERCON | Dusudi | Chitradurga | 30 | 56 | 800 | 24 | 2006-09-29
EnerconWindFarms(Hindustan)(P)Ltd.,JNI | ENERCON | Chikkabyladakere | Tumkur | 26 | 56 | 800 | 20.8 | 2006-09-29
EnerconWindFarms(Hindustan)(P)Ltd.,JNI | ENERCON | Dusudi | Chitradurga | 4 | 50 | 800 | 3.2 | 2006-10-26 |  |  |  | http://cdm.unfccc.int/Projects/DB/DNV-CUK1185356859.49/view
EnerconWindFarms(Hindustan)(P)Ltd.,JNI | ENERCON | Chikkabyladakere | Tumkur | 5 | 50 | 800 | 4 | 2006-10-26 |  |  |  | http://cdm.unfccc.int/Projects/DB/SGS-UKL1187092432.51/view
EnerconWindFarms(Hindustan)(P)Ltd.,JNI | ENERCON | Dasudi & Chickabaladikere Gollarahatti, Somanahalli & Thimmapanahalli | Tumkur | 21 | 56 | 800 | 16.8 | 2006-12-28 |  |  |  | http://cdm.unfccc.int/Projects/DB/SGS-UKL1187708460.15/view
EnerconWindfarms(India)Ltd., | ENERCON | Kenndlu,Chitradurga | Chitradurga | 7 | 48 | 600 | 4.2 | 2001-09-29 |  |  |  | http://cdm.unfccc.int/Projects/DB/SGS-UKL1186566570.26/view
EnerconWindfarms(India)Ltd., | ENERCON | Kenndlu,Chitradurga | Chitradurga | 7 | 48 | 600 | 4.2 | 2002-06-04 |  | 125.2 | MW | http://cdm.unfccc.int/Projects/DB/DNV-CUK1140782658.34/view
EnerconWindfarms(India)Ltd., | ENERCON | Yarehalli, Thekalavatti &Kolahalu | Chitradurga | 12 | 48 | 600 | 7.2 | 2003-05-14
EnerconWindfarms(India)Ltd., | ENERCON | Yarehalli, Thekalavatti &Kolahalu | Chitradurga | 23 | 48 | 600 | 13.8 | 2003-08-26
EnerconWindfarms(India)Ltd., | ENERCON | Kappatagudda | Gadag | 4 | 51 | 800 | 3.2 | 2005-03-27
EnerconWindfarms(Krishna)Ltd., | ENERCON | Kappatagudda | Gadag | 25 | 51 | 600 | 15 | 2005-03-15
EnerconWindfarms(Krishna)Ltd., | ENERCON | Hirevadatti | Gadag | 4 | 50 | 600 | 2.4 | 2006-08-19 | not under CDM project
127.6
[5 empty] | Large scale | Total | 320 |  | Under CDM | 311.4 | MW

## Sheet1
Enercon Hindustan |  |  | 68.8 | MW
Enercon 30.4 Investors
1 | Enercon Wind Farms (Chitradurga) Ltd | 0.8 | 11 | 8.8 | Largest investor
2 | Panama Business Centre | 0.8 | 2 | 1.6
3 | Balasahab Ladkat | 0.8 | 2 | 1.6
4 | Elpro International | 0.8 | 1 | 0.8
5 | Gautam Ladkat | 0.8 | 1 | 0.8
6 | Panama Infrastructure | 0.8 | 2 | 1.6
7 | Sameer Ladkat | 0.8 | 1 | 0.8
8 | Steelfab Offshore | 0.8 | 1 | 0.8
9 | MK Agrotech Private Ltd | 0.8 | 2 | 1.6
10 | Srinivas Sirigeri | 0.8 | 1 | 0.8
11 | R.K.Marbles | 0.8 | 1 | 0.8
12 | Dempo Industries | 0.8 | 1 | 0.8
13 | Desai Brothers | 0.8 | 1 | 0.8
14 | Dewanchand Ramsaran | 0.8 | 1 | 0.8
15 | Abhilash Garments & Estates (P) Ltd | 0.8 | 1 | 0.8
16 | Prasad Global Solutions | 0.8 | 2 | 1.6
17 | Gangadhar Narsingdas Agarwal | 0.8 | 5 | 4
18 | Siddaganga Oil Extractions Ltd. | 0.8 | 2 | 1.6
| Total |  |  | 30.4
Enercon 33 MW Investors
1 | CEPCO Industries | 0.6 | 2 | 1.2
2 | Siddaganga Oil Extractions Ltd. | 0.6 | 2 | 1.2
3 | Shreyalaxmi properties | 0.6 | 1 | 0.6
4 | Associated Autotex Ancillaries P Ltd | 0.6 | 2 | 1.2
5 | Good Luck Syndicate | 0.6 | 1 | 0.6
6 | Deffree Engineering P Ltd | 0.6 | 1 | 0.6
7 | VXLSystems | 0.6 | 1 | 0.6
8 | Relaince | 0.6 | 3 | 1.8
9 | Siddaganga Oil Extractions Ltd. | 0.6 | 2 | 1.2
10 | Panama Business Centre | 0.6 | 1 | 0.6
11 | Panama Credit and Capital Pvt. Ltd. | 0.6 | 1 | 0.6
12 | Shilpa Medicare Ltd. | 0.6 | 1 | 0.6
13 | Supreme Power company | 0.6 | 1 | 0.6
14 | Royal Energy Company | 0.6 | 1 | 0.6
15 | Enercon Wind Farm | 0.6 | 35 | 21 | Largest investor
| Total |  |  | 33
Enercon 73.6 MW Investors
1 | Neharaj Energy | 0.8 | 1 | 0.8
2 | Vivek Trading Co. | 0.8 | 1 | 0.8
3 | Jubilee Textiles | 0.8 | 1 | 0.8
4 | Prasad Technology Park | 0.8 | 2 | 1.6
5 | Srinivasa Cystine Ltd | 0.8 | 2 | 1.6
6 | Avanti Feeds Ltd | 0.8 | 4 | 3.2
7 | Siddaganga Oil Extractions Ltd. | 0.8 | 2 | 1.6
8 | UNNATHI PROJECTS LTD | 0.8 | 3 | 2.4
9 | B.V.Finance and leasing | 0.8 | 2 | 1.6
10 | Shilpa Medicare Ltd. | 0.6 | 2 | 1.2
11 | Cooper foundry | 0.8 | 3 | 2.4
12 | I. G. E. (India) | 0.6 | 1 | 0.6
13 | International Conveyors Ltd | 0.6 | 1 | 0.6
14 | Jitendra D. Majetha | 0.6 | 1 | 0.6
15 | Patel Shanti Steels P. Ltd. | 0.6 | 2 | 1.2
16 | Swaraj PVC Pipes P. Ltd. | 0.6 | 1 | 0.6
17 | Amrit Bottlers | 0.8 | 1 | 0.8
18 | Amrit Bottlers | 0.6 | 2 | 1.2
19 | Brindavan Agro | 0.6 | 2 | 1.2
20 | Brindavan Agro | 0.8 | 4 | 3.2
21 | Rohit Surfactants P.Ltd | 0.6 | 10 | 6
22 | Unnathi Projects Ltd | 0.8 | 1 | 0.8
23 | Primetex Apparels India | 0.6 | 1 | 0.6
24 | MK Agrotech Private Ltd | 0.6 | 2 | 1.2
25 | Laxmi Organics | 0.6 | 2 | 1.2
26 | S.E.Investment | 0.8 | 3 | 2.4
27 | Dinesh Pouches | 0.8 | 1 | 0.8
28 | Ush Dev International | 0.8 | 2 | 1.6
29 | Mumbai Stock Brokers Pvt. Ltd. | 0.8 | 1 | 0.8
30 | D. R. Container Terminal | 0.8 | 2 | 1.6
31 | Indian power corporation | 0.8 | 13 | 10.4 | Largest investor
32 | Enercon Wind Farms (Karnataka) Ltd | 0.8 | 4 | 3.2 | Largest investor
33 | Enercon Wind Farms (Krishna) Ltd | 0.6 | 25 | 15 | Largest investor
| Total |  |  | 73.6
Bundled wind power project in Chitradurga |  |  | 16.8
1 | CEPCO |  | 8.4
2 | Enercon |  | 8.4
16.8