## Summary
GHG EMISSION SAVINGS FOR THE NUEVA ALDEA PHASE I PROJECT ACTIVITY
Start date 1st cred. period: | Ene-01-2005
Finish date of 1st cred. period: | Ene-01-2012
Summary of monthly net emission savings per year
(Year) |  | January | February | March | April | May | June | July | August | September | October | November | December | Total
2005 | (tCO2eq/yr) | [12 empty] | 0
2006 | (tCO2eq/yr) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10107.9091 | 8977.9258 | 10733.7725 | 29819.6074
2007 | (tCO2eq/yr) | 13646.2315 | 13372.3207 | 15967.5653 | 10344.9054 | 15494.2143 | 12786.6142 | 10732.2765 | 11053.5335 | 10535.7873 | 0 | 0 | 0 | 113933.4486
2008 | (tCO2eq/yr) | [12 empty] | 0
2009 | (tCO2eq/yr) | [12 empty] | 0
2010 | (tCO2eq/yr) | [12 empty] | 0
2011 | (tCO2eq/yr) | [12 empty] | 0
2012 | (tCO2eq/yr) | [12 empty] | 0
Total | (tCO2eq/yr) | [12 empty] | 143753.0561
0
Summary of net emission savings per year
|  | Baseline emissions |  | Project activity emissions
| Net emission savings | January: Grid emissions; February: Methane emissions; March: Methane in P.B.; April: Fossil fuel in P.B.; May: Transport onsite; June: Transport to P. Plant; July: Leakage
(Year) | (tCO2eq/yr) | January: (tCO2/yr); February: (tCO2eq/yr); March: (tCO2eq/yr); April: (tCO2/yr); May: (tCO2/yr); June: (tCO2/yr); July: (tCO2/yr)
2005
2006 | 29819.6074 | January: 21547.2685; February: 10188.3058; March: 223.9445; April: 1035.1294; May: 26.6797; June: 630.2132; July: 0
2007 | 113933.4486 | January: 91403.9073; February: 28661.9681; March: 630.0058; April: 4436.6088; May: 70.5193; June: 995.293; July: 0
2008 | 0
2009 | 0
2010 | 0
2011 | 0
2012 | 0
Total | 143753.0561 | January: 112951.1759; February: 38850.2739; March: 853.9503; April: 5471.7382; May: 97.1989; June: 1625.5063; July: 0
Note: Net emission savings = Baseline emissions - Project activity emissions - Leakage.
0
Summary of main monitored data per year
|  | 2005 | 2006 | 2007
Operating Margin | (tCO2/GWh) | February: 693.5423; March: 775.4494
Build Margin | (tCO2/GWh) | February: 207.5014; March: 504.7285
Combined Margin | (tCO2/GWh) | February: 450.5219; March: 640.0889
Net energy displaced from the grid | (GWh/yr) | February: 47.8274; March: 142.7988
Additional biomass due to project activity | (BDT/yr) | February: 39054.4183; March: 109062.8313
Net calorific value of the biomass | (TJ / 000 ton) | February: 17.8468; March: 17.9786
Avg distance between sawmills and P.Plant | (Km) | February: 122.5494; March: 116.0645
Avg load for 1 trip | (Ton/truck) | February: 24.6672; March: 26.2217
Additional fossil fuel consumed in P. Boiler
Diesel | (Lt/yr) | February: 385822.6811; March: 1667946.2675
Fuel Oil | (ton/yr) | February: 0; March: 0
LPG | (Lt/yr) | February: 0; March: 219.8768
Addit. fossil fuel used for biomass transp. in P.Plant
Diesel | (Lt/yr) | February: 9944.2934; March: 26513.7404
Note:Year 2007 considers monitored data from January to September of that year.
Net emission savings per month
|  | Baseline emissions |  | Project activity emissions
| Net emission savings | January: Grid emissions; February: Methane emissions; March: Methane in P.B.; April: Fossil fuel in P.B.; May: Transport onsite; June: Transport to P. Plant; July: Leakage
(Months) | (tCO2eq/yr) | January: (tCO2/yr); February: (tCO2eq/yr); March: (tCO2eq/yr); April: (tCO2/yr); May: (tCO2/yr); June: (tCO2/yr); July: (tCO2/yr)
Year 2005 | bar: January to July
January
February
March
April
May
June
July
August
September
October
November
December
Total year 2005
Year 2006 | bar: January to July
October | 10107.9091 | January: 7259.7749; February: 4127.3051; March: 90.7204; April: 851.9581; May: 11.5684; June: 324.9239; July: 0
November | 8977.9258 | January: 6751.3681; February: 2580.9338; March: 56.7303; April: 180.8678; May: 6.5023; June: 110.2756; July: 0
December | 10733.7725 | January: 7536.1255; February: 3480.0668; March: 76.4938; April: 2.3034; May: 8.609; June: 195.0136; July: 0
Total year 2006 | 29819.6074 | January: 21547.2685; February: 10188.3058; March: 223.9445; April: 1035.1294; May: 26.6797; June: 630.2132; July: 0
Year 2007 | bar: January to July
January | 13646.2315 | January: 10790.1476; February: 3153.261; March: 69.3104; April: 56.7636; May: 8.2778; June: 162.8253; July: 0
February | 13372.3207 | January: 10130.0502; February: 3561.4587; March: 78.2828; April: 60.193; May: 9.4191; June: 171.2933; July: 0
March | 15967.5653 | January: 11249.7268; February: 5039.0715; March: 110.7616; April: 44.4217; May: 9.8371; June: 156.2126; July: 0
April | 10344.9054 | January: 8420.2109; February: 2334.3126; March: 51.3095; April: 288.0431; May: 6.4359; June: 63.8296; July: 0
May | 15494.2143 | January: 11164.8267; February: 4736.0931; March: 104.1019; April: 136.4213; May: 9.4799; June: 156.7025; July: 0
June | 12786.6142 | January: 10732.4695; February: 2562.5372; March: 56.326; April: 350.6087; May: 6.7572; June: 94.7005; July: 0
July | 10732.2765 | January: 10025.1179; February: 2520.3271; March: 55.3982; April: 1623.1239; May: 6.8852; June: 127.7612; July: 0
August | 11053.5335 | January: 10316.4863; February: 2486.2439; March: 54.649; April: 1640.3298; May: 7.2166; June: 47.0013; July: 0
September | 10535.7873 | January: 8574.8715; February: 2268.663; March: 49.8665; April: 236.7037; May: 6.2104; June: 14.9667; July: 0
October | 0 | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0; July: 0
November | 0 | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0; July: 0
December | 0 | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0; July: 0
Total year 2007 | 113933.4486 | January: 91403.9073; February: 28661.9681; March: 630.0058; April: 4436.6088; May: 70.5193; June: 995.293; July: 0
1st verif (Jan 05- Sept 06) | 0 | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0; July: 0
2nd verif (Oct 06-Sept 07) | 143753.0561 | January: 112951.1759; February: 38850.2739; March: 853.9503; April: 5471.7382; May: 97.1989; June: 1625.5063; July: 0
Total emissions claimed | 143753.0561 | January: 112951.1759; February: 38850.2739; March: 853.9503; April: 5471.7382; May: 97.1989; June: 1625.5063; July: 0
Note: Net emission savings = Baseline emissions - Project activity emissions - Leakage.
0
Old method | 132226.5034 | January: 112951.1759; February: 25439.3485; March: 559.1708; April: 4009.3679; May: 64.6677; June: 1530.8145; July: 0
Difference between the original and the new method for calculating the "additional biomass" |  | June: (%); July: 8.717%

## Annual emissions
GHG EMISSION SAVINGS FOR THE NUEVA ALDEA PHASE I PROJECT ACTIVITY
Start date 1st cred. period: | Ene-01-2005
Finish date of 1st cred. period: | Ene-01-2012
1. OPERATIONAL PARAMETERS
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | Average
Combined Margin for the CDM activity | (tCO2/GWh) | 2006: 455.8314; 2007: 640.0889 | 547.9602
Note: Calculated in the "SIC emissions" spreadsheet. |  | 2006: 450.5219
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Biomass power generation factor | (KWh/m3 est)
Note: Indices calculated from AF Celpap AB study.
Biomass fuel data
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Net calorific value | (TJ / 000 ton) | 2006: 17.8468; 2007: 17.9786
Biomass conversion factor | (BDt/m3 est) | 2006: 0.15023; 2007: 0.14293
Average moisture content of biomass | (% wet basis) | 2006: 51.87%; 2007: 55.39%
CH4 conversion factor (CH4 / C) | (number) | 2006: 1.3333; 2007: 1.3333
CH4 Global Warming Potential | (number) | 2006: 21; 2007: 21
CH4 emission factor (1) | (Kg/TJ) | 2006: 15; 2007: 15
Conservativeness factor (2) | (number) | 2006: 1.02; 2007: 1.02
Adjusted CH4 emission factor | (Kg/TJ) | 2006: 15.3; 2007: 15.3
Controlled biomass burning factor | (tCO2/ 000 ton) |  | 5.7342 | 5.7765 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CH4 factor for biomass uncontrolled burning (3) | (Kg/TJ) | 2006: 740.5; 2007: 740.5
Conservativeness factor | (%) | 2006: 0.94; 2007: 0.94
Adjusted CH4 default factor | (Kg/TJ) | 2006: 696.07; 2007: 696.07
Uncontrolled biomass burning factor | (tCO2/ 000 ton) |  | 260.8746 | 262.8023 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(1) As per table Nº3 of the ACM0006 (Version 01).
(2) As per the validation report.
(3) Local measured value.
Fossil fuel data
Diesel |  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014
Net calorific value | (TJ / 000 ton) |  | 43.1329 | 42.886 | 42.7605 | 42.7605 | 42.7605 | 42.7605 | 42.7605 | 42.7605 | 42.7605
Carbon content | (tC / TJ) |  | 20.2 | 20.2 | 20.2 | 20.2 | 20.2 | 20.2 | 20.2 | 20.2 | 20.2
Fraction of carbon oxidized | (%) |  | 99.4% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CO2 / C conversion factor | (tCO2 / tC) |  | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667
Fuel density | (Kg/lt) |  | 0.8398 | 0.83733 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97 | 0.97
CO2 Conversion factor | (tCO2/ 000 ton) |  | 3175.4874 | 3176.4231 | 3167.1262 | 3167.1262 | 3167.1262 | 3167.1262 | 3167.1262 | 3167.1262 | 3167.1262
Bunker
Net calorific value | (TJ / 000 ton) |  | 40.19 | 40.19 | 40.19 | 40.19 | 40.19 | 40.19 | 40.19 | 40.19 | 40.19
Carbon content | (tC / TJ) |  | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1
Fraction of carbon oxidized | (%) |  | 99.25% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CO2 / C conversion factor | (tCO2 / tC) |  | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667
Fuel density | (Kg/lt) |  | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93
CO2 Conversion factor | (tCO2/ 000 ton) |  | 3086.0461 | 3109.3663 | 3109.3663 | 3109.3663 | 3109.3663 | 3109.3663 | 3109.3663 | 3109.3663 | 3109.3663
LPG
Net calorific value | (TJ / 000 ton) |  | 46.9026 | 46.2834 | 47.31 | 47.31 | 47.31 | 47.31 | 47.31 | 47.31 | 47.31
Carbon content | (tC / TJ) |  | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2
Fraction of carbon oxidized | (%) |  | 99% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CO2 / C conversion factor | (tCO2 / tC) |  | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667
Fuel density (liquid phase) | (Kg/m3) |  | 525 | 515 | 540 | 540 | 540 | 540 | 540 | 540 | 540
CO2 Conversion factor | (tCO2/ 000 ton) |  | 2928.4132 | 2918.9403 | 2983.684 | 2983.684 | 2983.684 | 2983.684 | 2983.684 | 2983.684 | 2983.684
Notes:
Net calorific values: Local values whenever available; if not, IPCC default values.
Carbon content: IPCC default values.
Fraction of carbon oxidized: IPCC default values.
1. BASELINE EMISSIONS
1.1 Grid emission savings
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | Total
Gross energy generation | (GWh/yr) | 2006: 53.377; 2007: 162.3242 | 215.7012
Baseline power plant power consumption | (MW) | 2006: 2.1; 2007: 2.1
Energy consumption of the project power plant | (GWh/yr) | 2006: 10.1865; 2007: 33.2846 | 43.4711
Baseline energy consumption estimation | (GWh/yr) | 2006: 4.6368; 2007: 13.7592 | 18.396
Energy related to project activity | (GWh/yr) | 2006: 5.5497; 2007: 19.5254 | 25.0751
Electric power displaced from the Grid | (GWh/yr) |  | 47.8274 | 142.7988 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190.6261
Total emissions | (tCO2/yr) |  | 21547.2685 | 91403.9073 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 112951.1759
|  |  | 0 | 0
1.2 Emissions from biomass uncontrolled burning
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | Total
Own biomass | (m3 est/yr) | 2006: 345679.92; 2007: 1260060.575 | 1605740.495
3rd party biomass | (m3 est/yr) | 2006: 156026.08; 2007: 271766.425 | 427792.505
Total biomass | (m3 est/yr) | 2006: 501706; 2007: 1531827 | 2033533
Biomass related to power generation | (m3 est/yr) | 2006: 259967.4959; 2007: 763036.2264 | 1023003.7223
Biomass related to steam generation | (m3 est/yr) |  | 241738.5041 | 768790.7736 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1010529.2777
Total biomass | (m3 est/yr) |  | 501706 | 1531827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2033533
Baseline biomass consumption | (m3 est/yr) |  | 241738.5041 | 768790.7736 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1010529.2777
Biomass related to the Project | (m3 est/yr) |  | 259967.4959 | 763036.2264 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1023003.7223
Biomass related to the Project | (BDt/yr) |  | 39054.4183 | 109062.8313 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 148117.2496
Total emissions | (tCO2eq/yr) |  | 10188.3058 | 28661.9681 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38850.2739
|  |  | 0 | 0
BASELINE EMISSIONS
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | Total
Grid emission savings | (tCO2/yr) |  | 21547.2685 | 91403.9073 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 112951.1759
CH4 emissions savings | (tCO2eq/yr) |  | 10188.3058 | 28661.9681 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38850.2739
TOTAL BASELINE EMISSIONS | (tCO2eq/yr) |  | 31735.5743 | 120065.8755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 151801.4498
|  |  | 0 | 0
2. PROJECT EMISSIONS
2.1 Emissions from biomass burning in the Power Boiler
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | Total
Biomass related to project | (BDt/yr) |  | 39054.4183 | 109062.8313 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 148117.2496
Total emissions | (tCO2eq/yr) |  | 223.9445 | 630.0058 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 853.9503
|  |  | 0 | 0
2.2 Emissions from biomass transportation to the Power Plant
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | Total
Biomass supply from 3rd parties (dry) | (BDt/yr) |  | 23439.4987 | 38844.3101 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62283.8088
Biomass supply from 3rd parties (wet) | (t/yr) |  | 48699.763 | 87079.0537 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135778.8168
Average load for one trip | (tons/truck) | 2006: 24.6672; 2007: 26.2217
Avg. distance between supplying mills and Power Plant | (km) | 2006: 122.5494; 2007: 116.0645
Emission factor for heavy truck transportation (1) | (kgCO2/km) | 2006: 1.081; 2007: 1.2911
Number of trips needed for the plants | (trips/year) | 2006: 1974.2701; 2007: 3320.8718 | 5295.1418
Total distance traveled | (km) | 2006: 483891.3388; 2007: 770870.5721 | 1254761.9109
Total emissions | (tCO2/yr) |  | 630.2132 | 995.293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1625.5063
(1) For first verification, Revised 1996 IPCC Guidelines for National Greenhouse Gas Inventories, Reference Manual, p 1.75. For subsequent verifications, the emission factor was calculated from monitored km/liter performance figures.
|  |  | 0 | 0
2.3 Emissions from diesel combustion due to biomass transportation in the Plant site
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | Total
Current biomass consumption | (m3 est/yr) |  | 501706 | 1531827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2033533
Current diesel consumption | (Lt/yr) | 2006: 19148.4; 2007: 53892.2 | 73040.6
Baseline biomass consumption | (m3 est/yr) | 2006: 241738.5041; 2007: 768790.7736 | 1010529.2777
Baseline diesel consumption | (Lt/yr) | 2006: 9204.1066; 2007: 27378.4596 | 36582.5661
Diesel consumption related to the project activity | (Lt/yr) |  | 9944.2934 | 26513.7404 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36458.0339
Total emissions | (tCO2/yr) |  | 26.6797 | 70.5193 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97.1989
|  |  | 0 | 0
2.4 Emissions from fossil fuel consumption in the Power Boiler
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | Total
Current biomass consumption | (m3 est/yr) |  | 501706 | 1531827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2033533
Current Diesel consumption | (Lt/yr) | 2006: 713041; 2007: 3740974 | 4454015
Current Fuel Oil consumption | (ton/yr) | 2006: 0; 2007: 0 | 0
Current LPG consumption | (Lt/yr) | 2006: 0; 2007: 500 | 500
Baseline biomass consumption | (m3 est/yr) |  | 241738.5041 | 768790.7736 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1010529.2777
Baseline diesel consumption | (Lt/yr) | 2006: 327218.3189; 2007: 2073027.7325 | 2400246.0514
Baseline Fuel Oil consumption | (ton/yr) | 2006: 0; 2007: 0 | 0
Baseline LPG consumption | (Lt/yr) | 2006: 0; 2007: 280.1232 | 280.1232
Diesel consumption related to the project activity | (Lt/yr) |  | 385822.6811 | 1667946.2675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2053768.9486
Fuel Oil consumption related to the project activity | (ton/yr) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LPG consumption related to the project activity | (Lt/yr) |  | 0 | 219.8768 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 219.8768
Total emissions | (tCO2/yr) |  | 1035.1294 | 4436.6088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5471.7382
|  |  | 0 | 0
PROJECT EMISSIONS
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | Total
Emissions from biomass burning in the P.B. | (tCO2eq/yr) |  | 223.9445 | 630.0058 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 853.9503
Emissions from biomass transportation to the P. Plant | (tCO2/yr) |  | 630.2132 | 995.293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1625.5063
Emissions from onsite biomass transportation | (tCO2/yr) |  | 26.6797 | 70.5193 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97.1989
Emissions from fossil fuel consumption in the P.B. | (tCO2/yr) |  | 1035.1294 | 4436.6088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5471.7382
TOTAL PROJECT EMISSIONS | (tCO2eq/yr) |  | 1915.9669 | 6132.4268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8048.3937
|  |  | 0 | 0
3. NET EMISSIONS OF THE PROJECT ACTIVITY
|  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | Total
Total baseline emissions | (tCO2eq/yr) |  | 31735.5743 | 120065.8755 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 151801.4498
Total project emissions | (tCO2eq/yr) |  | 1915.9669 | 6132.4268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8048.3937
NET EMISSION SAVINGS | (tCO2eq/yr) |  | 29819.6074 | 113933.4486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 143753.0561
|  |  | 0 | 0
Note on B30: cpatrickson: Formula from the monthly emission calculation.
Note on B96: cpatrickson: Formula from the monthly emission calculation.
Note on B154: cpatrickson: Formula from the monthly emission calculation.
Note on B167: cpatrickson: Formula from the monthly emission calculation.
Note on B183: cpatrickson: Formula from the monthly emission calculation.
Note on B184: cpatrickson: Formula from the monthly emission calculation.
Note on B185: cpatrickson: Formula from the monthly emission calculation.
Note on E18: cpatrickson: This is the CM considering data from January to December of 2006.
Note on E100: cpatrickson: Value from the monthly spreadsheet due to changes in the CM in 2006 in different verification periods.
Note on E152: cpatrickson: This is the weighted average emission factor during 2006.
Note on E155: cpatrickson: This value was taken from the monthly emission calculation, due to a change in the emission factor of the trucks during 2006.
Note on E170: cpatrickson: Value from the monthly spreadsheet due to change in fraction of carbon oxidized.
Note on E190: cpatrickson: Value from the monthly spreadsheet due to change in fraction of carbon oxidized.

## 2007 emissions
GHG EMISSION SAVINGS FOR THE NUEVA ALDEA PHASE I PROJECT ACTIVITY
YEAR: | 2007
Start date 1st cred. period: | Ene-01-2005
Finish date of 1st cred. period: | Ene-01-2012
1. OPERATIONAL PARAMETERS
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Number of days per month | (Days/month) | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 365
Number of hours per month | (Hours/month) | 744 | 672 | 744 | 720 | 744 | 720 | 744 | 744 | 720 | 744 | 720 | 744 | 8760
|  | January | February | March | April | May | June | July | August | September | October | November | December
Combined Margin for the CDM activity | (tCO2/GWh) | 640.0889 | 640.0889 | 640.0889 | 640.0889 | 640.0889 | 640.0889 | 640.0889 | 640.0889 | 640.0889 | 640.0889 | 640.0889 | 640.0889
Note: Calculated in the "SIC emissions" spreadsheet.
|  | January | February | March | April | May | June | July | August | September | October | November | December
Biomass power generation factor | (KWh/m3 st)
Note: Indices calculated from AF Celpap AB study.
Biomass fuel data
|  | January | February | March | April | May | June | July | August | September | October | November | December
Net calorific value | (TJ / 000 ton) | 17.9786 | 17.9786 | 17.9786 | 17.9786 | 17.9786 | 17.9786 | 17.9786 | 17.9786 | 17.9786 | 17.9786 | 17.9786 | 17.9786
Biomass conversion factor | (BDt/m3 est) | 0.15 | 0.15 | 0.155 | 0.146 | 0.14448 | 0.12045 | 0.13904 | 0.1317 | 0.14 | 0 | 0 | 0
Average moisture content of biomass | (% wet basis) | 51.3% | 52.2% | 53.4% | 53.7% | 55.9% | 56.8% | 58.6% | 58.7% | 58.4% | 0% | 0% | 0%
CH4 conversion factor (CH4 / C) | (number) | 1.3333 | 1.3333 | 1.3333 | 1.3333 | 1.3333 | 1.3333 | 1.3333 | 1.3333 | 1.3333 | 1.3333 | 1.3333 | 1.3333
CH4 Global Warming Potential | (number) | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 21
CH4 emission factor (1) | (Kg/TJ) | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 15
Conservativeness factor (2) | (number) | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02 | 1.02
Adjusted CH4 emission factor | (Kg/TJ) | 15.3 | 15.3 | 15.3 | 15.3 | 15.3 | 15.3 | 15.3 | 15.3 | 15.3 | 15.3 | 15.3 | 15.3
Controlled biomass burning factor | (tCO2/ 000 ton) | 5.7765 | 5.7765 | 5.7765 | 5.7765 | 5.7765 | 5.7765 | 5.7765 | 5.7765 | 5.7765 | 5.7765 | 5.7765 | 5.7765
CH4 factor for biomass uncontrolled burning (3) | (Kg/TJ) | 740.5 | 740.5 | 740.5 | 740.5 | 740.5 | 740.5 | 740.5 | 740.5 | 740.5 | 740.5 | 740.5 | 740.5
Conservativeness factor | (%) | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94
Adjusted CH4 default factor | (Kg/TJ) | 696.07 | 696.07 | 696.07 | 696.07 | 696.07 | 696.07 | 696.07 | 696.07 | 696.07 | 696.07 | 696.07 | 696.07
Uncontrolled biomass burning factor | (tCO2/ 000 ton) | 262.8023 | 262.8023 | 262.8023 | 262.8023 | 262.8023 | 262.8023 | 262.8023 | 262.8023 | 262.8023 | 262.8023 | 262.8023 | 262.8023
(1) As per table Nº3 of the ACM0006 (Version 01).
(2) As per the validation report.
(3) Local measured value.
Fossil fuel data
Diesel |  | January | February | March | April | May | June | July | August | September | October | November | December
Net calorific value | (TJ / 000 ton) | 42.886 | 42.886 | 42.886 | 42.886 | 42.886 | 42.886 | 42.886 | 42.886 | 42.886 | 42.886 | 42.886 | 42.886
Carbon content | (tC / TJ) | 20.2 | 20.2 | 20.2 | 20.2 | 20.2 | 20.2 | 20.2 | 20.2 | 20.2 | 20.2 | 20.2 | 20.2
Fraction of carbon oxidized | (%) | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CO2 / C conversion factor | (tCO2 / tC) | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel density | (Kg/lt) | 0.83733 | 0.83733 | 0.83733 | 0.83733 | 0.83733 | 0.83733 | 0.83733 | 0.83733 | 0.83733 | 0.83733 | 0.83733 | 0.83733
CO2 Conversion factor | (tCO2/ 000 ton) | 3176.4231 | 3176.4231 | 3176.4231 | 3176.4231 | 3176.4231 | 3176.4231 | 3176.4231 | 3176.4231 | 3176.4231 | 3176.4231 | 3176.4231 | 3176.4231
Bunker
Net calorific value | (TJ / 000 ton) | 40.19 | 40.19 | 40.19 | 40.19 | 40.19 | 40.19 | 40.19 | 40.19 | 40.19 | 40.19 | 40.19 | 40.19
Carbon content | (tC / TJ) | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1
Fraction of carbon oxidized | (%) | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CO2 / C conversion factor | (tCO2 / tC) | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel density | (Kg/lt) | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93 | 0.93
CO2 Conversion factor | (tCO2/ 000 ton) | 3109.3663 | 3109.3663 | 3109.3663 | 3109.3663 | 3109.3663 | 3109.3663 | 3109.3663 | 3109.3663 | 3109.3663 | 3109.3663 | 3109.3663 | 3109.3663
LPG
Net calorific value | (TJ / 000 ton) | 46.2834 | 46.2834 | 46.2834 | 46.2834 | 46.2834 | 46.2834 | 46.2834 | 46.2834 | 46.2834 | 46.2834 | 46.2834 | 46.2834
Carbon content | (tC / TJ) | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2 | 17.2
Fraction of carbon oxidized | (%) | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
CO2 / C conversion factor | (tCO2 / tC) | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667 | 3.6667
|  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fuel density (liquid phase) | (Kg/m3) | 515 | 515 | 515 | 515 | 515 | 515 | 515 | 515 | 515 | 515 | 515 | 515
CO2 Conversion factor | (tCO2/ 000 ton) | 2918.9403 | 2918.9403 | 2918.9403 | 2918.9403 | 2918.9403 | 2918.9403 | 2918.9403 | 2918.9403 | 2918.9403 | 2918.9403 | 2918.9403 | 2918.9403
Notes:
Net calorific values: Local values whenever available; if not, IPCC default values.
Carbon content: IPCC default values.
Fraction of carbon oxidized: IPCC default values.
1. BASELINE EMISSIONS
1.1 Grid emission savings
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Gross energy generation | (GWh/month) | 18.6945 | 17.669 | 19.8272 | 14.6042 | 19.6814 | 19.1857 | 18.1968 | 18.7246 | 15.7408 |  |  |  | 162.3242
Baseline power plant power consumption | (MW) | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1 | 2.1
Energy consumption of the project power plant | (GWh/month) | 3.3996 | 3.2542 | 3.8144 | 2.9614 | 3.8012 | 3.9305 | 4.0972 | 4.1697 | 3.8564 |  |  |  | 33.2846
Baseline energy consumption estimation | (GWh/month) | 1.5624 | 1.4112 | 1.5624 | 1.512 | 1.5624 | 1.512 | 1.5624 | 1.5624 | 1.512 |  |  |  | 13.7592
Energy related to project activity | (GWh/month) | 1.8372 | 1.843 | 2.252 | 1.4494 | 2.2388 | 2.4185 | 2.5348 | 2.6073 | 2.3444 |  |  |  | 19.5254
Electric power displaced from the Grid | (GWh/month) | 16.8573 | 15.826 | 17.5753 | 13.1548 | 17.4426 | 16.7672 | 15.6621 | 16.1173 | 13.3964 | 0 | 0 | 0 | 142.7988
Total emissions | (tCO2/month) | 10790.1476 | 10130.0502 | 11249.7268 | 8420.2109 | 11164.8267 | 10732.4695 | 10025.1179 | 10316.4863 | 8574.8715 | 0 | 0 | 0 | 91403.9073
1.2 Emissions from biomass uncontrolled burning
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Total heat to process (*) | (GJ/month) | 216691.2 | 216691.2 | 216691.2 | 216691.2 | 216691.2 | 216691.2 | 216691.2 | 216691.2 | 216691.2 |  |  |  | 1950220.8
Boiler efficiency | (%) | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Biomass used for heat generation | (BDt/month) | 12052.6972 | 12052.6972 | 12052.6972 | 12052.6972 | 12052.6972 | 12052.6972 | 12052.6972 | 12052.6972 | 12052.6972 |  |  |  | 108474.2746
Biomass attributable to the project activity | (BDt/month) | 11998.6028 | 13551.8528 | 19174.3778 | 8882.3888 | 18021.5024 | 9750.8153 | 9590.2 | 9460.5086 | 8632.5828 |  |  |  | 109062.8313
(*) From the energy / mass balances in pages 9 and 10 of the registered PDD.
1.2 Emissions from biomass uncontrolled burning
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Own biomass | (m3 est/month) | 117691.028 | 128364.144 | 159157.35 | 124750.17 | 164444.03 | 150239.96 | 121413.24 | 149794.701 | 144205.952 | 0 | 0 | 0 | 1260060.575
3rd party biomass | (m3 est/month) | 42650.972 | 42332.856 | 42307.65 | 18640.83 | 43712.97 | 30772.04 | 34244.76 | 13558.299 | 3546.048 | 0 | 0 | 0 | 271766.425
Total biomass | (m3 est/month) | 160342 | 170697 | 201465 | 143391 | 208157 | 181012 | 155658 | 163353 | 147752 | 0 | 0 | 0 | 1531827
Biomass related to power generation | (m3 est/month) | 79990.6855 | 90345.6855 | 123705.6634 | 60838.2796 | 124734.8866 | 80950.9285 | 68973.7301 | 71835.0614 | 61661.3059 |  |  |  | 763036.2264
Biomass related to steam generation | (m3 est/month) | 80351.3145 | 80351.3145 | 77759.3366 | 82552.7204 | 83422.1134 | 100061.0715 | 86684.2699 | 91517.9386 | 86090.6941 | 0 | 0 | 0 | 768790.7736
Total biomass | (m3 est/month) | 160342 | 170697 | 201465 | 143391 | 208157 | 181012 | 155658 | 163353 | 147752 | 0 | 0 | 0 | 1531827
Baseline biomass consumption | (m3 est/month) | 80351.3145 | 80351.3145 | 77759.3366 | 82552.7204 | 83422.1134 | 100061.0715 | 86684.2699 | 91517.9386 | 86090.6941 | 0 | 0 | 0 | 768790.7736
Biomass related to the Project | (m3 est/month) | 79990.6855 | 90345.6855 | 123705.6634 | 60838.2796 | 124734.8866 | 80950.9285 | 68973.7301 | 71835.0614 | 61661.3059 | 0 | 0 | 0 | 763036.2264
Biomass related to the Project | (BDt/month) | 11998.6028 | 13551.8528 | 19174.3778 | 8882.3888 | 18021.5024 | 9750.8153 | 9590.2 | 9460.5086 | 8632.5828 | 0 | 0 | 0 | 109062.8313
Total emissions | (tCO2eq/month) | 3153.261 | 3561.4587 | 5039.0715 | 2334.3126 | 4736.0931 | 2562.5372 | 2520.3271 | 2486.2439 | 2268.663 | 0 | 0 | 0 | 28661.9681
BASELINE EMISSIONS
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Grid emission savings | (tCO2/month) | 10790.1476 | 10130.0502 | 11249.7268 | 8420.2109 | 11164.8267 | 10732.4695 | 10025.1179 | 10316.4863 | 8574.8715 | 0 | 0 | 0 | 91403.9073
CH4 emissions savings | (tCO2eq/month) | 3153.261 | 3561.4587 | 5039.0715 | 2334.3126 | 4736.0931 | 2562.5372 | 2520.3271 | 2486.2439 | 2268.663 | 0 | 0 | 0 | 28661.9681
TOTAL BASELINE EMISSIONS | (tCO2eq/month) | 13943.4086 | 13691.5089 | 16288.7983 | 10754.5235 | 15900.9198 | 13295.0066 | 12545.445 | 12802.7301 | 10843.5345 | 0 | 0 | 0 | 120065.8755
2. PROJECT EMISSIONS
2.1 Emissions from biomass burning in the Power Boiler
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Biomass related to project | (BDt/month) | 11998.6028 | 13551.8528 | 19174.3778 | 8882.3888 | 18021.5024 | 9750.8153 | 9590.2 | 9460.5086 | 8632.5828 | 0 | 0 | 0 | 109062.8313
Total emissions | (tCO2eq/month) | 69.3104 | 78.2828 | 110.7616 | 51.3095 | 104.1019 | 56.326 | 55.3982 | 54.649 | 49.8665 | 0 | 0 | 0 | 630.0058
2.2 Emissions from biomass transportation to the Power Plant
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Biomass supply from 3rd parties (dry) | (BDt/month) | 6397.6458 | 6349.9284 | 6557.6857 | 2721.5612 | 6315.5819 | 3706.5971 | 4761.4374 | 1785.5961 | 496.4467 | 0 | 0 | 0 | 39092.4803
Biomass supply from 3rd parties (wet) | (t/month) | 13136.8497 | 13284.369 | 14072.287 | 5878.1019 | 14321.0474 | 8580.0859 | 11501.0564 | 4323.4772 | 1193.3815 | 0 | 0 | 0 | 86290.6562
Average load for one trip | (tons/truck) | 25.186 | 24.4 | 26.87 | 26.132 | 26.11 | 26.81 | 27.18 | 26.53 | 26.74 | 0 | 0 | 0
Avg. distance between supplying mills and Power Plant | (km) | 120.89 | 121.84 | 115.51 | 109.89 | 110.639 | 114.593 | 116.926 | 111.69 | 129.87 | 0 | 0 | 0
Emission factor for heavy truck transportation (1) | (kgCO2/km) | 1.2911 | 1.2911 | 1.2911 | 1.2911 | 1.2911 | 1.2911 | 1.2911 | 1.2911 | 1.2911 | 1.2911 | 1.2911 | 1.2911
Number of trips needed for the plants | (trips/month) | 521.5933 | 544.4414 | 523.7174 | 224.9388 | 548.489 | 320.033 | 423.1441 | 162.9656 | 44.6291 |  |  |  | 3313.9517
Total distance traveled | (km) | 126110.8361 | 132669.4691 | 120989.1979 | 49437.0594 | 121368.5874 | 73347.0827 | 98953.1287 | 36403.2542 | 11591.9566 |  |  |  | 770870.5721
Total emissions | (tCO2/month) | 162.8253 | 171.2933 | 156.2126 | 63.8296 | 156.7025 | 94.7005 | 127.7612 | 47.0013 | 14.9667 | 0 | 0 | 0 | 995.293
(1) The emission factor was calculated from monitored km/liter performance figures.
2.3 Emissions from diesel combustion due to biomass transportation in the Plant site
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Current biomass consumption | (m3 est/month) | 160342 | 170697 | 201465 | 143391 | 208157 | 181012 | 155658 | 163353 | 147752 | 0 | 0 | 0 | 1531827
Current diesel consumption | (Lt/month) | 6238.6 | 6691 | 6023.4 | 5703.2 | 5948 | 5680.9 | 5842.1 | 6170 | 5595 | 0 | 0 | 0 | 53892.2
Baseline biomass consumption | (m3 est/month) | 80351.3145 | 80351.3145 | 77759.3366 | 82552.7204 | 83422.1134 | 100061.0715 | 86684.2699 | 91517.9386 | 86090.6941 | 0 | 0 | 0 | 768790.7736
Baseline diesel consumption | (Lt/month) | 3126.3157 | 3149.6198 | 2324.8484 | 3283.4325 | 2383.7523 | 3140.3274 | 3253.4028 | 3456.7206 | 3260.04 |  |  |  | 27378.4596
Diesel consumption related to the project activity | (Lt/month) | 3112.2843 | 3541.3802 | 3698.5516 | 2419.7675 | 3564.2477 | 2540.5726 | 2588.6972 | 2713.2794 | 2334.96 |  |  |  | 26513.7404
Total emissions | (tCO2/month) | 8.2778 | 9.4191 | 9.8371 | 6.4359 | 9.4799 | 6.7572 | 6.8852 | 7.2166 | 6.2104 | 0 | 0 | 0 | 70.5193
2.4 Emissions from fossil fuel consumption in the Power Boiler
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Current biomass consumption | (m3 est/month) | 160342 | 170697 | 201465 | 143391 | 208157 | 181012 | 155658 | 163353 | 147752 | 0 | 0 | 0 | 1531827
Current Diesel consumption | (Lt/month) | 42780 | 42759 | 27200 | 255250 | 85595 | 294762 | 1377218 | 1402160 | 213250 | 0 | 0 | 0 | 3740974
Current Fuel Oil consumption | (ton/month) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Current LPG consumption | (Lt/month) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | 500
Baseline biomass consumption | (m3 est/month) | 80351.3145 | 80351.3145 | 77759.3366 | 82552.7204 | 83422.1134 | 100061.0715 | 86684.2699 | 91517.9386 | 86090.6941 | 0 | 0 | 0 | 768790.7736
Baseline diesel consumption | (Lt/month) | 21438.1088 | 20127.7226 | 10498.3692 | 146951.9139 | 34303.5103 | 162940.5871 | 766957.9263 | 785555.1645 | 124254.4299 |  |  |  | 2073027.7325
Baseline Fuel Oil consumption | (ton/month) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
Baseline LPG consumption | (Lt/month) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 280.1232 | 0 |  |  |  | 280.1232
Diesel consumption related to the project activity | (Lt/month) | 21341.8912 | 22631.2774 | 16701.6308 | 108298.0861 | 51291.4897 | 131821.4129 | 610260.0737 | 616604.8355 | 88995.5701 |  |  |  | 1667946.2675
Fuel Oil consumption related to the project activity | (ton/month) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
LPG consumption related to the project activity | (Lt/month) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 219.8768 | 0 |  |  |  | 219.8768
Total emissions | (tCO2/month) | 56.7636 | 60.193 | 44.4217 | 288.0431 | 136.4213 | 350.6087 | 1623.1239 | 1640.3298 | 236.7037 | 0 | 0 | 0 | 4436.6088
PROJECT EMISSIONS
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Emissions from biomass burning in the P.B. | (tCO2eq/month) | 69.3104 | 78.2828 | 110.7616 | 51.3095 | 104.1019 | 56.326 | 55.3982 | 54.649 | 49.8665 | 0 | 0 | 0 | 630.0058
Emissions from biomass transportation to the P. Plant | (tCO2/month) | 162.8253 | 171.2933 | 156.2126 | 63.8296 | 156.7025 | 94.7005 | 127.7612 | 47.0013 | 14.9667 | 0 | 0 | 0 | 995.293
Emissions from onsite biomass transportation | (tCO2/month) | 8.2778 | 9.4191 | 9.8371 | 6.4359 | 9.4799 | 6.7572 | 6.8852 | 7.2166 | 6.2104 | 0 | 0 | 0 | 70.5193
Emissions from fossil fuel consumption in the P.B. | (tCO2/month) | 56.7636 | 60.193 | 44.4217 | 288.0431 | 136.4213 | 350.6087 | 1623.1239 | 1640.3298 | 236.7037 | 0 | 0 | 0 | 4436.6088
TOTAL PROJECT EMISSIONS | (tCO2eq/month) | 297.1771 | 319.1882 | 321.233 | 409.6181 | 406.7055 | 508.3924 | 1813.1685 | 1749.1966 | 307.7472 | 0 | 0 | 0 | 6132.4268
3. NET EMISSIONS OF THE PROJECT ACTIVITY
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Total baseline emissions | (tCO2eq/month) | 13943.4086 | 13691.5089 | 16288.7983 | 10754.5235 | 15900.9198 | 13295.0066 | 12545.445 | 12802.7301 | 10843.5345 | 0 | 0 | 0 | 120065.8755
Total project emissions | (tCO2eq/month) | 297.1771 | 319.1882 | 321.233 | 409.6181 | 406.7055 | 508.3924 | 1813.1685 | 1749.1966 | 307.7472 | 0 | 0 | 0 | 6132.4268
NET EMISSION SAVINGS | (tCO2eq/month) | 13646.2315 | 13372.3207 | 15967.5653 | 10344.9054 | 15494.2143 | 12786.6142 | 10732.2765 | 11053.5335 | 10535.7873 | 0 | 0 | 0 | 113933.4486

## 2007 data
MONITORED DATA |  | NUEVA ALDEA PHASE I POWER PLANT
YEAR: | 2007
1. Electric power generation
|  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Gross electric power generation |  | (MWh/month) | 18694.4657 | 17669.0213 | 19827.2499 | 14604.1701 | 19681.4322 | 19185.6582 | 18196.838 | 18724.5962 | 15740.7805 |  |  |  | 162324.212
Power plant consumption |  | (MWh/month) | 3399.6021 | 3254.2166 | 3814.3935 | 2961.4182 | 3801.2138 | 3930.5041 | 4097.1672 | 4169.7257 | 3856.405 |  |  |  | 33284.646
Net energy |  | (MWh/month) | 15294.8637 | 14414.8047 | 16012.8563 | 11642.7519 | 15880.2184 | 15255.154 | 14099.6708 | 14554.8706 | 11884.3755 | 0 | 0 | 0 | 129039.566
2. Heat generation
|  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Sawmill (4.0 Bar, 163ºC) |  | (ton/month)
Sawmill (11 Bar, 204ºC) |  | (ton/month)
Plywood (19 Bar, 241ºC) |  | (ton/month)
Feedwater condition: | 2 Bar, 132ºC
2. Biomass combusted in power boiler
|  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Sawdust |  | (m3 st/month) | 68699 | 74663 | 84725 | 53892 | 85060 | 55598 | 62176 | 50520 | 40992 |  |  |  | 576325
Bark |  | (m3 st/month) | 91643 | 96034 | 116740 | 89499 | 123097 | 125414 | 93482 | 112833 | 106760 |  |  |  | 955502
Total |  | (m3 st/month) | 160342 | 170697 | 201465 | 143391 | 208157 | 181012 | 155658 | 163353 | 147752 | 0 | 0 | 0 | 1531827
Factor |  | (BDt/m3 st) | 0.15 | 0.15 | 0.155 | 0.146 | 0.14448 | 0.12045 | 0.13904 | 0.1317 | 0.14
Total |  | (BDt/month) | 24051.3 | 25604.55 | 31227.075 | 20935.086 | 30074.1996 | 21803.5125 | 21642.8971 | 21513.2057 | 20685.28 | 0 | 0 | 0 | 217537.1059
Total own |  | (%) | 73.4% | 75.2% | 79% | 87% | 79% | 83% | 78% | 91.7% | 97.6% |  |  |  | 82.26%
Total 3rd parties |  | (%) | 26.6% | 24.8% | 21% | 13% | 21% | 17% | 22% | 8.3% | 2.4% |  |  |  | 17.74%
Mix moisture (wet basis) |  | (%) | 51.3% | 52.2% | 53.4% | 53.7% | 55.9% | 56.8% | 58.6% | 58.7% | 58.4% |  |  |  | 55.39%
Net calorific value (Dry mix) |  | (Kcal/kg) | Jan: 4297
Net calorific value (Dry mix) |  | (TJ / 000 ton) | Jan: 17.9786
3. Fossil fuels used to transport the biomass to the power plant
|  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Average procurement distance to the plant |  | (Km) | 120.89 | 121.84 | 115.51 | 109.89 | 110.639 | 114.593 | 116.926 | 111.69 | 129.87 |  |  |  | 116.6038
Average biomass transported by trucks |  | (Ton/truck) | 25.186 | 24.4 | 26.87 | 26.132 | 26.11 | 26.81 | 27.18 | 26.53 | 26.74 |  |  |  | 26.2217
Average fuel performance of trucks |  | (Km/lt) | Jan: 2.06
4. Fossil fuels combusted in the power plant
4.1 Fossil fuels consumed in the power boiler
|  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Diesel |  | (lt/month) | 42780 | 42759 | 27200 | 255250 | 85595 | 294762 | 1377218 | 1402160 | 213250 |  |  |  | 3740974
Fuel Oil |  | (ton/month) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
Other (LPG) (liquid phase) |  | (lt/month) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 0 |  |  |  | 500
4.2 Fossil fuels consumed in the on-site transportation of biomass
|  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Diesel |  | (lt/month) | 6238.6 | 6691 | 6023.4 | 5703.2 | 5948 | 5680.9 | 5842.1 | 6170 | 5595 |  |  |  | 53892.2
Fuel Oil |  | (ton/month) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
Other |  | (lt/month) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
4.3 Fossil fuel data
|  |  | NCV |  | Density
Diesel |  | (TJ / 000 ton) | Jan: 42.886; Feb: (Kg/lt); Mar: 0.83733
Fuel Oil |  | (TJ / 000 ton) | Feb: (Kg/lt)
LPG (liquid phase) |  | (TJ / 000 ton) | Jan: 46.2834; Feb: (Kg/m3); Mar: 515
IPCC values (for reference) |  |  | Jan: NCV; Mar: Density
Diesel |  | (TJ / 000 ton) | Jan: 42.7605; Feb: (Kg/lt); Mar: 0.97
Fuel Oil |  | (TJ / 000 ton) | Jan: 40.19; Feb: (Kg/lt); Mar: 0.93
LPG (liquid phase) |  | (TJ / 000 ton) | Jan: 47.31; Feb: (Kg/m3); Mar: 540

## 2006 emissions
GHG EMISSION SAVINGS FOR THE NUEVA ALDEA PHASE I PROJECT ACTIVITY
YEAR: | 2006
Start date 1st cred. period: | Ene-01-2005
Finish date of 1st cred. period: | Ene-01-2012
1. OPERATIONAL PARAMETERS
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Number of days per month | (Days/month) | October: 31; November: 30; December: 31 | 92
Number of hours per month | (Hours/month) | October: 744; November: 720; December: 744 | 2208
|  | January | February | March | April | May | June | July | August | September | October | November | December
Combined Margin for the CDM activity | (tCO2/GWh) | 744 October: 450.5219; 720 November: 450.5219; 744 December: 450.5219
Note: Calculated in the "SIC emissions" spreadsheet.
|  | January | February | March | April | May | June | July | August | September | October | November | December
Biomass power generation factor | (KWh/m3 st)
Note: Indices calculated from AF Celpap AB study.
Biomass fuel data
|  | January | February | March | April | May | June | July | August | September | October | November | December
Net calorific value | (TJ / 000 ton) | October: 17.8468; November: 17.8468; December: 17.8468
Biomass conversion factor | (BDt/m3 est) | October: 0.143; November: 0.15; December: 0.16
Average moisture content of biomass | (% wet basis) | October: 54.15%; November: 51.06%; December: 49.82%
CH4 conversion factor (CH4 / C) | (number) | October: 1.3333; November: 1.3333; December: 1.3333
CH4 Global Warming Potential | (number) | October: 21; November: 21; December: 21
CH4 emission factor (1) | (Kg/TJ) | October: 15; November: 15; December: 15
Conservativeness factor (2) | (number) | October: 1.02; November: 1.02; December: 1.02
Adjusted CH4 emission factor | (Kg/TJ) | October: 15.3; November: 15.3; December: 15.3
Controlled biomass burning factor | (tCO2/ 000 ton) | October: 5.7342; November: 5.7342; December: 5.7342
CH4 factor for biomass uncontrolled burning (3) | (Kg/TJ) | October: 740.5; November: 740.5; December: 740.5
Conservativeness factor | (%) | October: 0.94; November: 0.94; December: 0.94
Adjusted CH4 default factor | (Kg/TJ) | October: 696.07; November: 696.07; December: 696.07
Uncontrolled biomass burning factor | (tCO2/ 000 ton) | October: 260.8746; November: 260.8746; December: 260.8746
(1) As per table Nº3 of the ACM0006 (Version 01).
(2) As per the validation report.
(3) Local measured value.
Fossil fuel data
Diesel |  | January | February | March | April | May | June | July | August | September | October | November | December
Net calorific value | (TJ / 000 ton) | October: 43.1329; November: 43.1329; December: 43.1329
Carbon content | (tC / TJ) | October: 20.2; November: 20.2; December: 20.2
Fraction of carbon oxidized | (%) | October: 100%; November: 100%; December: 100%
CO2 / C conversion factor | (tCO2 / tC) | October: 3.6667; November: 3.6667; December: 3.6667
Fuel density | (Kg/lt) | October: 0.8398; November: 0.8398; December: 0.8398
CO2 Conversion factor | (tCO2/ 000 ton) | October: 3194.7069; November: 3194.7069; December: 3194.7069
Bunker
Net calorific value | (TJ / 000 ton) | October: 40.19; November: 40.19; December: 40.19
Carbon content | (tC / TJ) | October: 21.1; November: 21.1; December: 21.1
Fraction of carbon oxidized | (%) | October: 100%; November: 100%; December: 100%
CO2 / C conversion factor | (tCO2 / tC) | October: 3.6667; November: 3.6667; December: 3.6667
Fuel density | (Kg/lt) | October: 0.93; November: 0.93; December: 0.93
CO2 Conversion factor | (tCO2/ 000 ton) | October: 3109.3663; November: 3109.3663; December: 3109.3663
LPG
Net calorific value | (TJ / 000 ton) | October: 46.9026; November: 46.9026; December: 46.9026
Carbon content | (tC / TJ) | October: 17.2; November: 17.2; December: 17.2
Fraction of carbon oxidized | (%) | October: 100%; November: 100%; December: 100%
CO2 / C conversion factor | (tCO2 / tC) | October: 3.6667; November: 3.6667; December: 3.6667
Fuel density (liquid phase) | (Kg/m3) | October: 525; November: 525; December: 525
CO2 Conversion factor | (tCO2/ 000 ton) | October: 2957.9932; November: 2957.9932; December: 2957.9932
Notes:
Net calorific values: Local values whenever available; if not, IPCC default values.
Carbon content: IPCC default values.
Fraction of carbon oxidized: IPCC default values.
1. BASELINE EMISSIONS
1.1 Grid emission savings
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Gross energy generation | (GWh/month) | October: 18.3091; November: 16.5453; December: 18.5226 | 53.377
Baseline power plant power consumption | (MW) | October: 2.1; November: 2.1; December: 2.1
Energy consumption of the project power plant | (GWh/month) | October: 3.7573; November: 3.0716; December: 3.3575 | 10.1865
Baseline energy consumption estimation | (GWh/month) | October: 1.5624; November: 1.512; December: 1.5624 | 4.6368
Energy related to project activity | (GWh/month) | October: 2.1949; November: 1.5596; December: 1.7951 | 5.5497
Electric power displaced from the Grid | (GWh/month) | October: 16.1141; November: 14.9857; December: 16.7275 | 47.8274
Total emissions | (tCO2/month) | October: 7259.7749; November: 6751.3681; December: 7536.1255 | 21547.2685
1.2 Emissions from biomass uncontrolled burning
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Total heat to process (*) | (GJ/month) | October: 216691.2; November: 216691.2; December: 216691.2 | 650073.6
Boiler efficiency | (%) | October: 100%; November: 100%; December: 100%
Biomass used for heat generation | (BDt/month) | October: 12141.7612; November: 12141.7612; December: 12141.7612 | 36425.2837
Biomass attributable to the project activity | (BDt/month) | October: 15821.0308; November: 9893.3888; December: 13339.9988 | 39054.4183
(*) From the energy / mass balances in pages 9 and 10 of the registered PDD.
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Own biomass | (m3 est/month) | October: 115313; November: 115699; December: 114667.92 | 345679.92
3rd party biomass | (m3 est/month) | October: 80231; November: 31202; December: 44593.08 | 156026.08
Total biomass | (m3 est/month) | October: 195544; November: 146901; December: 159261 | 501706
Biomass related to power generation | (m3 est/month) | October: 110636.5787; November: 65955.925; December: 83374.9922 | 259967.4959
Biomass related to steam generation | (m3 est/month) | October: 84907.4213; November: 80945.075; December: 75886.0078 | 241738.5041
Total biomass | (m3 est/month) | October: 195544; November: 146901; December: 159261 | 501706
Baseline biomass consumption | (m3 est/month) | October: 84907.4213; November: 80945.075; December: 75886.0078 | 241738.5041
Biomass related to the Project | (m3 est/month) | October: 110636.5787; November: 65955.925; December: 83374.9922 | 259967.4959
Biomass related to the Project | (BDt/month) | October: 15821.0308; November: 9893.3888; December: 13339.9988 | 39054.4183
Total emissions | (tCO2eq/month) | October: 4127.3051; November: 2580.9338; December: 3480.0668 | 10188.3058
BASELINE EMISSIONS
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Grid emission savings | (tCO2/month) | October: 7259.7749; November: 6751.3681; December: 7536.1255 | 21547.2685
CH4 emissions savings | (tCO2eq/month) | October: 4127.3051; November: 2580.9338; December: 3480.0668 | 10188.3058
TOTAL BASELINE EMISSIONS | (tCO2eq/month) | October: 11387.08; November: 9332.302; December: 11016.1923 | 31735.5743
2. PROJECT EMISSIONS
2.1 Emissions from biomass burning in the Power Boiler
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Biomass related to project | (BDt/month) | October: 15821.0308; November: 9893.3888; December: 13339.9988 | 39054.4183
Total emissions | (tCO2eq/month) | October: 90.7204; November: 56.7303; December: 76.4938 | 223.9445
2.2 Emissions from biomass transportation to the Power Plant
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Biomass supply from 3rd parties (dry) | (BDt/month) | October: 11473.033; November: 4680.3; December: 7134.8928 | 23288.2258
Biomass supply from 3rd parties (wet) | (t/month) | October: 25020.3909; November: 9563.6725; December: 14218.5986 | 48802.6621
Average load for one trip | (tons/truck) | October: 25.0527; November: 25.1702; December: 23.73
Avg. distance between supplying mills and Power Plant | (km) | October: 124.9028; November: 111.4223; December: 124.95
Emission factor for heavy truck transportation (1) | (kgCO2/km) | October: 1.3024; November: 1.3024; December: 1.3024
Number of trips needed for the plants | (trips/month) | October: 998.7113; November: 379.9598; December: 599.1824 | 1977.8536
Total distance traveled | (km) | October: 249483.6311; November: 84672.0229; December: 149735.6848 | 483891.3388
Total emissions | (tCO2/month) | October: 324.9239; November: 110.2756; December: 195.0136 | 630.2132
(1) For first verification, Revised 1996 IPCC Guidelines for National Greenhouse Gas Inventories, Reference Manual, p 1.75. For subsequent verifications, the emission factor was calculated from monitored km/liter performance figures.
2.3 Emissions from diesel combustion due to biomass transportation in the Plant site
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Current biomass consumption | (m3 est/month) | October: 195544; November: 146901; December: 159261 | 501706
Current diesel consumption | (Lt/month) | October: 7621; November: 5398; December: 6129.4 | 19148.4
Baseline biomass consumption | (m3 est/month) | October: 84907.4213; November: 80945.075; December: 75886.0078 | 241738.5041
Baseline diesel consumption | (Lt/month) | October: 3309.1246; November: 2974.3944; December: 2920.5876 | 9204.1066
Diesel consumption related to the project activity | (Lt/month) | October: 4311.8754; November: 2423.6056; December: 3208.8124 | 9944.2934
Total emissions | (tCO2/month) | October: 11.5684; November: 6.5023; December: 8.609 | 26.6797
2.4 Emissions from fossil fuel consumption in the Power Boiler
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Current biomass consumption | (m3 est/month) | October: 195544; November: 146901; December: 159261 | 501706
Current Diesel consumption | (Lt/month) | October: 561251; November: 150150; December: 1640 | 713041
Current Fuel Oil consumption | (ton/month) | October: 0; November: 0; December: 0 | 0
Current LPG consumption | (Lt/month) | October: 0; November: 0; December: 0 | 0
Baseline biomass consumption | (m3 est/month) | October: 84907.4213; November: 80945.075; December: 75886.0078 | 241738.5041
Baseline diesel consumption | (Lt/month) | October: 243701.5461; November: 82735.332; December: 781.4409 | 327218.3189
Baseline Fuel Oil consumption | (ton/month) | October: 0; November: 0; December: 0 | 0
Baseline LPG consumption | (Lt/month) | October: 0; November: 0; December: 0 | 0
Diesel consumption related to the project activity | (Lt/month) | October: 317549.4539; November: 67414.668; December: 858.5591 | 385822.6811
Fuel Oil consumption related to the project activity | (ton/month) | October: 0; November: 0; December: 0 | 0
LPG consumption related to the project activity | (Lt/month) | October: 0; November: 0; December: 0 | 0
Total emissions | (tCO2/month) | October: 851.9581; November: 180.8678; December: 2.3034 | 1035.1294
PROJECT EMISSIONS
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Emissions from biomass burning in the P.B. | (tCO2eq/month) | October: 90.7204; November: 56.7303; December: 76.4938 | 223.9445
Emissions from biomass transportation to the P. Plant | (tCO2/month) | October: 324.9239; November: 110.2756; December: 195.0136 | 630.2132
Emissions from onsite biomass transportation | (tCO2/month) | October: 11.5684; November: 6.5023; December: 8.609 | 26.6797
Emissions from fossil fuel consumption in the P.B. | (tCO2/month) | October: 851.9581; November: 180.8678; December: 2.3034 | 1035.1294
TOTAL PROJECT EMISSIONS | (tCO2eq/month) | October: 1279.1709; November: 354.3761; December: 282.4198 | 1915.9669
3. NET EMISSIONS OF THE PROJECT ACTIVITY
|  | January | February | March | April | May | June | July | August | September | October | November | December | Total
Total baseline emissions | (tCO2eq/month) | October: 11387.08; November: 9332.302; December: 11016.1923 | 31735.5743
Total project emissions | (tCO2eq/month) | October: 1279.1709; November: 354.3761; December: 282.4198 | 1915.9669
NET EMISSION SAVINGS | (tCO2eq/month) | October: 10107.9091; November: 8977.9258; December: 10733.7725 | 29819.6074

## 2006 data
MONITORED DATA |  | NUEVA ALDEA PHASE I POWER PLANT
YEAR: | 2006
1. Electric power generation
|  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Gross electric power generation |  | (MWh/month) | Oct: 18309.0661; Nov: 16545.2974; Dec: 18522.6471 | 53377.0106
Power plant consumption |  | (MWh/month) | Oct: 3757.3203; Nov: 3071.6358; Dec: 3357.5004 | 10186.4565
Net energy |  | (MWh/month) | Oct: 14551.7458; Nov: 13473.6616; Dec: 15165.1467 | 43190.5541
2. Heat generation
|  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Sawmill (4.0 Bar, 163ºC) |  | (ton/month) | [12 empty] | 0
Sawmill (11 Bar, 204ºC) |  | (ton/month) | [12 empty] | 0
Plywood (19 Bar, 241ºC) |  | (ton/month) | [12 empty] | 0
Feedwater condition: | 2 Bar, 132ºC
3. Biomass combusted in power boiler
|  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Sawdust |  | (m3 st/month) | Oct: 101093; Nov: 59840; Dec: 62406 | 223339
Bark |  | (m3 st/month) | Oct: 94451; Nov: 87061; Dec: 96855 | 278367
Total |  | (m3 st/month) | Oct: 195544; Nov: 146901; Dec: 159261 | 501706
Factor |  | (BDt/m3 st) | Oct: 0.143; Nov: 0.15; Dec: 0.16
Total |  | (BDt/month) | Oct: 27962.792; Nov: 22035.15; Dec: 25481.76 | 75479.702
Total own |  | (%) | Oct: 58.97%; Nov: 78.76%; Dec: 72% | 68.9%
Total 3rd parties |  | (%) | Oct: 41.03%; Nov: 21.24%; Dec: 28% | 31.1%
Mix moisture (wet basis) |  | (%) | Oct: 54.15%; Nov: 51.06%; Dec: 49.82% | 51.87%
Net calorific value (Dry mix) |  | (Kcal/kg) | Jan: 4265.48
Net calorific value (Dry mix) |  | (TJ / 000 ton) | Jan: 17.8468
4. Fossil fuels used to transport the biomass to the power plant
|  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Average procurement distance to the plant |  | (Km) | Oct: 124.9028; Nov: 111.4223; Dec: 124.95 | 120.9707
Average biomass transported by trucks |  | (Ton/truck) | Oct: 25.0527; Nov: 25.1702; Dec: 23.73 | 24.6672
Average fuel performance of trucks |  | (Km/lt) | Jan: 2.06
5. Fossil fuels combusted in the power plant
5.1 Fossil fuels consumed in the power boiler
|  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Diesel |  | (lt/month) | Oct: 561251; Nov: 150150; Dec: 1640 | 713041
Fuel Oil |  | (ton/month) | Oct: 0; Nov: 0; Dec: 0 | 0
Other (LPG) (liquid phase) |  | (lt/month) | Oct: 0; Nov: 0; Dec: 0 | 0
5.2 Fossil fuels consumed in the on-site transportation of biomass
|  |  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
Diesel |  | (lt/month) | Oct: 7621; Nov: 5398; Dec: 6129.4 | 19148.4
Fuel Oil |  | (ton/month) | Oct: 0; Nov: 0; Dec: 0 | 0
Other |  | (lt/month) | Oct: 0; Nov: 0; Dec: 0 | 0
5.3 Fossil fuel data
|  |  | NCV |  | Density
Diesel |  | (TJ / 000 ton) | Jan: 43.1329; Feb: (Kg/lt); Mar: 0.8398
Fuel Oil |  | (TJ / 000 ton) | Feb: (Kg/lt)
LPG (liquid phase) |  | (TJ / 000 ton) | Jan: 46.9026; Feb: (Kg/m3); Mar: 525
IPCC values (for reference) |  |  | Jan: NCV; Mar: Density
Diesel |  | (TJ / 000 ton) | Jan: 42.7605; Feb: (Kg/lt); Mar: 0.97
Fuel Oil |  | (TJ / 000 ton) | Jan: 40.19; Feb: (Kg/lt); Mar: 0.93
LPG (liquid phase) |  | (TJ / 000 ton) | Jan: 47.31; Feb: (Kg/m3); Mar: 540