
[image: image12.png]7S
li. \

%, .
AN

N




[image: image13.png]UNFCC



CDM-SSC-PDD (version 02)
CDM – Executive Board 


page 43

CLEAN DEVELOPMENT MECHANISM

SIMPLIFIED PROJECT DESIGN DOCUMENT 

FOR SMALL-SCALE PROJECT ACTIVITIES (SSC-CDM-PDD)
Version 02 

CONTENTS

A. 
General description of the small-scale project activity

B.  
Baseline methodology  


C.  
Duration of the project activity / Crediting period 


D.  
Monitoring methodology and plan


E.  
Calculation of GHG emission reductions by sources 


F.  
Environmental impacts


G.  
Stakeholders comments


Annexes


Annex 1:  Information on participants in the project activity


Annex 2:  Information regarding public funding 


Annex 3:  Data for baseline calculation

PDD Version 3, 11/12/2006
Revision history of this document

	Version Number
	Date
	Description and reason of revision

	01
	21 January 2003
	Initial adoption 

	02
	8 July 2005
	· The Board agreed to revise the CDM SSC PDD to reflect guidance and clarifications provided by the Board since version 01 of this document.

· As a consequence, the guidelines for completing CDM SSC PDD have been revised accordingly to version 2. The latest version can be found at <http://cdm.unfccc.int/Reference/Documents>.


SECTION A.  General description of the small-scale project activity
A.1.  Title of the small-scale project activity:

>>

6 MW Renewable energy generation project by Varam Power Projects in India

A.2.  Description of the small-scale project activity:
>>

The project activity will utilise surplus biomass residues such as paddy husk, jute sticks, woody biomass and other crop residues to generate electricity for a grid system owned by the state owned power utility, APTRANSCO. The project was proposed by Varam Power Projects Private Limited, a business entity established in Andhra Pradesh, India.

Varam Power Projects Private Limited has a primary business mission of pioneering the utilisation of low-density crop residues, which are otherwise burnt on the fields (leading to high particulate emissions and environment pollution) or allowed to decompose (leading to methane emissions which are potent greenhouse gases contributing to climate change). Being predominantly an agricultural based economy, the region where the project was proposed is rich in biomass resources such as rice husk, paddy straw, castor stems etc.  These resources were not being properly managed due to poor understanding of their energy value and importance for development of the rural economy. Hence, the project proponents, decided to tap the potential for power generation and contribute to the rural development as well as climate change mitigation efforts. After conducting a detailed analysis and survey in the region, project proponents envisaged a 6 MW Power Generation Plant at Chilkalapalem village in Srikakulam District, Andhra Pradesh. The proposed project primarily utilises biomass resources available in the region and exports the generated electricity to the state owned power utility APTRANSCO. 

The objective of the project is to generate electrical energy through sustainable means without negatively impacting the environment and to assist in climate change mitigation. Hence, through construction of the proposed project, the following will be ensured throughout its lifetime:

· Sustainable development, through utilisation of surplus biomass residues that are available in plenty in the project region. 

· Climate change mitigation, through renewable energy generation and reducing the demand for fossil fuel based power

View of project participant about the project activity’s contribution to sustainable development

 Ministry of Environment and Forests, Govt. of India has stipulated the following indicators for sustainable development in the interim approval guidelines for CDM projects.

- 
Social well-being.  The CDM project activity should lead to alleviation of poverty by generation of  additional employment, removal of social disparities and contribution to provision of basic  amenities and leading to improvement in quality of life of people.

-
Economic well-being. The CDM project activity should bring in additional investment consistent               with the needs of the people.

-
Environmental well-being. This should include a discussion of impact of the project activity on resource sustainability and resource degradation, if any, due to proposed activity; bio-diversity friendliness; reduction of levels of pollution in general.

-
Technological well-being. The CDM project activity should lead to transfer of environmentally safe and sound technologies with a priority to the renewable sector or energy efficiency projects that is comparable to best practices in order to assist in up gradation of technological base.

Each of the above criteria is studied in the context of project activity to ensure that the project activity and the project contributes to the sustainable development as described below.

1. Employment Generation:

The proposed 6 MW biomass based power project caters job for many people in various sectors like biomass collection, processing biomass, transportation and in operation of the power plant.  Hence proposed project provides employment generation for the local youth.  Creation of indirect employment for rural unemployed youth due to new supply chain management of biomass (approx 450 jobs). Apart from the above said direct employment generation, proposed project also encourages indirect employment by setting up other agro industries due to sufficient power supply from the proposed project.

2. Reduced GHG emissions

The proposed project activity utilises biomass potential available for power generation, which otherwise is dominated by fossil fuels such as coal, lignite and gas, the project will not result in increase of GHG emissions and cause no negative impact on the environment. The project generates real, measurable and long-term emissions reductions. 

3. Reducing other pollutants

Biomass could play a major role in production of energy and improve environmental qualities in any regions by reducing emission of GHG and other pollutants into the atmosphere.  These gases and pollutants include carbon dioxide, carbon monoxide, nitrous oxide, sulfur dioxide and other suspended particles.

4. Effective utilization of biomass

Biomass based power projects paves the way for effective utilization of biomass for the production of energy which otherwise would have been left for burning in the open fields and left for decay in barren lands, which may lead to release of undesirable pollutants and also create environmental nuisance due to odour problem.

The above benefits due to the project activity ensure that the project would contribute to the sustainable development of the region.

A.3.  Project participants:

>>

	Name of the party involved

((host) indicates a host party)
	Private and/or public entity (ies) project participants
	Whether party involved wishes to be considered as project participant

	India (host)
	Private entity : Varam Power Projects Private Limited


	No.


A.4.  Technical description of the small-scale project activity:

>>

A.4.1.  Location of the small-scale project activity:

>>

A.4.1.1.  Host Party(ies):

>>India

A.4.1.2.  Region/State/Province etc.:

>>Andhra Pradesh

A.4.1.3.  City/Town/Community etc:

>>Chilkalapalem village, Etcherla Mandal, Srikakulam District

A.4.1.4.  Detail of physical location, including information allowing the unique identification of this small-scale project activity(ies): 

>>

The Project is located in Chilkalapalem Village, Etcheria Mandal, Srikakulam District, Andhra Pradesh, India. The nearest town is Vishakapatanam. Nearest Airport is at Vishakapatanam, located at a distance of 150 km from the project location. The major raw material required for the project is available within a radial distance of 50 km from the proposed site. Physical location of the project is marked in the maps below.

[image: image1.png]LOCATION OF ANDHRA PRADESH
IN INDIA

PAKISTAN

BAY OF BENGAL

ARABIAN SEA

¢ eoa

&
Mapnetto Scale
Copyright () Compare Infobase Pyt. Ltd. 2001-02




Map indicating Andhra Pradesh in India (in Yellow):

[image: image14.emf]Installed 

capacity

Actual 

Generation 

2002-03

Net Heat 

Rate

IPCC EF for 

Fuel

Oxidation 

factor

Emission 

Factor

CO

2 

Emissions

MW GWh kcal/kWh tC/TJ tCO

2

/GWh tCO

2

Reference 1

1

2

1 2 3 3

Karnataka

Raichur KPCL 1470 Coal 10290 2717 25.8 0.98 1052.9 10834241

Torangallu IMP Jindal 260 Coal 872 2717 25.8 0.98 1052.9 918120

Yelahanka VVNL 127.8 Diesel 715 2929 20.2 0.99 897.7 641889

Bellary Pvt 25.2 Diesel 64 2929 20.2 0.99 897.7 57456

Belgaum Tata 81.3 Diesel 365 2929 20.2 0.99 897.7 327677

Tanir Bavi GMR 220 Naphtha 1280 2062 20.2 0.995 635.2 813057

Jog  KEB 139.2 Hydro 146 0.0

Sivasamundrum KEB 42 Hydro 14 0.0

Shimsapura KEB 17.2 Hydro 57 0.0

Munirabad  KEB 27 Hydro 47 0.0

Sharavathy KPCL 1006.2 Hydro 2950 0.0

Kadra KPCL 150 Hydro 238 0.0

Kodasali KPCL 120 Hydro 218 0.0

Kalinadi KPCL 855 Hydro 1812 0.0

 Supa KPCL 100 Hydro 257 0.0

Linganamakki KPCL 55 Hydro 111 0.0

Varahi KPCL 230 Hydro 844 0.0

Bhadra KPCL 39.2 Hydro 18 0.0

Ghat Prabha KPCL 32 Hydro 59 0.0

Mani DPH KPCL 9 Hydro 18 0.0

Mallarpur KPCL 9 Hydro 1 0.0

Gerusuppa KPCL 240 Hydro 297 0.0

Almatti DPH KPCL 290 Hydro 0 0.0

Shivpura BPCL 18 Hydro 67 0.0

Shahpur BPCL 6.6 Hydro 22 0.0

Harangi BPCL 9 Hydro 0 0.0

Madhavmantri BPCL 4.5 Hydro 0 0.0

Mandagiri Pvt 3.5 Hydro 0 0.0

Narayanpur My PC 11.6 Hydro 36 0.0

Kaiga NPC 440 Nuclear 3317 0.0

Andhra Pradesh

K_Gudam APGENCO 1180 Coal 8729 2717 25.8 0.98 1052.9 9190680

Vijayawada APGENCO 1260 Coal 10288 2717 25.8 0.98 1052.9 10832136

Ramagundam APGENCO 62.5 Coal 390 2717 25.8 0.98 1052.9 410627

Nellore APGENCO 30 Coal 147 2717 25.8 0.98 1052.9 154775

Rayal Seema APGENCO 420 Coal 3488 2717 25.8 0.98 1052.9 3672481

vijeswaram APGPC 272 Gas 2031 2062 15.3 0.995 481.1 977149

Machkund APGENCO 114.9 Hydro 579 0.0 0

Upper Sileru APGENCO 240 Hydro 245 0.0 0

Lower Sileru APGENCO 460 Hydro 615 0.0 0

T. B. Dam APGENCO 36 Hydro 119 0.0 0

Hampi APGENCO 36 Hydro 0 0.0 0

Nagarjuna Sagar APGENCO 810 Hydro 868 0.0

Nag Sagar RBC APGENCO 90 Hydro 0 0.0

Nag Sagar LBC APGENCO 60 Hydro 0 0.0

Donkarayi APGENCO 25 Hydro 41 0.0

Srisailam APGENCO 770 Hydro 537 0.0

Srisailam LB APGENCO 900 Hydro 558 0.0

Pochampad APGENCO 27 Hydro 81 0.0

Nizam Sagar APGENCO 10 Hydro 0 0.0

Penna Ahobelam APGENCO 20 Hydro 0 0.0

Singur APGENCO 15 Hydro 7 0.0

Small Hydro APGENCO 15 Hydro 15 0.0

Peddapuram CCGT REL 220 Gas 850 2062 15.3 0.995 481.1 408950

Jegurupadu GT GVK 455.4 Naphtha 1583 2062 20.2 0.99 632.0 1000469

Kondapalli  Kondapalli Th 350 Naphtha 2477 2062 20.2 0.99 632.0 1565485

Vemagiri CCPP Pvt 233 Gas 2062 15.3 0.995 481.1 0

LVS Power LVS Power  36.8 Diesel 2 2929 20.2 0.99 897.7 1795

Godavari GT Spectrum 208 Gas 1250 2062 15.3 0.995 481.1 601397

R'gundam STPS NTPC 2600 Coal 16839 2717 25.8 0.98 1052.9 17729620

Simhadri NTPC 1000 Coal 4974 2717 25.8 0.98 1052.9 5237076

Power station Owner Fuel Type

Map indicating Srikakulam District in Andhra Pradesh:

[image: image15.png]TOTL  10967.7 159925 3445.3 5393 20381.1  80.0 4233.5 364623





Map indicating location of the project in Srikakulam District

A.4.2.  Type and category(ies) and technology of the small-scale project activity:

>>

 According to the Appendix B to the simplified modalities and procedures for small-scale CDM project activities the proposed project activity fall under the following type and category.

Project type: Type I - Renewable Energy Projects

Category: I.D - Renewable Electricity Generation for a grid.

Since, the capacity of the proposed CDM project is only 6 MW, which is well below the qualifying capacity of 15 MW, the project activity can be regarded as a small scale CDM project activity and UNFCCC indicative simplified modalities and procedures can be applied. Since, the maximum electricity generating capacity is limited by its design and construction, there is no possibility of exceeding the limits of small-scale CDM project activities during the crediting period and the project activity will remain as a small scale project activity. 

The project is designed to generate electricity for grid system using multi-fuels. 

The technology employed for the project activity is Rankine cycle based thermal power generation using direct combustion of biomass residues. The plant & machinery comprises mainly, high pressure and high temperature boiler and a matching steam turbine generator. Steam parameters considered in the project design is 64 ata / 485 (C. The turbine is fully condensing impulse type with a rated capacity of 6 MW.  The boiler has a capacity of 27 TPH and the thermal capacity is well below 45 MW.  Having examined all the technical parameters IREDA has approved the project. The biomass plant proposed to utilize different types of biomass fuels such as rice husk, cotton stalks, redgram stalks, jute sticks, bagasse and juliaflora.  In order to achieve optimum efficiency in the combustion, the company has been advised to procure stoker fired travelling grate boiler which can take care of the different types of fuel with different fuel properties.  The other choice available for the company is FBC Boiler.  It was felt that  an FBC boiler may achieve better efficiency provided the fuel utilized is rice husk or coal but not for multi fuels.  In fact most of the biomass plants established in the state  have installed travelling grate boilers. The turbo generator generates electricity at 11kV level. It is anticipated that the plant can operate at about 80% plant load factor. Other plant equipment includes ash-handling system, power evacuation facilities, cooling tower, water treatment plant, compressed air plant, etc. Annual estimate of power export to the grid system is around 38 GWh. The generated electricity is fed to the APTRANSCO grid system through a 132 kV substation located within 100 mts from the plant location at Chilakapalem Village, Etcharla Mandal, Srikakulam District. The project plant comprises a step-up transformer for stepping the generated voltage of 11 kV to 132 kV.

No technology transfer is envisaged for the proposed CDM project activity.
A.4.3.   Brief explanation of how the anthropogenic emissions of anthropogenic greenhouse gas (GHGs) by sources are to be reduced by the proposed small-scale project activity, including why the emission reductions would not occur in the absence of the proposed small-scale project activity, taking into account national and/or sectoral policies and circumstances: 

>>

Project activity and baseline scenario 

The project activity is setting up a 6 MW biomass based power plant.  The project activity will supply its power to the Southern grid of India, leading to the displacement of carbon intensive electricity by generation of electricity from a renewable energy source.  The project is commissioned in December 2001 and generating emission reductions from January, 2002.  

The baseline scenario in the absence of project activity continuous to be highly carbon intensive and emission reductions generated by the project activity are additional. The associated emissions are calculated based on the net amount of electricity fed into the grid and the simple weighted emission factor for the grid.  The project activity neither results in any direct emissions of greenhouse gases nor in any leakage outside the project boundary.  

Additionality 

The project activity is not the baseline scenario and the emission reductions would therefore not occur in the absence of the project activity.  The project activity is not required by law, and the national and state policies in place are not sufficient to make the project commercially viable on its own.  

The project faces barriers which in the absence of CDM would be prohibitive.  These barriers include: 

· Prevailing practice: In the State of Andhra Pradesh the project is one of the first biomass based projects initiated by the promoters.

· Technological barrier due to poor characteristics of biomass.

· Availability and price fluctuations of biomass leading to uncertainty of profitability. 

CDM will help to make the proposed project activity viable.  The CDM revenues will help to deal with the various risks described above.  

For details on baseline, additionality and national / sectoral policies, please refer to Section B2 and B3. 

A.4.3.1   Estimated amount of emission reductions over the chosen crediting period: 

>>

The chosen crediting period for the project activity is 10 years. It is estimated that the project activity would generate 223,771emission reductions during the crediting period. Annual estimates of emission reductions by the project activity during the above crediting period are furnished below.

	Years
	Annual estimation of emission reductions in tonnes of CO2 e

	2002
	25,490

	2003
	35,553

	2004
	32,804

	2005
	18,561

	2006
	18,561

	2007
	18,561

	2008
	18,561

	2009
	18,561

	2010
	18,561

	2011
	18,561

	Total Emission reductions (tonnes of CO2e)
	223,771

	Total number of crediting years
	10

	Annual average over the crediting period of estimated reductions (tonnes of CO2 e)
	22,377


A.4.4.  Public funding of the small-scale project activity:

>>

No public funding from Annex I Party is involved in this project activity.

A.4.5.  Confirmation that the small-scale project activity is not a debundled component of a larger project activity:

>>

The project proponents hereby confirm that the proposed project activity is not a debundled component of another larger project activity.

The project proponents further confirm that they have not registered any small scale CDM activity or applied to register another small scale CDM project activity within the same project boundary, in the same project category and technology/measure.

SECTION B.  Application of a baseline methodology:

B.1.  Title and reference of the approved baseline methodology applied to the small-scale project activity: 

>>

Project Category title: Type I, Renewable Energy Project.

Reference: I.D- Renewable Electricity Generation for Grid.
B.2
Project category applicable to the small-scale project activity:

>>

With a capacity of 6MW the project activity qualifies as small scale and therefore is eligible to use approved methodology AMS I.D.  The application of the methodology is described below: 

a) Selection and justification of calculation approach. 

The baseline emissions are calculated based on net energy provided to the grid (in GWh / year) and an emission factor for the displaced grid electricity (in tCO2/GWh)

AMS I.D requires that baseline emission factor will be calculated in a transparent and conservative manner based on either 1) the average emission intensity, or 2) the combined margin emission of the project grid.  

The project participants have opted for approach (i). The average emissions intensity is expected to be some what lower than the combined margin, because must-run sources such as hydro enter the calculation at full weight, while in the combined margin approach, they are only counted if included in the build margin. In addition, the build margin in all Indian regions is known to be heavily dominated by thermal generation. Hence the choice of approach a) is considered conservative. The average emission intensity reflects also best the emissions of the grid in each year. Since this project is a prompt start project the average emission factor for years pre 2006 of the crediting period had to be calculated each to follow a conservative approach. The average emission factor for the years from 2006 onwards will be calculated ex-post, based on the latest available data.

The total energy demand in Andhra Pradesh state and also in the whole Southern region is increasing rapidly. To meet the growing energy demand, various private and public sector utilities have envisaged many new projects that are expected to become operational in the near future. 

The majority of the projects are proposed based on fossil fuels such as coal, lignite, gas, etc., which result in GHG emissions. 

Installed capacity of various power plants in Southern region as on 30-04-2006  (Figures in MW)

[image: image16.png]seccer  Hyaro Therral Niclesr | Wind,
RES

TomL | 3586.3 53805 1738.7  36.8 7156.0 152.0 545.3 114356





Source: Table No.2, Page 43, Installed Capacity as on 30-04-2006 - Power Scenario at a Glance – April, 2006, www.cea.nic.in 

As could be seen from the above out of the total installed capacity of all the power generating sources in the southern region accounting for 36,462 MW, the share of thermal power generation is 20,381 MW or 56% of installed capacity and the share of hydro resources is 30% of the installed capacity.   Further the overall peak deficit during 2005-06 is 5.9% and energy deficit is 0.8%
.  

Installed capacity of various plants in Andhra Pradesh as on 30-04-2006 (Figures in MW)

[image: image17.emf]Installed 

capacity

Actual 

Generation 

2003-04

Net Heat 

Rate

IPCC EF for 

Fuel

Oxidation 

factor

Emission 

Factor

CO

2 

Emissions

MW GWh kcal/kWh tC/TJ tCO

2

/GWh tCO

2

Reference 1

1

2

1 2 3 3

Karnataka

Raichur KPCL 1470 Coal 11400 2717 25.8 0.98 1052.9 12002950

Torangallu IMP Jindal 260 Coal 766 2717 25.8 0.98 1052.9 806514

Yelahanka VVNL 127.8 Diesel 384 2929 20.2 0.99 897.7 344735

Bellary Pvt 25.2 Diesel 42 2929 20.2 0.99 897.7 37705

Belgaum Tata 81.3 Diesel 235 2929 20.2 0.99 897.7 210970

Tanir Bavi GMR 220 Naphtha 1631 2062 20.2 0.995 635.2 1036012

Jog  KEB 139.2 Hydro 160 0.0

Sivasamundrum KEB 42 Hydro 79 0.0

Shimsapura KEB 17.2 Hydro 57 0.0

Munirabad  KEB 27 Hydro 41 0.0

Sharavathy KPCL 1006.2 Hydro 3316 0.0

Kadra KPCL 150 Hydro 223 0.0

Kodasali KPCL 120 Hydro 214 0.0

Kalinadi KPCL 855 Hydro 1718 0.0

 Supa KPCL 100 Hydro 241 0.0

Linganamakki KPCL 55 Hydro 120 0.0

Varahi KPCL 230 Hydro 721 0.0

Bhadra KPCL 39.2 Hydro 11 0.0

Ghat Prabha KPCL 32 Hydro 62 0.0

Mani DPH KPCL 9 Hydro 11 0.0

Mallarpur KPCL 9 Hydro 0 0.0

Gerusuppa KPCL 240 Hydro 358 0.0

Almatti DPH KPCL 290 Hydro 0 0.0

Shivpura BPCL 18 Hydro 54 0.0

Shahpur BPCL 6.6 Hydro 22 0.0

Harangi BPCL 9 Hydro 0 0.0

Madhavmantri BPCL 4.5 Hydro 13 0.0

Mandagiri Pvt 3.5 Hydro 0 0.0

Narayanpur My PC 11.6 Hydro 38 0.0

Kaiga NPC 440 Nuclear 3123 0.0

Andhra Pradesh

K_Gudam APGENCO 1180 Coal 8177 2733 25.8 0.98 1059.1 8660184

Vijayawada APGENCO 1260 Coal 10104 2495 25.8 0.98 966.9 9769164

Ramagundam APGENCO 62.5 Coal 471 2856 25.8 0.98 1106.8 521282

Nellore APGENCO 30 Coal 146 2717 25.8 0.98 1052.9 153722

Rayal Seema APGENCO 420 Coal 3331 2304 25.8 0.98 892.8 2974066

vijeswaram APGPC 272 Gas 2147 2062 15.3 0.995 481.1 1032959

Machkund APGENCO 114.9 Hydro 529 0.0

Upper Sileru APGENCO 240 Hydro 401 0.0

Lower Sileru APGENCO 460 Hydro 977 0.0

T. B. Dam APGENCO 36 Hydro 102 0.0

Hampi APGENCO 36 Hydro 0 0.0

Nagarjuna Sagar APGENCO 810 Hydro 369 0.0

Nag Sagar RBC APGENCO 90 Hydro 0 0.0

Nag Sagar LBC APGENCO 60 Hydro 0 0.0

Donkarayi APGENCO 25 Hydro 111 0.0

Srisailam APGENCO 770 Hydro 309 0.0

Srisailam LB APGENCO 900 Hydro 328 0.0

Pochampad APGENCO 27 Hydro 64 0.0

Nizam Sagar APGENCO 10 Hydro 6 0.0

Penna Ahobelam APGENCO 20 Hydro 0 0.0

Singur APGENCO 15 Hydro 6 0.0

Small Hydro APGENCO 15 Hydro 8 0.0

Peddapuram CCGT REL 220 Gas 1249 2062 15.3 0.995 481.1 600915

Jegurupadu GT GVK 455.4 Naphtha 1505 2062 20.2 0.99 632.0 951173

Kondapalli  Kondapalli Th 350 Naphtha 2238 2062 20.2 0.99 632.0 1414435

Vemagiri CCPP Pvt 233 Gas 0 2062 15.3 0.995 481.1 0

LVS Power LVS Power  36.8 Diesel 0 2929 20.2 0.99 897.7 0

Godavari GT Spectrum 208 Gas 1100 2062 15.3 0.995 481.1 529229

R'gundam STPS NTPC 2600 Coal 16332 2717 25.8 0.98 1052.9 17195805

Simhadri NTPC 1000 Coal 7722 2717 25.8 0.98 1052.9 8130419

Power station Owner Fuel Type


Source: Table No.2, Page 45, Installed Capacity as on 30-04-2006 - Power Scenario at a Glance – April, 2006, www.cea.nic.in 

In respect of Andhra Pradesh out of total installed capacity of 11,440MW from all power plants the share of thermal power plants based on fossil fuel is accounting for 63% and the share of hydro projects is accounting for 31% of the installed capacity.  

[image: image2.png]50  GAPACITY ADDITION PROGRAMME IN
SOUTHERN REGION DURING XI PLAN PERIOD

STNo. [Project Name Executing Agency | | Fuel Type| nstalled | Likely Benefiis | Likely year of
State Capacityaw) | during Xiplan | commissioning

[CENTRAL SECTOR

7 EVEE ] NTPCKerale 201317
2 Ennore NTPC/ TNEE 201112
3 Wayvel PST LGN 200810
[STATE SECTOR

3 00510
201112
7 200708
o 200810
70 o 7400 201011
11 o 500 201011
12 0 700 201011
13 o 210 201011
14 o 300 201011
5 o 700 2010-11

30 201011

0 201011

3 201011

7T S 350
51 535
% 5 701
2 7 107
Kanrir 3 3

Ennore

TOTAL | 156205 738525





      Source: http://www.powermin.nic.in/indian_electricity_scenario/pdf/SR0306.pdf
The capacity addition during 11th Plan is estimated at 15,630 MW out of which share of thermal power generation is expected to be 11,408 MW and share of hydro is estimated at 4,222 MW.  There is a reduction in the hydro share to 27% compared to what was prevailing upto April, 2006 (31%).  Further, in the case of state of Andhra Pradesh out of 4,706MW expected during 11th Plan, the share of hydro projects will come down from 31% as on April, 2006 to 15.5% during the 11th plan period.  

Southern region does not have sufficient gas resources / established infrastructure or infrastructure to import / transport gas from other regions. Nuclear capacity additions are not anticipated either, due to continuous rising environmental consciousness and long gestation periods coupled with huge investments. All major hydro resources in the region are already exploited and no new major hydroelectric plants are expected. Due to the increasing prices of diesel and naphtha, power generation through diesel / naphtha has become prohibitive. The remaining choice for the region is constructing coal / lignite based power plants. Hence, the baseline scenario in the state for expanding electricity production capacity is driven by coal / lignite fired power stations. As a result, the baseline continuous to be highly carbon intensive. 

The baseline emission factor is estimated using the data available for 2002, 2003, 2004 and 2005.  The actual grid emission factor applied for emission reduction calculations will be computed based on ex post data available on generations from various power plants. 
b) Calculation of the baseline emission factor

As explained earlier, the baseline for the project activity is kWh produced by the biomass project multiplied by an emission co-efficient calculated in a transparent and conservative manner as the weighted average emissions (in kgCO2/kWh) of the current generation mix of the Southern Region. For this purpose, the generation data published by Central Electricity Authority for the Southern Region was used. Baseline emissions were estimated as explained below.

i : Estimation of emissions from each power generating unit in the baseline

Emissions from each fossil fuel source are estimated using the following formula.

	Station Emissions in year y (t CO2)
	=
	Generation in year y (GWh)
	X
	CEF for fuel (tC/TJ)
	X
	Net Heat Rate (TJ/GWh)
	X
	CO2 Conversion Factor 44/12
	X
	Oxidation Factor


For the estimation of emissions from each power generating unit in the grid, actual generation data monitored and published by Central Electricity Authority is used. IPCC default emission factors are used for CEF of each fuel type. This is conservative and reasonable for a small-scale project activity whose generation is negligibly small compared to the total generation of the grid system.

Using the above formula, emissions from each power generating source are estimated. For non-fossil fuel sources such as hydro and nuclear, GHG emissions are not applicable.

ii : Total grid emissions

Total emissions from all stations in the grid are estimated by summation of emissions from all baseline power generating units.

iii : Estimation of baseline emission coefficient

The baseline emission coefficient for the grid is estimated as the weighted average of all existing generation sources using the following formula.

Baseline
=
Total grid emissions/
Total net energy in the system

Emissions 

Coefficient

tCO2/GWh

t CO2


/
GWh
Using the above formula and data for the year 2005-2006, the baseline / emission coefficient is estimated as follows : 

2002 

819.04 t CO2 /GWh 

2003 

841.16 t CO2 /GWh

2004 

795.04 t CO2 /GWh 

2005 onwards    739.14 t CO2 /GWh. 

The detailed data underlying this calculation is furnished in the Annex 3 (Note: the emission factor for the years post 2005 is updated ex-post each year based on actual figures from the CEA)

B.3.  Description of how the anthropogenic emissions of GHG by sources are reduced below those that would have occurred in the absence of the registered small-scale CDM project activity: 

>>

Early consideration of CDM 

Carbon credits (CERS or VERs) as additional funding or operational income has been seriously considered at the planning stage in the year 2000.  Since the modalities and procedures were not clearly defined at that time, it was the clear intention of the project developers to apply for such certificates as soon as procedures are established, in order to mitigate risks related to the barriers described below. The decision to consider CDM in the project planning stage has been taken by the Board of Directors in one of their meetings held on 9th January, 2000. Copy of minutes of board meeting is furnished separately for verification. 

UNFCCC simplified modalities seek to establish additionality of the project activity as per Attachment A to Appendix B, which listed various barriers, out of which, at least one barrier shall be identified due to which the project would not have occurred anyway. Project participants identified the following barriers for the proposed project activity.

Background information for barrier analysis: 

Varam Power Projects (P) Limited was started by a first generation entrepreneur who had previous trading experience. The project activity is the first industrial activity taken up by the project proponent in a back ward area of the state of Andhra Pradesh. The project activity besides being first of its kind in the region is expected to create jobs to rural un- employed youth as well as enable the farmers to make additional revenue by selling their crop residues. The project proponent is prompted to set up the biomass power project based on an encouraging policy of Govt. of India as well as the State government of Andhra Pradesh to establish biomass based power plants. Government of India has suggested a tariff of Rs.2.25 per KWh with an escalation of 5% every year with base year as 1994-95 for biomass based power projects established in India subject to the approval of the State government where the project is established.  

Govt. of Andhra Pradesh endorsed the policy of Government of India for setting up of biomass based power projects.  

Non-conventional Energy Development Corporation of Andhra Pradesh (NEDCAP) has invited entrepreneurs to set up biomass power plants in Andhra Pradesh and based on this invitation Varam has made an application for a license which has been sanctioned by NEDCAP to set up a 6 MW biomass based power project in Srikakulam District of Andhra Pradesh. Financial closure was achieved in early 2000. 

Barrier analysis has been made for the project activity to establish the additionality keeping in mind the above scenario.  

Prevailing practice:

Establishing biomass power projects in Andhra Pradesh has started primarily only in the year 2000. At the time of envisaging the project in May  2000 there was only one project operating in Andhra Pradesh with a capacity of 2.75 MW established prior to the year 2000 and three projects having a capacity of 16.5 Mw were under implementation. All the subsequent biomass projects came to be established only after year 2000 along with the project promoted by Varam Power Projects (P) Ltd., Therefore the project activity is one of the first few projects started in the state of Andhra Pradesh. Hence, the project activity is not a common practice and therefore faced significant difficulties.

Technological Barriers:

The project operation and performance was of high uncertainty because of the poor characteristics of biomass materials such as high moisture content, etc. The fuel characteristics differ from fuel to fuel as each type of biomass has different calorific values, moisture content, form and shape, ash content etc. Due to the varied properties of various biomass fuels it is difficult to maintain operating parameters such as pressure and temperature affecting the continuous generation. Proven technologies were not available and hence the project participants had to depend on the conventional type of plant machinery risking the plant operation and the investment since the effects of combusting biomass fuels on the life cycle of the plant equipment were not established.

The risks perceived at the time of the investment decision with respect to fuel quality were subsequently confirmed by the actual operating experience. In the first three years of operation, the project suffered many unforeseen breakdowns due to various operational problems from the fuel front. Maintenance of equipment operating parameters under the conditions is also very difficult.  The log book maintained by the project proponent has indicated down time due to breakdown of the equipment and grid problem. The time is lost for 808.27 hours in 2002, 230.12 Hrs  in 2003, 370.08 Hrs in 2004 and 143.81 Hrs in 2005.  This loss of down time is without considering normal shutdowns. Evidence for this is furnished separately to the DOE for verification.  

Storage of biomass materials is another problem. The characteristics of biomass fuels change quickly within short time. Most importantly, the calorific value decreases due to the loss of volatiles and deterioration of biomass, which affects the performance of the plant equipment. Hence, biomass materials cannot be stored for long periods. Fuels that enter the plant premises must be consumed on a first come first basis. Seasonal stocking of biomass fuels is not possible. In addition, low bulk density (weight per unit volume) makes it difficult to handle and store.

Another problem faced by the project is unexpected frequent fluctuations in grid voltage due to which the equipment is getting affected. Biomass projects are located in rural areas where power is supplied to farmers on rotational basis. Due to this, grid frequency is affecting the operation of power evacuation equipment leading to frequent trips. Hence, the life of equipment is getting affected, thereby increasing the cost of maintenance.

Availability of Biomass:

The success of the biomass power plant mainly depends on the availability of biomass materials. Though the project proponents had assessed the availability of surplus biomass resources at the time of envisaging the project activity, still biomass sources are subject to seasonal fluctuations due to the vagaries of nature. The drought conditions prevailing for last three years in the state has adversely affected the availability of principle biomass i.e., rice husk which is mainly dependant on assured water supply. This has contributed for escalation in the cost of biomass. Hence the viability of the biomass power plant is less certain than that of fossil fuel plants, which enjoy an assured and regulated supply of fuels.

Biomass prices continuously fluctuate depending on seasonal variations. Long-term supply contracts could be a solution but it has proved very difficult to bind suppliers such as rice millers and farmers as they do not profit from fixed prices: They can enhance the price depending on the demand and also have the capacity to horde the produce. Due to this lack of price stability, the cost of power generation is unpredictable. 

Since the  project activity was first of its kind in the region, the project proponents were confident of the availability of biomass in sufficient quantity as proved by the biomass assessment survey carried out at the time of planning of the project activity. However as the project creates commercial value for the crop residues, the project promoters were aware already at the time of the investment decision that, there would be a strong risk that the price of these crop residues might increase after the project is established.  There was at the time of project planning, no past history of prices for crop residues where the requirement is on regular basis. There was also no mechanism for collection and supply of biomass materials. Further, it was clear that these biomass residues are available in the cropping season and the price could therefore be different if the same is procured during non cropping season. In order to mitigate these risks, the project proponents felt the necessity of CDM revenues when a board resolution was passed in January, 2000.  

Investment Barrier 

The project participant required investing around Rs.48.8 millions per MW, which was high compared to investment in conventional power projects. Unlike a fossil fuel based plant which has assured source of fuel, a biomass based power project faces uncertainties with regard to the price as well as cost of fuel which depends on vagaries of nature.
At the time of taking the investment decision in early 2000, there were two major uncertainties, which came to the knowledge of the promoters. These relate to 1) tariff uncertainty and 2) uncertain price of biomass as described above. In addition, there were the technical performance risks as described above. 

At the time of taking investment decision, power purchase agreement was in place executed in April, 2000 based on a tariff price of Rs.2.25 per kWh with an escalation of 5% per annum.  However, during this period, electrical reforms were in place in Andhra Pradesh and Andhra Pradesh Electricity Regulatory Commission has been constituted for regulating tariff related issues. There was uncertainty with respect to continuation of MNES tariff as specified in Article 4.1 of the power purchase agreement which states that “Subject to the provisions of this agreement, APTRANSCO shall purchase the Energy delivered by the Company for sale to APTRANSCO, at the Tariff as decided by Andhra Pradesh Regulatory Commission, from and after the date of commercial operation of the project”.  

This uncertainty continued in the revised power purchase agreement subsequent to the earlier one which was executed in November, 2001. Article 2.2 of the power purchase agreement states the following: 

“The company shall be paid the tariff for the energy delivered at the interconnection point for sale to APTRANSCO at Rs.2.25 paise per unit with escalation at 5% per annum with 1994-95 as base year and to be revised on 1st April of every year up to the year 2003-2004. Beyond the year 2003-04, the purchase price by APTRANSCO will be decided by Andhra Pradesh Electricity Regulatory Commission. There will be further review of purchase price on completion of ten years from the date of commissioning of the project, when the purchase price will be re worked on the basis return on equity, O&M expenses and the variable cost.”

To summarise, the project participants faced a strong risk of changes in fuel prices as well as uncertainty with respect to tariff at the time of the investment decision.  

The IRR has been prepared reflecting different scenarios considered by the project proponent in line with these risks. The project cost is estimated at Rs.244 million funded by term loan to an extent of Rs.182.7 million and share capital of Rs.61.3 million. 

The first scenario represents the best-case scenario as projected by the promoters at the time of taking the investment decision in May, 2000. It is based on the optimistic assumption that the rather favourable tariff recommended by MNES (3.17 Rs/kWh in first year of generation, plus 5% yearly escalation) and accepted by the State utility upto 31st March, 2004 and would be renewed at the same terms after expiry of MNES guidelines in 2004, since the power purchase agreement is executed for a period of 10 years. In addition, this scenario includes relatively reasonable plant load factors (70% and 75% in years 1-2, and 80% thereafter). Fuel costs are assumed to start at a low basis of 900 Rs/tonne, but with an escalation rate of 10%. Rate of interest on term loan, working capital and depreciation are those prevailing for similar projects in the year 2000.  

The IRR calculations are furnished below for the first scenario with detailed assumptions.        

	Scenario
	1
Best case

	Installed Capacity ( MW)
	6

	Working Days Per Annum
	330

	Gross Annual Generation (GWH) at 100 % PLF
	47.52

	Plant Load Factor  
	70%in the first year, 75% in the second year and 80% from third year onwards

	Auxilary Consumption 
	10%

	Tariff Rs/KWh
	MNES tariff @Rs. Rs.3.17/ kWh 

	Yearly Escalation on Tariff
	5%

	Fuel Cost Rs/Ton
	900

	Yearly Escalation on fuel Cost
	10.00%

	Depreciation per annum
	9.41%

	O & M Expenses on Project Cost
	5.00%

	Yearly Escalation on O&M Cost
	5.00%

	Interest on Term Loan
	14.5%

	Interest on Working Capital
	16.5%

	IRR without CDM revenue 
	13.79%

	IRR with CDM revenues 
	16.21%

	CER Price (US$/tCO2)
	5


The second scenario illustrates the sensitivity of the IRR projection with respect to some key parameters. The tariff is set at the same optimistic level as in first scenario. The base price of fuel is assumed at Rs.1250 per tonne assuming that the chances of it going at this level are possible due to situation prevailing in the neighbouring districts of West and East Godavari. Having considered the base price of fuel at Rs.1250 per tonne, it is expected that the escalation may not cross 5%. Plant load factor is assumed at 80%.  Depreciation, interest on term loans and working capital are assumed more favorable than the assumptions considered in the first scenario as these parameters are based on applicable laws and lending norms.  

The third scenario reflects the position based on the actual performance as encountered by the promoter until today. At the same time this scenario represents an unfavorable scenario which the promoter knew could occur at the time of his investment decision.  It includes a substantial downward revision of the electricity tariff, as stipulated by the regulatory commission.  In addition, the base price for the fuel is set at Rs 1000 /tonne, assuming that in the long run the fuel price might stabilize and the escalation also may not cross more than 5%. Plant load factor is assumed at 80%. Further, depreciation, interest on term loans and working capital represent those applicable for the project activity based on the applicable laws in India as well as the terms of lending.

The detailed assumptions underlying preparation of IRR are furnished below for the second and third scenarios: 

	Scenario
	2
Intermediate
	3
As observed

	Installed Capacity ( MW)
	6
	6

	Working Days Per Annum
	365
	365

	Gross Annual Generation (GWH) at 100 % PLF
	52.56
	52.56

	Plant Load Factor  
	Actuals upto the year 2004-05 and 80% from 2005-06 onwards
	Actuals upto the year 2004-05 and 80% from 2005-06 onwards

	Auxiliary Consumption 
	10%
	10%

	Tariff Rs/KWh
	MNES tariff @Rs. Rs.3.17/ kWh 
	MNES tariff upto 2004-05 and Rs.2.85 per kWh from 2005-06 onwards

	Yearly Escalation on Tariff
	5%
	Rs.0.03 per kWh 

	Fuel Cost Rs/Ton
	1250
	1000

	Yearly Escalation on fuel Cost
	5%
	5%

	Depreciation per annum
	5.28%
	5.28%

	O & M Expenses on Project Cost
	5%
	5%

	Yearly Escalation on O&M Cost
	5%
	5%

	Interest on Term Loan
	10.0%
	10.0%

	Interest on Working Capital
	10.5%
	10.5%

	IRR without CDM revenue 
	12.67%
	6.53%

	IRR with CDM revenues 
	16.29%
	10.96%

	CER Price (Euro/tCO2)
	8
	8


While calculating the IRR incentives such as income tax holiday for a period of 10 years as well as interest subsidy availed by the company has been considered. 

The results of the IRR analysis imply the following:

· Scenario #1 (best-estimate) results in a project IRR of 13.79%. This in itself would barely have been sufficient to make the project viable, given its large risks with respect to fuel costs and tariff. The CDM revenues play therefore an important role in making the project viable even in this optimistic scenario.

· Scenario #2 (intermediate) results in a lower IRR of 12.67%. In this moderately optimistic scenario, the role of CDM in making the project viable is already higher than in Scenario #1.

· Scenario #3 (as observed) results in a very low IRR of only 6.53%. At the time of the investment decision, unfavorable scenarios similar to this were considered in the context of the sensitivity analysis. The CDM revenues are therefore absolutely essential for reaching a reasonable profitability.

In conclusion, the project promoters anticipated at the time of this investment decision that the project would be just about viable without CDM in a best-case scenario, but clearly unattractive under unfavorable assumptions. Looking back, these unfavorable conditions actually did materialize and the profitability of the project activity suffered accordingly. CDM played an essential role in making the project viable for the promoter despite these large financial risks. Therefore the project activity is additional.

B.4.  Description of how the definition of the project boundary related to the baseline methodology selected is applied to the small-scale project activity:

>> 

As per the guidelines mentioned in Type I.D of Annex B of the simplified modalities and procedures for small-scale CDM project activities, project boundary encompasses the physical and geographical site of the renewable generation source. Hence, the project boundary covers the point of fuel supply to the point of power export to the grid where the project proponent has a full control. Hence, project boundary is considered within these terminal points.  Thus, boundary covers fuel storage and processing, boiler, steam turbine generator and all other power generating equipments, and auxiliary consumption units.
B.5.  Details of the baseline and its development:

>>
Date of completion of Baseline : 12/08/2006 (Updated)

Name of the person / entity determining/applying  the baseline:  Zenith Energy Services (P) Limited with inputs from Factor Consulting + Management AG  

Contact information of the above entity furnished below:
	Organization:
	ZENITH ENERGY SERVICES (P) LTD.

	Street/P.O. Box, Building:
	10-5-6/B, MYHOME PLAZA, MASABTANK,

	City:
	HYDERABAD

	State/Region:
	ANDHRA PRADESH

	Postfix/ZIP:
	500028

	Country:
	INDIA

	Telephone:
	+91 40 2337 6630, 2337 6631

	FAX:
	+91 40 2332 2517 

	E-Mail:
	zenith@zenithenergy.com

	URL:
	www.zenithenergy.com

	Represented by: 

	Title:
	DIRECTOR

	Salutation:
	MR.

	Last Name:
	REDDY

	Middle Name:
	MOHAN

	First Name:
	ATTIPALLI


The above entity is not a project participant.

SECTION C.  Duration of the project activity / Crediting period: 

C.1.  Duration of the small-scale project activity:

>>

C.1.1.  Starting date of the small-scale project activity:

>>

09/05/2000 

C.1.2.  Expected operational lifetime of the small-scale project activity: 

>>

25y-0m

C.2.  Choice of crediting period and related information:
C.2.1.  Renewable crediting period: 

>>

Not chosen
C.2.1.1.  Starting date of the first crediting period: 

>>

Not applicable

C.2.1.2.  Length of the first crediting period: 

>>

Not applicable

C.2.2.  Fixed crediting period: 

>>

Fixed crediting period is selected

C.2.2.1.  Starting date: 

>>

01/01/2002
C.2.2.2.  Length: 

>>

10y-0m

SECTION D.  Application of a monitoring methodology and plan:

>>

D.1.  Name and reference of approved monitoring methodology applied to the small-scale project activity:

>>

The name of the methodology applied for the project activity is “Metering the Electricity Generated”. This is in accordance with Appendix B of simplified modalities and procedures for small-scale CDM project activities. The reference to the proposed monitoring methodology is Clause 31 of Appendix B of simplified modalities and procedures for small-scale CDM project activities.

D.2.  Justification of the choice of the methodology and why it is applicable to the small-scale project activity:
>> 

The project activity meets the eligibility criteria to use simplified modalities and procedure for small-scale CDM project activities as set out in paragraph 6 (c) of decision 17/CP.7. As the power plant is of 6 MW capacity, reference has been taken from indicative simplified baseline and monitoring methodologies for selected small scale (CDM projects less than 15 MW) project activity categories.
D.3. Data to be monitored:

>>

	ID number

	Data type
	Data variable
	Data 

unit
	Measured

(m), 

calculated

 (c) or 

estimated 

(e)
	Recording 

frequency
	Proportion of data to be monitored
	How will the data be archived? (electronic/ paper)
	For how long is archived data to be kept?
	Comment

	D.3.1
	Power
	Power exporeted to grid (EL)
	kWh
	m
	Continuous
	100%
	Electronic and Paper
	Crediting period plus 2 years
	 Meter is Calibrated and Regularly inspected by APTRANSCO

	D.3.2
	Fuel
	Biomass used (BM)
	MT
	m
	Daily
	100%
	Paper
	Crediting period plus 2 years
	Biomass deliveries are weighted and build upon receipt at the plants. Composition of biomass

	D.3.3.
	Fuel
	Fossil fuels used (FF)
	MT
	m
	Daily
	100%
	Paper
	Crediting period plus 2 years
	Fossil fuel deliveries are weighted and build upon receipt at the plants. Stock changes are accounted for.

	D.3.4.
	Emission Factor
	Grid Emission Factor (EF)
	tCO2/GWh
	c
	Yearly
	100%
	Paper
	Crediting period plus 2 years
	This data item is required for estimating the baseline emissions and emission reductions.

	D.3.5
	Calorific Value
	NCV ofcoal used in the plant
	Kcal/kg
	m
	Batch wise for coal
	100%
	Paper
	Crediting period plus 2 years
	Supplier data or measured values from a laboratory, if there are minor differences between the NCVs, a average value will  be taken at the end of the year.


D.4. Qualitative explanation of how quality control (QC) and quality assurance (QA) procedures are undertaken: 

>>

	Data
	Uncertainty level of data (High/Medium/Low)
	Explain QA/QC procedures planned for these data, or why such procedures are not necessary

	D.3.1
	Low
	This data item will be recorded at the grid substation, which is under the control of APTRANSCO. The energy measured using calibrated meters and recorded at APTRANSCO substation will be monitored. Records of measurements will be used for verification of emissions reductions. Sales bills / receipts may be compared as an alternative proof of the power exported to the grid.

	D.3.2

 and D.3.3
	Low
	This data item will be recorded at the inlet of the plant premises. Fuel purchase records can be used for verification of fuel purchases in each category of industrial waste, alternative wastes and fossil fuels. Payments made to fuel suppliers can be used to cross check the fuel purchase records.

	D.3.4
	Low
	This data item is a calculated value based on Central Electricity Authority database and the quality control is not in the control of project participants. Hence, no quality control procedures are envisaged for this data item.

	D.3.5
	Low
	Will be obtained from coal suppliers, if not, samples will be tested in laboratory.


D.5.  Please describe briefly the operational and management structure that the project participant(s) will implement in order to monitor emission reductions and any leakage effects generated by the project activity:

>> 

The company Varam Power Projects (P) Ltd. is managed by a Board of Directors. The board has appointed a Managing Director who is assisted by a General Manager, incharge of all technical aspects.  The General Manager who is responsible for operation of the project is supported by other staff such as Managers, Shift Incharges, Operators, maintenance personnel etc.

The authority and responsibility for implementation, development and registration of the CDM Project activity rests with the Board of Directors. The Board may delegate the same to a competent person identified for the purpose. The identified person will be the in charge of GHG monitoring activities and prepare necessary audit reports for review by the management i.e. Board of Directors or its Committee for review.

The identified person in charge will be assisted by a team of experienced personnel in disciplines such as mechanical and electrical with experience in plant operation, measurements and management. The primary responsibility of the team is to collect, measure, monitor, record and report the information on various data items to the person in charge , in accordance with the applicable standards. Periodic calibration of various instruments used in the monitoring of the data and record keeping of the same also will be the responsibility of the team.

The responsibility of storage and archiving of information in good condition also lies with the designated person in charge. The person in charge will undertake periodic verifications and onsite inspections to ensure the quality of the data collected by the team and initiate steps in case of any abnormal conditions.

The company has an internal audit system for the GHG compliance. Internal auditing will be carried out as per the monitoring plan and whenever necessary. An internal audit report will be prepared for review by the Board of Directors which will be later submitted for verification by an independent entity (DOE). Board of directors will examine the internal audit reports and will in particular take note of any deviations in data over the norms and monitor that the corrective actions have resulted in adherence to the standards.

As detailed in Section D, Electricity supplied to the grid by the project activity will be monitored using calibrated meters. The project design employed latest microprocessor-based high-accuracy monitoring and control equipment that will measure, record, report, monitor and control of various key parameters like generation by the project and net energy exported to the grid. Necessary standby meters or check meters are installed to operate in standby mode when the main meters are not working. All meters will be calibrated and sealed as per the industry practices at regular intervals. Hence, high quality is ensured for all the above parameters. Sales records will be used and kept for checking consistency of the recorded data.

The Power Purchase Agreement signed by the Project Participants and the APTRANSCO provides procedures for monitoring the energy fed to the grid, emergency preparedness, calibration of monitoring equipment, company’s operation and maintenance responsibilities etc. The same will be adopted for GHG audits and will form part of the monitoring plan. Hence, no separate procedures for QA/QC are provided in this monitoring plan.

The project has necessary provisions for emergency preparedness so that any unforeseen events such as fire etc. could be averted. The provisions include fire fighting systems, standby features for critical items etc.

All the data monitored under the monitoring plan will be kept in electronic form and hard copy format for 2 years after the end of crediting period or the last issuance of CERs for this project activity whichever occurs later. The monitored data will be presented to the verification agency (DOE) to whom verification of emission reductions is assigned.
D.6.  Name of person/entity determining the monitoring methodology:

>>

Name of the person / entity determining/applying  the monitoring methodology:  Zenith Energy Services (P) Limited with inputs from Factor Consulting + Management AG  

Contact information of the above entity furnished below:
	Organization:
	ZENITH ENERGY SERVICES (P) LTD.

	Street/P.O. Box, Building:
	10-5-6/B, MYHOME PLAZA, MASABTANK,

	City:
	HYDERABAD

	State/Region:
	ANDHRA PRADESH

	Postfix/ZIP:
	500028

	Country:
	INDIA

	Telephone:
	+91 40 2337 6630, 2337 6631

	FAX:
	+91 40 2332 2517 

	E-Mail:
	zenith@zenithenergy.com

	URL:
	www.zenithenergy.com

	Represented by: 

	Title:
	DIRECTOR

	Salutation:
	MR.

	Last Name:
	REDDY

	Middle Name:
	MOHAN

	First Name:
	ATTIPALLI


The above entity is not a project participant.
SECTION E.: Estimation of GHG emissions by sources:

E.1.  Formulae used: 

>>

E.1.1 
Selected formulae as provided in appendix B:

>>

Appendix B of the simplified modalities and procedures for small-scale CDM project activities does not provide specific formulae for the baseline for project Category I.D.

Calculation of the project GHG emissions reductions applies a weighted average emissions factor for all thermal plants that are operational on the Southern grid of India as of March 2001, 2002, 2003, 2004 and 2005.

E.1.2
Description of formulae when not provided in appendix B:

>> 

E.1.2.1
Describe the formulae used to estimate anthropogenic emissions by sources of GHGs due to the project activity within the project boundary: 

>>

Due to the project being a CO2 neutral source of energy, no anthropogenic emissions by sources of GHGs are anticipated within the project boundary due to the project activity, hence no formulae are applicable. However, use of fossil fuels is permitted to a maximum of 25% of the total annual fuel requirement for biomass based power projects. Hence, the project may use fossil fuels such as coal in future as backup fuel. 

In the event of coal consumption, the emissions occurring from the burning of coal will be calculated using the following formula.


[image: image3.wmf]å

×

×

×

=

i

i

CO

i

y

i

y

OXID

EF

NCV

FF

PE

,

2

,


Where:

PEy

are the emissions from the project activity during the year y in tones of CO2
FFi,y

is the quantity of fossil fuel type i combusted to supplement the biomass residues in the 



project activity during the year y in energy or mass units

NCVi

is the net calorific value of the fossil fuel type i in TJ per unit of energy or mass units, 



obtained from local fuel supplier or from the country specific IPCC default factors

EFCO2i

is the CO2 emission factor per unit of energy or mass of the fuel type i in tons of CO2 

obtained from the country specific IPCC default factors

OXIDi

is the oxidation factor of the fuel (as per table 1.29 in the 1996 revised IPCC guidelines 

for default values)

For the purpose of estimating the anticipated project emissions due to the project activity, it has been assumed that coal to an extent of 10% of the annual fuel requirement will be used as supplementary fuel. Accordingly, the estimate of project emissions is provided below. These emissions will be updated ex post depending on the actual quantity of coal consumed and the calorific value. 

[image: image4.emf]Biomass 

consumed

Coal 

Consumed

Total fuel 

consumed

% of coal 

consumption

NCV for 

coal 

(NCV

i

)

Emission 

factor coal 

(EF

CO2,y

)

Oxidation 

factor 

(OXID

i

)

Project 

emissions

tons tons tons % kcal/kg

tCO

2

/TJ tCO

2

PP 

Records

PP 

Records

Obtained 

from  

supplier

1996 revised 

IPCC 

guidelines

1996 revised 

IPCC 

guidelines

1 2002 70,965        2,659         73,624        3.6 3800 94.60 0.980 3,916         

2 2003 95,072        2,543         97,615        2.6 3800 94.60 0.980 3,745         

3 2004 85,973        1,631         87,604        1.9 3800 94.60 0.980 2,402         

4 2005 77,653 8,628 86,281 10.0 3800 94.60 0.980 12,706       

5 2006 77,653 8,628 86,281 10.0 3800 94.60 0.980 12,706       

6 2007 77,653 8,628 86,281 10.0 3800 94.60 0.980 12,706       

7 2008 77,653 8,628 86,281 10.0 3800 94.60 0.980 12,706       

8 2009 77,653 8,628 86,281 10.0 3800 94.60 0.980 12,706       

9 2010 77,653 8,628 86,281 10.0 3800 94.60 0.980 12,706       

10 2011 77,653 8,628 86,281 10.0 3800 94.60 0.980 12,706       

99,001       

Emission Reductions (Anticipated)

Total Project Emissions

Reference

No. Year

Emission Reductions (Estimated based on monitored data)

(Fuel and Export values are actual recorded data)


Though, there are certain emissions occurring within the project boundary such as CH4 and N2O emissions and emissions due to the transportation of biomass to the project site, the quantity of these emissions is negligible. Further, the project participants are not claiming any emissions reductions occurring in the baseline due to biomass decay or open air burning. Hence, the other project emissions are not considered in the estimation of emission reductions.

E.1.2.2
Describe the formulae used to estimate leakage due to the project activity, where required, for the applicable project category in appendix B of the simplified modalities and procedures for small-scale CDM project activities
>>

No leakage is anticipated due to the project activity as the energy equipment has not been transferred from another project activity. Though a small amount of emissions occur outside the project boundary due to transportation of biomass, the same is not considered as being negligible and occuring in the baseline scenario.

E.1.2.3
The sum of E.1.2.1 and E.1.2.2 represents the small-scale project activity emissions:

>>

The sum of emissions estimated in E.1.2.1 and E.1.2.2 have been provided below.

	Year
	2002
	2003
	2004
	2005
	2006
	2007
	2008
	2009
	2010
	2011

	Project emissions, E.1.2.1, tCO2
	3916
	3745
	2402
	12,706
	12,706
	12,706
	12,706
	12,706
	12,706
	12,706

	Leakage, E.1.2.2, tCO2 
	0
	0
	0
	0
	0
	0
	0
	0
	0
	0

	Total,

E.1.2.1 + E.1.2.2,

tCO2
	3916
	3745
	2402
	12,706
	12,706
	12,706
	12,706
	12,706
	12,706
	12,706


E.1.2.4
Describe the formulae used to estimate the anthropogenic emissions by sources of GHGs in the baseline using the baseline methodology for the applicable project category in appendix B of the simplified modalities and procedures for small-scale CDM project activities: 

>>

As explained in Section B.2, the baseline for the project activity is kWh produced by the biomass project multiplied by an emission coefficient calculated in a transparent and conservative manner as the weighted average emissions (in kgCO2/kWh) of the current generation mix.

For the proposed project activity the generation data published by the Central Electricity Authority for the Southern region is considered. 

Formula used for calculation of baseline emissions are as provided in AMS I.D.

Estimation of baseline emission coefficient

Baseline emission factor is estimated as the weighted average of all existing generation sources using the following formula.

Baseline
=
Baseline emissions
/
Total net energy in the system

Emission 

factor

tCO2/GWh

tCO2


/
GWh

This factor will be calculated each year based on the actual generation data monitored by the Central Electricity Authority (ex-post updating of the emission factor).

Estimation of baseline emissions

Baseline emissions or emissions avoided by the project activity are estimated using the following formula.

Baseline Emissions 
=
Emission coefficient
x
Net power export from 

or avoided emissions

(see above)


the project to the grid

tCO2



tCO2/GWh


GWh

In the estimation of baseline emissions avoided since project commissioning, actual recorded data on biomass used, coal used and power exported has been considered. 

[image: image5.emf]Total power 

exported

Emission 

Factor

Baseline 

Emissions 

GWh tCO

2

/GWh tCO

2

1 2002 35.902 819.04 29,405

2 2003 46.718 841.16 39,297

3 2004 44.282 795.04 35,206

Baseline Emissions (Based on Projections)

4 2005 42.301 739.14 31,266

5 2006 42.301 739.14 31,266

6 2007 42.301 739.14 31,266

7 2008 42.301 739.14 31,266

8 2009 42.301 739.14 31,266

9 2010 42.301 739.14 31,266

10 2011 42.301 739.14 31,266

322,771

Total

No. Year

Baseline emissions (based on data monitored in the years 

2002, 2003 and 2004)


In the above table, emission factors for the first four years have been calculated using the actual generation data monitored by the CEA. For remaining years, the emission factor of the generation mix in 2005/06 is considered for the purpose of indicating the quantum of baseline emissions as it is the most recent and the most conservative. Actual emission factors will be monitored and updated ex post.

E.1.2.5 
Difference between E.1.2.4 and E.1.2.3 represents the emission reductions due to the project activity during a given period:

>>

	Year
	2002
	2003
	2004
	2005
	2006
	2007
	2008
	2009
	2010
	2011

	Baseline emissions, E.1.2.4, tCO2
	29,405
	39,297
	35206
	31266
	31266
	31266
	31266
	31266
	31266
	31266

	Project emissions, E.1.2.3, tCO2 
	3916
	3745
	2402
	12,706
	12,706
	12,706
	12,706
	12,706
	12,706
	12,706

	Emissions Reductions,

E.1.2.4 – E.1.2.3,

tCO2
	25,490
	35,553
	32,804
	18,561
	18,561
	18,561
	18,561
	18,561
	18,561
	18,561


E.2 
Table providing values obtained when applying formulae above:

>>

	Years
	Annual estimation of emission reductions in tonnes of CO2 e

	2002
	25,490

	2003
	35,553

	2004
	32,804

	2005
	18,561

	2006
	18,561

	2007
	18,561

	2008
	18,561

	2009
	18,561

	2010
	18,561

	2011
	18,561

	Total Emission reductions (tonnes of CO2e)
	223,771

	Total number of crediting years
	10

	Annual average over the crediting period of estimated reductions (tonnes of CO2 e)
	22,377


SECTION F.: Environmental impacts:

F.1.  If required by the host Party, documentation on the analysis of the environmental impacts of the project activity:

>>

As per the prevailing regulations of the Host Party i.e. India (represented by the Ministry of Environment and Forests, Govt. of India and also the line ministry for environmental issues in India), the project activity needs not conduct an environmental impact assessment. However, before implementation of the project, project participants have to obtain clearance from local Pollution Control Board. As required for implementation of the project activity, project participants had studied the possibility of environmental impacts and concluded that no negative impacts are possible due to the project activity. In fact, the project activity contributes to alleviate the environmental pollution and other hazards caused by other industries by utilising the industrial waste generated by themselves. Having satisfied with the project design, local pollution control board represented by the Andhra Pradesh State Pollution Control Board (APSPCB) has accorded its consent for implementation and operation of the project.  The summary of likely environmental impacts of the project is described below: 

Air Pollution Management: 

The raw materials of the power plant being biomass and has ash content depending on the type of biomass fuel.  The ash content in respect of rice husk is about 20%.  Electrostatic Precipitator is installed to reduce the suspended particulate matter.  There may be traces of SOx and NOx but they does not contribute to changes in ambient air quality.  The stack height has been kept at 50 mts for safe dispersion of emissions into atmosphere. 

Solid Waste management 

The fly ash generated by the boiler is collected in the ESP Ash hoppers.  Water will be sprinkled through a water spray nozzle provided in the screw feeder.  The ash is disposed to brick manufacturing units.  

Fire Protection 

The biomass which is more sensible for fire will be stored in covered space and statutory requirements are adopted to ensure fire protection. 

Waste water management  

Waste water discharge is kept to the minimum and the same is treated properly before disposing for horticulture purpose.  Domestic effluent would be sent to septic tank followed by soak pit in order to reduce heavy organic load.  The waste water after being treated in the treatment plant can be used for plantation and agricultural usage.  

Plantation 

In order to reduce gaseous pollution as well as noise pollution into atmosphere, plantation of green belt with native species has been implemented.

Thus the proposed project meets environmental compliance in accordance with the state regulations. 

SECTION G.  Stakeholders’ comments:

G.1.  Brief description of how comments by local stakeholders have been invited and compiled:

>>

No specific public consultation / participation requirements are specified in Indian statutes for setting up of small-scale industries. However, there are certain procedural requirements, which every project investor needs to follow before implementing any project.

Before implementing any project, project investors / developers need to identify the stakeholders, prepare necessary documents, approach the identified stakeholders directly and obtain required clearances / approvals. The stakeholders, after review of documents and investment profile, will accord approvals / licences or send comments in writing to project investors for further clarifications / corrections. In case they are not satisfied with the project design or they feel that the project impacts any of the local environment / social / economical environments, they will not issue clearances / approvals and stop the implementation of the project.

The project participants, as required for setting up the project, have identified the following stakeholders.

a) Local populace, represented by the Village Panchayat

b) The Non-conventional Energy Development Corporation of Andhra Pradesh Ltd. (NEDCAP)

c) Transmission Corporation of Andhra Pradesh Ltd. (APTRANSCO)

d) Andhra Pradesh Electricity Regulatory Commission (APERC)

e) Andhra Pradesh State Pollution Control Board (APPCB)

f) Ministry of Non-conventional Energy Sources, Govt. of India (MNES)

Apart from the above, there are other stakeholders such as Inspector of Factories, Inspector of Boilers, Chief Electrical Inspectorate General etc., but the role of these stakeholders is limited to examination of certain issues such as plant layout, equipment designs, etc. These stakeholders are to be approached during the project implementation stage, however, will in no way obstruct the implementation of the project as long as the designs are according to the stipulated regulations.

The project participants prepared necessary documentation before implementation of the project activity and approached the above stakeholders individually. No negative comments have been received by the project participants, which is evident from the following clearances and approvals.

a) Local populace, represented by the Village Panchayat, the elected administrative body of the village Chilkalapalem where the project is implemented, issued NOC (No-Objection Certificate) for the project.

b) NEDCAP has issued license for setting up of project

c) APSPCB issued Consent for Establishment (CFE) and Consent for Operation (CFO) for the project.

d) APTRANSCO agreed to purchase the power generated by the project activity and signed Power Purchase Agreement (PPA) with project participants.

e) MNES has recognised the project activity under non-conventional energy sources

f) APERC has framed tariff policy which is applicable to the project activity also.

Other stakeholders also issued their approvals / clearances, which is evident from the fact the power plant is in operation for over a year.

G.2.  Summary of the comments received:

>>

No negative comments are received on the project activity, which is evident from the licences / approvals / clearances accorded to the project activity by the stakeholders
G.3.  Report on how due account was taken of any comments received:

>>
No comments received; hence no report is applicable
Annex 1

CONTACT INFORMATION ON PARTICIPANTS IN THE PROJECT ACTIVITY
	Organization:
	Varam Power Projects Private Limited

	Street/P.O.Box, Building:
	No 8-4-120/3, Raja complex, G.T. Road

	City:
	Srikakulam

	State/Region:
	Andhra Pradesh

	Postfix/ZIP:
	532 001

	Country:
	

	Telephone:
	08942-28444

	FAX:
	08942-81220

	E-Mail:
	varampower@sancharnet.in , psnbenarji@yahoo.com 

	URL:
	

	Represented by: 

	Title:
	Managing Director

	Salutation:
	Mr.

	Last Name:
	

	Middle Name:
	Narasimham

	First Name:
	A.V.

	Department:
	

	Mobile:
	

	Direct Fax:
	

	Direct tel:
	

	Personal E-Mail:
	


                                                                   Annex 2

INFORMATION REGARDING PUBLIC FUNDING

No public funding from a party to Annex 1 is involved in the project activity
· - - - -

Annex 3

Data for baseline calculation

Station Heat Rates and Emission Factors

	Fuel i
	SHRi *
	EFCi **
	Oxid ***
	 (SHRi x EFCi x 44/12 x Oxidi)

	 
	Kcal/kWh
	tC/TJ
	 
	tCO2/GWh

	Coal & Lignite
	2,717
	25.8
	98.0%
	1,053

	Diesel - open cycle
	2,929
	20.2
	99.0%
	898

	Naphtha
	2,061
	20.0
	99.5%
	629

	Natural gas CCGT
	2,061
	15.3
	99.5%
	481


[image: image18.png]Districts of
Andhra Pradesh

MAHARASHTRA

ORISSA

CHHATTISGARH

Nizarabad
Aucimpager’

Warangal

HYBERABAD [
Khjammam davar
angareda 4 Wes o™

Nalgnda

Bay
of
Bengal

tap et
© State Capital
— Sta Boundary
S Sourery
Headguarter

TAMILNADU

R R e s




Baseline emission factor calculation for the year 2002-03

[image: image6.emf]Kerala

Brahamapuram DG KSEB 106.6 Diesel 128 2929 20.2 0.99 897.7 114912

Kozikode DG KSEB 128 Diesel 296 2929 20.2 0.99 897.7 265733

Kuttiadi KSEB 125 Hydro 304 0.0 0

Idukki KSEB 780 Hydro 1905 0.0 0

Sabarigiri KSEB 300 Hydro 804 0.0

Idamalayar KSEB 75 Hydro 259 0.0

Kakkad KSEB 50 Hydro 150 0.0

Sholayar KSEB 54 Hydro 138 0.0

Sengulam KSEB 48 Hydro 130 0.0

Narimangalam KSEB 45 Hydro 230 0.0

Pallivasal KSEB 37.5 Hydro 157 0.0

Poringalkuttu KSEB 32 Hydro 123 0.0

Poringalkuttu L KSEB 16 Hydro 78 0.0

Panniar KSEB 30 Hydro 78 0.0

Kallada KSEB 15 Hydro 35 0.0

Lower Periyar KSEB 180 Hydro 414 0.0

Malankara KSEB 10.5 Hydro 0 0.0

Chembukadavu KSEB 6.5 Hydro 0.0

Urumi KSEB 6.2 Hydro 0.0

Peppara KSEB 3 Hydro 6 0.0

Madhupatty KSEB 2 Hydro 2 0.0

Cochin CCGT REL 174 NG 305 2062 15.3 0.995 481.1 146741

Kasargode RPG 21.8 Diesel 148 2929 20.2 0.99 897.7 132866

Maniyar KLPVT 10 Hydro 23 0.0

Kuthungal KLPVT 21 Hydro 23 0.0

Kayamkulam NTPC 350 NG 2127 2062 15.3 0.995 481.1 1023336

TamilNadu

Ennore TNEB 450 Coal 1747 2717 25.8 0.98 1052.9 1839399

Tutikorin TNEB 1050 Coal 8187 2717 25.8 0.98 1052.9 8620013

Mettur TNEB 840 Coal 6739 2717 25.8 0.98 1052.9 7095428

North Chennai TNEB 630 Coal 4405 2717 25.8 0.98 1052.9 4637982

Basin Bridge TNEB 120 NG 276 2062 15.3 0.995 481.1 132788

Nariman GT TNEB 10 NG 0 2062 15.3 0.995 481.1 0

Valuthur GT TNEB 94 NG 104 2062 15.3 0.995 481.1 50036

Kuttlam GT TNEB 100 NG 0 2062 15.3 0.995 481.1 0

Kovilakalappal TNEB 107 NG 726 2062 15.3 0.995 481.1 349291

Pyakara TNEB 70.1 Hydro 254 0.0 0

Pyakara Dam TNEB 2 Hydro 0 0.0 0

Moyar TNEB 36 Hydro 105 0.0

Kundah TNEB 555 Hydro 764 0.0

Mettur Dam &Tunnel TNEB 240 Hydro 130 0.0

Periyar TNEB 140 Hydro 227 0.0

Kodayar TNEB 100 Hydro 150 0.0

Sholayar TNEB 95 Hydro 320 0.0

Aliyar TNEB 60 Hydro 108 0.0

Sarkarpathy TNEB 30 Hydro 97 0.0

Papanasam TNEB 28 Hydro 65 0.0

Suruliyar TNEB 35 Hydro 75 0.0

Servalar TNEB 20 Hydro 19 0.0

Lower Mettur TNEB 120 Hydro 168 0.0

Kadampari TNEB 400 Hydro 203 0.0

Vaigai TNEB 6 Hydro 4 0.0

Lower Bhavani TNEB 8 Hydro 21 0.0

Sathur Dam TNEB 7.5 Hydro 2 0.0

Parsen_S Valle TNEB 30 Hydro 16 0.0

Pykara ULT TNEB 150 Hydro 0.0

Karuppur GT KEPS 119.8 NG 2062 15.3 0.995 481.1 0

Samayanallur Madurai P 106 Diesel 589 2929 20.2 0.99 897.7 528773

Neyveli Pvt 250 Lignite 406 2897 27.6 0.98 1201.0 487593

P Nallur CCGT PPNPG 330.5 NG 2169 2062 15.3 0.995 481.1 1043543

Samalpatti DG Samalpatti 105.7 Diesel 623 2929 20.2 0.99 897.7 559296

Valantharvi GT Valanth Th 38 NG 2062 15.3 0.995 481.1 0

Basin Bridge DG Vasavi 200 Diesel 1209 2929 20.2 0.99 897.7 1085375

Neyveli STI NLC Th 600 Lignite 4421 2717 27.6 0.98 1126.3 4979584

Neyveli STII NLC Th 1470 Lignite 10495 2717 27.6 0.98 1126.3 11821020

Neyveli FST Ext NLC Th 420 Lignite 89 2897.86 27.6 0.98 1201.3 106918

MAPP NPC 390 Nuclear 1073 0.0 0

Pondichery

Karaikal GT PPCL 32.5 Gas 265 2062 15.3 0.995 481.1 127496

134942 110523204

819.04tCO

2

/GWh Weighted Average Emission Factor for the year 2002-03

Total


Baseline emission factor calculation for the year 2003-04[image: image19.png]Srikakulam 3
(Andhra Pradesh) e

Orissa

Bay of Bengal

Vizianagaram Mapnot o Scale

i e—
—  MaorRoag
— R
—  Raway Tk
© Dkt Hoadquarer
o

Tolk Headuarer
Toun

‘Copyright (c) Compare Infobase Put. Ltd. 2001-02




[image: image7.emf]Kerala

Brahamapuram DG KSEB 106.6 Diesel 266 2929 20.2 0.99 897.7 238801

Kozikode DG KSEB 128 Diesel 313 2929 20.2 0.99 897.7 280995

Kuttiadi KSEB 125 Hydro 259 0.0

Idukki KSEB 780 Hydro 1246 0.0

Sabarigiri KSEB 300 Hydro 698 0.0

Idamalayar KSEB 75 Hydro 155 0.0

Kakkad KSEB 50 Hydro 126 0.0

Sholayar KSEB 54 Hydro 202 0.0

Sengulam KSEB 48 Hydro 128 0.0

Narimangalam KSEB 45 Hydro 196 0.0

Pallivasal KSEB 37.5 Hydro 193 0.0

Poringalkuttu KSEB 32 Hydro 142 0.0

Poringalkuttu L KSEB 16 Hydro 88 0.0

Panniar KSEB 30 Hydro 76 0.0

Kallada KSEB 15 Hydro 36 0.0

Lower Periyar KSEB 180 Hydro 363 0.0

Malankara KSEB 10.5 Hydro 0 0.0

Chembukadavu KSEB 6.5 Hydro 0 0.0

Urumi KSEB 6.2 Hydro 0 0.0

Peppara KSEB 3 Hydro 1 0.0

Madhupatty KSEB 2 Hydro 8 0.0

Cochin CCGT REL 174 NG 991 2062 15.3 0.995 481.1 476787

Kasargode RPG 21.8 Diesel 78 2929 20.2 0.99 897.7 70024

Maniyar KLPVT 10 Hydro 21 0.0

Kuthungal KLPVT 21 Hydro 19 0.0

Kayamkulam NTPC 350 NG 2118 2062 15.3 0.995 481.1 1019006

TamilNadu

Ennore TNEB 450 Coal 1258 3318 25.8 0.98 1285.8 1617523

Tutikorin TNEB 1050 Coal 8084 2474 25.8 0.98 958.7 7750317

Mettur TNEB 840 Coal 6735 2656 25.8 0.98 1029.3 6932010

North Chennai TNEB 630 Coal 4347 2495 25.8 0.98 966.9 4202945

Basin Bridge TNEB 120 NG 89 2062 15.3 0.995 481.1 42819

Nariman GT TNEB 10 NG 0 2062 15.3 0.995 481.1

Valuthur GT TNEB 94 NG 671 2062 15.3 0.995 481.1 322830

Kuttlam GT TNEB 100 NG 108 2062 15.3 0.995 481.1 51961

Kovilakalappal TNEB 107 NG 745 2062 15.3 0.995 481.1 358432

Pyakara TNEB 70.1 Hydro 141 0.0

Pyakara Dam TNEB 2 Hydro 0 0.0

Moyar TNEB 36 Hydro 53 0.0

Kundah TNEB 555 Hydro 429 0.0

Mettur Dam &Tunnel TNEB 240 Hydro 85 0.0

Periyar TNEB 140 Hydro 213 0.0

Kodayar TNEB 100 Hydro 141 0.0

Sholayar TNEB 95 Hydro 199 0.0

Aliyar TNEB 60 Hydro 86 0.0

Sarkarpathy TNEB 30 Hydro 51 0.0

Papanasam TNEB 28 Hydro 47 0.0

Suruliyar TNEB 35 Hydro 41 0.0

Servalar TNEB 20 Hydro 19 0.0

Lower Mettur TNEB 120 Hydro 97 0.0

Kadampari TNEB 400 Hydro 408 0.0

Vaigai TNEB 6 Hydro 5 0.0

Lower Bhavani TNEB 8 Hydro 9 0.0

Sathur Dam TNEB 7.5 Hydro 2 0.0

Parsen_S Valle TNEB 30 Hydro 18 0.0

Pykara ULT TNEB 150 Hydro 0 0.0

Karuppur GT KEPS 119.8 NG 0 2062 15.3 0.995 481.1 0

Samayanallur Madurai P 106 Diesel 457 2929 20.2 0.99 897.7 410270

Neyveli Pvt 250 Lignite 1395 2897 27.6 0.98 1201.0 1675350

P Nallur CCGT PPNPG 330.5 NG 1314 2062 15.3 0.995 481.1 632188

Samalpatti DG Samalpatti 105.7 Diesel 458 2929 20.2 0.99 897.7 411168

Valantharvi GT Valanth Th 38 NG 0 2062 15.3 0.995 481.1 0

Basin Bridge DG Vasavi 200 Diesel 992 2929 20.2 0.99 897.7 890564

Neyveli STI NLC Th 600 Lignite 4400 3923 27.6 0.98 1626.3 7155729

Neyveli STII NLC Th 1470 Lignite 10003 2935 27.6 0.98 1216.7 12170859

Neyveli FST Ext NLC Th 420 Lignite 1993 2897.86 27.6 0.98 1201.3 2394239

MAPP NPC 390 Nuclear 1577 0.0

Pondichery

Karaikal GT PPCL 32.5 Gas 277 2062 15.3 0.995 481.1 133269

137442 115610325

841.16

tCO

2

/GWh

Weighted Average Emission Factor for the year 2003-04

Total


Baseline emission factor calculation  for the year 2004-05

[image: image8.wmf]Installed 

capacity

Actual 

Generation 

2004-05

Net Heat 

Rate

IPCC EF for 

Fuel

Oxidation 

factor

Emission 

Factor

CO

2 

Emissions

MW

GWh

kcal/kWh

tC/TJ

tCO

2

/GWh

tCO

2

Reference

1

1

2

1

2

3

3

Karnataka

Raichur

KPCL

1470

Coal

10717.93

2717

25.8

0.98

1052.9

11284805

Torangallu IMP

Jindal

260

Coal

516.33

2717

25.8

0.98

1052.9

543639

Yelahanka

VVNL

127.8

Diesel

271.14

2929

20.2

0.99

897.7

243415

Bellary

Pvt

25.2

Diesel

40.32

2929

20.2

0.99

897.7

36197

Belgaum

Tata

81.3

Diesel

238.46

2929

20.2

0.99

897.7

214077

Tanir Bavi

GMR

220

Naphtha

629.55

2062

20.2

0.995

635.2

399890

Jog 

KEB

139.2

Hydro

174.18

0.0

Sivasamundrum

KEB

42

Hydro

191.59

0.0

Shimsapura

KEB

17.2

Hydro

93.85

0.0

Munirabad 

KEB

27

Hydro

68.71

0.0

Sharavathy

KPCL

1006.2

Hydro

3853.74

0.0

Kadra

KPCL

150

Hydro

230.98

0.0

Kodasali

KPCL

120

Hydro

214.76

0.0

Kalinadi

KPCL

855

Hydro

1719.69

0.0

 Supa

KPCL

100

Hydro

294.64

0.0

Linganamakki

KPCL

55

Hydro

194.32

0.0

Varahi

KPCL

230

Hydro

973.27

0.0

Bhadra

KPCL

39.2

Hydro

41.4

0.0

Ghat Prabha

KPCL

32

Hydro

96.61

0.0

Mani DPH

KPCL

9

Hydro

23.46

0.0

Mallarpur

KPCL

9

Hydro

0

0.0

Gerusuppa

KPCL

240

Hydro

437.59

0.0

Almatti DPH

KPCL

290

Hydro

138.68

0.0

Shivpura

BPCL

18

Hydro

72.34

0.0

Shahpur

BPCL

6.6

Hydro

25.15

0.0

Harangi

BPCL

9

Hydro

0

0.0

Madhavmantri

BPCL

4.5

Hydro

22.86

0.0

Mandagiri

Pvt

3.5

Hydro

0

0.0

Narayanpur

My PC

11.6

Hydro

42.26

0.0

Kaiga

NPC

440

Nuclear

2926.25

0.0

Andhra Pradesh

K_Gudam

APGENCO

1180

Coal

9504.3

2594

25.8

0.98

1005.2

9553964

Vijayawada

APGENCO

1260

Coal

9848.8

2435

25.8

0.98

943.6

9293425

Ramagundam

APGENCO

62.5

Coal

496

2723

25.8

0.98

1055.2

523387

Nellore

APGENCO

30

Coal

153.9

2717

25.8

0.98

1052.9

162040

Rayal Seema

APGENCO

420

Coal

3353.6

2288

25.8

0.98

886.6

2973451

vijeswaram

APGPC

272

Gas

1993.4

2062

15.3

0.995

481.1

959059

Machkund

APGENCO

114.9

Hydro

900.4

0.0

Upper Sileru

APGENCO

240

Hydro

544.2

0.0

Lower Sileru

APGENCO

460

Hydro

1171.1

0.0

T. B. Dam

APGENCO

36

Hydro

148.2

0.0

Hampi

APGENCO

36

Hydro

0

0.0

Nagarjuna Sagar

APGENCO

810

Hydro

501.5

0.0

Nag Sagar RBC

APGENCO

90

Hydro

47.7

0.0

Nag Sagar LBC

APGENCO

60

Hydro

5.1

0.0

Donkarayi

APGENCO

25

Hydro

132.3

0.0

Srisailam

APGENCO

770

Hydro

941

0.0

Srisailam LB

APGENCO

900

Hydro

1411.7

0.0

Pochampad

APGENCO

27

Hydro

1.6

0.0

Nizam Sagar

APGENCO

10

Hydro

0

0.0

Penna Ahobelam

APGENCO

20

Hydro

0

0.0

Singur

APGENCO

15

Hydro

1.47

0.0

Small Hydro

APGENCO

15

Hydro

6.3

0.0

Peddapuram CCGT

REL

220

Gas

1141.34

2062

15.3

0.995

481.1

549118

Jegurupadu GT

GVK

455.4

Naphtha

1419.62

2062

20.2

0.99

632.0

897212

Kondapalli 

Kondapalli Th

350

Naphtha

2246.34

2062

20.2

0.99

632.0

1419706

Vemagiri CCPP

Pvt

233

Gas

0

2062

15.3

0.995

481.1

0

LVS Power

LVS Power 

36.8

Diesel

0

2929

20.2

0.99

897.7

0

Godavari GT

Spectrum

208

Gas

1372.96

2062

15.3

0.995

481.1

660555

R'gundam STPS

NTPC

2600

Coal

17169.83

2717

25.8

0.98

1052.9

18077948

Simhadri

NTPC

1000

Coal

8122.1

2717

25.8

0.98

1052.9

8551680

Kerala

Brahamapuram DG

KSEB

106.6

Diesel

136.4

2929

20.2

0.99

897.7

122453

Kozikode DG

KSEB

128

Diesel

160.5

2929

20.2

0.99

897.7

144088

Power station

Owner

Fuel Type


[image: image9.wmf]Kuttiadi

KSEB

125

Hydro

370.54

0.0

Idukki

KSEB

780

Hydro

2003.4

0.0

Sabarigiri

KSEB

300

Hydro

1224.54

0.0

Idamalayar

KSEB

75

Hydro

338.31

0.0

Kakkad

KSEB

50

Hydro

210.38

0.0

Sholayar

KSEB

54

Hydro

263.01

0.0

Sengulam

KSEB

48

Hydro

166.96

0.0

Narimangalam

KSEB

45

Hydro

231.95

0.0

Pallivasal

KSEB

37.5

Hydro

222.55

0.0

Poringalkuttu

KSEB

32

Hydro

181.6

0.0

Poringalkuttu L

KSEB

16

Hydro

107.89

0.0

Panniar

KSEB

30

Hydro

142.43

0.0

Kallada

KSEB

15

Hydro

76.93

0.0

Lower Periyar

KSEB

180

Hydro

512.39

0.0

Malankara

KSEB

10.5

Hydro

2.95

0.0

Chembukadavu

KSEB

6.5

Hydro

6.19

0.0

Urumi

KSEB

6.2

Hydro

0.91

0.0

Peppara

KSEB

3

Hydro

6.37

0.0

Madhupatty

KSEB

2

Hydro

4.07

0.0

Cochin CCGT

REL

174

NG

111.83

2062

15.3

0.995

481.1

53803

Kasargode

RPG

21.8

Diesel

15.74

2929

20.2

0.99

897.7

14131

Maniyar

KLPVT

10

Hydro

34.47

0.0

Kuthungal

KLPVT

21

Hydro

36.18

0.0

Kayamkulam

NTPC

350

NG

620.5

2062

15.3

0.995

481.1

298533

TamilNadu

Ennore

TNEB

450

Coal

1222.96

3244

25.8

0.98

1257.1

1537399

Tutikorin

TNEB

1050

Coal

8180.01

2493

25.8

0.98

966.1

7902593

Mettur

TNEB

840

Coal

6683.96

2622

25.8

0.98

1016.1

6791411

North Chennai

TNEB

630

Coal

3915.96

2456

25.8

0.98

951.7

3727006

Basin Bridge

TNEB

120

NG

40.47

2062

15.3

0.995

481.1

19471

Nariman GT

TNEB

10

NG

0

2062

15.3

0.995

481.1

Valuthur GT

TNEB

94

NG

557.5

2062

15.3

0.995

481.1

268223

Kuttlam GT

TNEB

100

NG

640.88

2062

15.3

0.995

481.1

308338

Kovilakalappal

TNEB

107

NG

763.32

2062

15.3

0.995

481.1

367246

Pyakara

TNEB

70.1

Hydro

213.43

0.0

Pyakara Dam

TNEB

2

Hydro

5.04

0.0

Moyar

TNEB

36

Hydro

90.17

0.0

Kundah

TNEB

555

Hydro

1567.42

0.0

Mettur Dam &Tunnel

TNEB

240

Hydro

334.58

0.0

Periyar

TNEB

140

Hydro

492.72

0.0

Kodayar

TNEB

100

Hydro

207.06

0.0

Sholayar

TNEB

95

Hydro

350.38

0.0

Aliyar

TNEB

60

Hydro

162.08

0.0

Sarkarpathy

TNEB

30

Hydro

114.67

0.0

Papanasam

TNEB

28

Hydro

88.5

0.0

Suruliyar

TNEB

35

Hydro

101.41

0.0

Servalar

TNEB

20

Hydro

34.62

0.0

Lower Mettur

TNEB

120

Hydro

254.66

0.0

Kadampari

TNEB

400

Hydro

256.79

0.0

Vaigai

TNEB

6

Hydro

12.25

0.0

Lower Bhavani

TNEB

8

Hydro

61.52

0.0

Sathur Dam

TNEB

7.5

Hydro

10.21

0.0

Parsen_S Valle

TNEB

30

Hydro

55.6

0.0

Pykara ULT

TNEB

150

Hydro

0

0.0

Karuppur GT

KEPS

119.8

NG

0

2062

15.3

0.995

481.1

0

Samayanallur

Madurai P

106

Diesel

382.02

2929

20.2

0.99

897.7

342957

Neyveli

Pvt

250

Lignite

1335.82

2897

27.6

0.98

1201.0

1604277

P Nallur CCGT

PPNPG

330.5

NG

464.3

2062

15.3

0.995

481.1

223383

Samalpatti DG

Samalpatti

105.7

Diesel

357.33

2929

20.2

0.99

897.7

320792

Valantharvi GT

Valanth Th

38

NG

0

2062

15.3

0.995

481.1

0

Basin Bridge DG

Vasavi

200

Diesel

762.22

2929

20.2

0.99

897.7

684280

Neyveli STI

NLC Th

600

Lignite

4257.78

3981

27.6

0.98

1650.3

7026811

Neyveli STII

NLC Th

1470

Lignite

9247.38

2871

27.6

0.98

1190.2

11006133

Neyveli FST Ext

NLC Th

420

Lignite

3237.68

2897.86

27.6

0.98

1201.3

3889504

MAPP

NPC

390

Nuclear

1480.48

0.0

Pondichery

Karaikal GT

PPCL

32.5

Gas

275.69

2062

15.3

0.995

481.1

132639

142292.68

113129038

Weighted Average Emission Factor for the year 2004-05

795.04468

tCO

2

/GWh

Total




Baseline emission factor calculation for the year 2005-06

[image: image10.wmf]Installed 

capacity

Actual 

Generatio

n 2005-06

Net Heat 

Rate

IPCC EF for 

Fuel

Oxidation 

factor

Emission 

Factor

CO

2 

Emissions

MW

GWh

kcal/kWh

tC/TJ

tCO

2

/GWh

tCO

2

Reference

1

1

2

1

2

3

3

Karnataka

Raichur

KPCL

1470

Coal

9173.48

2717

25.8

0.98

1052.9

9658668

Torangallu IMP

Jindal

260

Coal

1382.95

2717

25.8

0.98

1052.9

1456095

Yelahanka

VVNL

127.8

Diesel

96.7

2929

20.2

0.99

897.7

86812

Bellary

Pvt

25.2

Diesel

17.25

2929

20.2

0.99

897.7

15486

Belgaum

Tata

81.3

Diesel

133.12

2929

20.2

0.99

897.7

119508

Tanir Bavi

GMR

220

Naphtha

241.49

2061

20.0

0.995

628.6

151802

Jog 

KEB

139.2

Hydro

237.75

0.0

Sivasamundrum

KEB

42

Hydro

260.75

0.0

Shimsapura

KEB

17.2

Hydro

93.27

0.0

Munirabad 

KEB

27

Hydro

83.28

0.0

Sharavathy

KPCL

1006.2

Hydro

4865.65

0.0

Kadra

KPCL

150

Hydro

345.96

0.0

Kodasali

KPCL

120

Hydro

314.03

0.0

Kalinadi

KPCL

855

Hydro

2161.91

0.0

 Supa

KPCL

100

Hydro

357.63

0.0

Linganamakki

KPCL

55

Hydro

275.69

0.0

Varahi

KPCL

230

Hydro

971.84

0.0

Bhadra

KPCL

39.2

Hydro

76.03

0.0

Ghat Prabha

KPCL

32

Hydro

122.5

0.0

Mani DPH

KPCL

9

Hydro

20.64

0.0

Mallarpur

KPCL

9

Hydro

0

0.0

Gerusuppa

KPCL

240

Hydro

557.01

0.0

Almatti DPH

KPCL

290

Hydro

598.62

0.0

Shivpura

BPCL

18

Hydro

85.79

0.0

Shahpur

BPCL

6.6

Hydro

21.73

0.0

Harangi

BPCL

9

Hydro

0

0.0

Madhavmantri

BPCL

4.5

Hydro

22.89

0.0

Mandagiri

Pvt

3.5

Hydro

6.1

0.0

Narayanpur

My PC

11.6

Hydro

55.9

0.0

Kaiga

NPC

440

Nuclear

2859.58

0.0

Andhra Pradesh

K_Gudam

APGENCO

1180

Coal

8212.97

2594

25.8

0.98

1005.2

8255886

Vijayawada

APGENCO

1260

Coal

9755.14

2435

25.8

0.98

943.6

9205046

Ramagundam

APGENCO

62.5

Coal

397.23

2723

25.8

0.98

1055.2

419163

Nellore

APGENCO

30

Coal

7.4

2717

25.8

0.98

1052.9

7791

Rayal Seema

APGENCO

420

Coal

2369.09

2288

25.8

0.98

886.6

2100541

vijeswaram

APGPC

272

Gas

1836.92

2061

15.3

0.995

480.9

883345

Machkund

APGENCO

114.9

Hydro

628.14

0.0

Upper Sileru

APGENCO

240

Hydro

472.96

0.0

Lower Sileru

APGENCO

460

Hydro

1037.06

0.0

T. B. Dam

APGENCO

36

Hydro

167.64

0.0

Hampi

APGENCO

36

Hydro

57.6

0.0

Nagarjuna Sagar

APGENCO

810

Hydro

1560.16

0.0

Nag Sagar RBC

APGENCO

90

Hydro

273.94

0.0

Nag Sagar LBC

APGENCO

60

Hydro

120.97

0.0

Donkarayi

APGENCO

25

Hydro

114.71

0.0

Srisailam

APGENCO

770

Hydro

1490.26

0.0

Srisailam LB

APGENCO

900

Hydro

2232.9

0.0

Pochampad

APGENCO

27

Hydro

111.82

0.0

Nizam Sagar

APGENCO

10

Hydro

9.64

0.0

Penna Ahobelam

APGENCO

20

Hydro

9.88

0.0

Singur

APGENCO

15

Hydro

8.93

0.0

Small Hydro

APGENCO

15

Hydro

24.96

0.0

Peddapuram CCGT

REL

220

Gas

842.31

2061

15.3

0.995

480.9

405053

Jegurupadu GT

GVK

455.4

Gas

1293.7

2061

15.3

0.995

480.9

622119

Kondapalli 

Kondapalli Th

350

Gas

2116.12

2061

15.3

0.995

480.9

1017608

Vemagiri CCPP

Pvt

233

Gas

1.96

2061

15.3

0.995

480.9

943

LVS Power

LVS Power 

36.8

Diesel

0

2929

20.2

0.99

897.7

0

Godavari GT

Spectrum

208

Gas

1331.16

2061

15.3

0.995

480.9

640133

R'gundam STPS

NTPC

2600

Coal

19691.1

2717

25.8

0.98

1052.9

20732569

Simhadri

NTPC

1000

Coal

7741.4

2717

25.8

0.98

1052.9

8150845

Kerala

Brahamapuram DG

KSEB

106.6

Diesel

55.71

2929

20.2

0.99

897.7

50013

Kozikode DG

KSEB

128

Diesel

93.34

2929

20.2

0.99

897.7

83796

Power station

Owner

Fuel Type


[image: image11.wmf]Kuttiadi

KSEB

125

Hydro

515.52

0.0

Idukki

KSEB

780

Hydro

2698.85

0.0

Sabarigiri

KSEB

300

Hydro

1468.53

0.0

Idamalayar

KSEB

75

Hydro

375.46

0.0

Kakkad

KSEB

50

Hydro

248.56

0.0

Sholayar

KSEB

54

Hydro

290.21

0.0

Sengulam

KSEB

48

Hydro

188.93

0.0

Narimangalam

KSEB

45

Hydro

244.9

0.0

Pallivasal

KSEB

37.5

Hydro

238.42

0.0

Poringalkuttu

KSEB

32

Hydro

164.85

0.0

Poringalkuttu L

KSEB

16

Hydro

105.19

0.0

Panniar

KSEB

30

Hydro

159.82

0.0

Kallada

KSEB

15

Hydro

64.16

0.0

Lower Periyar

KSEB

180

Hydro

631.39

0.0

Malankara

KSEB

10.5

Hydro

20.42

0.0

Chembukadavu

KSEB

6.5

Hydro

10.59

0.0

Urumi

KSEB

6.2

Hydro

12.81

0.0

Peppara

KSEB

3

Hydro

6.17

0.0

Madhupatty

KSEB

2

Hydro

4.53

0.0

Cochin CCGT

REL

174

NG

37.15

2061

15.3

0.995

480.9

17865

Kasargode

RPG

21.8

Diesel

7.91

2929

20.2

0.99

897.7

7101

Maniyar

KLPVT

10

Hydro

40.84

0.0

Kuthungal

KLPVT

21

Hydro

48.4

0.0

Kayamkulam

NTPC

350

NG

358.5

2061

15.3

0.995

480.9

172397

TamilNadu

Ennore

TNEB

450

Coal

600.53

3244

25.8

0.98

1257.1

754934

Tutikorin

TNEB

1050

Coal

7674.14

2493

25.8

0.98

966.1

7413879

Mettur

TNEB

840

Coal

6518.91

2622

25.8

0.98

1016.1

6623708

North Chennai

TNEB

630

Coal

4001.21

2456

25.8

0.98

951.7

3808143

Basin Bridge

TNEB

120

NG

39.89

2061

15.3

0.995

480.9

19182

Nariman GT

TNEB

10

NG

0

2061

15.3

0.995

480.9

Valuthur GT

TNEB

94

NG

697.42

2061

15.3

0.995

480.9

335378

Kuttlam GT

TNEB

100

NG

674.23

2061

15.3

0.995

480.9

324226

Kovilakalappal

TNEB

107

NG

572.86

2061

15.3

0.995

480.9

275479

Pyakara

TNEB

70.1

Hydro

257.37

0.0

Pyakara Dam

TNEB

2

Hydro

10.52

0.0

Moyar

TNEB

36

Hydro

175.44

0.0

Kundah

TNEB

555

Hydro

1972.31

0.0

Mettur Dam &Tunnel

TNEB

240

Hydro

729.87

0.0

Periyar

TNEB

140

Hydro

441.16

0.0

Kodayar

TNEB

100

Hydro

244.71

0.0

Sholayar

TNEB

95

Hydro

379.05

0.0

Aliyar

TNEB

60

Hydro

205.53

0.0

Sarkarpathy

TNEB

30

Hydro

115.1

0.0

Papanasam

TNEB

28

Hydro

129.76

0.0

Suruliyar

TNEB

35

Hydro

125.74

0.0

Servalar

TNEB

20

Hydro

53.95

0.0

Lower Mettur

TNEB

120

Hydro

341.22

0.0

Kadampari

TNEB

400

Hydro

581.48

0.0

Vaigai

TNEB

6

Hydro

18.13

0.0

Lower Bhavani

TNEB

8

Hydro

63.02

0.0

Sathur Dam

TNEB

7.5

Hydro

23.36

0.0

Parsen_S Valle

TNEB

30

Hydro

53.39

0.0

Pykara ULT

TNEB

150

Hydro

189.36

0.0

Karuppur GT

KEPS

119.8

NG

357.33

2061

15.3

0.995

480.9

171834

Samayanallur

Madurai P

106

Diesel

328.59

2929

20.2

0.99

897.7

294990

Neyveli

Pvt

250

Lignite

1450.45

2717

27.6

0.98

1126.3

1633711

P Nallur CCGT

PPNPG

330.5

NG

428.82

2061

15.3

0.995

480.9

206213

Samalpatti DG

Samalpatti

105.7

Diesel

332.5

2929

20.2

0.99

897.7

298501

Valantharvi GT

Valanth Th

38

NG

98.06

2061

15.3

0.995

480.9

47155

Basin Bridge DG

Vasavi

200

Diesel

745.47

2929

20.2

0.99

897.7

669243

Neyveli STI

NLC Th

600

Lignite

3990.28

3981

27.6

0.98

1650.3

6585343

Neyveli STII

NLC Th

1470

Lignite

9173.54

2871

27.6

0.98

1190.2

10918250

Neyveli FST Ext

NLC Th

420

Lignite

3082.33

2717

27.6

0.98

1126.3

3471776

MAPP

NPC

390

Nuclear

1853.41

0.0

Pondichery

Karaikal GT

PPCL

32.5

Gas

256.71

2061

15.3

0.995

480.9

123448

146435.92

108235980

Weighted Average Emission Factor for the year 2005-06

739.13545

tCO

2

/GWh

Total




Source:

1. Generation Data for the respective periods:  

    - Central Electricity Authority http://www.cea.nic.in/god/opm/Monthly_Generation_Report
   - Tamilnadu Electricity Board – Vision Statement – Statistics at a Glance 2004-05 

   - Andhra Pradesh Power Generation Corporation – Annual Reports 

   - Karnataka Power Corporation Limited - http://www.karnatakapower.com  

   - Kerala State Electricity Board - http://www.kseboard.com

2. Type of Fuel and Net heat rate: Table 2.4 & Annexure II C, Baselines for Small Scale CDM Project activities 

    published by Ministry of Non-conventional Energy Sources, Govt. of India   http://mnes.nic.in/baselinerpt.htm

    and Section 13, Performance review of Thermal Power Stations 2004-05, by Central Electricity Authority    

    http://www.cea.nic.in/god/opm/Thermal_Performance_Review/0405/start.pdf 
3. Revised IPCC Guidelines for National Greenhouse Gas Inventories, Work Book Volume (2) - Module1 

    Energy - Pages 1-20 Table 1-2 http://www.ipcc-nggip.iges.or.jp/public/gl/guidelin/ch1wb1.pdf  

Srikakulam District








Location of the plant, Chilakalapalem village








� Table No.3 Actual Power Supply Position – Page 43, Power Scenario at a Glance, � HYPERLINK "http://www.cea.nic.in" ��www.cea.nic.in� 





_1212488710.unknown

