## Key assumptions
TSH Bio-Gas Sdn Bhd
Key assumptions of 2.5MWh biogas plant
Remarks on key assumptions
Source of 2.5MW per hour electricity | Biogas plant
Project cost (MYR'000) | 16500 | Please refer to "Project cost" worksheet for details.
Margin of financing | 60%
Interest rate | 6%
Loan tenure (Years) | 5
Operation & maintenance cost - biogas plant (Yr 1) (MYR'000) | 360 | Please refer to "Operation and maint. cost" worksheet for details.
Operation & maintenance cost - biogas engine power plant (Yr 1) (MYR'000) | 465 | Please refer to "Operation and maint. cost" worksheet for details.
Total operation & maintenance cost (Yr 1) (MYR'000) | 825
Increment factor (only applicable to salary and its related costs) | 6%
Inflation factor (applicable to other costs save and except for salary and depreciation of fixed assets) | 3.6% | Based on Central Bank of Malaysia Annual Report 2006
Price per KW of electricity sold by biogas plant (MYR) | 0.17
Electricity tariff as per Sabah Electricity Sdn Bhd | 0
No. of Certified Emission Reduction ("CERs") p.a. | 76610
Price per CER (USD per CER) | 10
Exchange rate (MYR per USD) | 3.4
Debtors' days | 1 month
Creditors' days | 1 month
Project internal rate of return ("IRR") - without CDM registration | 1.056%
Project IRR - with CDM registration | 21.8%

## Project cost
TSH Bio-Gas Sdn Bhd
Project cost of 2.5MWh biogas plant
CDM project
(MYR'000)
Biogas plant | 8000
Scrubber system | 800
Gas engine power plant | 7700
Total project cost | 16500

## Operation and maint. cost
TSH Bio-Gas Sdn Bhd
Annual operating cost of 2.5MWh biogas plant
OPERATION & MAINTENANCE COST - BIOGAS PLANT & BIOGAS ENGINE POWER PLANT
Salary
| Headcount | Monthly basic salary per headcount | Monthly EPF contributionper headcount | Monthly SOCSO contribution per headcount | Monthly cost per headcount | Annual cost per headcount | Total cost | Annual bonus@ 2 months | Total cost per annm
|  | MYR | MYR | MYR | MYR | MYR | MYR | MYR | MYR p.a.
Plant Engineer (Senior Management) | 1 | 6000 | 720 | 150 | 6870 | 82440 | 82440 | 12000 | 94440
Chargeman | 1 | 3500 | 420 | 150 | 4070 | 48840 | 48840 | 7000 | 55840
Boilerman | 1 | 2800 | 336 | 150 | 3286 | 39432 | 39432 | 5600 | 45032
General workers | 3 | 1200 | 144 | 150 | 1494 | 17928 | 53784 | 7200 | 60984
| 6 | [7 empty] | 256296
Admin. costs
MYR p.a.
Auditors' remuneration | 4500 | Estimated
Tax agent's fee | 3500 | Estimated
Secretarial & legal fees | 2000 | Estimated
Medical benefits | 1800 | Based on: Headcount x RM50 per medical visit x 6 visits p.a.
Welfare & amenities | 3600 | Based on: Headcount x RM50 p.m. x 12
Travelling & accomodation | 4000 | Based on: 1 Headcount (Sr Management) x 4 visits p.a. x RM1K per visit
Postage & stationery | 200 | Estimated
Staff training | 300 | Estimated
Utilities & telecommunications | 300 | Estimated
Sundry expenses | 254 | Estimated
Security expenses | 250 | Estimated
License fee | 2500 | Estimated
Quit rent and land assessment | 500 | Estimated apportionment from head office
23704
Apportionment of salary and admin. cost
Biogas plant | 42.86%
Biogas engine power plant | 57.14%
Maintenance cost - Biogas plant
MYR p.a.
Monitoring, testing & calibration | 110000 | 0.67% x project cost
Parts & repairs | 90000 | 0.55% x project cost
Consumables | 40000 | 0.24% x project cost
| 240000 | 1.45% of project cost
Maintenance cost - Biogas engine power plant
MYR p.a.
Monitoring, testing & calibration | 60000 | 0.36% x project cost
Parts & repairs | 165000 | 1.00% x project cost
Consumables | 80000 | 0.48% x project cost
| 305000 | 1.85% x project cost
Total maintenance cost for biogas plant and biogas engine power plant | 3.30% x project cost
Increment factor for salaries & related cost | 6%
Inflation factor | 3.6% | Based on Central Bank of Malaysia Annual Report 2006
REVENUE
Price per KW of electricity (RM/KW) (Yr 1 to Yr 15) | 0.17
ECONOMIC FACTORS | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15
Increment factor |  | 1 | 1.06 | 1.1236 | 1.191 | 1.2625 | 1.3382 | 1.4185 | 1.5036 | 1.5938 | 1.6895 | 1.7908 | 1.8983 | 2.0122 | 2.1329 | 2.2609
Inflation factor |  | 1 | 1.036 | 1.0733 | 1.1119 | 1.152 | 1.1934 | 1.2364 | 1.2809 | 1.327 | 1.3748 | 1.4243 | 1.4756 | 1.5287 | 1.5837 | 1.6407
PRODUCTION FACTORS
Electricity production per hour (MW per hour) |  | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
Running hours of 2.5MWh of gas engines (Hours) |  | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000 | 8000
Efficiency |  | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80% | 80%
Contingency |  | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90% | 90%
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
REVENUE & COST | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15
| MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000
Operation & maintenance cost - biogas plant
Salary and admin. | 0 | 120 | 126.9562 | 134.321 | 142.1185 | 150.3746 | 159.1162 | 168.3722 | 178.173 | 188.5511 | 199.5406 | 211.1779 | 223.5013 | 236.5516 | 250.372 | 265.0082
Monitoring, testing & calibration | 0 | 110 | 113.96 | 118.0626 | 122.3128 | 126.7161 | 131.2779 | 136.0039 | 140.9 | 145.9724 | 151.2274 | 156.6716 | 162.3118 | 168.155 | 174.2086 | 180.4801
Parts & repairs | 0 | 90 | 93.24 | 96.5966 | 100.0741 | 103.6768 | 107.4092 | 111.2759 | 115.2818 | 119.432 | 123.7315 | 128.1858 | 132.8005 | 137.5814 | 142.5343 | 147.6655
Consumables | 0 | 40 | 41.44 | 42.9318 | 44.4774 | 46.0786 | 47.7374 | 49.4559 | 51.2364 | 53.0809 | 54.9918 | 56.9715 | 59.0225 | 61.1473 | 63.3486 | 65.6291
Depreciation - biogas plant & scrubber system | 0 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 176
Subtotal | 0 | 976 | 991.5962 | 1007.912 | 1024.9829 | 1042.846 | 1061.5406 | 1081.1078 | 1101.5912 | 1123.0363 | 1145.4913 | 1169.0068 | 1193.6361 | 1219.4352 | 1246.4634 | 834.7829
Operation & maintenance cost - biogas engine power plant
Salary and admin. | 0 | 160 | 169.2749 | 179.0946 | 189.4914 | 200.4994 | 212.1549 | 224.4962 | 237.5641 | 251.4015 | 266.0542 | 281.5705 | 298.0017 | 315.4022 | 333.8293 | 353.3443
Monitoring, testing & calibration | 0 | 60 | 62.16 | 64.3978 | 66.7161 | 69.1179 | 71.6061 | 74.1839 | 76.8545 | 79.6213 | 82.4877 | 85.4572 | 88.5337 | 91.7209 | 95.0229 | 98.4437
Parts & repairs | 0 | 165 | 170.94 | 177.0938 | 183.4692 | 190.0741 | 196.9168 | 204.0058 | 211.35 | 218.9586 | 226.8411 | 235.0074 | 243.4676 | 252.2325 | 261.3128 | 270.7201
Consumables | 0 | 80 | 82.88 | 85.8637 | 88.9548 | 92.1571 | 95.4748 | 98.9119 | 102.4727 | 106.1617 | 109.9836 | 113.943 | 118.0449 | 122.2945 | 126.6971 | 131.2582
Depreciation - biogas engine power plant | 0 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 154
Subtotal | 0 | 1004 | 1024.2549 | 1045.4499 | 1067.6315 | 1090.8485 | 1115.1526 | 1140.5978 | 1167.2413 | 1195.1431 | 1224.3665 | 1254.9781 | 1287.048 | 1320.6501 | 1355.8622 | 1007.7663
Interest cost | Year 0: 0; Year 1: 534.6; Year 2: 475.2; Year 3: 356.4; Year 4: 237.6; Year 5: 118.8
Revenue
Electricity | 0 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448
| 0 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448
Depreciation | Year 0: Rate; Year 1: Cost; Year 2: Annual depreciation
|  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15
|  | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000
Biogas plant & scrubber system | 7% | 8800 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 176
Biogas engine power plant | 7% | 7700 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 154
|  | 16500 | 1155 | 1155 | 1155 | 1155 | 1155 | 1155 | 1155 | 1155 | 1155 | 1155 | 1155 | 1155 | 1155 | 1155 | 330
Interest
|  |  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
|  | MYR'000 | Annual depreciation Year 1: MYR'000; Annual depreciation Year 2: MYR'000; Annual depreciation Year 3: MYR'000; Annual depreciation Year 4: MYR'000; Annual depreciation Year 5: MYR'000
Project cost |  | 16500
Loan amount b/f |  | 0 | Annual depreciation Year 1: 9900; Annual depreciation Year 2: 7920; Annual depreciation Year 3: 5940; Annual depreciation Year 4: 3960; Annual depreciation Year 5: 1980
Principal repayment |  | 0 | Annual depreciation Year 1: -1980; Annual depreciation Year 2: -1980; Annual depreciation Year 3: -1980; Annual depreciation Year 4: -1980; Annual depreciation Year 5: -1980
Loan amount c/f |  | 0 | Annual depreciation Year 1: 7920; Annual depreciation Year 2: 5940; Annual depreciation Year 3: 3960; Annual depreciation Year 4: 1980; Annual depreciation Year 5: 0
Average balance |  | 0 | Annual depreciation Year 1: 8910; Annual depreciation Year 2: 7920; Annual depreciation Year 3: 5940; Annual depreciation Year 4: 3960; Annual depreciation Year 5: 1980
Interest expenses |  | 0 | Annual depreciation Year 1: 534.6; Annual depreciation Year 2: 475.2; Annual depreciation Year 3: 356.4; Annual depreciation Year 4: 237.6; Annual depreciation Year 5: 118.8
Interest rate | 6% | Based on present 5-year term loan funding cost
Margin of financing | 60%
Principal repayment (Yr) | 5

## Proj. Inc. Stat.-without CERs
TSH Bio-Gas Sdn Bhd
Projected Income Statement - without CDM registration
| Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15
| MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000
Revenue
Sale of electricity | 0 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448
Sale of CERs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448
Operation & maintenance cost - biogas plant
Salary and admin. | 0 | 120 | 126.9562 | 134.321 | 142.1185 | 150.3746 | 159.1162 | 168.3722 | 178.173 | 188.5511 | 199.5406 | 211.1779 | 223.5013 | 236.5516 | 250.372 | 265.0082
Monitoring, testing & calibration | 0 | 110 | 113.96 | 118.0626 | 122.3128 | 126.7161 | 131.2779 | 136.0039 | 140.9 | 145.9724 | 151.2274 | 156.6716 | 162.3118 | 168.155 | 174.2086 | 180.4801
Parts & repairs | 0 | 90 | 93.24 | 96.5966 | 100.0741 | 103.6768 | 107.4092 | 111.2759 | 115.2818 | 119.432 | 123.7315 | 128.1858 | 132.8005 | 137.5814 | 142.5343 | 147.6655
Consumables | 0 | 40 | 41.44 | 42.9318 | 44.4774 | 46.0786 | 47.7374 | 49.4559 | 51.2364 | 53.0809 | 54.9918 | 56.9715 | 59.0225 | 61.1473 | 63.3486 | 65.6291
Depreciation - biogas plant & scrubber system | 0 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 176
Subtotal | 0 | 976 | 991.5962 | 1007.912 | 1024.9829 | 1042.846 | 1061.5406 | 1081.1078 | 1101.5912 | 1123.0363 | 1145.4913 | 1169.0068 | 1193.6361 | 1219.4352 | 1246.4634 | 834.7829
Operation & maintenance cost - biogas engine power plant
Salary and admin. | 0 | 160 | 169.2749 | 179.0946 | 189.4914 | 200.4994 | 212.1549 | 224.4962 | 237.5641 | 251.4015 | 266.0542 | 281.5705 | 298.0017 | 315.4022 | 333.8293 | 353.3443
Monitoring, testing & calibration | 0 | 60 | 62.16 | 64.3978 | 66.7161 | 69.1179 | 71.6061 | 74.1839 | 76.8545 | 79.6213 | 82.4877 | 85.4572 | 88.5337 | 91.7209 | 95.0229 | 98.4437
Parts & repairs | 0 | 165 | 170.94 | 177.0938 | 183.4692 | 190.0741 | 196.9168 | 204.0058 | 211.35 | 218.9586 | 226.8411 | 235.0074 | 243.4676 | 252.2325 | 261.3128 | 270.7201
Consumables | 0 | 80 | 82.88 | 85.8637 | 88.9548 | 92.1571 | 95.4748 | 98.9119 | 102.4727 | 106.1617 | 109.9836 | 113.943 | 118.0449 | 122.2945 | 126.6971 | 131.2582
Depreciation - biogas engine power plant | 0 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 154
Subtotal | 0 | 1004 | 1024.2549 | 1045.4499 | 1067.6315 | 1090.8485 | 1115.1526 | 1140.5978 | 1167.2413 | 1195.1431 | 1224.3665 | 1254.9781 | 1287.048 | 1320.6501 | 1355.8622 | 1007.7663
Interest cost | 0 | 534.6 | 475.2 | 356.4 | 237.6 | 118.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total cost | 0 | 2514.6 | 2491.0511 | 2409.7619 | 2330.2143 | 2252.4945 | 2176.6931 | 2221.7056 | 2268.8325 | 2318.1795 | 2369.8579 | 2423.9849 | 2480.684 | 2540.0853 | 2602.3256 | 1842.5492
Profit / (loss) before tax | 0 | -66.6 | -43.0511 | 38.2381 | 117.7857 | 195.5055 | 271.3069 | 226.2944 | 179.1675 | 129.8205 | 78.1421 | 24.0151 | -32.684 | -92.0853 | -154.3256 | 605.4508
Tax rate (assuming Pioneer Status from Yr 1 to Yr 10) | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 26% | 26% | 26% | 26% | 26%
Taxation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2439 | 0 | 0 | 0 | 157.4172
Profit / (loss) after tax | 0 | -66.6 | -43.0511 | 38.2381 | 117.7857 | 195.5055 | 271.3069 | 226.2944 | 179.1675 | 129.8205 | 78.1421 | 17.7712 | -32.684 | -92.0853 | -154.3256 | 448.0336

## Proj. Cash Flow-without CERs
TSH Bio-Gas Sdn Bhd
Projected Cash Flow - without CDM registration
| Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15
| MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000
Receipt from operating revenue | 0 | 2244 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448
Receipt of revenue from sale of CERs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Payment to creditors | 0 | -756.25 | -857.8635 | -895.236 | -934.3433 | -975.2712 | -1018.1099 | -1062.9546 | -1109.9053 | -1159.0672 | -1210.5513 | -1264.4743 | -1320.9591 | -1380.1352 | -1442.1389 | -1507.1139
Cash inflow / (outflow) from operating activities | 0 | 1487.75 | 1590.1365 | 1552.764 | 1513.6567 | 1472.7288 | 1429.8901 | 1385.0454 | 1338.0947 | 1288.9328 | 1237.4487 | 1183.5257 | 1127.0409 | 1067.8648 | 1005.8611 | 940.8861
Capital expenditure | -16500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash inflow / (outflow) from investing activities | -16500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Drawdown of term loan | 9900 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Repayment of term loan | 0 | -1980 | -1980 | -1980 | -1980 | -1980 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equity funding | 6600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest cost | 0 | -534.6 | -475.2 | -356.4 | -237.6 | -118.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash inflow / (outflow) from financing activities | 16500 | -2514.6 | -2455.2 | -2336.4 | -2217.6 | -2098.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net cash inflow / (outflow) from operating activities, investing activities & interest cost | -16500 | 953.15 | 1114.9365 | 1196.364 | 1276.0567 | 1353.9288 | 1429.8901 | 1385.0454 | 1338.0947 | 1288.9328 | 1237.4487 | 1183.5257 | 1127.0409 | 1067.8648 | 1005.8611 | 940.8861
Internal rate of return or IRR | Year 0: 1.056%
Receipt from operating revenue
Balance b/f | 0 | 0 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204
Revenue receivable | 0 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448
Receipt | 0 | 2244 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448
Balance c/f | 0 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204
Receipt of revenue from sale of CERs
Balance b/f | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenue receivable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Receipt | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Balance c/f | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Payment to creditors
Balance b/f | 0 | 0 | 68.75 | 71.7376 | 74.8635 | 78.1345 | 81.5579 | 85.1411 | 88.8921 | 92.8194 | 96.9316 | 101.2382 | 105.7487 | 110.4737 | 115.4238 | 120.6105
Expenses payable | 0 | 825 | 860.8511 | 898.3619 | 937.6143 | 978.6945 | 1021.6931 | 1066.7056 | 1113.8325 | 1163.1795 | 1214.8579 | 1268.9849 | 1325.684 | 1385.0853 | 1447.3256 | 1512.5492
Payment | 0 | 756.25 | 857.8635 | 895.236 | 934.3433 | 975.2712 | 1018.1099 | 1062.9546 | 1109.9053 | 1159.0672 | 1210.5513 | 1264.4743 | 1320.9591 | 1380.1352 | 1442.1389 | 1507.1139
Balance c/f | 0 | 68.75 | 71.7376 | 74.8635 | 78.1345 | 81.5579 | 85.1411 | 88.8921 | 92.8194 | 96.9316 | 101.2382 | 105.7487 | 110.4737 | 115.4238 | 120.6105 | 126.0458

## Proj. Inc. Stat.-with CERs
TSH Bio-Gas Sdn Bhd
Projected Income Statement - with CDM registration
| Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15
| MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000
Revenue
Sale of electricity | 0 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448
Sale of CERs | 0 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74
| 0 | 5052.74 | 5052.74 | 5052.74 | 5052.74 | 5052.74 | 5052.74 | 5052.74 | 5052.74 | 5052.74 | 5052.74 | 5052.74 | 5052.74 | 5052.74 | 5052.74 | 5052.74
Operation & maintenance cost - biogas plant
Salary and admin. | 0 | 120 | 126.9562 | 134.321 | 142.1185 | 150.3746 | 159.1162 | 168.3722 | 178.173 | 188.5511 | 199.5406 | 211.1779 | 223.5013 | 236.5516 | 250.372 | 265.0082
Monitoring, testing & calibration | 0 | 110 | 113.96 | 118.0626 | 122.3128 | 126.7161 | 131.2779 | 136.0039 | 140.9 | 145.9724 | 151.2274 | 156.6716 | 162.3118 | 168.155 | 174.2086 | 180.4801
Parts & repairs | 0 | 90 | 93.24 | 96.5966 | 100.0741 | 103.6768 | 107.4092 | 111.2759 | 115.2818 | 119.432 | 123.7315 | 128.1858 | 132.8005 | 137.5814 | 142.5343 | 147.6655
Consumables | 0 | 40 | 41.44 | 42.9318 | 44.4774 | 46.0786 | 47.7374 | 49.4559 | 51.2364 | 53.0809 | 54.9918 | 56.9715 | 59.0225 | 61.1473 | 63.3486 | 65.6291
Depreciation - biogas plant & scrubber system | 0 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 176
Subtotal | 0 | 976 | 991.5962 | 1007.912 | 1024.9829 | 1042.846 | 1061.5406 | 1081.1078 | 1101.5912 | 1123.0363 | 1145.4913 | 1169.0068 | 1193.6361 | 1219.4352 | 1246.4634 | 834.7829
Operation & maintenance cost - biogas engine power plant
Salary and admin. | 0 | 160 | 169.2749 | 179.0946 | 189.4914 | 200.4994 | 212.1549 | 224.4962 | 237.5641 | 251.4015 | 266.0542 | 281.5705 | 298.0017 | 315.4022 | 333.8293 | 353.3443
Monitoring, testing & calibration | 0 | 60 | 62.16 | 64.3978 | 66.7161 | 69.1179 | 71.6061 | 74.1839 | 76.8545 | 79.6213 | 82.4877 | 85.4572 | 88.5337 | 91.7209 | 95.0229 | 98.4437
Parts & repairs | 0 | 165 | 170.94 | 177.0938 | 183.4692 | 190.0741 | 196.9168 | 204.0058 | 211.35 | 218.9586 | 226.8411 | 235.0074 | 243.4676 | 252.2325 | 261.3128 | 270.7201
Consumables | 0 | 80 | 82.88 | 85.8637 | 88.9548 | 92.1571 | 95.4748 | 98.9119 | 102.4727 | 106.1617 | 109.9836 | 113.943 | 118.0449 | 122.2945 | 126.6971 | 131.2582
Depreciation - biogas engine power plant | 0 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 539 | 154
Subtotal | 0 | 1004 | 1024.2549 | 1045.4499 | 1067.6315 | 1090.8485 | 1115.1526 | 1140.5978 | 1167.2413 | 1195.1431 | 1224.3665 | 1254.9781 | 1287.048 | 1320.6501 | 1355.8622 | 1007.7663
Interest cost | 0 | 534.6 | 475.2 | 356.4 | 237.6 | 118.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total cost | 0 | 2514.6 | 2491.0511 | 2409.7619 | 2330.2143 | 2252.4945 | 2176.6931 | 2221.7056 | 2268.8325 | 2318.1795 | 2369.8579 | 2423.9849 | 2480.684 | 2540.0853 | 2602.3256 | 1842.5492
Profit / (loss) before tax | 0 | 2538.14 | 2561.6889 | 2642.9781 | 2722.5257 | 2800.2455 | 2876.0469 | 2831.0344 | 2783.9075 | 2734.5605 | 2682.8821 | 2628.7551 | 2572.056 | 2512.6547 | 2450.4144 | 3210.1908
Tax rate (assuming Pioneer Status from Yr 1 to Yr 10 except revenue from sale of CERs which is subject to 26% corporate tax) | 0% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26% | 26%
Taxation | 0 | 677.2324 | 677.2324 | 677.2324 | 677.2324 | 677.2324 | 677.2324 | 677.2324 | 677.2324 | 677.2324 | 677.2324 | 683.4763 | 668.7345 | 653.2902 | 637.1077 | 834.6496
Profit / (loss) after tax | 0 | 1860.9076 | 1884.4565 | 1965.7457 | 2045.2933 | 2123.0131 | 2198.8145 | 2153.802 | 2106.6751 | 2057.3281 | 2005.6497 | 1945.2788 | 1903.3214 | 1859.3645 | 1813.3067 | 2375.5412
Revenue from CERs
Total CERs. | 0 | 76610 | 76610 | 76610 | 76610 | 76610 | 76610 | 76610 | 76610 | 76610 | 76610 | 76610 | 76610 | 76610 | 76610 | 76610
Price per CER (USD per CER) | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Exchange rate (MYR per USD) | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4
Revenue from CERs (MYR'000) | 0 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74

## Proj. Cash Flow-with CERs
TSH Bio-Gas Sdn Bhd
Projected Cash Flow - with CDM registration
| Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15
| MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000 | MYR'000
Receipt from operating revenue | 0 | 2244 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448
Receipt of revenue from sale of CERs | 0 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74
Payment to creditors | 0 | -756.25 | -857.8635 | -895.236 | -934.3433 | -975.2712 | -1018.1099 | -1062.9546 | -1109.9053 | -1159.0672 | -1210.5513 | -1264.4743 | -1320.9591 | -1380.1352 | -1442.1389 | -1507.1139
Cash inflow / (outflow) from operating activities | 0 | 4092.49 | 4194.8765 | 4157.504 | 4118.3967 | 4077.4688 | 4034.6301 | 3989.7854 | 3942.8347 | 3893.6728 | 3842.1887 | 3788.2657 | 3731.7809 | 3672.6048 | 3610.6011 | 3545.6261
Capital expenditure | -16500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash inflow / (outflow) from investing activities | -16500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Drawdown of term loan | 9900 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Repayment of term loan | 0 | -1980 | -1980 | -1980 | -1980 | -1980 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equity funding | 6600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest cost | 0 | -534.6 | -475.2 | -356.4 | -237.6 | -118.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash inflow / (outflow) from financing activities | 16500 | -2514.6 | -2455.2 | -2336.4 | -2217.6 | -2098.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net cash inflow / (outflow) from operating activities, investing activities & interest cost | -16500 | 3557.89 | 3719.6765 | 3801.104 | 3880.7967 | 3958.6688 | 4034.6301 | 3989.7854 | 3942.8347 | 3893.6728 | 3842.1887 | 3788.2657 | 3731.7809 | 3672.6048 | 3610.6011 | 3545.6261
Internal rate of return or IRR | Year 0: 21.8%
Receipt from operating revenue
Balance b/f | 0 | 0 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204
Revenue receivable | 0 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448
Receipt | 0 | 2244 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448 | 2448
Balance c/f | 0 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204 | 204
Receipt of revenue from sale of CERs
Balance b/f | 0 | 0 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617
Revenue receivable | 0 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74
Receipt | 0 | 2387.6783 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74 | 2604.74
Balance c/f | 0 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617 | 217.0617
Payment to creditors
Balance b/f | 0 | 0 | 68.75 | 71.7376 | 74.8635 | 78.1345 | 81.5579 | 85.1411 | 88.8921 | 92.8194 | 96.9316 | 101.2382 | 105.7487 | 110.4737 | 115.4238 | 120.6105
Expenses payable | 0 | 825 | 860.8511 | 898.3619 | 937.6143 | 978.6945 | 1021.6931 | 1066.7056 | 1113.8325 | 1163.1795 | 1214.8579 | 1268.9849 | 1325.684 | 1385.0853 | 1447.3256 | 1512.5492
Payment | 0 | 756.25 | 857.8635 | 895.236 | 934.3433 | 975.2712 | 1018.1099 | 1062.9546 | 1109.9053 | 1159.0672 | 1210.5513 | 1264.4743 | 1320.9591 | 1380.1352 | 1442.1389 | 1507.1139
Balance c/f | 0 | 68.75 | 71.7376 | 74.8635 | 78.1345 | 81.5579 | 85.1411 | 88.8921 | 92.8194 | 96.9316 | 101.2382 | 105.7487 | 110.4737 | 115.4238 | 120.6105 | 126.0458