## VER_Summary
Summary of Monitored Emission Reductions from 23 May 2005 to 11 July 2007
Monitoring Period =>
Particulars (Data/ Parameter) | Units | 23 May - 31 Dec 2005 | 1 Jan - 31 Dec 2006 | 1 Jan - 11 Jul 2007
Baseline Emission Factor (EFy) | tCO2/MWh | 0.941 | 0.941 | 0.941
Gross Annual Electricity Generation due to project activity, i.e., WHRB2 (EGGEN) | MWh | #REF! | #REF! | #REF!
Total Annual Auxilliary Electricity Consumption due to project activity, i.e. WHRB2 (EGAUX) | MWh | #REF! | #REF! | #REF!
Net Annual Electricity Generation due to project activity, i.e., WHRB2 (EGy) | MWh | #REF! | #REF! | #REF!
Annual Baseline Emissions (BEy) | tCO2 | #REF! | #REF! | #REF!
Monitoring Period for Emission Reductions | Estimation of project activity emissions (tonnes of CO2e) | Estimation of baseline emissions (tonnes of CO2e) | Estimation of leakage (tonnes of CO2e) | Estimation of emission reductions (tonnes of CO2e)
23 May - 31 Dec 2005 | 0 | #REF! | 0 | #REF!
1 Jan - 31 Dec 2006 | 0 | #REF! | 0 | #REF!
1 Jan - 11 Jul 2007 | 0 | #REF! | 0 | #REF!
Total (tonnes of CO2e) | 0 | #REF! | 0 | #REF!

## PDD_Emission Reductions
Estimated Annual Emission Reductions as per the "Registered PDD"
Years =>
Particulars (Data/ Parameter) | Units | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10
Baseline Emission Factor (EFy) | tCO2/MWh | 0.94137 | 0.94137 | 0.94137 | 0.94137 | 0.94137 | 0.94137 | 0.94137 | 0.94137 | 0.94137 | 0.94137
Net Power Generation (EGy) | MWh | 174933 | 174933 | 174933 | 174933 | 174933 | 174933 | 174933 | 174933 | 174933 | 174933
Annual Baseline Emissions (BEy) | tCO2 | 164677.1614 | 164677.1614 | 164677.1614 | 164677.1614 | 164677.1614 | 164677.1614 | 164677.1614 | 164677.1614 | 164677.1614 | 164677.1614
Year | Estimation of project activity emissions (tonnes of CO2e) | Estimation of baseline emissions (tonnes of CO2e) | Estimation of leakage (tonnes of CO2e) | Estimation of emission reductions (tonnes of CO2e)
1st Year* | 0 | 164677.1614 | 0 | 164677.1614
2nd Year | 0 | 164677.1614 | 0 | 164677.1614
3rd Year | 0 | 164677.1614 | 0 | 164677.1614
4th Year | 0 | 164677.1614 | 0 | 164677.1614
5th Year | 0 | 164677.1614 | 0 | 164677.1614
6th Year | 0 | 164677.1614 | 0 | 164677.1614
7th Year | 0 | 164677.1614 | 0 | 164677.1614
8th Year | 0 | 164677.1614 | 0 | 164677.1614
9th Year | 0 | 164677.1614 | 0 | 164677.1614
10th Year | 0 | 164677.1614 | 0 | 164677.1614
Total (tonnes of CO2e) | 0 | 1646770 | 0 | 1646770
* 1st year begins from the date of registration, and each year extends for 12 months.

## Electricity&Steam_M&V_PDD
Net Electricity Monitoring (EGy)
Meter/ Instrument ID | Meter Description | Unit of Monitoring | Recording Frequency | Location of Data Storage/ Archive
GEN-EM-01 | Total Generation Meter | kWh | Continuous | MCR/Admin Building
TVEM-01 | Meter for monitoring power exported | kWh | Continuous | MCR/Admin Building
CAL1-IDF-1 | Cal 1 ID Fan | kWh | Continuous | MCR/Admin Building
CAL1-EM-1 | Cal 1 Transformer 1 | kWh | Continuous | MCR/Admin Building
CAL1-EM-2 | Cal 1 Transformer 2 | kWh | Continuous | MCR/Admin Building
CAL1-EM-3 | Cal 1 Transformer 3 | kWh | Continuous | MCR/Admin Building
CAL2-IDF-2 | Cal 2 ID Fan | kWh | Continuous | MCR/Admin Building
CAL2-EM-1 | Cal 2 Transformer 1 | kWh | Continuous | MCR/Admin Building
CAL2-EM-2 | Cal 2 Transformer 2 | kWh | Continuous | MCR/Admin Building
FTS1070 | Steam WHRB1 | T/hr | Continuous | MCR/Admin Building
FTS2090 | Steam WHRB2 | T/hr | Continuous | MCR/Admin Building
FTS722 | Steam CFBB | T/hr | Continuous | MCR/Admin Building
(1) Total gross electricity generated from WHRB1 + WHRB2 + CFBB (standby) = GEN-EM-01
(1.1) Total electricity generated from WHRB2 = EGGEN = [FTS2090/(FTS1020+FTS2090+FTS722)] * (1)
(2) Auxiliary consumption in power plant =(GEN-EM-01 - TVEM-01) - (CAL1-IDF-1 + CAL1-EM-1 + CAL1-EM-2 + CAL1-EM-3 + CAL2-IDF-2 + CAL2-EM-1 + CAL2-EM-2)
(2.1) Auxiliary consumption in power plant for converting steam from WHRB2 to electricity = EGAUX = [FTS2090/(FTS1020+FTS2090+FTS722)] * (2)
(3) Total net electricity generated from WHRB2 = EGy = (1.1) - (2.1)

## Summary-Electricity&Steam
Summary: Steam and Electricity Generation during 23 May 2005 - 11 July 2007
Sr. No. | Month | CFBB steam flow (MT): (1) | WHRB-1 steam flow (MT): (2) | WHRB-2 steam flow (MT): (3) | Total steam (MT): (1+2+3= 4) | WHB-2 Steam fraction of total steam: (3/(1+2+3) = 5) | Total Gross electricity Generation from WHRB-1 + WHRB-2 + CFBB (standby) -(kWh): (6) | Aux.consu-mption in power plant (kWh): (7) | Total electricity generated from WHB-2: (5 * 6 = 8) | Auxiliary consumtpion in power plant for converting WHB-2 steam to electricity: (5 * 7 = 9) | Total net electicity generated from WHRB-2: (8 - 9 = 10)
[9 empty] | EGGEN (kWh) | EGAUX (kWh) | EGy (kWh)
1 | Upto 2007, 11th July | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2 | 2007 June | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3 | 2007 May | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4 | 2007 April | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5 | 2007 March | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | 2007 February | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
7 | 2007 January | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total: 2007 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1 | 2006 December | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2 | 2006 November | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3 | 2006 October | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4 | 2006 September | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5 | 2006 August | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | 2006 July | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
7 | 2006 June | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
8 | 2006 May | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9 | 2006 April | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
10 | 2006 March | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
11 | 2006 February | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12 | 2006 January | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total: 2006 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1 | 2005 December | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2 | 2005 November | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3 | 2005 October | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4 | 2005 September | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5 | 2005 August | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | 2005 July | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
7 | 2005 June | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
8 | 2005 May 23rd onwards | #REF! | #REF! | #REF! | #REF! | #REF! | 8499335 | #REF! | #REF! | #REF! | #REF!
| Total: 2005 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## CER summary
CDM DATA FROM 12th JULY 2007 (CALCULATION WITH NET EXPORT & CALCINATION-1&2 INTERNAL CONSUMPTION)
S. No. | Month | CFBB steam flow (MT) - 1 | WHRB-1 steam flow (MT) - 2 | WHRB-2 steam flow (MT) - 3 | Total steam (MT) (1+2+3) - 4 | WHRB-2 Steam fraction of total steam (3/(1+2+3)) - 5 | Total net electricity Export from WHRB-1 + WHRB-2 + CFBB (standby) -(kWh) - 6 | Aux.consu-mption in Cal-1&2 plant (kWh) - 7 | Total electricity exported from WHRB-2 ( 5 x 6) EGEXPO- 8 | Apportioned Auxiliary consumtpion of cacination-1 & 2 plants (5x 7) EGAUX - 9 | Total net electicity generated (kWh) from WHRB-2 (8 + 9) EGy - 10 | CER'S (TONS OF EMISSION REDUCTION) FROM WHRB-2 (10)*0.941 - 11 | ACTUAL CER'S (TONS OF EMISSION REDUCTION) FROM WHRB-2 (10)*0.941 - 12
1 | From 2007 July"12th | 0 | 38436.3 | 35307.3 | 73743.6 | 0.47878 | 16637000 | 1263930 | 7965539.3838 | 605150.219 | 8570689.6027 | 8065.0189 | 8065
2 | 2007 August | 0 | 71832.6 | 70201.8 | 142034.4 | 0.49426 | 32203000 | 2398830 | 15916626.996 | 1185643.6461 | 17102270.6421 | 16093.2367 | 16093
3 | 2007 September | 0 | 70973.9 | 66221.3 | 137195.2 | 0.48268 | 30957000 | 2285300 | 14942306.9036 | 1103067.2858 | 16045374.1894 | 15098.6971 | 15098
| Cumulative for Q2 | 0 | [8 empty] | 0
4 | 2007 October | 0 | 69336 | 69089.6 | 138425.6 | 0.49911 | 31366000 | 2311300 | 15655083.9845 | 1153592.9227 | 16808676.9072 | 15816.965 | 15816
5 | 2007 November | 0 | 31481.1 | 41318.3 | 72799.4 | 0.56756 | 16018000 | 1301990 | 9091236.0459 | 738962.3186 | 9830198.3645 | 9250.2167 | 9250
6 | 2007 December | 0 | 71489.7 | 73488.8 | 144978.5 | 0.50689 | 32882000 | 2415940 | 16667703.9809 | 1224626.6272 | 17892330.6081 | 16836.6831 | 16836
| TOTAL | 0 | 353549.6 | 355627.1 | 709176.7 |  | 160063000 | 11977290 | 80238497.2946 | 6011043.0194 | 86249540.3141 | 81160.8174 | 81158
1 | 2008 January
2 | 2008 February
3 | 2008 March
4 | 2008 April
5 | 2008 May
6 | 2008 June
7 | 2008 July
8 | 2008 August
9 | 2008 Septemeber
10 | 2008 October
11 | 2008 November
12 | 2008 December
0

## Electricity&Steam_M&V_Data
0
Daily Steam and Electricity Generation Report
Notes on colour codes used:
1) Pink colour - Is the data when CFB Boiler is in service which is excluded from the calcuations (monthwise addtions).
2) Light Blue colour - Is the data when all the plants (i.e. both the calcination units & Cogen plant) are in operation.
4) Light Green colour - Is the data when boilers are in service but there is no power generation.
5) Light Turquoise - is the data when the total power plant is under shutdown and plant is in import mode.
Meter/ Instrument ID (Annex 4 in the PDD)
| Daily Readings for Electricity Generation and Consumption (kWh) | [11 empty] | Daily Readings for Steam Generation (T/hr)
Date | GEN-EM-01 | TVEM-01 | Import from Grid | Net power export to grid | CAL1-IDF-1 | CAL1-EM-1 | CAL1-EM-2 | CAL1-EM-3 | CAL2-IDF-2 | CAL2-EM-1 | CAL2-EM-2 | Total Calc consumption | FTS1070 | FTS2090 | FTS722 | Cogen Auxilariy consumption (kwh)
[13 empty] | WHB-1 | WHB-2 | CFBB
2007-07-12 | 1212000 | 1064000 | 0 | 1064000 | 20600 | 8000 | 8890 | 4090 | 22000 | 7810 | 11780 | 83170 | 2353.8 | 2377.2 | 0 | 64830
2007-07-13 | 1222000 | 1073000 | 0 | 1073000 | 21090 | 6700 | 8810 | 2080 | 21830 | 7820 | 12200 | 80530 | 2395 | 2381.4 | 0 | 68470
2007-07-14 | 627000 | 498000 | 0 | 498000 | 21300 | 8100 | 10160 | 2740 | 7950 | 3380 | 9540 | 63170 | 2407.5 | 236.8 | 43.1 | 65830
2007-07-15 | 1008000 | 856000 | 0 | 856000 | 19910 | 7500 | 11150 | 5660 | 290 | 1600 | 8760 | 54870 | 2387.4 | 0 | 1633.2 | 97130
2007-07-16 | 1035000 | 875000 | 0 | 875000 | 19110 | 7600 | 11150 | 7970 | 10 | 3420 | 9100 | 58360 | 2405.9 | 0 | 1654 | 101640
2007-07-17 | 1173000 | 998000 | 0 | 998000 | 18610 | 7700 | 11360 | 6130 | 10990 | 6350 | 10330 | 71470 | 2392 | 752.1 | 1511 | 103530
2007-07-18 | 1167000 | 1022000 | 0 | 1022000 | 18450 | 8100 | 8680 | 3940 | 18750 | 7090 | 13430 | 78440 | 2403.5 | 2173.6 | 0 | 66560
2007-07-19 | 1214000 | 1071000 | 0 | 1071000 | 18380 | 7900 | 8300 | 4020 | 18820 | 7150 | 13750 | 78320 | 2348.7 | 2379.4 | 0 | 64680
2007-07-20 | 1188000 | 1045000 | 0 | 1045000 | 18860 | 7700 | 8350 | 2030 | 19350 | 7250 | 12490 | 76030 | 2421.7 | 2205 | 0 | 66970
2007-07-21 | 1160000 | 1018000 | 0 | 1018000 | 19670 | 7800 | 8260 | 1910 | 20010 | 7070 | 13440 | 78160 | 2393.3 | 2143.7 | 0 | 63840
2007-07-22 | 1166000 | 1020000 | 0 | 1020000 | 19160 | 8800 | 8630 | 1950 | 19730 | 7130 | 12050 | 77450 | 2416.2 | 2116.8 | 0 | 68550
2007-07-23 | 1152000 | 1010000 | 0 | 1010000 | 18570 | 9600 | 8360 | 2020 | 20010 | 6980 | 12560 | 78100 | 2372.2 | 2120.8 | 0 | 63900
2007-07-24 | 1151000 | 1007000 | 0 | 1007000 | 19290 | 10100 | 8170 | 1790 | 19590 | 7030 | 13330 | 79300 | 2426.1 | 2079.2 | 0 | 64700
2007-07-25 | 1176000 | 1037000 | 0 | 1037000 | 19310 | 10270 | 8080 | 1990 | 19860 | 7020 | 12270 | 78800 | 2432.1 | 2116.9 | 0 | 60200
2007-07-26 | 1205000 | 1061000 | 0 | 1061000 | 19430 | 10300 | 8120 | 2190 | 20230 | 7090 | 11820 | 79180 | 2469.7 | 2206.7 | 0 | 64820
2007-07-27 | 1198000 | 1052000 | 0 | 1052000 | 20150 | 9990 | 8830 | 2360 | 19910 | 7100 | 12360 | 80700 | 2488.4 | 2160.3 | 0 | 65300
2007-07-28 | 1159000 | 1017000 | 0 | 1017000 | 19250 | 9990 | 8230 | 2350 | 19660 | 6970 | 12320 | 78770 | 2356.8 | 2150.3 | 0 | 63230
2007-07-29 | 1220000 | 1075000 | 0 | 1075000 | 18700 | 10350 | 7960 | 2630 | 20740 | 7280 | 11430 | 79090 | 2434.6 | 2294 | 0 | 65910
2007-07-30 | 1162000 | 1017000 | 0 | 1017000 | 18030 | 10450 | 8240 | 2520 | 19600 | 6900 | 12600 | 78340 | 2384.4 | 2130.9 | 0 | 66660
2007-07-31 | 1190000 | 1048000 | 0 | 1048000 | 19060 | 10070 | 8320 | 2380 | 20700 | 7270 | 11750 | 79550 | 2339.8 | 2271.1 | 0 | 62450
| 18942000 | 16637000 | 0 | 16637000 | 308000 | 146120 | 134230 | 40250 | 320790 | 114960 | 199580 | 1263930 | 38436.3 | 35307.3 | 0 | 1041070
2007-08-01
2007-08-01 | 1229000 | 1083000 | 0 | 1083000 | 19220 | 10020 | 8960 | 1960 | 21490 | 7330 | 12390 | 81370 | 2283 | 2481 | 0 | 64630
2007-08-02 | 1220000 | 1066000 | 0 | 1066000 | 18800 | 10160 | 9160 | 1950 | 21600 | 7250 | 11680 | 80600 | 2213.6 | 2524.9 | 0 | 73400
2007-08-03 | 1232000 | 1083000 | 0 | 1083000 | 19210 | 9900 | 9140 | 1870 | 21590 | 7310 | 12690 | 81710 | 2288.1 | 2480.1 | 0 | 67290
2007-08-04 | 1203000 | 1057000 | 0 | 1057000 | 19650 | 10090 | 8920 | 2210 | 22310 | 7360 | 11320 | 81860 | 2340.8 | 2345 | 0 | 64140
2007-08-05 | 772000 | 666000 | 17000 | 649000 | 15250 | 9210 | 7930 | 2360 | 15580 | 6270 | 10530 | 67130 | 1732.9 | 1414.1 | 0 | 55870
2007-08-06 | 1079000 | 938000 | 0 | 938000 | 18930 | 9600 | 8650 | 1760 | 18730 | 7030 | 10790 | 75490 | 2229.6 | 2017.6 | 0 | 65510
2007-08-07 | 1054000 | 919000 | 0 | 919000 | 18580 | 9600 | 8500 | 1940 | 18160 | 6840 | 11770 | 75390 | 2216.6 | 1929.2 | 0 | 59610
2007-08-08 | 1064000 | 925000 | 0 | 925000 | 18790 | 10000 | 8640 | 1920 | 18490 | 6920 | 12210 | 76970 | 2262.4 | 1923.5 | 0 | 62030
2007-08-09 | 1108000 | 968000 | 0 | 968000 | 18270 | 9800 | 8860 | 2110 | 18750 | 7040 | 11620 | 76450 | 2256.9 | 2068.1 | 0 | 63550
2007-08-10 | 1102000 | 963000 | 0 | 963000 | 18200 | 8840 | 8770 | 2280 | 18030 | 6920 | 13240 | 76280 | 2286.3 | 2019.6 | 0 | 62720
2007-08-11 | 1191000 | 1052000 | 0 | 1052000 | 18140 | 10200 | 8670 | 2420 | 18320 | 7170 | 11440 | 76360 | 2372.4 | 2251.9 | 0 | 62640
2007-08-12 | 1228000 | 1087000 | 0 | 1087000 | 18400 | 10200 | 8370 | 2200 | 18200 | 7050 | 11060 | 75480 | 2426.3 | 2318.7 | 0 | 65520
2007-08-13 | 1235000 | 1094000 | 0 | 1094000 | 18130 | 9900 | 8450 | 2550 | 17870 | 6970 | 11200 | 75070 | 2450.7 | 2327.4 | 0 | 65930
2007-08-14 | 1242000 | 1103000 | 0 | 1103000 | 18090 | 9860 | 8510 | 4180 | 17740 | 7020 | 11280 | 76680 | 2490.1 | 2309.9 | 0 | 62320
2007-08-15 | 1238000 | 1096000 | 0 | 1096000 | 18540 | 9600 | 8650 | 4500 | 18400 | 7140 | 11630 | 78460 | 2480.5 | 2323 | 0 | 63540
2007-08-16 | 1120000 | 984000 | 0 | 984000 | 16400 | 9510 | 8890 | 4080 | 18100 | 6870 | 11510 | 75360 | 2083.9 | 2278.1 | 0 | 60640
2007-08-17 | 1170000 | 1031000 | 0 | 1031000 | 18420 | 9900 | 8600 | 4170 | 19160 | 6850 | 11450 | 78550 | 2289.1 | 2273.9 | 0 | 60450
2007-08-18 | 1166000 | 1027000 | 0 | 1027000 | 18590 | 10140 | 8520 | 4350 | 18610 | 6790 | 11320 | 78320 | 2276.3 | 2250.3 | 0 | 60680
2007-08-19 | 1165000 | 1027000 | 0 | 1027000 | 18730 | 10050 | 8650 | 4390 | 18310 | 7130 | 11410 | 78670 | 2258.2 | 2275 | 0 | 59330
2007-08-20 | 1236000 | 1096000 | 0 | 1096000 | 18320 | 9800 | 9210 | 3850 | 18060 | 6800 | 11510 | 77550 | 2277.3 | 2509.9 | 0 | 62450
2007-08-21 | 1234000 | 1094000 | 0 | 1094000 | 18580 | 9920 | 8520 | 4600 | 18230 | 6870 | 11640 | 78360 | 2300.6 | 2478.7 | 0 | 61640
2007-08-22 | 1238000 | 1098000 | 0 | 1098000 | 18640 | 9980 | 8380 | 7000 | 14220 | 6660 | 11370 | 76250 | 2290.1 | 2504.6 | 0 | 63750
2007-08-23 | 1247000 | 1108000 | 0 | 1108000 | 19110 | 10000 | 8620 | 4580 | 16790 | 6670 | 11360 | 77130 | 2362.4 | 2464.4 | 0 | 61870
2007-08-24 | 1243000 | 1103000 | 0 | 1103000 | 19180 | 10070 | 8670 | 2450 | 16610 | 6780 | 11340 | 75100 | 2358.2 | 2455.8 | 0 | 64900
2007-08-25 | 1249000 | 1107000 | 0 | 1107000 | 19790 | 9690 | 8600 | 2350 | 16450 | 6700 | 11250 | 74830 | 2416.2 | 2420.1 | 0 | 67170
2007-08-26 | 1223000 | 1084000 | 0 | 1084000 | 20050 | 10200 | 8770 | 2340 | 17060 | 7290 | 12050 | 77760 | 2439.6 | 2307.3 | 0 | 61240
2007-08-27 | 1219000 | 1075000 | 0 | 1075000 | 20510 | 10210 | 8940 | 2120 | 17230 | 7310 | 11960 | 78280 | 2482.7 | 2251.8 | 0 | 65720
2007-08-28 | 1240000 | 1093000 | 0 | 1093000 | 21420 | 10190 | 8690 | 4300 | 17990 | 7310 | 11930 | 81830 | 2573 | 2246.8 | 0 | 65170
2007-08-29 | 1205000 | 1067000 | 0 | 1067000 | 20920 | 10100 | 8320 | 3480 | 16430 | 7270 | 11090 | 77610 | 2254.6 | 2242.1 | 0 | 60390
2007-08-30 | 1212000 | 1075000 | 0 | 1075000 | 21080 | 10200 | 8500 | 3340 | 15780 | 7250 | 10730 | 76880 | 2440.5 | 2264.2 | 0 | 60120
2007-08-31 | 1195000 | 1051000 | 0 | 1051000 | 20810 | 10250 | 9590 | 3330 | 18020 | 7090 | 11960 | 81050 | 2399.7 | 2244.8 | 0 | 62950
| 36559000 | 32220000 | 17000 | 32203000 | 586750 | 307190 | 269650 | 96940 | 562310 | 217260 | 358730 | 2398830 | 71832.6 | 70201.8 | 0 | 1957170
2007-09-01
2007-09-01 | 1183000 | 1038000 | 0 | 1038000 | 19240 | 9550 | 8230 | 4570 | 18730 | 7290 | 11780 | 79390 | 2367.7 | 2226 | 0 | 65610
2007-09-02 | 1188000 | 1049000 | 0 | 1049000 | 19750 | 10300 | 7990 | 3970 | 16730 | 7210 | 11350 | 77300 | 2359 | 2274.5 | 0 | 61700
2007-09-03 | 1218000 | 1073000 | 0 | 1073000 | 20290 | 8770 | 8250 | 4250 | 20660 | 7180 | 11810 | 81210 | 2429.6 | 2299.8 | 0 | 63790
2007-09-04 | 1227000 | 1082000 | 0 | 1082000 | 20710 | 7750 | 9070 | 4400 | 18230 | 7070 | 11770 | 79000 | 2497.5 | 2267.9 | 0 | 66000
2007-09-05 | 1219000 | 1072000 | 0 | 1072000 | 20470 | 8000 | 8430 | 4110 | 18500 | 7070 | 11860 | 78440 | 2438.3 | 2296.5 | 0 | 68560
2007-09-06 | 1209000 | 1060000 | 0 | 1060000 | 20950 | 7400 | 6430 | 4230 | 18310 | 7050 | 11600 | 75970 | 2445.6 | 2250.8 | 0 | 73030
2007-09-07 | 1176000 | 1034000 | 0 | 1034000 | 19870 | 7950 | 8130 | 2730 | 18000 | 6940 | 12390 | 76010 | 2366.9 | 2209.1 | 0 | 65990
2007-09-08 | 1152000 | 1011000 | 0 | 1011000 | 19890 | 7950 | 8190 | 2310 | 17680 | 6870 | 11260 | 74150 | 2309 | 2170.5 | 0 | 66850
2007-09-09 | 1176000 | 1032000 | 0 | 1032000 | 20810 | 7400 | 8260 | 2030 | 18040 | 7020 | 12050 | 75610 | 2373.5 | 2207.7 | 0 | 68390
2007-09-10 | 1172000 | 1029000 | 0 | 1029000 | 20340 | 7960 | 8200 | 2140 | 17710 | 6980 | 12010 | 75340 | 2370.7 | 2186.6 | 0 | 67660
2007-09-11 | 1194000 | 1051000 | 0 | 1051000 | 19680 | 7270 | 8180 | 2080 | 17970 | 6980 | 11690 | 73850 | 2348.4 | 2290.1 | 0 | 69150
2007-09-12 | 1095000 | 960000 | 0 | 960000 | 19890 | 7170 | 8110 | 2020 | 15840 | 6660 | 11500 | 71190 | 2305.7 | 1978.3 | 0 | 63810
2007-09-13 | 1175000 | 1032000 | 0 | 1032000 | 20190 | 7600 | 8030 | 2030 | 17580 | 7070 | 11780 | 74280 | 2406.7 | 2154.2 | 0 | 68720
2007-09-14 | 1150000 | 1008000 | 0 | 1008000 | 20270 | 8000 | 8070 | 2140 | 17700 | 7170 | 11890 | 75240 | 2339.5 | 2139.7 | 0 | 66760
2007-09-15 | 1153000 | 1015000 | 0 | 1015000 | 19920 | 7500 | 7790 | 2240 | 17340 | 6980 | 11460 | 73230 | 2353.9 | 2142.1 | 0 | 64770
2007-09-16 | 1143000 | 1004000 | 0 | 1004000 | 20010 | 7500 | 7930 | 2210 | 17830 | 7130 | 11670 | 74280 | 2336.4 | 2133.5 | 0 | 64720
2007-09-17 | 1086000 | 941000 | 0 | 941000 | 18990 | 8700 | 7980 | 2420 | 16900 | 7080 | 11290 | 73360 | 2186.8 | 2107.3 | 0 | 71640
2007-09-18 | 1147000 | 1008000 | 0 | 1008000 | 19450 | 7690 | 7960 | 4290 | 18790 | 7310 | 11870 | 77360 | 2243.4 | 2227.1 | 0 | 61640
2007-09-19 | 1150000 | 1011000 | 0 | 1011000 | 19650 | 7510 | 8040 | 4360 | 19970 | 7490 | 11680 | 78700 | 2244 | 2234.3 | 0 | 60300
2007-09-20 | 1149000 | 1008000 | 0 | 1008000 | 19670 | 7310 | 7970 | 4290 | 19630 | 7350 | 11530 | 77750 | 2239.9 | 2239.9 | 0 | 63250
2007-09-21 | 1152000 | 1010000 | 0 | 1010000 | 19990 | 7010 | 7890 | 2470 | 19940 | 7250 | 11570 | 76120 | 2249.8 | 2244.3 | 0 | 65880
2007-09-22 | 1139000 | 998000 | 0 | 998000 | 20470 | 7480 | 7920 | 2150 | 19620 | 7060 | 11400 | 76100 | 2271 | 2178.9 | 0 | 64900
2007-09-23 | 1142000 | 1002000 | 0 | 1002000 | 20110 | 7000 | 7900 | 2310 | 19160 | 7250 | 11580 | 75310 | 2306 | 2147.5 | 0 | 64690
2007-09-24 | 1189000 | 1046000 | 0 | 1046000 | 20500 | 7350 | 8060 | 2150 | 19100 | 7140 | 11920 | 76220 | 2459.7 | 2164 | 0 | 66780
2007-09-25 | 1192000 | 1048000 | 0 | 1048000 | 20600 | 7400 | 8050 | 1900 | 18810 | 7200 | 11700 | 75660 | 2447.4 | 2183.1 | 0 | 68340
2007-09-26 | 1221000 | 1075000 | 0 | 1075000 | 20420 | 7250 | 8030 | 3960 | 19070 | 7150 | 11750 | 77630 | 2472.7 | 2262.8 | 0 | 68370
2007-09-27 | 1246000 | 1102000 | 0 | 1102000 | 20350 | 7800 | 7930 | 2990 | 19410 | 7230 | 11630 | 77340 | 2561.1 | 2274.5 | 0 | 66660
2007-09-28 | 1257000 | 1112000 | 0 | 1112000 | 20330 | 7900 | 7990 | 2380 | 19620 | 7320 | 11700 | 77240 | 2578.7 | 2303.4 | 0 | 67760
2007-09-29 | 1145000 | 1001000 | 0 | 1001000 | 19520 | 7590 | 7900 | 2480 | 18680 | 6940 | 11510 | 74620 | 2386.3 | 2078.9 | 0 | 69380
2007-09-30 | 1190000 | 1045000 | 0 | 1045000 | 18660 | 7500 | 7890 | 2250 | 21980 | 7340 | 11780 | 77400 | 2278.7 | 2348 | 0 | 67600
| 35235000 | 30957000 | 0 | 30957000 | 600990 | 233560 | 240800 | 87860 | 557530 | 213780 | 350780 | 2285300 | 70973.9 | 66221.3 | 0 | 1992700
2007-10-01
2007-10-01 | 1150000 | 1005000 | 0 | 1005000 | 18380 | 8710 | 8500 | 2360 | 20850 | 7270 | 11790 | 77860 | 2257.4 | 2223.9 | 0 | 67140
2007-10-02 | 1139000 | 999000 | 0 | 999000 | 18610 | 10100 | 8610 | 2430 | 20180 | 7250 | 11980 | 79160 | 2258.1 | 2187.5 | 0 | 60840
2007-10-03 | 1114000 | 974000 | 0 | 974000 | 18320 | 9990 | 9220 | 2660 | 19720 | 7030 | 12060 | 79000 | 2236.8 | 2123.2 | 0 | 61000
2007-10-04 | 1103000 | 967000 | 0 | 967000 | 18430 | 7560 | 8310 | 4110 | 18070 | 7030 | 11700 | 75210 | 2195.3 | 2114.3 | 0 | 60790
2007-10-05 | 1103000 | 964000 | 0 | 964000 | 19350 | 8980 | 8240 | 2440 | 17620 | 6980 | 10880 | 74490 | 2233.2 | 2092.3 | 0 | 64510
2007-10-06 | 1160000 | 1024000 | 0 | 1024000 | 19460 | 9740 | 7590 | 2950 | 16760 | 6870 | 10820 | 74190 | 2352.9 | 2154.4 | 0 | 61810
2007-10-07 | 1163000 | 1030000 | 0 | 1030000 | 18230 | 8520 | 7090 | 4270 | 15690 | 7010 | 10030 | 70840 | 2362.2 | 2154.3 | 0 | 62160
2007-10-08 | 1146000 | 1016000 | 0 | 1016000 | 16970 | 9490 | 6900 | 2700 | 15550 | 7010 | 10170 | 68790 | 2279.8 | 2172.8 | 0 | 61210
2007-10-09 | 1130000 | 1005000 | 0 | 1005000 | 16200 | 7100 | 7040 | 4120 | 15220 | 6990 | 10190 | 66860 | 2222.8 | 2178.8 | 0 | 58140
2007-10-10 | 1136000 | 1011000 | 0 | 1011000 | 15870 | 7880 | 6840 | 4340 | 15750 | 7190 | 10260 | 68130 | 2179.2 | 2229 | 0 | 56870
2007-10-11 | 1181000 | 1045000 | 0 | 1045000 | 16930 | 7950 | 8080 | 4020 | 17490 | 6860 | 11240 | 72570 | 2121 | 2456.2 | 0 | 63430
2007-10-12 | 1173000 | 1039000 | 0 | 1039000 | 15950 | 7400 | 8310 | 4230 | 18200 | 7090 | 11570 | 72750 | 2056 | 2501.1 | 0 | 61250
2007-10-13 | 1177000 | 1045000 | 0 | 1045000 | 16740 | 7230 | 8300 | 4530 | 18470 | 7030 | 11420 | 73720 | 2112.6 | 2452.4 | 0 | 58280
2007-10-14 | 1194000 | 1062000 | 0 | 1062000 | 15040 | 6910 | 8270 | 4630 | 18400 | 7090 | 11280 | 71620 | 2142.5 | 2486.3 | 0 | 60380
2007-10-15 | 1198000 | 1070000 | 0 | 1070000 | 14590 | 8170 | 8440 | 2840 | 18780 | 6990 | 11180 | 70990 | 2120.3 | 2536 | 0 | 57010
2007-10-16 | 1190000 | 1060000 | 0 | 1060000 | 16650 | 9200 | 8560 | 2520 | 18380 | 6910 | 11410 | 73630 | 2133.6 | 2494.1 | 0 | 56370
2007-10-17 | 1256000 | 1120000 | 0 | 1120000 | 17780 | 7630 | 10560 | 2470 | 18690 | 6930 | 11410 | 75470 | 2285.6 | 2583.7 | 0 | 60530
2007-10-18 | 1237000 | 1100000 | 0 | 1100000 | 17710 | 7290 | 10940 | 2430 | 18770 | 6850 | 11590 | 75580 | 2260.7 | 2535.7 | 0 | 61420
2007-10-19 | 1137000 | 1005000 | 0 | 1005000 | 18720 | 9800 | 8700 | 2570 | 17580 | 6510 | 11470 | 75350 | 2403.2 | 2053.3 | 0 | 56650
2007-10-20 | 1189000 | 1047000 | 0 | 1047000 | 19520 | 10000 | 8430 | 2130 | 18620 | 6830 | 11700 | 77230 | 2457.9 | 2167.8 | 0 | 64770
2007-10-21 | 1198000 | 1064000 | 0 | 1064000 | 19860 | 9860 | 8430 | 1980 | 19160 | 7060 | 11520 | 77870 | 2415.7 | 2248.1 | 0 | 56130
2007-10-22 | 1186000 | 1043000 | 0 | 1043000 | 19390 | 10050 | 8430 | 2190 | 19590 | 6950 | 11470 | 78070 | 2363.7 | 2245.2 | 0 | 64930
2007-10-23 | 1188000 | 1052000 | 0 | 1052000 | 19450 | 9670 | 8340 | 2300 | 19820 | 7030 | 11690 | 78300 | 2360.1 | 2251.3 | 0 | 57700
2007-10-24 | 1105000 | 972000 | 0 | 972000 | 17880 | 9430 | 8290 | 2600 | 17940 | 6760 | 12140 | 75040 | 2216.5 | 2095.9 | 0 | 57960
2007-10-25 | 1095000 | 964000 | 0 | 964000 | 18210 | 9600 | 8620 | 2260 | 17790 | 6830 | 11720 | 75030 | 2198.4 | 2075.7 | 0 | 55970
2007-10-26 | 1070000 | 939000 | 0 | 939000 | 17910 | 9950 | 8330 | 2530 | 17800 | 6740 | 11850 | 75110 | 2159.9 | 2028.2 | 0 | 55890
2007-10-27 | 1066000 | 937000 | 0 | 937000 | 18000 | 8130 | 8370 | 4100 | 17840 | 6740 | 11600 | 74780 | 2159 | 2023.9 | 0 | 54220
2007-10-28 | 1062000 | 930000 | 0 | 930000 | 18160 | 7550 | 8400 | 4520 | 18150 | 6800 | 11440 | 75020 | 2148.5 | 2032.8 | 0 | 56980
2007-10-29 | 1117000 | 980000 | 0 | 980000 | 18340 | 7860 | 8430 | 4620 | 18590 | 6840 | 11810 | 76490 | 2275.6 | 2074.2 | 0 | 60510
2007-10-30 | 1096000 | 965000 | 0 | 965000 | 18160 | 7300 | 8270 | 4500 | 18990 | 6750 | 11600 | 75570 | 2252.7 | 2047.6 | 0 | 55430
2007-10-31 | 1068000 | 932000 | 0 | 932000 | 17570 | 7400 | 8680 | 4720 | 19820 | 6770 | 11620 | 76580 | 2114.8 | 2069.6 | 0 | 59420
| 35527000 | 31366000 | 0 | 31366000 | 552380 | 266450 | 259520 | 101070 | 564280 | 214990 | 352610 | 2311300 | 69336 | 69089.6 | 0 | 1849700
2007-11-01
2007-11-01 | 1077000 | 941000 | 0 | 941000 | 15800 | 8050 | 7810 | 4430 | 20430 | 6910 | 12150 | 75580 | 2040.3 | 2183.4 | 0 | 60420
2007-11-02 | 1049000 | 921000 | 0 | 921000 | 14360 | 7920 | 7680 | 4390 | 18960 | 6770 | 10540 | 70620 | 1831.2 | 2282.4 | 0 | 57380
2007-11-03 | 1007000 | 877000 | 0 | 877000 | 16320 | 8180 | 7700 | 4650 | 18700 | 6780 | 11270 | 73600 | 1814.1 | 2166.3 | 0 | 56400
2007-11-04 | 1069000 | 932000 | 0 | 932000 | 20440 | 8350 | 8010 | 4390 | 20970 | 6780 | 11760 | 80700 | 2114.3 | 2099 | 0 | 56300
2007-11-05 | 1057000 | 917000 | 0 | 917000 | 21610 | 8360 | 8050 | 4560 | 20290 | 6660 | 11800 | 81330 | 2149.8 | 2031 | 0 | 58670
2007-11-06 | 1046000 | 907000 | 0 | 907000 | 22610 | 8740 | 7930 | 4690 | 20440 | 6650 | 11760 | 82820 | 2066.3 | 2028.9 | 0 | 56180
2007-11-07 | 1019000 | 889000 | 0 | 889000 | 15350 | 7150 | 7780 | 4800 | 20650 | 6690 | 11640 | 74060 | 1924.1 | 2102.7 | 0 | 55940
2007-11-08 | 1013000 | 882000 | 0 | 882000 | 15530 | 9210 | 7890 | 3050 | 19320 | 6460 | 13050 | 74510 | 2004.8 | 1987.6 | 0 | 56490
2007-11-09 | 1160000 | 1028000 | 0 | 1028000 | 17570 | 10240 | 7170 | 2500 | 19690 | 6950 | 10960 | 75080 | 2198.2 | 2331.1 | 0 | 56920
2007-11-10 | 1027000 | 908000 | 0 | 908000 | 14190 | 9970 | 6320 | 2130 | 14990 | 6550 | 10030 | 64180 | 1961.4 | 2053.8 | 0 | 54820
2007-11-11 | 735000 | 638000 | 0 | 638000 | 9630 | 8900 | 6110 | 2020 | 11540 | 5720 | 9950 | 53870 | 1489.7 | 1506.3 | 0 | 43130
2007-11-12 | 792000 | 697000 | 0 | 697000 | 10720 | 8610 | 6160 | 2540 | 11640 | 5840 | 10110 | 55620 | 1701.3 | 1531.4 | 0 | 39380
2007-11-13 | 1088000 | 962000 | 0 | 962000 | 17530 | 8010 | 7030 | 4040 | 15640 | 6400 | 11210 | 69860 | 2359 | 1884.4 | 0 | 56140
2007-11-14 | 1005000 | 887000 | 0 | 887000 | 14500 | 7330 | 7160 | 4390 | 15890 | 6560 | 11710 | 67540 | 1972.8 | 2001.7 | 0 | 50460
2007-11-15 | 775000 | 679000 | 0 | 679000 | 9520 | 6760 | 5940 | 4170 | 11870 | 5740 | 9340 | 53340 | 1637.4 | 1508.3 | 0 | 42660
2007-11-16 | 1035000 | 926000 | 0 | 926000 | 14590 | 7720 | 5980 | 2240 | 13190 | 6350 | 9740 | 59810 | 2216.4 | 1863.7 | 0 | 49190
2007-11-17 | 1233000 | 1090000 | 0 | 1090000 | 16740 | 10600 | 7460 | 2110 | 19060 | 7100 | 10680 | 73750 | 2346.1 | 2353.1 | 162 | 69250
2007-11-18 | 1190000 | 1027000 | 0 | 1027000 | 8080 | 6970 | 7310 | 5700 | 20290 | 7050 | 11280 | 66680 | 188 | 2389.9 | 2039.6 | 96320
2007-11-19 | 1236000 | 1077000 | 0 | 1077000 | 2830 | 5670 | 4710 | 6530 | 20240 | 7010 | 11690 | 58680 | 0 | 2462.1 | 2285.7 | 100320
2007-11-20 | 1243000 | 1084000 | 0 | 1084000 | 0 | 4330 | 5960 | 8180 | 21440 | 6960 | 12090 | 58960 | 0 | 2459.2 | 2289.8 | 100040
2007-11-21 | 907000 | 777000 | 0 | 777000 | 0 | 5680 | 3120 | 5760 | 21260 | 7000 | 12200 | 55020 | 0 | 2427.4 | 1146.6 | 74980
2007-11-22 | 577000 | 481000 | 0 | 481000 | 0 | 3570 | 2670 | 1910 | 21040 | 6950 | 11210 | 47350 | 0 | 2371.9 | 0 | 48650
2007-11-23 | 592000 | 504000 | 0 | 504000 | 0 | 3300 | 2750 | 1270 | 21950 | 6910 | 11330 | 47510 | 0 | 2426.1 | 0 | 40490
2007-11-24 | 609000 | 520000 | 0 | 520000 | 0 | 1320 | 1260 | 3480 | 21510 | 6830 | 11970 | 46370 | 0 | 2473.8 | 0 | 42630
2007-11-25 | 609000 | 522000 | 0 | 522000 | 0 | 2570 | 2880 | 1500 | 22010 | 6840 | 12440 | 48240 | 0 | 2484.5 | 0 | 38760
2007-11-26 | 662000 | 562000 | 0 | 562000 | 0 | 2790 | 2910 | 972 | 21540 | 6820 | 12180 | 47212 | 0 | 2505.6 | 207 | 52788
2007-11-27 | 1231000 | 1077000 | 0 | 1077000 | 300 | 4200 | 3000 | 5800 | 21940 | 6910 | 13660 | 55810 | 0 | 2522 | 2207 | 98190
2007-11-28 | 1225000 | 1066000 | 0 | 1066000 | 0 | 6200 | 6700 | 7100 | 21950 | 6850 | 12870 | 61670 | 0 | 2518.7 | 2207 | 97330
2007-11-29 | 1234000 | 1071000 | 0 | 1071000 | 2100 | 7500 | 8300 | 8200 | 22550 | 7080 | 12770 | 68500 | 0 | 2584.7 | 2177.3 | 94500
2007-11-30 | 1185000 | 1029000 | 0 | 1029000 | 14000 | 10500 | 9000 | 4900 | 21480 | 6960 | 11700 | 78540 | 1004 | 2765 | 799 | 77460
| 18341000 | 16018000 | 0 | 16018000 | 250270 | 144260 | 124280 | 67150 | 360720 | 131340 | 223970 | 1301990 | 31481.1 | 41318.3 | 0 | 1021010
2007-12-01
2007-12-01 | 1262000 | 1122000 | 0 | 1122000 | 19200 | 11600 | 7600 | 3100 | 21010 | 6910 | 11530 | 80950 | 2202.4 | 2718.7 | 0 | 59050
2007-12-02 | 1228000 | 1093000 | 0 | 1093000 | 18600 | 9400 | 7500 | 3900 | 19300 | 6880 | 11470 | 77050 | 2235.1 | 2552.9 | 0 | 57950
2007-12-03 | 1227000 | 1092000 | 0 | 1092000 | 18500 | 8900 | 7800 | 4100 | 19650 | 7010 | 11510 | 77470 | 2250 | 2540.4 | 0 | 57530
2007-12-04 | 1250000 | 1109000 | 0 | 1109000 | 18800 | 8600 | 7600 | 4200 | 20130 | 7200 | 11570 | 78100 | 2270.3 | 2571.1 | 0 | 62900
2007-12-05 | 1261000 | 1126000 | 0 | 1126000 | 19000 | 9000 | 7800 | 4300 | 20210 | 7150 | 11610 | 79070 | 2284.8 | 2634.5 | 0 | 55930
2007-12-06 | 1258000 | 1121000 | 0 | 1121000 | 19000 | 8500 | 7800 | 4200 | 19930 | 7140 | 11760 | 78330 | 2310.8 | 2573.9 | 0 | 58670
2007-12-07 | 711000 | 627000 | 19000 | 608000 | 12000 | 6700 | 6400 | 3800 | 12010 | 5710 | 10160 | 56780 | 1367.5 | 1670.5 | 0 | 46220
2007-12-08 | 1226000 | 1090000 | 0 | 1090000 | 19100 | 9600 | 7800 | 3600 | 18580 | 6870 | 11700 | 77250 | 2275 | 2504.9 | 0 | 58750
2007-12-09 | 1220000 | 1085000 | 0 | 1085000 | 19300 | 9200 | 7600 | 4300 | 19170 | 6990 | 11060 | 77620 | 2244.5 | 2504.8 | 0 | 57380
2007-12-10 | 1223000 | 1083000 | 0 | 1083000 | 19300 | 8700 | 7900 | 4500 | 19950 | 6880 | 12850 | 80080 | 2261.5 | 2509.8 | 0 | 59920
2007-12-11 | 1178000 | 1037000 | 0 | 1037000 | 18400 | 8300 | 7600 | 4400 | 20250 | 6990 | 12390 | 78330 | 2109.5 | 2464.8 | 0 | 62670
2007-12-12 | 1085000 | 957000 | 0 | 957000 | 18700 | 8600 | 7600 | 4200 | 17540 | 6470 | 13750 | 76860 | 2123.8 | 2152.6 | 0 | 51140
2007-12-13 | 1112000 | 976000 | 0 | 976000 | 19100 | 8700 | 7700 | 4100 | 18240 | 6440 | 13700 | 77980 | 2166.5 | 2198.9 | 0 | 58020
2007-12-14 | 1176000 | 1041000 | 0 | 1041000 | 19600 | 10600 | 7500 | 2400 | 19380 | 6720 | 12590 | 78790 | 2264.2 | 2332.9 | 0 | 56210
2007-12-15 | 1124000 | 992000 | 0 | 992000 | 19900 | 11200 | 8100 | 2200 | 16710 | 6320 | 13630 | 78060 | 2383.5 | 2018.2 | 0 | 53940
2007-12-16 | 1103000 | 974000 | 0 | 974000 | 19900 | 11100 | 7600 | 2200 | 16950 | 6090 | 14390 | 78230 | 2408.9 | 1937 | 0 | 50770
2007-12-17 | 1157000 | 1019000 | 0 | 1019000 | 18920 | 11200 | 7600 | 2400 | 18550 | 6360 | 13000 | 78030 | 2393.9 | 2144.8 | 0 | 59970
2007-12-18 | 1270000 | 1132000 | 0 | 1132000 | 18680 | 10700 | 7500 | 3500 | 18840 | 6610 | 11620 | 77450 | 2427 | 2520.2 | 0 | 60550
2007-12-19 | 1251000 | 1120000 | 0 | 1120000 | 18800 | 10400 | 7800 | 2400 | 17690 | 6420 | 11710 | 75220 | 2388.8 | 2482.3 | 0 | 55780
2007-12-20 | 1257000 | 1123000 | 0 | 1123000 | 18900 | 10700 | 7600 | 2200 | 17810 | 5640 | 12550 | 75400 | 2427.9 | 2477.9 | 0 | 58600
2007-12-21 | 1250000 | 1118000 | 0 | 1118000 | 18500 | 11100 | 7900 | 2100 | 17710 | 7520 | 14430 | 79260 | 2403.1 | 2469.5 | 0 | 52740
2007-12-22 | 1236000 | 1103000 | 0 | 1103000 | 18700 | 10900 | 7900 | 2000 | 18180 | 6640 | 13920 | 78240 | 2359.5 | 2473.1 | 0 | 54760
2007-12-23 | 1187000 | 1049000 | 0 | 1049000 | 18700 | 11300 | 8000 | 2000 | 19110 | 6850 | 13920 | 79880 | 2312 | 2317.7 | 0 | 58120
2007-12-24 | 1172000 | 1036000 | 0 | 1036000 | 18700 | 11600 | 7800 | 2100 | 20360 | 7110 | 14240 | 81910 | 2330.5 | 2270.8 | 0 | 54090
2007-12-25 | 1207000 | 1071000 | 0 | 1071000 | 18800 | 8500 | 7800 | 3900 | 20240 | 7000 | 14150 | 80390 | 2392.4 | 2320.5 | 0 | 55610
2007-12-26 | 1251000 | 1107000 | 0 | 1107000 | 18600 | 8700 | 7400 | 4200 | 19910 | 6950 | 13990 | 79750 | 2508.5 | 2365.8 | 0 | 64250
2007-12-27 | 1232000 | 1095000 | 0 | 1095000 | 18700 | 8600 | 7600 | 4100 | 19880 | 6750 | 13870 | 79500 | 2491.3 | 2316.1 | 0 | 57500
2007-12-28 | 1254000 | 1115000 | 0 | 1115000 | 18600 | 10200 | 7700 | 2600 | 21000 | 6780 | 11610 | 78490 | 2514.6 | 2368.1 | 0 | 60510
2007-12-29 | 1257000 | 1119000 | 0 | 1119000 | 18600 | 11000 | 9900 | 3700 | 21030 | 6860 | 9340 | 80430 | 2502.1 | 2398.7 | 0 | 57570
2007-12-30 | 1243000 | 1100000 | 0 | 1100000 | 18600 | 10200 | 10100 | 4000 | 20980 | 6640 | 9670 | 80190 | 2477.9 | 2360.8 | 0 | 62810
2007-12-31 | 1209000 | 1069000 | 0 | 1069000 | 18800 | 10300 | 9600 | 3200 | 20650 | 6780 | 11520 | 80850 | 2401.9 | 2316.6 | 0 | 59150
| 37077000 | 32901000 | 19000 | 32882000 | 579000 | 304100 | 244100 | 103900 | 590950 | 208680 | 385210 | 2415940 | 71489.7 | 73488.8 | 0 | 1779060
0

## Monitoring_Scheme_PDD
GENERATOR
49.5 MWe
MPT 70/56/42MVA
LINE1
132 KV BUS
UAT 10/12.5 MVA
PCC-2
LINE2
6.6 KV SWGR
PCC-1
SINGLE LINE DIAGRAM OF PLANT
M
M
ID FAN-2
ID FAN-1
PMCC-4
T/F-1
T/F-2
T/F-3
T/F-5
T/F-4
POWER PLANT LOADS
Cal 1-IDF-1
Cal 1-EM-1
Cal 2-EM-1
TVEM-01
Cal 2-IDF-2
Cal 2-EM-2
Cal 1-EM-2
Cal 1-EM-3
GEN-EM-01
TURBINE
STEAM
FTS 722
CFBB (STAND BY)
FTS 1070
WHRB - 1
FTS 2090
WHRB - 2
TVEM-02
METERS USED FOR CDM PROJECT