## Sheet1
Assumptions -180 days |  |  |  |  | Assumptions -145 days |  |  |  |  | Assumptions -120 days
Project activity capacity | MW | 25 |  |  | Project activity capacity | MW | 25 |  |  | Project activity capacity | MW | 25
Auxiliary | % | 10% |  |  | Auxiliary | % | 10% |  |  | Auxiliary | % | 10%
Days |  | 180 |  |  | Days |  | 145 |  |  | Days |  | 120
Hours |  | 24 |  |  | Hours |  | 24 |  |  | Hours |  | 24
PLF | % | 80% |  |  | PLF | % | 80% |  |  | PLF | % | 80%
CEF | tCO2/MWh | 0.914 |  |  | CEF | tCO2/MWh | 0.914 |  |  | CEF | tCO2/MWh | 0.914
Baseline capacity | MW | 7.6 |  |  | Baseline capacity | MW | 7.6 |  |  | Baseline capacity | MW | 7.6
Remaining capacity | MW | 2.7 |  |  | Remaining capacity | MW | 2.7 |  |  | Remaining capacity | MW | 2.7
Historic generation | MWh | 26265.6 | 19085 | Eghistoric | Historic generation | MWh | 21158.4 | 19085 | Eghistoric | Historic generation | MWh | 17510.4 | 19085 | Eghistoric
New total generation | MWh | 87091.2 | 87091.2 | Egtotal | New total generation | MWh | 70156.8 | 70156.8 | Egtotal | New total generation | MWh | 58060.8 | 58060.8 | Egtotal
New power plant generation | MWh | 77760 | 77760 | EGProjectplant | New power plant generation | MWh | 62640 | 62640 | EGProjectplant | New power plant generation | MWh | 51840 | 51840 | EGProjectplant
Qualifying power | MWh |  | 68006.2 | Min(Egprojectplant, Egtotal-Eghistoric) | Qualifying power | MWh |  | 51071.8 | Min(Egprojectplant, Egtotal-Eghistoric) | Qualifying power | MWh |  | 38975.8 | Min(Egprojectplant, Egtotal-Eghistoric)
CERs | tCO2 |  | 62157.6668 |  | CERs | tCO2 |  | 46679.6252 |  | CERs | tCO2 |  | 35623.8812
Exports | MWh | 60825.6 |  |  | Exports | MWh | 48998.4 |  |  | Exports | MWh | 40550.4
Note on C15: RT: This is a calculated value from the no. of days multiplied by baseline capacity (cell C12). This is likely to be lower in practise as it does not account for plant stoppages which would reduce the power demand of the factory and hence reduce the generation that would have occured in the baseline
Note on C16: RT: Generation from project activity and remaining capacity also operated in the baseline
Note on D15: RT: Fixed through PDD
Note on H15: RT: This is a calculated value from the no. of days multiplied by baseline capacity (cell H12). This is likely to be lower in practise as it does not account for plant stoppages which would reduce the power demand of the factory and hence reduce the generation that would have occured in the baseline
Note on M15: RT: This is a calculated value from the no. of days multiplied by baseline capacity (cell M12). This is likely to be lower in practise as it does not account for plant stoppages which would reduce the power demand of the factory and hence reduce the generation that would have occured in the baseline