## ASSUMPTIONS
| COMPANY NAME: |  |  | Phu Kieo Bioenergy Co., Ltd.
| Project: |  |  | Phu Kieo Bioenergy Cogeneration Plant
| Configuration: |  |  | 120 tph biomass-fired boilers
26 MW extraction-condensing and 12 MW back-pressure turbo-generator, Firm Contract for 21 years
| Condition: |  |  | Sugar Mill to provide bagasse + raw water + land lease
Sugar Mill to get steam and electricity
| Case: |  |  | Base Operation 1: B+RW+LL=S+E+20m; Operation 2: E=EGAT price; Steam=Industrial rate
| Date: |  |  | 2002-08-16 | (Revision 4)
ASSUMPTIONS AND RESULTS
| MILL DATA | [5 empty] | GENERAL DATA
| Mill Capacity (input) (tcy) |  |  |  |  | 2200000 | Plant Life (years) |  |  |  |  | 21
| Type of Residue Produced |  |  |  |  | bagasse | PPA with EGAT (years) |  |  |  |  | 21
| Residue/Mill Input Ratio |  |  |  |  | 27% | Depreciation Policy |  |  |  |  | straight line
| Total Bagasse Production (tpy) |  |  |  |  | 594000 | Corporate Tax Rate:
| Fuel Required from Other Sources (tpy): | [5 empty] | Year 1-8 |  |  |  |  | 0%
|  | Bagasse (Phu Viang) |  |  |  | 30000 | Year 9-13 |  |  |  |  | 15%
|  | Rice husk |  |  |  | 47330 | Year 14 onwards |  |  |  |  | 30%
|  | Wood bark |  |  |  | 10000
|  | Cane leaves |  |  |  | 44500 | TARIFF |  |  |  | Baht | US$
[7 empty] | Energy Payment (Baht/kWh) - EGAT |  |  |  | 1.49 | 0.034651
| Mill Heat Requirement (ton-steam/hr) | [5 empty] | Power Capacity Payment (Baht/kW-mo) |  |  |  | 442.1053 | 10.2815
|  | Crushing: | @ 31 bar |  |  | 0 | Levelised Electricity Selling Rate (Baht/kWh) - EGAT (RM2+PP) |  |  |  | 2.104 | 0.048931
|  |  | @ 17 bar |  |  | 0 | Electricity Purchase Price from EGAT (Baht/kWh) - Peak |  |  |  | 2.695 | 0.062674
|  |  | @ 8 bar |  |  | 0 | Electricity Purchase Price from EGAT (Baht/kWh) - Off-Peak |  |  |  | 1.1914 | 0.027707
|  |  | @ 2.5 bar |  |  | 376.2 | Power Demand Charge (Baht/kW-mo) |  |  |  | 132.93 | 3.0914
|  | Cane-waiting: | @ 31 bar |  |  | 0 | Back-up Power Charge for Cogeneration (Baht-kW-mo) |  |  |  | 29.44 | 0.68465
|  |  | @ 17 bar |  |  | 0 | Service Charge (Baht/mo) |  |  |  | 228.17 | 5.3063
|  |  | @ 8 bar |  |  | 0 | Levelised Electricity Selling Rate (Baht/kWh) - Sugar Mill (C+CW+RM1) |  |  |  | 1.1782 | 0.0274
|  |  | @ 2.5 bar |  |  | 0 | Steam Selling Rate (Baht/ton) - Sugar Mill (C+CW+RM1) |  |  |  | 33.2153 | 0.77245
|  | Remelting: | @ 31 bar |  |  | 0 | Steam Selling Rate (Baht/ton) - Sugar Mill (RM 2) |  |  |  | 65 | 1.5116
|  |  | @ 17 bar |  |  | 0 | Fuel Cost:
|  |  | @ 8 bar |  |  | 0 |  | Bagasse - Phu Keaw (Baht/ton) |  |  | 250 | 5.814
|  |  | @2.5 bar |  |  | 129.5 |  | Bagasse - Phu Viang (Baht/ton) |  |  | 700 | 16.2791
| Steam Exhaust from Drives (ton-steam/hr@2.5 bar) - milling |  |  |  |  | 0 |  | Rice husk (Baht/ton) |  |  | 700 | 16.2791
| Steam Exhaust from Drives (ton-steam/hr@2.5 bar) - cane-waiting |  |  |  |  | 0 |  | Wood bark (Baht/ton) |  |  | 700 | 16.2791
| Steam Exhaust from Drives (ton-steam/hr@2.5 bar) - remelting |  |  |  |  | 0 |  | Cane leaves (Baht/ton) |  |  | 700 | 16.2791
| Mill Power Requirement (kW) | [6 empty] | Natural gas (Baht/million BTU) |  |  | 151.4518 | 3.5221
|  | Crushing |  |  |  | 30140 | Raw Water (Baht/cu.m.) |  |  |  | 6.5 | 0.15116
|  | Cane-waiting |  |  |  | 0 | NEPO Incentive (Baht/kWh) |  |  |  | 0 | 0
|  | Remelting 1 |  |  |  | 6000
|  | Remelting 2 |  |  |  | 6000 | OPERATING COSTS |  |  |  | 1,000 Baht | 1,000 US$
|  | Off-milling/off-remelting |  |  |  | 800 | Administration |  |  |  | 12000 | 279.0698
| Crushing Duration (hr/yr) |  |  |  |  | 2315 | O&M, % of EPC cost (Yr 1-5) |  |  | 3.5% | 32071.55 | 745.85
| Cane-waiting Duration (hr/yr) |  |  |  |  | 0 | O&M, % of EPC cost (Yr 6-10) |  |  | 4% | 36653.2 | 852.4
| Remelting 1 Duration (hr/yr) |  |  |  |  | 2644 | O&M, % of EPC cost (Yr 11 onwards) |  |  | 4.5% | 41234.85 | 958.95
| Remelting Duration 2 (hr/yr) |  |  |  |  | 2241 | Fuel (bagasse) |  |  |  | 148500 | 3453.4884
| Pure Power Generation (hr/yr) |  |  |  |  | 720 | Fuel (other biomass) |  |  |  | 92281 | 2146
[7 empty] | Raw Water (C+CW+RM1) |  |  |  | 2365.9369 | 55
| ENERGY PLANT DATA | [5 empty] | Raw Water (RM2+PP) |  |  |  | 688.8463 | 16.0197
| Fuel Data: | [5 empty] | Land Lease (C+CW+RM1) |  |  |  | 10331.25 | 240.2616
| Bagasse | [5 empty] | Land Lease (RM2+PP) |  |  |  | 7918.75 | 184.157
| Moisture Content (wet basis) |  |  |  |  | 50% | Purchase from EGAT |  |  |  | 1641.6908 | 38.1789
| Lower Heating Value (LHV)(MJ/kg) |  |  |  |  | 7.32 | Insurance, % of EPC Cost |  |  | 1.5% | 14841.45 | 345.15
Rice husk
| Moisture Content (wet basis) |  |  |  |  | 12% | USES OF FUNDS |  |  |  | 1,000 Baht | 1,000 US$
| Lower Heating Value (LHV)(MJ/kg) |  |  |  |  | 11.7 | Investment Costs
| Wood bark | [5 empty] | Development Costs |  |  |  | 86000 | 2000
| Moisture Content (wet basis) |  |  |  |  | 55% | Equipment Costs (main equipment) |  |  |  | 843230 | 19610
| Lower Heating Value (LHV)(MJ/kg) |  |  |  |  | 7.32 | Equipment Costs (BOP) |  |  |  | 73100 | 1700
| Cane leaves | [5 empty] | Grid Connection |  |  |  | 73100 | 1700
| Moisture Content (wet basis) |  |  |  |  | 24% | Engineering and Civil Works |  |  |  | 129000 | 3000
| Lower Heating Value (LHV)(MJ/kg) |  |  |  |  | 12.5 | Import Duty, @ 5.00% of Foreign EPC Cost |  |  |  | 25284 | 588
| Plant Performance: | [5 empty] | Erection, Installation, Training, Handling & Land Transportation |  |  |  | 43000 | 1000
| Plant Total Operation (hr/yr) |  |  |  |  | 7920 | Construction time insurance,1.50 % Equip. Cost |  |  |  | 12642 | 294
| Parasitic Load (crushing) |  |  |  |  | 2920 | Transferred equipment from sugar mill (old) |  |  |  | 387000 | 9000
| Parasitic Load (cane waiting) |  |  |  |  | 0 | SUB-TOTAL |  |  |  | 1672356 | 38892
| Parasitic Load (remelting) |  |  |  |  | 2400 | Contingency |  | 5% | of sub-total | 83617.8 | 1944.6
| Parasitic Load (pure power generation) |  |  |  |  | 2300 | Total Investment Costs |  |  |  | 1755973.8 | 40836.6
| Transmission Loss |  |  |  |  | 2% | Financing Costs during Construction
| Overall Grid Off-take in a Year (year 1-5) |  |  |  |  | 62.56% | Interest Costs |  |  |  | 135450 | 3150
| Overall Grid Off-take in a Year (year 6-10) |  |  |  |  | 64.54% | Other Financing Expenses |  |  |  | 9417 | 219
| Overall Grid Off-take in a Year (year 11-21) |  |  |  |  | 66.52% | Total Financing Costs during Construction |  |  |  | 144867 | 3369
| Crushing: | [5 empty] | TOTAL USES OF FUNDS (Project Cost) |  |  |  | 1900840.8 | 44205.6
| Plant Capacity (kW) |  |  |  |  | 55560
| Load Factor |  |  |  |  | 100% | SOURCES OF FUNDS |  |  |  | 1,000 Baht | 1,000 US$
| Power Generation (kWh/yr) |  |  |  |  | 128621400 | Equity 1 |  | 34.01% | of investment cost | 646475.9561 | 15034.3246
| Mill Power Requirements (kWh/yr) |  |  |  |  | 69774100 | Equity 2
| Grid Export/Excess Power (kWh/yr) - yr 1 -5 |  |  |  |  | 35800887.08 | Grant
| Grid Export/Excess Power (kWh/yr) - yr 6 - 10 |  |  |  |  | 36933270.64 | Loan* |  |  |  | 1254364.8439 | 29171.2754
| Grid Export/Excess Power (kWh/yr) - yr 11 - 21 |  |  |  |  | 38065654.2 | TOTAL SOURCES OF FUNDS |  |  |  | 1900840.8 | 44205.6
| Cane-waiting: | [5 empty] | *Loan
| Plant Capacity (kW) |  |  |  |  | 0 | Amount |  |  |  | 1254364.8439 | 29171.2754
| Load Factor |  |  |  |  | 0% | Grace Period |  |  |  |  | 2
| Power Generation (kWh/yr) |  |  |  |  | 0 | Maturity |  |  |  |  | 9
| Mill Power Requirements (kWh/yr) |  |  |  |  | 0 | Base Interest Rate |  |  |  |  | 9%
| Grid Export/Excess Power (kWh/yr) - yr 1- 5 |  |  |  |  | 0 | Lender's Margin |  |  |  |  | 1%
| Grid Export/Excess Power (kWh/yr) - yr 6 - 10 |  |  |  |  | 0 | All-in Interest Rate |  |  |  |  | 10%
| Grid Export/Excess Power (kWh/yr) - yr 11 - 21 |  |  |  |  | 0 | Financing Fees |  |  |  |  | 0.75%
Remelting 1:
| Plant Capacity (kW) |  |  |  |  | 30100 | ECONOMIC DATA
| Load Factor |  |  |  |  | 100% | Currency Exchange Rate (Baht/US$) |  |  |  |  | 43
| Power Generation (kWh/yr) |  |  |  |  | 79584400 | Average Inflation Rate (Thai CPI) |  |  |  |  | 5%
| Mill Power Requirements (kWh/yr) |  |  |  |  | 15864000 | Crude Oil Price Growth Rate |  |  |  |  | 1%
| Grid Export/Excess Power (kWh/yr) - yr 1 - 5 |  |  |  |  | 41991316.152 | Discount Rate |  |  |  |  | 10%
| Grid Export/Excess Power (kWh/yr) - yr 6 - 10 |  |  |  |  | 43319458.416
| Grid Export/Excess Power (kWh/yr) - yr 11 - 21 |  |  |  |  | 44647600.68 | PROJECT PERFORMANCE
| Remelting 2: | [5 empty] | Nominal Pre-Tax Project IRR (total project) |  |  |  |  | 7.791%
| Plant Capacity (kW) |  |  |  |  | 30100 | NPV-CF before Interest & Tax (total project) (in 1000 Baht) |  |  |  |  | -5657.0333
| Load Factor |  |  |  |  | 100% | Nominal Post-Tax Project IRR (total project) |  |  |  |  | #VALUE!
| Power Generation (kWh/yr) |  |  |  |  | 67454100 | NPV - Post-Tax (total project) (in 1000 Baht) |  |  |  |  | #VALUE!
| Mill Power Requirements (kWh/yr) |  |  |  |  | 13446000 | Pay-back Period (yrs) |  |  |  |  | #VALUE!
| Grid Export/Excess Power (kWh/yr) - yr 1 -5 |  |  |  |  | 35590984.848 | Equity IRR |  |  |  |  | #VALUE!
| Grid Export/Excess Power (kWh/yr) - yr 6 - 10 |  |  |  |  | 36716689.584 | Annual Debt Service Coverage Ratios
| Grid Export/Excess Power (kWh/yr) - yr 11 - 21 |  |  |  |  | 37842394.32 |  |  |  |  | Minimum | Average
| Pure Power Generation: | [5 empty] | Pre-Tax Cash Flow Coverage
| Plant Capacity (kW) |  |  |  |  | 23060 |  | of Interest |  |  | #VALUE! | #VALUE!
| Load Factor |  |  |  |  | 100% |  | of Debt Service |  |  | #VALUE! | #VALUE!
| Power Generation (kWh/yr) |  |  |  |  | 16603200 | After-Tax Cash Flow Coverage
| Mill Power Requirements (kWh/yr) |  |  |  |  | 576000 |  | of Interest |  |  | #VALUE! | #VALUE!
| Grid Export/Excess Power (kWh/yr) - yr 1- 5 |  |  |  |  | 10491620.55 |  | of Debt Service |  |  | #VALUE! | #VALUE!
| Grid Export/Excess Power (kWh/yr) - yr 6- 10 |  |  |  |  | 10823571.9
| Grid Export/Excess Power (kWh/yr) - yr 11 - 21 |  |  |  |  | 11155523.25 | [5 empty] | (Note: all figures in Baht 1000 unless otherwise stated)
| Annual Shutdown/Maintenance: | [10 empty] | Legend: C-crushing; CW-cane waiting; RM1-remelting 1; RM2-remelting 2; PP-pure power generation
| Back-up Power Requirements (MW) |  |  |  |  | 1
| Total Number Days for Annual Maintenance |  |  |  |  | 30
Income and Costs Calculation
| INCOME (in US$ 1000) |  |  |  | Baht | USD
| Energy payment - EGAT (yr 1-5) |  |  |  | 184573.4649 | 4292.4062 |  | export power*buyback rate + (export power/total operating hours)*number of months operation*capacity payment
| Energy payment - EGAT (yr 6-10) |  |  |  | 190411.5559 | 4428.1757
| Energy payment - EGAT (11 onwards) |  |  |  | 196249.647 | 4563.9453
| Capacity payment - EGAT (yr 1-5) |  |  |  | 76063.479 | 1768.9181
| Capacity payment - EGAT (yr 6-10) |  |  |  | 78469.3802 | 1824.8693
| Capacity payment - EGAT (yr 11 onwards) |  |  |  | 80875.2813 | 1880.8205
| Power sales - MPB |  |  |  | 32225.4014 | 749.4279
| Power sales - Sugar mill (C+CW+RM1) |  |  |  | 100898.8094 | 2346.4839
| Power sales - Sugar mill (RM2+PP) |  |  |  | 29502.78 | 686.1112 |  | power from grid*demand charge*number of months operation
| Steam sales (C+CW+RM1) |  |  |  | 40300.1567 | 937.2129 |  | amt of rice husk used*18%*operating hours*selling price of ash/1000
| Steam sales (RM2) |  |  |  | 18863.6175 | 438.6888
| NEPO incentive |  |  |  | 0 | 0
| Steam consumption (C+CW+RM1) |  |  |  |  | 1213301
| Steam consumption (RM2) |  |  |  |  | 290209.5
COSTS (in US$ 1000)
| Fuel (bagasse) |  |  |  | 148500 | 3453.4884
| Fuel (other biomass) |  |  |  | 92278 | 2146
| Raw water consumption (C+CW+RM1) |  |  |  |  | 363990.3
| Raw water consumption (RM2+PP) |  |  |  |  | 105976.35
| Purchase from grid |  |  |  | 1641.6908 | 38.1789

## OPERATION
COMPANY NAME: | Phu Kieo Bioenergy Co., Ltd.
Project: | Phu Kieo Bioenergy Cogeneration Plant
Configuration: | 120 tph biomass-fired boilers
26 MW extraction-condensing and 12 MW back-pressure turbo-generator, Firm Contract for 21 years
Option 1: | Sugar Mill to provide bagasse + raw water + land lease
Condition: | Sugar Mill to get steam and electricity
Base Operation 1: B+RW+LL=S+E+20m; Operation 2: E=EGAT price; Steam=Industrial rate
Date: | 2002-08-16
ANNUAL COGENERATION PLANT OPERATION
Operation | Crushing (C) | Cane-waiting (CW) | Remelting 1 (RM1) | Re-melting 2 (RM2) | Pure Power (PP) | Total
Electricity Generation, kW | 55560 | 0 | 30100 | 30100 | 23060
Mill Power Requirements, kW | 30140 | 0 | 6000 | 6000 | 800
Load Factor, % | 100% | 0% | 100% | 100% | 100%
Transformer loss, % | 2% | 0% | 2% | 2% | 2%
Parasitic Load, kW | 2920 | 0 | 2400 | 2400 | 2300
Export to MPB, kW | 2500 | 0 | 1700 | 1700 | 1700
Export to Grid, kW | 18888.8 | 0 | 19398 | 19398 | 17799
Number of days | 96.4583 | 0 | 110.1667 | 93.375 | 30 | 330 | 206.625 | 158.375
Number of Hours | 2315 | 0 | 2644 | 2241 | 720 | 7920 | 0.5661 | 0.4339
Total Number of Hours
Peak | 1116 | 0 | 1274.64 | 1080.36 | 347 | 3818
Off-Peak | 1199 | 0 | 1369.36 | 1160.64 | 373 | 4102
Total | 2315 | 0 | 2644 | 2241 | 720 | 7920
Electricity Generation. kWh | 128621400 | 0 | 79584400 | 67454100 | 16603200 | 292263100
Mill Power Requirements, kWh | 69774100 | 0 | 15864000 | 13446000 | 576000 | 99660100
Transformer loss, kWh | 2572428 | 0 | 1591688 | 1349082 | 332064 | 5845262
Parasitic Load, kWh | 6759800 | 0 | 6345600 | 5378400 | 1656000 | 20139800
Export to MPB, kWh | 5787500 | 0 | 4494800 | 3809700 | 1224000 | 15316000
Gross Export to Grid, kWh
Peak | 21079900.8 | 0 | 24725466.72 | 20956823.28 | 6176253 | 72938443.8
Off-Peak | 22647671.2 | 0 | 26562845.28 | 22514094.72 | 6639027 | 78363638.2
Off-take Profile, % (Yr 1-5)
Peak | 100% | 100% | 100% | 100% | 100%
Off-Peak | 65% | 65% | 65% | 65% | 65%
Off-Peak - Discounted | 0% | 0% | 0% | 0% | 0%
Off-take Profile, % (6-10)
Peak | 100% | 100% | 100% | 100% | 100%
Off-Peak | 70% | 70% | 70% | 70% | 70%
Off-Peak - Discounted | 0% | 0% | 0% | 0% | 0%
Off-take Profile, % (Yr 11-21)
Peak | 100% | 100% | 100% | 100% | 100%
Off-Peak | 75% | 75% | 75% | 75% | 75%
Off-Peak - Discounted | 0% | 0% | 0% | 0% | 0%
Net Export to Grid, in kWh (Yr 1-5)
Peak | 21079900.8 | 0 | 24725466.72 | 20956823.28 | 6176253 | 72938443.8
Off-Peak | 14720986.28 | 0 | 17265849.432 | 14634161.568 | 4315367.55 | 50936364.83
Off-Peak - Discounted | 0 | 0 | 0 | 0 | 0 | 0
Total | 35800887.08 | 0 | 41991316.152 | 35590984.848 | 10491620.55 | 123874808.63
Net Export to Grid, in kWh (Yr 6-10)
Peak | 21079900.8 | 0 | 24725466.72 | 20956823.28 | 6176253 | 72938443.8
Off-Peak | 15853369.84 | 0 | 18593991.696 | 15759866.304 | 4647318.9 | 54854546.74
Off-Peak - Discounted | 0 | 0 | 0 | 0 | 0 | 0
Total | 36933270.64 | 0 | 43319458.416 | 36716689.584 | 10823571.9 | 127792990.54
Net Export to Grid, in kWh (yr 11-21)
Peak | 21079900.8 | 0 | 24725466.72 | 20956823.28 | 6176253 | 72938443.8
Off-Peak | 16985753.4 | 0 | 19922133.96 | 16885571.04 | 4979270.25 | 58772728.65
Off-Peak - Discounted | 0 | 0 | 0 | 0 | 0 | 0
Total | 38065654.2 | 0 | 44647600.68 | 37842394.32 | 11155523.25 | 131711172.45
Summary | Total | C+CW+RM1 | RM2+PG
Total Power Generation, kWh | 292263100 | 208205800 | 84057300
Total Mill Requirements, kWh | 99660100 | 85638100 | 14022000
Total Transformer Loss, kWh | 5845262 | 4164116 | 1681146
Total Parasitic Consumption, kWh | 20139800 | 13105400 | 7034400
Total Export to MPB, kWh | 15316000 | 10282300 | 5033700
Annual Net Export to Grid, in kWh
| 100% | Discounted |  | Total
Yr 1-5 | 123874808.63 | 0 |  | 123874808.63
Yr 6-10 | 127792990.54 | 0 |  | 127792990.54
Yr 11-21 | 131711172.45 | 0 |  | 131711172.45

## INCOME
COMPANY NAME: | Phu Kieo Bioenergy Co., Ltd.
Project: | Phu Kieo Bioenergy Cogeneration Plant
Configuration: | 120 tph biomass-fired boilers
26 MW extraction-condensing and 12 MW back-pressure turbo-generator, Firm Contract for 21 years
Option 1: | Sugar Mill to provide bagasse + raw water + land lease
Sugar Mill to get steam and electricity
Case: | Base Operation 1: B+RW+LL=S+E+20m; Operation 2: E=EGAT price; Steam=Industrial rate
Date: | 2002-08-16
INCOME STATEMENT
IndexationYear |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
Operating Year |  | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Revenues
Energy payment - EGAT |  |  |  | 4292.4062 | 4421.1783 | 4553.8137 | 4690.4281 | 4831.1409 | 5133.4693 | 5287.4734 | 5446.0976 | 5609.4805 | 5777.7649 | 6133.5608 | 6317.5676 | 6507.0947 | 6702.3075 | 6903.3767 | 7110.478 | 7323.7924 | 7543.5061 | 7769.8113 | 8002.9057 | 8242.9928
Capacity payment - EGAT |  |  |  | 1768.9181 | 1821.9857 | 1876.6452 | 1932.9446 | 1990.9329 | 2115.5237 | 2178.9894 | 2244.3591 | 2311.6898 | 2381.0405 | 2527.6655 | 2603.4954 | 2681.6003 | 2762.0483 | 2844.9098 | 2930.257 | 3018.1648 | 3108.7097 | 3201.971 | 3298.0301 | 3396.971
Electricity sales- Sugar Mill (C+CW+RM1) |  |  |  | 2346.4839 | 2416.8785 | 2489.3848 | 2564.0664 | 2640.9883 | 2720.218 | 2801.8245 | 2885.8793 | 2972.4557 | 3061.6293 | 3153.4782 | 3248.0825 | 3345.525 | 3445.8908 | 3549.2675 | 3655.7455 | 3765.4179 | 3878.3804 | 3994.7318 | 4114.5738 | 4238.011
Electricity sales- Sugar Mill (RM2+PG) |  |  |  | 686.1112 | 706.6945 | 727.8953 | 749.7322 | 772.2242 | 795.3909 | 819.2526 | 843.8302 | 869.1451 | 895.2194 | 922.076 | 949.7383 | 978.2305 | 1007.5774 | 1037.8047 | 1068.9388 | 1101.007 | 1134.0372 | 1168.0583 | 1203.1001 | 1239.1931
Steam sales (C+CW+RM1) |  |  |  | 937.2129 | 965.3293 | 994.2892 | 1024.1179 | 1054.8414 | 1086.4867 | 1119.0813 | 1152.6537 | 1187.2333 | 1222.8503 | 1259.5358 | 1297.3219 | 1336.2416 | 1376.3288 | 1417.6187 | 1460.1472 | 1503.9517 | 1549.0702 | 1595.5423 | 1643.4086 | 1692.7108
Steam sales (RM2) |  |  |  | 438.6888 | 451.8494 | 465.4049 | 479.3671 | 493.7481 | 508.5605 | 523.8173 | 539.5319 | 555.7178 | 572.3894 | 589.561 | 607.2479 | 625.4653 | 644.2293 | 663.5561 | 683.4628 | 703.9667 | 725.0857 | 746.8383 | 769.2434 | 792.3207
NEPO incentive |  | 3 1: 0; 4 2: 0; 5 3: 0; 6 4: 0; 7 5: 0
Total revenues |  |  |  | 10469.8211 | 10783.9157 | 11107.4332 | 11440.6562 | 11783.8759 | 12359.6491 | 12730.4385 | 13112.3517 | 13505.7222 | 13910.8939 | 14585.8774 | 15023.4537 | 15474.1573 | 15938.382 | 16416.5335 | 16909.0295 | 17416.3004 | 17938.7894 | 18476.9531 | 19031.2617 | 19602.1995
Operating Expenses
Administration |  |  |  | 279.0698 | 293.0233 | 307.6744 | 323.0581 | 339.211 | 356.1716 | 373.9802 | 392.6792 | 412.3131 | 432.9288 | 454.5752 | 477.304 | 501.1692 | 526.2277 | 552.5391 | 580.166 | 609.1743 | 639.633 | 671.6147 | 705.1954 | 740.4552
O&M |  |  |  | 745.85 | 783.1425 | 822.2996 | 863.4146 | 906.5853 | 1087.9024 | 1142.2975 | 1199.4124 | 1259.383 | 1322.3522 | 1562.0285 | 1640.1299 | 1722.1364 | 1808.2432 | 1898.6554 | 1993.5882 | 2093.2676 | 2197.931 | 2307.8275 | 2423.2189 | 2544.3798
Fuel (bagasse) |  |  |  | 3453.4884 | 3557.093 | 3663.8058 | 3773.72 | 3886.9316 | 4003.5395 | 4123.6457 | 4247.3551 | 4374.7757 | 4506.019 | 4641.1996 | 4780.4356 | 4923.8486 | 5071.5641 | 5223.711 | 5380.4224 | 5541.835 | 5708.0901 | 5879.3328 | 6055.7128 | 6237.3841
Fuel (other biomass) |  |  |  | 2146 | 2253.3 | 2365.965 | 2484.2632 | 2608.4764 | 2738.9002 | 2875.8452 | 3019.6375 | 3170.6194 | 3329.1504 | 3495.6079 | 3670.3883 | 3853.9077 | 4046.6031 | 4248.9332 | 4461.3799 | 4684.4489 | 4918.6713 | 5164.6049 | 5422.8351 | 5693.9769
Land lease |  |  |  | 424.4186 | 437.1512 | 450.2657 | 463.7737 | 477.6869 | 492.0175 | 506.778 | 521.9813 | 537.6408 | 553.77 | 570.3831 | 587.4946 | 605.1194 | 623.273 | 641.9712 | 661.2304 | 681.0673 | 701.4993 | 722.5443 | 744.2206 | 766.5472
Raw Water |  |  |  | 71.0197 | 73.1503 | 75.3448 | 77.6051 | 79.9333 | 82.3313 | 84.8012 | 87.3452 | 89.9656 | 92.6646 | 95.4445 | 98.3078 | 101.2571 | 104.2948 | 107.4236 | 110.6463 | 113.9657 | 117.3847 | 120.9063 | 124.5334 | 128.2694
Purchase from EGAT |  |  |  | 38.1789 | 40.0878 | 42.0922 | 44.1968 | 46.4066 | 48.727 | 51.1633 | 53.7215 | 56.4076 | 59.2279 | 62.1893 | 65.2988 | 68.5637 | 71.9919 | 75.5915 | 79.3711 | 83.3397 | 87.5066 | 91.882 | 96.4761 | 101.2999
Insurance |  |  |  | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15
Total operating expenses |  |  |  | 7503.1753 | 7782.098 | 8072.5975 | 8375.1816 | 8690.3812 | 9154.7395 | 9503.6612 | 9867.2823 | 10246.2553 | 10641.2629 | 11226.5782 | 11664.509 | 12121.1522 | 12597.3478 | 13093.9751 | 13611.9542 | 14152.2484 | 14715.866 | 15303.8623 | 15917.3423 | 16557.4626
Less Depreciation |  |  |  | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6
Operating Profit (Loss) before Interest & Tax |  |  |  | 1022.0458 | 1057.2177 | 1090.2357 | 1120.8746 | 1148.8947 | 1260.3096 | 1282.1773 | 1300.4694 | 1314.867 | 1325.031 | 1414.6992 | 1414.3447 | 1408.4051 | 1396.4342 | 1377.9584 | 1352.4753 | 1319.4519 | 1278.3234 | 1228.4908 | 1169.3194 | 1100.137
Less Interest Expense |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit Before Tax |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1325.031 | 1414.6992 | 1414.3447 | 1408.4051 | 1396.4342 | 1377.9584 | 1352.4753 | 1319.4519 | 1278.3234 | 1228.4908 | 1169.3194 | 1100.137
Less Corporate Tax |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | -198.7547 | -212.2049 | -212.1517 | -211.2608 | -418.9303 | -413.3875 | -405.7426 | -395.8356 | -383.497 | -368.5472 | -350.7958 | -330.0411
Profit After Tax |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1126.2764 | 1202.4943 | 1202.193 | 1197.1443 | 977.5039 | 964.5709 | 946.7327 | 923.6164 | 894.8264 | 859.9435 | 818.5236 | 770.0959
Dividends Payable |  |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Legal Reserve | % of Net Income |  | 5% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 56.3138 | 60.1247 | 60.1096 | 59.8572 | 48.8752 | 48.2285 | 47.3366 | 46.1808 | 44.7413 | 42.9972 | 40.9262 | 38.5048
Retained Profit for the Year |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Unappropriated Profit brought forward |  |  |  | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Unappropriated Profit at the end of the year |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## CASH FLOW
COMPANY NAME: | Phu Kieo Bioenergy Co., Ltd.
Project: | Phu Kieo Bioenergy Cogeneration Plant
Configuration: | 120 tph biomass-fired boilers
26 MW extraction-condensing and 12 MW back-pressure turbo-generator, Firm Contract for 21 years
Option 1: | Sugar Mill to provide bagasse + raw water + land lease
Sugar Mill to get steam and electricity
Case: | Base Operation 1: B+RW+LL=S+E+20m; Operation 2: E=EGAT price; Steam=Industrial rate
Date: | 2002-08-16
CASH FLOW STATEMENT
IndexationYear |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
Operating Year |  | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Revenues
Energy payment - EGAT |  |  |  | 4292.4062 | 4421.1783 | 4553.8137 | 4690.4281 | 4831.1409 | 5133.4693 | 5287.4734 | 5446.0976 | 5609.4805 | 5777.7649 | 6133.5608 | 6317.5676 | 6507.0947 | 6702.3075 | 6903.3767 | 7110.478 | 7323.7924 | 7543.5061 | 7769.8113 | 8002.9057 | 8242.9928
Capacity payment - EGAT |  |  |  | 1768.9181 | 1821.9857 | 1876.6452 | 1932.9446 | 1990.9329 | 2115.5237 | 2178.9894 | 2244.3591 | 2311.6898 | 2381.0405 | 2527.6655 | 2603.4954 | 2681.6003 | 2762.0483 | 2844.9098 | 2930.257 | 3018.1648 | 3108.7097 | 3201.971 | 3298.0301 | 3396.971
Electricity sales- MPB |  |  |  | 749.4279 | 771.9108 | 795.0681 | 818.9201 | 843.4877 | 868.7924 | 894.8562 | 921.7018 | 949.3529 | 977.8335 | 1007.1685 | 1037.3835 | 1068.505 | 1100.5602 | 1133.577 | 1167.5843 | 1202.6118 | 1238.6902 | 1275.8509 | 1314.1264 | 1353.5502
Electricity sales- Sugar Mill (C+CW+RM1) |  |  |  | 2346.4839 | 2416.8785 | 2489.3848 | 2564.0664 | 2640.9883 | 2720.218 | 2801.8245 | 2885.8793 | 2972.4557 | 3061.6293 | 3153.4782 | 3248.0825 | 3345.525 | 3445.8908 | 3549.2675 | 3655.7455 | 3765.4179 | 3878.3804 | 3994.7318 | 4114.5738 | 4238.011
Electricity sales- Sugar Mill (RM2+PG) |  |  |  | 686.1112 | 706.6945 | 727.8953 | 749.7322 | 772.2242 | 795.3909 | 819.2526 | 843.8302 | 869.1451 | 895.2194 | 922.076 | 949.7383 | 978.2305 | 1007.5774 | 1037.8047 | 1068.9388 | 1101.007 | 1134.0372 | 1168.0583 | 1203.1001 | 1239.1931
Steam sales (C+CW+RM1) |  |  |  | 937.2129 | 965.3293 | 994.2892 | 1024.1179 | 1054.8414 | 1086.4867 | 1119.0813 | 1152.6537 | 1187.2333 | 1222.8503 | 1259.5358 | 1297.3219 | 1336.2416 | 1376.3288 | 1417.6187 | 1460.1472 | 1503.9517 | 1549.0702 | 1595.5423 | 1643.4086 | 1692.7108
Steam sales (RM2) |  |  |  | 438.6888 | 451.8494 | 465.4049 | 479.3671 | 493.7481 | 508.5605 | 523.8173 | 539.5319 | 555.7178 | 572.3894 | 589.561 | 607.2479 | 625.4653 | 644.2293 | 663.5561 | 683.4628 | 703.9667 | 725.0857 | 746.8383 | 769.2434 | 792.3207
NEPO incentive |  | 3 1: 0; 4 2: 0; 5 3: 0; 6 4: 0; 7 5: 0
Total revenues |  |  |  | 11219.249 | 11555.8265 | 11902.5013 | 12259.5763 | 12627.3636 | 13228.4414 | 13625.2947 | 14034.0535 | 14455.0751 | 14888.7274 | 15593.0459 | 16060.8372 | 16542.6624 | 17038.9422 | 17550.1105 | 18076.6138 | 18618.9122 | 19177.4796 | 19752.804 | 20345.3881 | 20955.7497
Operating Expenses
Administration |  |  |  | 279.0698 | 293.0233 | 307.6744 | 323.0581 | 339.211 | 356.1716 | 373.9802 | 392.6792 | 412.3131 | 432.9288 | 454.5752 | 477.304 | 501.1692 | 526.2277 | 552.5391 | 580.166 | 609.1743 | 639.633 | 671.6147 | 705.1954 | 740.4552
O&M |  |  |  | 745.85 | 783.1425 | 822.2996 | 863.4146 | 906.5853 | 1087.9024 | 1142.2975 | 1199.4124 | 1259.383 | 1322.3522 | 1562.0285 | 1640.1299 | 1722.1364 | 1808.2432 | 1898.6554 | 1993.5882 | 2093.2676 | 2197.931 | 2307.8275 | 2423.2189 | 2544.3798
Fuel (bagasse) |  |  |  | 3453.4884 | 3557.093 | 3663.8058 | 3773.72 | 3886.9316 | 4003.5395 | 4123.6457 | 4247.3551 | 4374.7757 | 4506.019 | 4641.1996 | 4780.4356 | 4923.8486 | 5071.5641 | 5223.711 | 5380.4224 | 5541.835 | 5708.0901 | 5879.3328 | 6055.7128 | 6237.3841
Fuel (other biomass) |  |  |  | 2146 | 2253.3 | 2365.965 | 2484.2632 | 2608.4764 | 2738.9002 | 2875.8452 | 3019.6375 | 3170.6194 | 3329.1504 | 3495.6079 | 3670.3883 | 3853.9077 | 4046.6031 | 4248.9332 | 4461.3799 | 4684.4489 | 4918.6713 | 5164.6049 | 5422.8351 | 5693.9769
Land lease |  |  |  | 424.4186 | 437.1512 | 450.2657 | 463.7737 | 477.6869 | 492.0175 | 506.778 | 521.9813 | 537.6408 | 553.77 | 570.3831 | 587.4946 | 605.1194 | 623.273 | 641.9712 | 661.2304 | 681.0673 | 701.4993 | 722.5443 | 744.2206 | 766.5472
Raw Water |  |  |  | 71.0197 | 73.1503 | 75.3448 | 77.6051 | 79.9333 | 82.3313 | 84.8012 | 87.3452 | 89.9656 | 92.6646 | 95.4445 | 98.3078 | 101.2571 | 104.2948 | 107.4236 | 110.6463 | 113.9657 | 117.3847 | 120.9063 | 124.5334 | 128.2694
Purchase from EGAT |  |  |  | 38.1789 | 40.0878 | 42.0922 | 44.1968 | 46.4066 | 48.727 | 51.1633 | 53.7215 | 56.4076 | 59.2279 | 62.1893 | 65.2988 | 68.5637 | 71.9919 | 75.5915 | 79.3711 | 83.3397 | 87.5066 | 91.882 | 96.4761 | 101.2999
Insurance |  |  |  | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15 | 345.15
Total operating expenses |  |  |  | 7503.1753 | 7782.098 | 8072.5975 | 8375.1816 | 8690.3812 | 9154.7395 | 9503.6612 | 9867.2823 | 10246.2553 | 10641.2629 | 11226.5782 | 11664.509 | 12121.1522 | 12597.3478 | 13093.9751 | 13611.9542 | 14152.2484 | 14715.866 | 15303.8623 | 15917.3423 | 16557.4626
Cash Flow from Operations |  |  |  | 3716.0738 | 3773.7285 | 3829.9038 | 3884.3948 | 3936.9825 | 4073.7019 | 4121.6335 | 4166.7713 | 4208.8199 | 4247.4645 | 4366.4677 | 4396.3282 | 4421.5101 | 4441.5944 | 4456.1354 | 4464.6596 | 4466.6638 | 4461.6136 | 4448.9417 | 4428.0458 | 4398.2872
Less Depreciation |  |  |  | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6 | -1944.6
Operating Profit (Loss) Before Interest & Tax |  |  |  | 1771.4738 | 1829.1285 | 1885.3038 | 1939.7948 | 1992.3825 | 2129.1019 | 2177.0335 | 2222.1713 | 2264.2199 | 2302.8645 | 2421.8677 | 2451.7282 | 2476.9101 | 2496.9944 | 2511.5354 | 2520.0596 | 2522.0638 | 2517.0136 | 2504.3417 | 2483.4458 | 2453.6872
Less Corporate Tax |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | -198.7547 | -212.2049 | -212.1517 | -211.2608 | -418.9303 | -413.3875 | -405.7426 | -395.8356 | -383.497 | -368.5472 | -350.7958 | -330.0411
Income After Tax |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 2104.1099 | 2209.6628 | 2239.5765 | 2265.6494 | 2078.0641 | 2098.1479 | 2114.317 | 2126.2282 | 2133.5166 | 2135.7944 | 2132.65 | 2123.6461
Add Depreciation |  |  |  | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6 | 1944.6
Operating Cash Flow |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 4048.7099 | 4154.2628 | 4184.1765 | 4210.2494 | 4022.6641 | 4042.7479 | 4058.917 | 4070.8282 | 4078.1166 | 4080.3944 | 4077.25 | 4068.2461
Capital Expenditure |  | 1 -1: -13476.078; 2 0: -27360.522
Salvage Value
Net Cash Flow Before Interest & Debt Service |  | -13476.078 | -27360.522 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 4048.7099 | 4154.2628 | 4184.1765 | 4210.2494 | 4022.6641 | 4042.7479 | 4058.917 | 4070.8282 | 4078.1166 | 4080.3944 | 4077.25 | 4068.2461
CUM. NET CASHFLOW BEFORE INT. & DEBT SERVICE |  | -13476.078 | -40836.6 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Net Present Value (Post-Tax) - total project @ | 10% | 1 -1: #VALUE!
Nominal Post -Tax IRR (project) |  | 1 -1: #VALUE!
Less Interest Expense |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less Debt Repayments |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Financing Cash Flow |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 4048.7099 | 4154.2628 | 4184.1765 | 4210.2494 | 4022.6641 | 4042.7479 | 4058.917 | 4070.8282 | 4078.1166 | 4080.3944 | 4077.25 | 4068.2461
CUM. NET FINANCING CASH FLOW |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Equity Cash Flow |  | -4583.2141 | -9305.3135 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 4048.7099 | 4154.2628 | 4184.1765 | 4210.2494 | 4022.6641 | 4042.7479 | 4058.917 | 4070.8282 | 4078.1166 | 4080.3944 | 4077.25 | 4068.2461
Equity IRR (Post-Tax) |  | 1 -1: #VALUE!
Net Present Value (NPV total project @) | 10% | 1 -1: -5657.0333
Cash Flow Before Interest and Tax |  | -13476.078 | -27360.522 | 3716.0738 | 3773.7285 | 3829.9038 | 3884.3948 | 3936.9825 | 4073.7019 | 4121.6335 | 4166.7713 | 4208.8199 | 4247.4645 | 4366.4677 | 4396.3282 | 4421.5101 | 4441.5944 | 4456.1354 | 4464.6596 | 4466.6638 | 4461.6136 | 4448.9417 | 4428.0458 | 4398.2872
Pre-Tax Project IRR (total) |  | 1 -1: 7.791%
DEBT SERVICE
Overall interest rate |  | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10%
Debt at beginning of year |  | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Debt Drawdown |  | 1 -1: #VALUE!; 2 0: 18055.2085
Interest During Construction |  | 1 -1: #VALUE!; 2 0: #VALUE!
Other Financing Expenses |  | 1 -1: #VALUE!
Repayment of Principal |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt at the end of the year |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Interest expense |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Debt service |  | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEBT SERVICE COVERAGE RATIOS
Pre-Tax Cash Flow Coverage
of Interest |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
of Debt Service |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
After-Tax Cash Flow Coverage
of Interest |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
of Debt Service |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PAYBACK (year) |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
PAYBACK (month) |  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!