[image: image1.jpg]e
—
—

ecoinvest
carbon





Response of the Project Participants to the request for review for: "Inversiones Hondureñas cogeneration project" (1034)  

Questions 1 and 2 are common to all requests for review. Therefore, the comments of the project participants to these questions are valid to all requests. In the following text, the reasons for request are italicized.

Requests 1, 2 and 3

1. On page 5 and 6 of the PDD it is stated that in the absence of the project activity the biomass

would have been left to decay or burnt uncontrollably whereas on page 10, it has been stated that the biomass would have been used for heat and electricity generation. Further justification is required that all possible alternative scenarios were considered and that scenario 14 is applicable.

Page 6 mentions that, until recent years, bagasse was burnt to produce energy in a very inefficient way. The PDD must be corrected in page 5: bagasse would NOT have been left to decay or burnt uncontrollably. The correct text must state: “In the absence of the project, bagasse would have been used for heat and electricity generation in the project site, but Inversiones Hondureñas would have to supply part of its energy needs with electricity from the grid, an activity that would have contributed to increase emissions, due to Honduras’ dependency on fossil fuels”. This is alternative B.4, in scenario 14.
2. The thermal firing capacity before and after the project activity should be stated and it should

be justified how the requirement of scenario 14 of ACM0006 v4 that the project should “increase the power generation capacity, while the thermal firing capacity is maintained” has been met.
In the Response form for request for clarification on Approved Methodologies F-CDM-AM-Clar_Resp_ver 01.1 - AM_CLA_0035 / 0036, issued during the Meth Panel meeting of 15-19 Januay 2007, it was recognized that scenarios 11 and 14 of methodology ACM0006 have a certain overlap: some project types may effectively be applicable to both scenarios. It was also agreed that the difference between power capacity expansion projects and energy efficiency improvement projects may not be fully clear as currently stated in the methodology.

It was also stated that, for scenarios 11, 12, 13 and 14, no additional quantity of biomass residues is used as a result of the project activity. Any increases in the bagasse production in this project are due to business expansion and can not be attributed to the implementation of the CDM project. The project itself does not have an impact in total thermal energy generation either, as project owners did not increase sugar production because of the project.

The project developers had exhaustive discussions with the DOE in order to define the scenario, 11 or 14, that better suits this kind of project activity. Scenario 14 was chosen because 
the equation to determine the additional electricity generation (EGy) for scenario 14 is more appropriate for this project than the equation for scenario 11. The equation for scenario 11 simply subtracts the historic electricity generation, while the equation for scenario 14 compares the efficiencies prior and after project implementation. In Inversiones Hondureñas project, the production of sugar is increasing and the combustion of bagasse as well. Hence, the electricity generation capacity would increase also in the baseline, just not to the same extent as in the project. The equation of scenario 14 captures this, while the equation for scenario 11 does not.


The numbers below show that the incremental biomass residue consumption is higher than the associated thermal energy generation during the project activity:

Baseline

	Boiler
	1

	Capacity tons/h
	120

	Steam Enthalpy kcal/kg steam
	766.1

	Efficiency
	68%


Average bagasse consumption: 145,000 tons

Project

	Boiler
	1

	Capacity tons/h
	120

	Steam Enthalpy kcal/kg steam
	766.1

	Efficiency
	75%


Bagasse consumption: 175,000 tons
Taking boiler capacity (tons of steam/h)*1000(tons to kg)*Enthalpy (kcal /kg steam) *4.18/3,600,000 (kcal to MWh) * Harvest hours /Efficiency/Tons of bagasse, the following results were obtained:
Baseline = 120*1,000*766.1*4.18/3,600,000 (kcal to MWh) *24*30*5/0.68/145,000 = 3.9 MWh/tons of bagasse
Project= 120*1,000*766.1*4.18/3,600,000*24*30*5/0.75/175,000 = 2.93 MWh/tons of bagasse

Note that, with the expansion of sugar cane production, this same quantity of bagasse would be burned in the baseline, but with an efficiency lower than in the project. It must be stressed again that any increases in the bagasse production in this project are due to Inversiones Hondureñas’ business expansion and can not be attributed to the implementation of the CDM project.
PAGE  
1
[image: image2.jpg]Rua Padre Jodo Manoel, 222 « CEP 01411-000  Sdo Paulo * SP ¢ Brasil » Tel +55 11 3063 9068 Fax +55 11 3063 9069
www.ecoinvestcarbon.com.br ¢ contato: info@ecoinvestcarbon.com





[image: image1.jpg][image: image2.jpg]