## Sheet1
Project Name | Installed Capacity | Year of Commissioning | Project Developer | Cost per MW | Gross Head | Nominal Discharge | RPM of Turbines | Transmission Voltage | Comment | Source | Source
Chujachen HEP | 99 MW | NA | M/w. Gati Infrastructure Pvt. Ltd | INR 4.53 Cr/ US$ 1.12 million | 297.5 meters | 39.5 cubic meters per second | 750 rpm | 132 Kv | The project has been awarded and is yet to start construction. The contractor has completed the preliminary mobilization at the site. Come civil works have been started. The estimated cost is Rs. 4.53 Crores/MW (US$1.12 million) compared with Rs. 5.71 Crores/MW (US$1.41 million) for the JLHEP. | For project cost | http://www.cea.nic.in/hydro/project_monitoring/Status%20of%20Hydroelectric%20Projects%20under%20Execution.pdf
[10 empty] | For gross head & nominal discharge (see page 6) | http://www.colenco.ch/_pdf/colencoinfo/ColencoInfo2004-11.pdf
Sada-Mangder Hydro Electric Project | 71 MW | 2009-2010 | M/w. Gati Infrastructure Pvt. Ltd | INR 4.93 Cr/ USD 1.22 million | 546 meters (sada) and 144 meters (Mangder) | 11.5 (Sada) and 13.7 (Mangder) cubic meters per second | 750 rpm | 132 Kv | The estimated cost is Rs. 4.93 Crores/MW (US$1.22 million) compared with Rs. 5.71 Crores/MW (US$1.41 million) for the JLHEP. | For project cost | http://www.gatiinfra.com/financials.htm
http://northeast.nic.in/writereaddata/eventimages/17.pdf
[10 empty] | For gross head (see page 6) | http://www.colenco.ch/_pdf/colencoinfo/ColencoInfo2004-11.pdf
Bhasmey HEP | 51 MW | 2010-2011 | M/w. Gati Infrastructure Pvt. Ltd | INR 4.90 Cr/ USD 1.21 million | 113 meters | 55 cubic meters per second | 375 rpm | 132 Kv | The estimated cost is Rs. 4.90 Crores/MW (US$1.21 million) compared with Rs. 5.71 Crores/MW (US$1.41 million) for the JLHEP. |  | http://www.gatiinfra.com/financials.htm
http://northeast.nic.in/writereaddata/eventimages/17.pdf
[10 empty] | For gross head & nominal discharge (see page 6) | http://www.colenco.ch/_pdf/colencoinfo/ColencoInfo2004-11.pdf
[10 empty] | Executive summary of Project | http://www.sikenvis.nic.in/docs/EIA%20EMP/EIA%20GIL/EXECUTIVE%20SUMMARY%20REPORT.pdf
Rongni chu Hydro Electric project | 98 MW | 2013-2014 | Chhattisgarh Electricity Company Ltd | INR 5.10 Cr/ USD 1.41 million | 438.5 meters | (to be provided) | 300 rpm | 220 kv | The estimated cost is Rs. 5.10 Crores/MW (US$1.26 million) compared with Rs. 5.71 Crores/MW (US$1.41 million) for the JLHEP. |  | http://northeast.nic.in/writereaddata/sublink3images/30.pdf
http://northeast.nic.in/writereaddata/eventimages/17.pdf
Jorethang HEP | 96 MW |  | Dans Energy Pvt. Ltd. | INR 5.71 Cr/ US$ 1.41 million | 84 meters | (to be provided) | 215 rpm | 220 kv | The estimated cost is Rs. 5.10 Crores/MW (US$1.26 million) compared with Rs. 5.71 Crores/MW (US$1.41 million) for the JLHEP. |  | http://northeast.nic.in/writereaddata/sublink3images/30.pdf
http://northeast.nic.in/writereaddata/eventimages/17.pdf