## Baseline
Anaerobic lagoon
(US$) | Year 0 | Year 1-9 | Year 10
Anaerobic lagoon
Equipment
Civil works and assembly | 306634.0944
Operational costs |  |  | 553682.473
Maintenance costs (10% investment) |  | 30663.4094 | 30663.4094
DIGESTER INVESTMENT
Digester desing volume (m3) | 67000
Contracted ground movement cost (CH$) | 69133625
Contracted ground movement cost (USD) | 102517.3869 | contract date 29/01/2002
Unitary investment cost (USD/m3) | 1.5301
ANAEROBIC LAGOON INVESTMENT
Influent flow (m3/d) | 1670
HRT (days) | 120
Anaerobic lagoon volume (m3) | 200400
Unitary investment cost (USD/m3) | 1.5301
Invstment cost (USD) | 306634.0944
OPERATIONAL COST IN YEAR 10
Volatile solids (kg/animal/year) from PDD | 215.5159
Heads from PDD | 33000
Volatile solids (mg/l) | 11667.6647
SV/ST rate | 80%
SST/ST rate | 60%
Sedimentation rate | 100%
Settled solids (mg/l) | 8750.7485
Solids removal in anaerobic lagoon | 60%
Effective removal (mg/l) | 5250.4491
Accumulated sludge per year (kg/year) | 3200411.25
Dry matter content | 15%
Annual sludge volume (m3) | 21336.075
Removal cost (CH$/m3) | 1750
Removal + Dry + Disposal costs (US$) (10 years) | 553682.473
674.36 | USD to CH$ | 2002-01-29

## Project digester
RAMIRANA DIGESTER
CONTRACT VALUES
| UF | US$
LAND | 0 | 0
STUDIES, PROJECTS AND LICENSES | 2649.3121 | 33000
OPERATIVE EXPENSES | 65.2358 | 0
PIPING | 4112.9708 | 0
GROUND MOVEMENTS | 4717.5832 | 0
CIVIL WORKS | 4829.358 | 0
LINER AND COVER | 4611.6703 | 17233.72
EQUIPMENT | 0 | 45176
EQUIPMENT ASSEMBLY | 0 | 0
ELECTRIC ASSEMBLY | 1684.3617 | 0
START UP | 151.7579 | 402
UNDERSEEN EXPENSES | 0 | 0
UF | 16893.78
US$ | 569.56
DIGESTER INVESTMENT | USD
LAND | 0
STUDIES, PROJECTS AND LICENSES | 111581.5283
OPERATIVE EXPENSES | 1934.9662
PIPING | 121995.2675
GROUND MOVEMENTS | 139928.7405
CIVIL WORKS | 143244.1029
LINER AND COVER | 154020.9664
EQUIPMENT | 45176
EQUIPMENT ASSEMBLY | 0
ELECTRIC ASSEMBLY | 49960.0332
START UP | 4903.3059
UNDERSEEN EXPENSES | 0
TOTAL EQUIPMENT | 45176
TOTAL INSTALLATION COSTS | 729503.877
Ramirana enclosed flare
CONTRACT VALUES
| UF | US$
STUDIES, PROJECTS AND LICENSES | 627.66 | 0
CIVIL WORKS | 269.1737 | 0
PROCESS EQUIPMENT | 0 | 112310.2173
ELECTRIC EQUIPMENT | 0 | 0
ELECTRIC AND CONTROL EQUIPMENT ASSEMBLY | 252.555 | 0
MECHANICAL EQUIPMENT AND PIPING ASSEMBLY | 347.7005 | 0
OPERATIVE EXPENSES | 95 | 0
UNDERSEEN EXPENSES (5%) | 430.4 | 0
UF | 19504.22
US$ | 506.23
ENCLOSED FLARE INVESTMENT | USD
STUDIES, PROJECTS AND LICENSES | 24182.7207
CIVIL WORKS | 10370.8252
PROCESS EQUIPMENT | 112310.2173
ELECTRIC EQUIPMENT | 0
ELECTRIC AND CONTROL EQUIPMENT ASSEMBLY | 9730.5326
MECHANICAL EQUIPMENT AND PIPING ASSEMBLY | 13396.3366
OPERATIVE EXPENSES | 3660.1958
UNDERSEEN EXPENSES | 16582.6132
TOTAL EQUIPMENT | 112310.2173
TOTAL INSTALLATION COSTS | 77923.2241

## Project digester Cost Center
RAMIRANA DIGESTER
COST CENTER
|  |  | BILL | CONTRACT |  | DETAILED
ITEM | DESCRIPTION | WEEK | DATE | VALUES |  | VALUES
|  |  |  | UF | US$ | UF | US$
1000 | LAND |  |  | 0 | 0 | 0 | 0
1010 | Land acquisition
1020 | Services
2000 | STUDIES, PROJECTS AND LICENSES |  |  | 2649.3121 | 33000 | 2649.3121 | 33000
2010 | Mark Moser (according to the contract) |  |  |  | 33000
| Payment N°1, Invoice 02.119 | 49 | 2003-11-21 |  |  |  | 33000
2020 | Poch & Asociados |  |  | 1994.75
Digester and piping
| Payment N°1, Bill 313 | 26 | 2001-06-29 |  |  | 28.17
| Payment N°2, Bill 407 | 36 | 2001-08-31 |  |  | 28.13
| Payment N°3, Bill 433 | 41 | 2001-09-28 |  |  | 47.7
| Payment N°4, Bill 464 | 42 | 2001-10-16 |  |  | 24.66
| Payment N°5, Bill 496 | 46 | 2001-11-12 |  |  | 111.84
| Payment N°6, Bill 530 | 52 | 2001-12-18 |  |  | 161.77
| Payment N°7, Bill 580 | 1 | 2001-12-31 |  |  | 43.01
| Payment N°8, Bill 632 | 7 | 2002-01-31 |  |  | 14.13
| Payment N°9, Bill 666 | 11 | 2002-02-28 |  |  | 185.72
| Payment N°10, Bill 709 | 15 | 2002-03-28 |  |  | 172.33
| Payment N°11, Bill 777 | 19 | 2002-04-30 |  |  | 199.61
| Payment N°12, Bill 821 | 24 | 2002-05-31 |  |  | 115.35
| Payment N°13, Bill 855 | 27 | 2002-06-28 |  |  | 42.19
| Payment N°14, Bill 943 | 32 | 2002-07-30 |  |  | 105.38
| Payment N°15, Bill 973 | 36 | 2002-08-30 |  |  | 20.02
| Payment N°16, Bill 1023 | 41 | 2002-09-30 |  |  | 40.22
| Payment N°17, Bill 1066 | 45 | 2002-10-30 |  |  | 65.93
| Payment N°18, Bill 1168 | 50 | 2002-11-29 |  |  | 28.29
| Payment N°19, Bill 1188 | 2 | 2002-12-30 |  |  | 62.02
| Payment N°20, Bill 1286 | 5 | 2003-01-31 |  |  | 110.44
| Payment N°21, Bill 1338 | 10 | 2003-02-28 |  |  | 157.81
| Payment N°22, Bill 1388 | 14 | 2003-03-28 |  |  | 99.285
| Payment N°23, Bill 1474 | 19 | 2003-04-30 |  |  | 59.125
| Payment N°24, Bill 1548 | 24 | 2003-05-29 |  |  | 3
| Payment N°25, Bill 1565 | 27 | 2003-06-30 |  |  | 15
| Payment N°26, Bill 1652 | 32 | 2003-07-31 |  |  | 34.9
| Payment N°27, Bill 1772 | 36 | 2003-08-29 |  |  | 3.75
| Payment N°28, Bill 1952 | 41 | 2003-09-30 |  |  | 14.97
2021 | Piping and pit (Poch y Asociados) |  |  | 462.43
| Payment N°1, Bill 1222 | 20 | 2003-05-09 |  |  | 169.08
| Payment N°2, Bill 1273 | 23 | 2003-06-02 |  |  | 127.54
| Payment N°3, Bill 1309 | 27 | 2003-07-01 |  |  | 23.56
| Payment N°4, Bill 1374 | 33 | 2003-08-11 |  |  | 35.68
| Payment N°5, Bill 1433 | 37 | 2003-09-11 |  |  | 34.88
| Payment Nº6, Bill 1622 | 3 | 2004-01-13 |  |  | 71.69
2025 | Handbooks (Poch Ambiental) |  |  | 64.61
| Payment N°1, Bill 846 | 24 | 2002-05-31 |  |  | 36.21
| Payment N°2, Bill 912 | 27 | 2002-06-28 |  |  | 20.04
| Payment N°3, Bill 997 | 36 | 2002-08-30 |  |  | 7.7
| Payment N°4, Bill 1016 | 41 | 2002-09-30 |  |  | 0.66
2030 | Hydraulic engineering
2040 | Technical inspection
2050 | Laboratory analysis |  |  | 15.533
| Water quality, Bill 12161 (Aqua) | 10 | 2003-02-24 |  |  | 0.91299
| Water quality, Bill 12271 (Aqua) | 14 | 2003-03-20 |  |  | 0.913
| Organic volatile acids Bill 4921(Lab. MR) | 14 | 2003-03-19 |  |  | 2.75
| Water quality, Bill 12425 (Aqua) | 23 | 2003-05-13 |  |  | 0.913
| Organic volatile acids Bill 4983 (Lab. MR) | 23 | 2003-04-30 |  |  | 2.718
| Water quality, Bill 12546 (Aqua) | 28 | 2003-06-17 |  |  | 0.913
| Organic volatile acids Bill 5200 (Lab. MR) | 28 | 2003-06-27 |  |  | 2.75
| Water quality, Bill 12735 (Aqua) | 34 | 2003-08-04 |  |  | 0.913
| Organic volatile acids Bill 5238 (Lab. MR) | 35 | 2003-07-31 |  |  | 2.75
2060 | Topography (Aritop) |  |  | 104.955
| Topographical survey, Bill 71 | 47 | 2001-11-16 |  |  | 35.7002
| Topographical survey, Bill 74 | 51 | 2001-12-14 |  |  | 13.5279
| Topographical survey, Bill 75 | 9 | 2002-02-26 |  |  | 55.7269
2061 | Topography (A. Roco) |  |  | 7.034
| Layout manure pipelines, Bill 217 | 13 | 2003-03-21 |  |  | 7.034
3000 | OPERATIVE EXPENSES |  |  | 65.2358 | 0 | 65.2358 | 0
3010 | Operative refundable expenses |  |  | 19.797
| Payment N° 1 Bill 782 (Poch Ambiental) | 19 | 2002-04-30 |  |  | 0.49113
| Payment N° 2 Bill 810 (Poch Ambiental) | 23 | 2002-05-29 |  |  | 1.4099
| Payment N°3, Bill 1205 (Poch Ambiental) | 2 | 2002-12-30 |  |  | 1.3619
| Payment N°4, Bill 1293 (Poch Ambiental) | 6 | 2003-01-31 |  |  | 2.9626
| Payment N°5, Bill 1356 (Poch Ambiental) | 11 | 2003-03-07 |  |  | 7.944
| Payment N°6, Bill 1387 (Poch Ambiental) | 14 | 2003-03-27 |  |  | 1.2644
| Payment N°7, Bill 1437 (Poch Ambiental) | 19 | 2003-04-28 |  |  | 1.0619
| Payment N°8, Bill 1570 (Poch Ambiental) | 27 | 2003-06-30 |  |  | 1.0579
| Payment N°9, Bill 1656 (Poch Ambiental) | 32 | 2003-07-31 |  |  | 2.2433
3015 | Refundable expenses (Poasin Ltda.) |  |  | 36.1698
| Payment N°1, Bill 1435 | 10 | 2003-03-03 |  |  | 1.0699
| Payment N°2, Bill 1490 | 17 | 2003-04-17 |  |  | 13.6097
| Payment N°3, Bill 1522 | 19 | 2003-05-06 |  |  | 3.0152
| Payment N°4, Bill 1582 | 24 | 2003-06-11 |  |  | 11.9679
| Payment N°5, Bill 1622 | 28 | 2003-07-07 |  |  | 2.0656
| Payment N°6, Bill 1737 | 45 | 2003-10-31 |  |  | 1.9992
| Payment N°7, Bill 1771 | 50 | 2003-12-03 |  |  | 2.4423
3020 | Traveling expenses (on site visit of Moser
and others)
3030 | Copy of maps (Poasin) |  |  | 4.1305
| Payment N°1, Bill 1173 | 47 | 2001-11-19 |  |  | 1.3441
| Payment N°2, Bill 1492 | 17 | 2003-04-17 |  |  | 1.2023
| Payment N°3, Bill 1546 | 19 | 2003-05-06 |  |  | 1.5841
3040 | Others |  |  | 5.1384
| Digital pressure reader, Bill 377804 (Sargent) | 33 | 2002-08-02 |  |  | 5.1384
4000 | PIPING |  |  | 4112.9708 | 0 | 4112.9708 | 0
4010 | Manure wells (6)
4020 | Pumping and assembly equipment (6)
4030 | Pipelines |  |  | 87.7404
| Payment N°1, Bill 1496 (P.Soto, discharge stopper) | 7 | 2003-02-06 |  |  | 72.2714
| Payment N°1, Bill 1496 (P.Soto, feed pipeline valves) | 7 | 2003-02-06 |  |  | 15.469
4031 | Piping "Grupo 8" to digester (P. Soto) |  |  | 218.5159
| Payment N°1, Bill 1224 | 29 | 2002-07-04 |  |  | 218.5159
4032 | Waste piping "Grupo 8" to digester (P. Soto) | 17 | 2003-04-14 | 385.8123
| Payment N°1, Bill 1609 |  |  |  |  | 385.8123
4040 | Other pipings |  |  | 865.6028
inside the site and gas pipeline
| Improvement on drinking water system, Bill N°19 (J.Urra) | 6 | 2002-01-31 |  |  | 865.6028
4045 | Piping "Grupo 12" to digester (J. Urra) |  |  | 730.7275
| Payment N°1, Bill 192 | 21 | 2003-05-18 |  |  | 830.9592
| Works decrease, N/C 001 | 21 | 2003-05-18 |  |  | -143.9664
| retentions devolution (5%), Bill 358 |  | 2004-08-03 |  |  | 43.7347
4046 | Others piping "Grupo 12" to Biodigestor (J. Urra) |  |  | 102.7929
| Payment N°1, Bill 182 | 20 | 2003-05-05 |  |  | 102.7929
4050 | Piping "Grupo 11" and "Grupo 7" to digester (Insac) |  |  | 1687.5291
| Payment N°1, Bill 3950 | 23 | 2003-06-02 |  |  | 1603.15
| Retentions devolution (5%), Bill 3969 | 27 | 2003-06-11 |  |  | 84.3791
4051 | Others piping "Grupo 11" and "Grupo 7" to digester (Insac) |  |  | 34.25
| Payment N°1, Bill 4010 | 29 | 2003-07-11 |  |  | 34.25
5000 | GROUND MOVEMENTS |  |  | 4717.5832 | 0 | 4717.5832 | 0
5100 | Digester
(67.000 m3)
5110 | Ground movement (R. Leiva) |  |  | 4256.0112
| Advance 20% Bill 5322 | 6 | 2002-02-01 |  |  | 851.2022
| Payment N° 1, Bill 5331 | 07 | 2002-02-14 |  |  | 674.4836
| Payment N° 2, Bill 5369 | 09 | 2002-03-01 |  |  | 1923.7643
| Payment N° 3 and final, Bill 5374 | 12 | 2002-03-14 |  |  | 593.7606
| Payment Dev. Bill 5400 | 13 | 2002-03-21 |  |  | 212.8006
5120 | Additional ground movement digester |  |  | 461.572
| Digger, Bill 5037 (R. Leiva) | 40 | 2001-09-25 |  |  | 2.4886
| Digger, Bill 271 (Cavimar) | 33 | 2002-08-09 |  |  | 6.608
| Divert of underground water, Bill 5768 (R. Leiva) | 36 | 2002-08-26 |  |  | 274.0306
| Pump rental, Bill 186 (J.C. Gálvez) | 37 | 2002-09-09 |  |  | 107.6
| Water installation from the water tank, Bill 188 (J.C. Gálvez) | 39 | 2002-09-26 |  |  | 41.0482
| Other labors, Bill 189 (J.C. Gálvez) | 39 | 2002-09-26 |  |  | 29.7967
5200 | Storage lagoon
(231.000 m3)
5210 | Ground movement
6000 | CIVIL WORKS |  |  | 4829.358 | 0 | 4829.358 | 0
6010 | Slab and inclined slab |  |  | 2823.1107
| Advance 30%, Bill 2678 | 16 | 2002-04-11 |  |  | 846.9332
| Payment N° 1, Bill 2690 | 20 | 2002-05-13 |  |  | 1976.1775
6015 | Other civil works |  |  | 213.3628
| Screw, Bill 2739 (Gresol) | 3 | 2003-01-08 |  |  | 29.2298
| Chamber construction, Bill 45 (El Lingue) | 5 | 2003-01-21 |  |  | 184.133
6020 | Machine room and others
6030 | Metallic structures
6040 | Cover and coating
6050 | Discharge well
6060 | Civil works well "Grupo 7 - 11" digester (Bonomo) |  |  | 1828.5788
| Payment N° 1, Bill 537 | 24 | 2003-06-01 |  |  | 1828.5788
6070 | Increase and decrease of works (Bonomo) |  |  | -35.6942
| Payment N° 1, N/C 01 | 24 | 2003-06-01 |  |  | -35.6942
7000 | LINER AND COVER |  |  | 4611.6703 | 17233.72 | 4611.6695 | 17233.72
7010 | Insert supply (polylock) |  |  | 84.4566
| Anchorage supply, Bill 350959 (P.P.P.) | 17 | 2002-04-11 |  |  | 84.4566
7020 | Liner supply (Emin) |  |  |  | 13161.72
| Payment N°1, Bill 9033 | 24 | 2002-05-31 |  |  |  | 12503.6339
| Retentions devolution(5%), Bill 10207 | 39 | 2003-09-12 |  |  |  | 658.0861
7030 | Cover supply and installation (PPP) |  |  | 2388.1485 |  | 2388.1485
| Advance 30%, Bill 363939 | 2 | 2003-01-06
| Payment N°1, Bill 366882 | 10 | 2003-02-25
7040 | Liner Installation (Emin) |  |  | 1861.8158
| Payment N°1, Bill 9033 | 24 | 2002-05-31 |  |  | 1768.7251
| Retentions devolution (5%), Bill 10208 | 39 | 2003-09-12 |  |  | 93.09
7050 | Cover installation
7060 | Additional costs for liner supply and installation |  |  | 188.4784 | 4072
| Payment N°1, Bill 9033 | 24 | 2002-05-31 |  |  | 179.0898 | 3869.0087
| Retentions devolution (5%), Bill 10208 | 39 | 2003-09-12 |  |  | 9.3887 | 202.9913
| Retentions devolution (5%), Bill 10207 | 39 | 2003-09-12
7070 | Others (liner) |  |  | 88.7709
| Coating repair, Bill 9317 (Emin) | 40 | 2002-09-26 |  |  | 88.7709
8000 | EQUIPMENT |  |  | 0 | 45176 | 0 | 45075
8010 | Perennial Energy (flare + gas management system) |  |  |  | 45075
| 10% Equipment, Invoice 2647 | 43 | 2002-10-15 |  |  |  | 4508
| 30% Equipment, Invoice 2648 | 51 | 2002-10-15 |  |  |  | 13522
| 50% Equipment, Invoice 2691 | 5 | 2003-01-17 |  |  |  | 22537
| 10% Equipment, Invoice 2699 | 10 | 2003-02-03 |  |  |  | 4508
8015 | Insurance |  |  |  | 101
8020 | Mixers
8030 | Pumps
9000 | EQUIPMENT ASSEMBLY |  |  | 0 | 0 | 0 | 0
10000 | ELECTRIC ASSEMBLY |  |  | 1684.3617 | 0 | 1684.3617 | 0
10010 | Electric and mechanical assembly (P. Soto) |  |  | 1369.8661
| Advance 30%, Bill 1416 | 47 | 2002-11-21 |  |  | 410.9598
| Payment N°1, Bill 1459 | 53 | 2002-12-27 |  |  | 873.6429
| Payment N°2, Bill 1685 | 24 | 2003-06-11 |  |  | 16.77
| Retention devolution, Bill 1684 | 24 | 2003-06-11 |  |  | 68.4933
10011 | Additional electric and mechanical assembly (P. Soto) |  |  | 7.4535
| Slab construction, Bill 1686 | 24 | 2003-06-11 |  |  | 7.4535
10020 | Electrical assembly power pumping tank (P. Soto) |  |  | 307.0421
| Payment N°1, Bill 1615 | 18 | 2003-04-29 |  |  | 292.8926
| Payment N°2 and final, Bill 1867 | 47 | 2003-11-05 |  |  | 14.1495
11000 | START UP |  |  | 151.7579 | 402 | 151.7579 | 402
11010 | Instruments |  |  |  | 402
| Bacharach Fyrite CO2 Invoice 2471 | 6 | 2002-01-23 |  |  |  | 402
11020 | Mixer tests |  |  | 34.0156
| 4 blocks tests, Bill 5414 (C. Bravo) | 38 | 2002-09-11 |  |  | 17.0591
| Immersion of blocks, Bill 5480 (C. Bravo) | 43 | 2002-10-18 |  |  | 16.9564
11030 | Inoculation |  |  | 117.7423
| Sludge transport, Bill 4709 (Mr. Rooter) | 11 | 2003-02-21 |  |  | 117.7423
12000 | UNDERSEEN EXPENSES (5%) |  |  | 0 | 0 | 0 | 0
|  |  |  | 22822.2499 | 95811.72 | 22822.2491 | 95710.72
|  |  |  | 26052.4638 | 772744.9108 | 26049.0578 | 772643.8873
UF | 16893.78
US$ | 569.56
UF | 16893.78
US$ | 569.56

## Project encl flare Cost Center
RAMIRANA ENCLOSED FLARE
COST CENTER
|  | BILL | CONTRACTED |  | REAL | PRESUPUESTO
ITEM | DESCRIPTION | DATE | VALUES |  | EXPENSES | ACTUALIZADO | balance | SALDO
|  |  | UF | US$ | UF | US$ | UF | US$
1000 | STUDIES, PROJECTS AND LICENSES |  | 627.66 | 0 | 627.66 | 0 | 0 | 0
balances
1010 | Topography |  | 0
1020 | Groung mechanics |  | 0
1030 | Architecture |  | 0
1040 | engineering and inspection (Poch y Asociados) |  | 367.66
| Payment N°1, Bill 5032 | 2007-10-08 |  |  | 112
| Payment N°2, Bill 5106 | 2007-11-07 |  |  | 105.55
| Payment N°3, Bill 5223 | 2007-12-07 |  |  | 150.11
| balance | [5 empty] | 0
1040.1 | engineering and inspection additionals (Poch y Asociados) |  | 260
| Payment N°1, Bill 5369 | 2008-01-21 |  |  | 130
| Payment N°2, Bill 5438 | 2008-02-07 |  |  | 130
| balance | [5 empty] | 0
2000 | CIVIL WORKS |  | 269.1737 | 0 | 269.1737 | 0 | 0 | 0
balances
2010 | Foundations and auxilary equipment
2010.1 | OO.CC. y Montaje Quemador (P. Soto) |  | 269.1737
| Payment N°1, Bill 5043 | 2007-11-23 |  |  | 255.72
| Retention 5%, Bill 5044 | 2007-11-23 |  |  | 13.4537
| balance | [5 empty] | 0
3000 | PROCESS EQUIPMENT |  | 0 | 112310.2173 | 0 | 110282 | 0 | 2028.2173
| balances |  |  | 2028.2173
3010 | New enclosed flare
3010.1 | Flare (Perennial Energy) |  |  | 75728
| Invoice N°5553 (10%) | 2007-07-20 |  |  |  | 7573
| Invoice N°5588 | 2007-09-17 |  |  |  | 68155
| balance | [6 empty] | 0
3010.2 | Additionals N°1 Flare (Perennial Energy) |  |  | 20664
| Invoice S/N° | 2007-10-04 |  |  |  | 20664
| balance | [6 empty] | 0
3010.3 | Additional N°2 Flare (Perennial Energy) |  |  | 8190
| Invoice S/N° | 2008-03-06 |  |  |  | 8190
| balance | [6 empty] | 0
3010.4 | Start up (Perennial Energy) |  |  | 5700
| Start up (Perennial Energy) |  |  |  |  | 5700
| balance | [6 empty] | 0
4000 | ELECTRIC EQUIPMENT |  | 0 | 0 | 0 | 0 | 0 | 0
balances
4010 | Electric panels |  | 0
5000 | ELECTRIC AND CONTROL EQUIPMENT ASSEMBLY |  | 252.555 | 0 | 180.5885 | 0 | 71.9665 | 0
balances
5010 | Electric assembly (P. Soto) |  | 180.5885
| Payment N°1, Bill |  |  |  | 180.5885
| balance | [5 empty] | 0
5010.1 | Additionals Nº1 Electric assembly (P. Soto) |  | 11.4172
5020 | Others
5020.1 | Electric instalation valve and compressor (P. Soto) |  | 60.5493
6000 | MECHANICAL EQUIPMENT AND PIPING ASSEMBLY |  | 347.7005 | 0 | 251.6076 | 0 | 96.093 | 0
balances
6010 | Flare assembly
6010.1 | Mechanical assembly and start up (Kamynox) |  | 251.6076
| Payment N°1, Bill 3144 | 2008-05-07 |  |  | 251.6076
| balance | [5 empty] | 0
6010.2 | Additionals N°1 mechanical assembly (Kamynox) |  | 84.6529
6010.3 | Additionals N°2 mechanical assembly (Kamynox) |  | 11.44
7000 | OPERATIVE EXPENSES |  | 95 | 0 | 81.0348 | 0 | 13.9652 | 0
| balances |  | 13.9652
7010 | Expenses
7010.1 | Expenses (Poasin) |  | 81.0348
| Payment N°1, Bill 3787 | 2007-12-26 |  |  | 80.3201
| Payment N°2, Bill 3859 | 2008-01-28 |  |  | 0.71471
| balance | [5 empty] | 0
8000 | UNDERSEEN EXPENSES |  | 430.4 | 0 | 0 | 0 | 430.4 | 0
8010 | Underseen expenses |  | 430.4
| TOTAL |  | 2022.4892 | 112310.2173 | 1410.0645 | 110282 | 612.4246 | 2028.2173
| EQUIVALENT TOTAL (UF , US$) |  | 4937.4892 | 190233.4414 | 4272.4224 | 164609.4971 | 665.0668 | 25623.9443
UF | 19504.22
US$ | 506.23
Euro $ | 747.31
2007-12-05
UF | 19504.22
US$ | 506.23
Actualización UF y US$ al Viernes de la semana
Note on B125: silvana.delcanto: Presupuesto de Inversión entregado por Ambiental indica Euro a $734,56.- el cual no existe en el año 2007. Se corrige la información.
Note on E62: silvana.delcanto: US$ 920 x 5 días (8 HH c/día) US$1.000 + 10% gastos reembolsables.

## Project Act sludge
RAMIRANA ACTIVATED SLUDGE PLANT
Code | Description | Contracted value
1000 | STUDIES, PROJECTS AND LICENSES | 218694.3702
2000 | CIVIL WORKS | 1729639.7513
3000 | PROCESS EQUIPMENT | 1036990
4000 | ELECTRIC EQUIPMENT | 89190.5101
5000 | ELECTRIC AND CONTROL EQUIPMENT ASSEMBLY | 138211.2262
6000 | MECHANICAL EQUIPMENT AND PIPING ASSEMBLY | 80200
7000 | OPERATIVE EXPENSES | 81157.1229
8000 | UNDERSEEN EXPENSES (5%) | 132525
| TOTAL | 3506607.9807
| ADDITIONAL COSTS | US$
| Electricity costs | 453779.8902
| Chemical costs (polymer and antifoaming) | 147963.531

## Project Act sludge Cost Center
ACTIVATED SLUDGE RAMIRANA
COST CENTER
ITEM | DESCRIPTION | BILL | CONTRACTED VALUE | REAL EXPENSE | BALANCE
|  | DATE | US$ | US$ | US$
1000 | STUDIES, PROJECTS AND LICENSES |  | 218694.3702 | 150120.139 | 68574.2312
1010 | Topography (A. Vera) |  | 1437.93
| Payment N°1, Bill 233 | 2004-10-25 |  | 856.81
| Payment N°2, Bill 246 | 2004-11-23 |  | 292.13
| Payment N°3, Bill 256 | 2004-12-07 |  | 288.99
| Balance |  |  |  | 0
1020 | Ground mechanics (Geocav) |  | 2970.958
| Payment N°1, Bill 1954 | 2004-12-09 |  | 2970.958
| Balance |  |  |  | 0
1025 | Hydrogeological study (Eduardo García) |  | 663.4592
| Payment N°1, Bill 19 | 2005-05-13 |  | 663.4592
| Balance |  |  |  | 0
1030 | Architecture |  | 0
1040 | Engineering (Poch y Asociados) |  | 105194.8869
| Advance 30%, Bill 2101 | 2004-10-09 |  | 31558.4661
| Payment N°1, Bill 2117 | 2004-11-02 |  | 13155.9971
| Payment N°2, Bill 2187 | 2004-12-06 |  | 3821.3245
| Payment N°3, Bill 2282 | 2005-01-06 |  | 2665.9076
| Payment N°4, Bill 2321 | 2005-02-03 |  | 2321.9656
| Payment N°5, Bill 2359 | 2005-03-04 |  | 1260.4548
| Payment N°6, Bill 2455 | 2005-04-06 |  | 3755.9612
| Payment N°7, Bill 2539 | 2005-05-06 |  | 8129.591
| Payment N°8, Bill 2628 | 2005-06-09 |  | 10379.9139
| Payment N°9, Bill 2677 | 2005-07-06 |  | 5972.0326
| Payment N°10, Bill 2735 | 2005-08-04 |  | 6953.9086
| Payment N°11, Bill 2811 | 2005-09-07 |  | 4596.8353
| Payment N°12, Bill 2858 | 2005-10-05 |  | 6224.6373
| Payment N°13, Bill 2950 | 2005-11-07 |  | 3986.3025
| Payment N°14, Bill 3001 | 2005-12-09 |  | 411.5887
| Balance |  |  |  | 0
1041 | Discount Enginering (Poch y Asociados) |  | -2159.716
| Credit note N°139 | 2005-08-04 |  | -2159.716
| Balance |  |  |  | 0
1045 | Complementary engineering (Poch y Asociados) |  | 27979.0842
| Payment Nº1, Bill 5368 | 2008-01-21 |  | 5597.394
| Payment Nº2, Bill 5440 | 2008-02-07 |  | 5597.394
| Payment Nº3, Bill 5510 | 2008-03-07 |  | 5597.394
| Payment N°4, Bill 5610 | 2008-04-07 |  | 5595.8168
| Payment N°5, Bill 6045 | 2008-10-27 |  | 1253.8541
| Balance |  |  |  | 4337.2312
1050 | Laboratory |  | 24088
1070 | Permits
1071 | Environmental Assessment (Poch Ambiental) |  | 18075.0349
| Payment N°1, Bill 2714 | 2004-05-31 |  | 965.0247
| Payment N°2, Bill 2768 | 2004-06-30 |  | 1071.3569
| Payment N°3, Bill 2892 | 2004-07-30 |  | 3803.317
| Payment N°4, Bill 2979 | 2004-08-31 |  | 1561.5027
| Payment N°5, Bill 3080 | 2004-09-30 |  | 1871.6605
| Payment N°6, Bill 3164 | 2004-10-31 |  | 468.7186
| Payment N°7, Bill 3243 | 2004-11-30 |  | 739.2363
| Payment N°8, Bill 3386 | 2004-12-31 |  | 160.7035
| Payment N°9, Bill 3584 | 2005-02-28 |  | 66.9598
| Payment N°10, Bill 3663 | 2005-03-31 |  | 120.5277
| Payment N°11, Bill 3844 | 2005-05-28 |  | 127.2236
| Payment N°12, Bill 4117 | 2005-07-31 |  | 609.103
| Payment N°13, Bill 4703 | 2005-12-29 |  | 2135.6039
| Payment N°14, Bill 4836 | 2006-01-31 |  | 4374.0965
| Balance |  |  |  | 0
1072 | Expenses Environmental Assessment (Poch Ambiental) |  | 295.7332
| Payment N°1, Bill 3739 | 2005-04-29 |  | 130.7461
| Payment N°2, Bill 4161 | 2005-08-05 |  | 41.4966
| Payment N°3, Bill 4764 | 2005-12-30 |  | 123.4904
| Balance |  |  |  | 0
1080 | Emelectric |  | 40149
1090 | Technical inspection |  | 0
2000 | CIVIL WORKS |  | 1729639.7513 | 1722061.5558 | 7578.1955
2010 | Ground movement (Cavasal) |  | 285268.1038
| Advance 30%, Bill 1897 | 2005-04-01 |  | 85580.4549
| Payment N°1, Bill 1909 | 2005-04-12 |  | 88135.3904
| Payment N°2, Bill 1954 | 2005-05-11 |  | 68921.9149
| Payment N°3, Bill 1976 | 2005-07-04 |  | 28366.8199
| Retentions 5%, Bill 1987 | 2005-07-26 |  | 14263.2153
| Balance |  |  |  | 0.30834
2011 | Ground studies |  | 331.5615
| Payment N°1, Bill 427 (R. Leiva) | 2005-02-01 |  | 122.9928
| Payment N°1, Bill 333 (Cavimar) | 2005-02-11 |  | 208.5687
| Balance |  |  |  | 0
2012 | Additionals ground movement (Cavasal) |  | 14640.2586
| Bill 1978 | 2005-07-04 |  | 14640.2586
| Balance |  |  |  | 0
2020 | Construction (Civil works)
2021 | Civil work (Inarco) |  | 1099649.6599
| Advance 30%, Bill 4275 | 2005-06-06 |  | 329894.8978
| Payment N°1 (avance de obra 28%) | 2005-06-15 |  | 201850.4495
| Payment N°2 (avance de obra 22%) | 2005-07-12 |  | 154029.48
| Payment N°3 (avance de obra 19%) | 2005-08-05 |  | 135940.7972
| Payment N°4 (avance de obra 23%) | 2005-09-14 |  | 166154.9603
| Payment N°5 (avance de obra 2%) | 2005-10-19 |  | 17653.3793
| Payment N°6 (avance de obra 5%) | 2005-12-12 |  | 39143.2073
| Retentions 5%, Bill 4673 | 2006-02-01 |  | 54982.4832
| Balance |  |  |  | 0.0051279
2022 | Additionals N°1 OO.CC. (Inarco) |  | 161894.9867
| Payment N°1 | 2005-09-14 |  | 29484.9856
| Payment N°2 | 2005-12-12 |  | 132410.0027
| Balance |  |  |  | -0.0017093
2024 | Additionals N°2 OO.CC. (Inarco) |  | 9900.8279
| Payment N°1 | 2006-04-04 |  | 9900.8279
| Balance |  |  |  | 0
2025 | Additional civil works (Astormaq) |  | 9505.0879
| Payment Nº1, Bill 52 | 2008-04-30 |  | 8626.2697
| Payment Nº2, Bill 74 | 2008-06-24 |  | 403.5643
| Retentions 5%, Bill 74 | 2008-06-24 |  | 475.2539
| Balance |  |  |  | 0
2100 | Additionals Civil works
2110 | Additionals Civil works |  | 24342.9292
| Piping, Bill 360 (Metalger) | 2005-10-04 |  | 3737.5807
| Aerators, Bill 359 (Metalger) | 2005-10-04 |  | 708.1811
| Others, Bill 434 (Metalger) | 2006-01-05 |  | 3922.7316
| Others, Bill 396 (ASEE) | 2006-01-10 |  | 515.5034
| Others, Bill 520 (Metalger) | 2006-04-10 |  | 746.0223
| Others, Bill 518 (Metalger) | 2006-04-10 |  | 2055.3155
| Others, Bill 3324 (P. Soto) | 2006-04-27 |  | 463.1232
| Others, Bill 571 (Metalger) | 2006-06-16 |  | 10507.9008
| Dicscharge chamber, Bill 638 (Metalger) | 2006-09-07 |  | 1686.5706
| Balance |  |  |  | 0
2111 | Additionals liner (Metalger) |  | 20526.839
| Payment N°1, Bill 636 | 2006-09-07 |  | 12948.9552
| Balance |  |  |  | 7577.8838
2112 | Additionals liner (Metalger) |  | 1502.6425
| Payment N°1, Bill 661 | 2006-10-03 |  | 1502.6425
| Balance |  |  |  | 0
2200 | Effluent pumping (P. Soto) |  | 99951.8876
| Payment N°1, Bill 3067 | 2006-01-10 |  | 99951.8876
| Balance |  |  |  | 0
2210 | Sanitary (P. Soto) |  | 2124.9668
| Bill 3138 | 2006-02-13 |  | 2124.9668
| Balance |  |  |  | 0
3000 | PROCESS EQUIPMENT |  | 1036990 | 718389.9997 | 318600.0003
3010 | Equipment (Ecopreneur) |  | 1012000
Transport
| Advance 10%, Bill 2263 | 2004-10-28 |  | 101200
| Payment N°1 (10%), Bill 2318 | 2004-12-13 |  | 101200
| Payment N°2 (50%), Bill 2433 | 2005-03-17 |  | 506000
| Balance |  |  |  | 303600
3011 | Additional equipment (Ecopreneur) |  | 9990
| Payment N°1, Bill 2541 | 2005-06-14 |  | 9989.9997
| Balance |  |  |  | 0.00033791
3020 | Additional equipment
Transport
3030 | Additional equipment |  | 15000
4000 | ELECTRIC EQUPMENT |  | 89190.5101 | 39190.5101 | 50000
4010 | Panels |  | 50000
4015 | Panels (Elico) |  | 15306.1224
| Payment N°1, Bill 11489 | 2005-10-01 |  | 15306.1224
| Balance |  |  |  | 0
4020 | Transformer
4021 | Transformer |  | 23884.3876
| Payment N°1, Bill 889770 | 2005-04-27 |  | 23884.3876
| Balance |  |  |  | 0
5000 | ELECTRIC AND CONTROL EQUIPMENT ASSEMBLY |  | 138211.2262 | 138211.4093 | -0.18308
5010 | Electric and control assembly (Emelta) |  | 114690.4511
| Advance 30%, Bill 21487 | 2005-08-26 |  | 36382.1673
| Payment N°1, Bill 21701 | 2005-10-03 |  | 30030.2606
| Payment N°2, Bill 21743 | 2005-10-24 |  | 31160.3091
| Payment N°3, Bill 21773 | 2005-11-07 |  | 9297.9326
| Payment N°4, Bill 21902 | 2006-01-17 |  | 2080.5866
| Retentions 5%, Bill 22077 | 2006-04-28 |  | 5739.378
| Balance |  |  |  | -0.18308
5011 | Additionals Electric and control assembly (Emelta) |  | 7602.057
| Payment N°1, Bill 21903 | 2006-01-17 |  | 7602.057
| Balance |  |  |  | 0
5020 | Electric line (P. Soto) |  | 12160.2135
| Electric, Bill 3120 | 2006-02-08 |  | 12160.2135
| Balance |  |  |  | 0
5030 | Other electic works (Varios Contratistas) |  | 3758.5047
| Bill 1828 (O. Herrera) | 2006-07-31 |  | 3758.5047
| Balance |  |  |  | 0
6000 | MECHANICAL EQUIPMENT AND PIPING ASSEMBLY |  | 80200 | 0 | 80200
6010 | Mechanical equipment and piping assembly |  | 80200
7000 | OPERATIVE EXPENSES |  | 81157.1229 | 23443.1229 | 57714
7010 | Rent and transport of cranes |  | 4015
7020 | Expenses
7021 | Document and maps copy (Poasin) |  | 1961.4652
| Payment N°1, Bill 2284 | 2005-03-30 |  | 555.092
| Payment N°2, Bill 2387 | 2005-05-31 |  | 413.6505
| Payment N°3, Bill 2419 | 2005-07-13 |  | 149.9664
| Payment N°4, Bill 2465 | 2005-08-23 |  | 699.4021
| Payment N°5, Bill 2579 | 2005-12-30 |  | 113.125
| Payment N°6, Bill 3057 | 2006-11-30 |  | 30.2292
| Balance |  |  |  | 0
7022 | Expenses (Poasin) |  | 21481.6577
| Payment N°1, Bill 2350 | 2005-04-29 |  | 193.2575
| Payment N°2, Bill 2449 | 2005-07-28 |  | 2305.6877
| Payment N°3, Bill 2492 | 2005-09-08 |  | 2039.7337
| Payment N°4, Bill 2493 | 2005-09-08 |  | 2168.8069
| Payment N°5, Bill 2513 | 2005-10-05 |  | 2171.5702
| Payment N°6, Bill 2532 | 2005-11-07 |  | 2140.1082
| Payment N°7, Bill 2546 | 2005-11-22 |  | 677.5182
| Payment N°8, Bill 2564 | 2005-12-27 |  | 3608.3448
| Payment N°9, Bill 2587 | 2005-12-30 |  | 1872.3109
| Payment N°10, Bill 2664 | 2006-02-13 |  | 2094.5159
| Payment N°11, Bill 2674 | 2006-03-15 |  | 538.3151
| Payment N°12, Bill 2748 | 2006-05-17 |  | 1302.3614
| Payment N°13, Bill 2797 | 2006-06-07 |  | 213.7125
| Payment N°14, Bill 2892 | 2006-08-08 |  | 69.4342
| Payment N°15, Bill 2912 | 2006-08-18 |  | 85.9805
| Balance |  |  |  | 0
7030 | Travel expenses |  | 9368
7040 | Sludhe transportation |  | 10706
7050 | Polymer |  | 28278
7060 | Antifoaming |  | 260
7070 | Laboratory |  | 5087
8000 | UNDERSEEN EXPENSES (5%) |  | 132525 | 0 | 132525
8010 | Underseen expenses |  | 132525
| TOTAL |  | 3506607.9807 | 2791416.7367 | 715191.244
Los Valores de US$ y UF son actualizados al Viernes de la semana |  | 18339.92
543.07

## NPV comparison
Baseline (US$) | Year 0 | Year 1 | Year n | Year 10
WASTE TREATMENT: ANAEROBIC LAGOON
Equipment costs | 0
Fair value |  |  |  | 0
Installation costs | -306634
Maintenance costs |  | -30663.4 | -30663.4 | -30663.4
Additional costs (Sludge removal in 10th year) |  |  |  | -553682.473
TOTAL BASELINE | -306634 | -30663.4 | -30663.4 | -584345.873
NPV (US$) (discount rate = 10 %) | -708515.8809 |  |  |  | 110%
Project (US$) | Year 0 | Year 1 | Year n | Year 10
WASTE TREATMENT STAGE I: DIGESTER
Equipment costs (Gas handling skid (GHS) consisting of blower system, PLC, heat exchange system, boiler and flare system) | -157486.2173
Fair value |  |  |  | 15748.6217
Installation costs | -807427.1011
Maintenance costs |  | -15748.6217 | -15748.6217 | -15748.6217
Additional costs (Operation) |  | 0 | 0 | 0
SUBTOTAL | -964913.3184 | -15748.6217 | -15748.6217 | 0
WASTE TREATMENT STAGE II: ACTIVATED SLUDGE
Equipment costs (aerators, decanter, solid separators) | -1126180.5101
Fair value |  |  |  | 112618.051
Installation costs | -2380427.4707
Maintenance costs |  | -112618.051 | -112618.051 | -112618.051
Additional costs (Operation) |  | -601743.4213 | -601743.4213 | -601743.4213
SUBTOTAL | -3506607.9807 | -714361.4723 | -714361.4723 | -601743.4213
TOTAL PROJECT | -4471521.2991 | -730110.094 | -730110.094 | -601743.4213
NPV (US$) (discount rate = 10 %) | -8908240.8569 |  |  |  | 110%
| NPV | 0% | -10% | 10%
| Baseline NPV | -708515.8809 | -677852.4809 | -739179.2809
| Project NPV | -8908240.8569 | -8459619.8102 | -9356861.9036
20 years assessment period
(US$) | Year 0 | Year 1 | Year n | Year 20
TOTAL BASELINE | -306634 | -30663.4 | -30663.4 | -584345.873
NPV (US$) (discount rate = 10 %) | -649990.1813 |  |  |  | 10%
TOTAL PROJECT | -4471521.2991 | -730110.094 | -730110.094 | -601743.4213
NPV (US$) (discount rate = 10 %) | -10668279.2188
Baseline NPV - Project NPV 10 years | 8199724.976
Baseline NPV - Project NPV 20 years | 10018289.0374

## Sensitivity analysis +
Sensitivity analysis
| Baseline (US$) | Year 0 | Year 1 | Year n | Year 10
WASTE TREATMENT: ANAEROBIC LAGOON
| Equipment costs | 0
| Fair value |  |  |  | 0
| Installation costs | -337297.4
| Maintenance costs |  | -30663.4 | -30663.4 | -30663.4
| Additional costs (Sludge removal in 10th year) |  | 0 | 0 | -553682.473
| TOTAL BASELINE | -337297.4 | -30663.4 | -30663.4 | -584345.873
| NPV (US$) (discount rate = 10 %) | -739179.2809 |  |  |  | 110%
| Project (US$) | Year 0 | Year 1 | Year n | Year 10
WASTE TREATMENT STAGE I: DIGESTER
| Equipment costs (Gas handling skid (GHS) consisting of blower system, PLC, heat exchange system, boiler and flare system) | -157486.2173
| Fair value |  |  |  | 15748.6217
| Installation costs | -807427.1011
| Maintenance costs |  | -17323.4839 | -17323.4839 | -17323.4839
| Additional costs (Operation) |  | 0 | 0 | 0
| SUBTOTAL | -964913.3184 | -17323.4839 | -17323.4839 | -1574.8622
WASTE TREATMENT STAGE II: ACTIVATED SLUDGE
| Equipment costs (aerators, decanter, solid separators) | -1126180.5101
| Fair value | 0 |  |  | 112618.051
| Installation costs | -2380427.4707
| Maintenance costs |  | -123879.8561 | -123879.8561 | -123879.8561
| Additional costs (Operation) |  | -661917.7634 | -661917.7634 | -661917.7634
| SUBTOTAL | -3506607.9807 | -785797.6195 | -785797.6195 | -673179.5685
| TOTAL PROJECT | -4471521.2991 | -803121.1034 | -803121.1034 | -674754.4307
| NPV (US$) (discount rate = 10 %) | -9356861.9036 |  |  |  | 110%

## Sensitivity analysis -
Sensitivity analysis
| Baseline (US$) | Year 0 | Year 1 | Year n | Year 10
WASTE TREATMENT: ANAEROBIC LAGOON
| Equipment costs | 0
| Fair value |  |  |  | 0
| Installation costs | -275970.6
| Maintenance costs |  | -30663.4 | -30663.4 | -30663.4
| Additional costs (Sludge removal in 10th year) |  | 0 | 0 | -553682.473
| TOTAL BASELINE | -275970.6 | -30663.4 | -30663.4 | -584345.873
| NPV (US$) (discount rate = 10 %) | -677852.4809 |  |  |  | 110%
| Project (US$) | Year 0 | Year 1 | Year n | Year 10
WASTE TREATMENT STAGE I: DIGESTER
| Equipment costs (Gas handling skid (GHS) consisting of blower system, PLC, heat exchange system, boiler and flare system) | -157486.2173
| Fair value |  |  |  | 15748.6217
| Installation costs | -807427.1011
| Maintenance costs |  | -14173.7596 | -14173.7596 | -14173.7596
| Additional costs (Operation) |  | 0 | 0 | 0
| SUBTOTAL | -964913.3184 | -14173.7596 | -14173.7596 | 1574.8622
WASTE TREATMENT STAGE II: ACTIVATED SLUDGE
| Equipment costs (aerators, decanter, solid separators) | -1126180.5101
| Fair value | 0 |  |  | 112618.051
| Installation costs | -2380427.4707
| Maintenance costs |  | -101356.2459 | -101356.2459 | -101356.2459
| Additional costs (Operation) |  | -541569.0791 | -541569.0791 | -541569.0791
| SUBTOTAL | -3506607.9807 | -642925.325 | -642925.325 | -530307.274
| TOTAL PROJECT | -4471521.2991 | -657099.0846 | -657099.0846 | -528732.4119
| NPV (US$) (discount rate = 10 %) | -8459619.8102 |  |  |  | 110%