## Power data
INTERNATIONAL POWER CORPORATION LTD - KEMPHOLE MINIHOLE SCHEME
|  |  |  | Energy Meter Reading |  |  |  |  | Energy Export / Import in KWH |  |  |  | Calibration Correction |  |  |  | Net Energy Exported |  |  |  | Energy considered in JMR |  |  | Energy considered in ER Estimation*
|  |  |  | Line 1 |  |  |  | Multiplying | Line 1 |  |  |  | Line 1 |  |  |  | Line 1 |  |  |  | Line 1 |  |  | Line1
Invoice no. | Invoice | Meter Reading Period |  | Main Meter |  | Check Meter |  | Constant | Main Meter |  | Check Meter |  | Main Meter |  | Check Meter |  | Main Meter |  | Check Meter
| Date | From | To | Export | Import | Export | Import | for Kwh | Export | Import | Export | Import | Export | Import | Export | Import | Export | Import | Export | Import | Export | Import |  | Export | Import | Net
KEMP/LD-31 | 12.05.2006 | 01.04.2006 | 01.05.2006 | 537.85 | 3.5 | 537.48 | 3.47 | 90000 | 119700 | 12600 | 118800 | 12600 | 0 | 0 | 0 | 0 | 119700 | 12600 | 118800 | 12600 | 119700 | 12600 |  | 118800 | 12600
KEMP/LD-32 | 05.06.2006 | 01.05.2006 | 01.06.2006 | 545.65 | 3.61 | 545.28 | 3.58 | 90000 | 702000 | 9900 | 702000 | 9900 | 0 | 0 | 0 | 0 | 702000 | 9900 | 702000 | 9900 | 702000 | 9900 |  | 697469.2028 | 9900 | 687569.2028
KEMP/LD-33 | 05.07.2006 | 01.06.2006 | 01.07.2006 | 570.82 | 3.63 | 570.43 | 3.59 | 90000 | 2265300 | 1800 | 2263500 | 900 | 0 | 0 | 0 | 0 | 2265300 | 1800 | 2263500 | 900 | 2265300 | 1800 |  | 2250679.4661 | 1800 | 2248879.4661
KEMP/LD-34 | 07.08.2006 | 01.07.2006 | 01.08.2006 | 638.84 | 3.63 | 638.4 | 3.6 | 90000 | 6121800 | 0 | 6117300 | 900 | 0 | 0 | 0 | 0 | 6121800 | 0 | 6117300 | 900 | 6121800 | 0 |  | 6082289.1253 | 0 | 6082289.1253
KEMP/LD-35 | 07.09.2006 | 01.08.2006 | 01.09.2006 | 699.1 | 3.63 | 698.63 | 3.6 | 90000 | 5423400 | 0 | 5420700 | 0 | 0 | 0 | 0 | 0 | 5423400 | 0 | 5420700 | 0 | 5423400 | 0 |  | 5388396.6876 | 0 | 5388396.6876
KEMP/LD-36 | 07.10.2006 | 01.09.2006 | 01.10.2006 | 758.19 | 3.63 | 757.68 | 3.6 | 90000 | 5318100 | 0 | 5314500 | 0 | 0 | 0 | 0 | 0 | 5318100 | 0 | 5314500 | 0 | 5318100 | 0 |  | 5283776.3072 | 0 | 5283776.3072
KEMP/LD-37 | 08.11.2006 | 01.10.2006 | 01.11.2006 | 797.54 | 3.63 | 797 | 3.6 | 90000 | 3541500 | 0 | 3538800 | 0 | 0 | 0 | 0 | 0 | 3541500 | 0 | 3538800 | 0 | 3541500 | 0 |  | 3518642.7092 | 0 | 3518642.7092
KEMP/LD-38 | 08.12.2006 | 01.11.2006 | 01.12.2006 | 817.82 | 3.64 | 817.27 | 3.6 | 90000 | 1825200 | 900 | 1824300 | 0 | 0 | 0 | 0 | 0 | 1825200 | 900 | 1824300 | 0 | 1825200 | 900 |  | 1813419.9274 | 900 | 1812519.9274
KEMP/LD-39 | 08.01.2007 | 01.12.2006 | 01.01.2007 | 829.31 | 3.67 | 828.73 | 3.64 | 90000 | 1034100 | 2700 | 1031400 | 3600 | 0 | 0 | 0 | 0 | 1034100 | 2700 | 1031400 | 3600 | 1034100 | 2700 |  | 1027425.7873 | 2700 | 1024725.7873
KEMP/LD-40 | 13.02.2007 | 01.01.2007 | 01.02.2007 | 835.04 | 3.74 | 834.46 | 3.7 | 90000 | 515700 | 6300 | 515700 | 5400 | 0 | 0 | 0 | 0 | 515700 | 6300 | 515700 | 5400 | 515700 | 6300 |  | 512371.6067 | 6300 | 506071.6067
KEMP/LD-41 | 12.03.2007 | 01.02.2007 | 01.03.2007 | 838.35 | 3.83 | 837.76 | 3.79 | 90000 | 297900 | 8100 | 297000 | 8100 | 0 | 0 | 0 | 0 | 297900 | 8100 | 297000 | 8100 | 297900 | 8100 |  | 295977.3156 | 8100 | 287877.3156
KEMP/LD-42 | 05.04.2007 | 01.03.2007 | 01.04.2007 | 840.42 | 3.99 | 839.84 | 3.95 | 90000 | 186300 | 14400 | 187200 | 14400 | 0 | 0 | 0 | 0 | 186300 | 14400 | 187200 | 14400 | 186300 | 14400 |  | 185097.5961 | 14400 | 170697.5961
KEMP/LD-43 | 14.05.2007 | 01.04.2007 | 01.05.2007 | - | - | 840.41 | 3.98 | 90000 | 0 | 0 | 51300 | 2700 | 0 | 0 | 0 | 0 | 0 | 0 | 51300 | 2700 | 51300 | 2700 |  | 50157.7301 | 2700 | 47457.7301
|  |  |  | Energy Meter Reading |  |  |  |  | Energy Export / Import in KWH |  |  |  | Calibration Correction |  |  |  | Net Energy Exported |  |  |  | Energy considered in JMR |  |  | Energy considered in ER estimation
|  |  |  | Line 2 |  |  |  | Multiplying | Line 2 |  |  |  | Line 2 |  |  |  | Line 2 |  |  |  | Line 2 |  |  | Line 2
Invoice no. | Invoice | Meter Reading Period |  | Main Meter |  | Check Meter |  | Constant | Main Meter |  | Check Meter |  | Main Meter |  | Check Meter |  | Main Meter |  | Check Meter
| Date | From | To | Export | Import | Export | Import | for Kwh | Export | Import | Export | Import | Export | Import | Export | Import | Export | Import | Export | Import | Export | Import |  | Export | Import | Net
KEMP/LD-31 | 12.05.2006 | 01.04.2006 | 01.05.2006 | 444.69 | 1.22 | 444.38 | 1.12 | 90000 | 105300 | 12600 | 105300 | 11700 | 0 | 0 | 0 | 0 | 105300 | 12600 | 105300 | 11700 | 105300 | 12600 |  | 105300 | 11700
KEMP/LD-32 | 05.06.2006 | 01.05.2006 | 01.06.2006 | 452.14 | 1.32 | 451.82 | 1.22 | 90000 | 670500 | 9000 | 669600 | 9000 | 0 | 0 | 0 | 0 | 670500 | 9000 | 669600 | 9000 | 670500 | 9000 |  | 669159 | 9018 | 660141
KEMP/LD-33 | 05.07.2006 | 01.06.2006 | 01.07.2006 | 477.28 | 1.34 | 476.94 | 1.24 | 90000 | 2262600 | 1800 | 2260800 | 1800 | 0 | 0 | 0 | 0 | 2262600 | 1800 | 2260800 | 1800 | 2262600 | 1800 |  | 2258074.8 | 1803.6 | 2256271.2
KEMP/LD-34 | 07.08.2006 | 01.07.2006 | 01.08.2006 | 547.01 | 1.34 | 546.64 | 1.24 | 90000 | 6275700 | 0 | 6273000 | 0 | 0 | 0 | 0 | 0 | 6275700 | 0 | 6273000 | 0 | 6275700 | 0 |  | 6263148.6 | 0 | 6263148.6
KEMP/LD-35 | 07.09.2006 | 01.08.2006 | 01.09.2006 | 607.06 | 1.34 | 606.64 | 1.24 | 90000 | 5404500 | 0 | 5400000 | 0 | 0 | 0 | 0 | 0 | 5404500 | 0 | 5400000 | 0 | 5404500 | 0 |  | 5393691 | 0 | 5393691
KEMP/LD-36 | 07.10.2006 | 01.09.2006 | 01.10.2006 | 663.53 | 1.34 | 663.04 | 1.24 | 90000 | 5082300 | 0 | 5076000 | 0 | 0 | 0 | 0 | 0 | 5082300 | 0 | 5076000 | 0 | 5082300 | 0 |  | 5072135.4 | 0 | 5072135.4
KEMP/LD-37 | 08.11.2006 | 01.10.2006 | 01.11.2006 | 702.74 | 1.34 | 702.13 | 1.24 | 90000 | 3528900 | 0 | 3518100 | 0 | 0 | 0 | 0 | 0 | 3528900 | 0 | 3518100 | 0 | 3528900 | 0 |  | 3521842.2 | 0 | 3521842.2
KEMP/LD-38 | 08.12.2006 | 01.11.2006 | 01.12.2006 | 724.57 | 1.34 | 723.84 | 1.24 | 90000 | 1964700 | 0 | 1953900 | 0 | 0 | 0 | 0 | 0 | 1964700 | 0 | 1953900 | 0 | 1964700 | 0 |  | 1960770.6 | 0 | 1960770.6
KEMP/LD-39 | 08.01.2007 | 01.12.2006 | 01.01.2007 | 736.16 | 1.36 | 735.35 | 1.26 | 90000 | 1043100 | 1800 | 1035900 | 1800 | 0 | 0 | 0 | 0 | 1043100 | 1800 | 1035900 | 1800 | 1043100 | 1800 |  | 1041013.8 | 1803.6 | 1039210.2
KEMP/LD-40 | 13.02.2007 | 01.01.2007 | 01.02.2007 | 743.7 | 1.44 | 742.84 | 1.34 | 90000 | 678600 | 7200 | 674100 | 7200 | 0 | 0 | 0 | 0 | 678600 | 7200 | 674100 | 7200 | 678600 | 7200 |  | 677242.8 | 7214.4 | 670028.4
KEMP/LD-41 | 12.03.2007 | 01.02.2007 | 01.03.2007 | 747.73 | 1.56 | 746.86 | 1.45 | 90000 | 362700 | 10800 | 361800 | 9900 | 0 | 0 | 0 | 0 | 362700 | 10800 | 361800 | 9900 | 362700 | 10800 |  | 361974.6 | 10821.6 | 351153
KEMP/LD-42 | 05.04.2007 | 01.03.2007 | 01.04.2007 | 749.71 | 1.68 | 748.83 | 1.56 | 90000 | 178200 | 10800 | 177300 | 9900 | 0 | 0 | 0 | 0 | 178200 | 10800 | 177300 | 9900 | 178200 | 10800 |  | 177843.6 | 10821.6 | 167022
KEMP/LD-43 | 14.05.2007 | 01.04.2007 | 01.05.2007 | 752.43 | 1.89 | 751.53 | 1.77 | 90000 | 244800 | 18900 | 243000 | 18900 | 0 | 0 | 0 | 0 | 244800 | 18900 | 243000 | 18900 | 244800 | 18900 |  | 244310.4 | 18937.8 | 225372.6
27580786.2
[21 empty] | Energy considered in JMR |  |  |  |  | Energy considered for CER estimation
[21 empty] | Line 1+Line 2 |  |  |  |  | Line 1+Line 2
Invoice no. | Invoice | Meter Reading Period
| Date | From | To | [17 empty] | Export | Import | Net
KEMP/LD-31 | 12.05.2006 | 01.04.2006 | 01.05.2006 | [17 empty] | 0 | 0
KEMP/LD-32 | 05.06.2006 | 01.05.2006 | 01.06.2006 | [17 empty] | 1372500 | 18900 | 1353600 |  |  | 1347710.2028
KEMP/LD-33 | 05.07.2006 | 01.06.2006 | 01.07.2006 | [17 empty] | 4527900 | 3600 | 4524300 |  |  | 4505150.6661
KEMP/LD-34 | 07.08.2006 | 01.07.2006 | 01.08.2006 | [17 empty] | 12397500 | 0 | 12397500 |  |  | 12345437.7253
KEMP/LD-35 | 07.09.2006 | 01.08.2006 | 01.09.2006 | [17 empty] | 10827900 | 0 | 10827900 |  |  | 10782087.6876
KEMP/LD-36 | 07.10.2006 | 01.09.2006 | 01.10.2006 | [17 empty] | 10400400 | 0 | 10400400 |  |  | 10355911.7072
KEMP/LD-37 | 08.11.2006 | 01.10.2006 | 01.11.2006 | [17 empty] | 7070400 | 0 | 7070400 |  |  | 7040484.9092
KEMP/LD-38 | 08.12.2006 | 01.11.2006 | 01.12.2006 | [17 empty] | 3789900 | 900 | 3789000 |  |  | 3773290.5274
KEMP/LD-39 | 08.01.2007 | 01.12.2006 | 01.01.2007 | [17 empty] | 2077200 | 4500 | 2072700 |  |  | 2063935.9873
KEMP/LD-40 | 13.02.2007 | 01.01.2007 | 01.02.2007 | [17 empty] | 1194300 | 13500 | 1180800 |  |  | 1176100.0067
KEMP/LD-41 | 12.03.2007 | 01.02.2007 | 01.03.2007 | [17 empty] | 660600 | 18900 | 641700 |  |  | 639030.3156
KEMP/LD-42 | 05.04.2007 | 01.03.2007 | 01.04.2007 | [17 empty] | 364500 | 25200 | 339300 |  |  | 337719.5961
KEMP/LD-43 | 14.05.2007 | 01.04.2007 | 01.05.2007 | [17 empty] | 296100 | 21600 | 274500 |  |  | 272830.3301
[21 empty] | 54979200 | 107100 | 54872100 |  |  | 54639689.6616
*an error of 0.6454127% (max) has been considered as shwon in Line 1 main meter during the test conducted on 29th Dec 2006. The error has been considered for the entire period (except for the month of April, where the energy meter basis is Check meter and an error of 2.2266469% has been considered) under verification and only for the export part. This is most conservative.

## ER
CER estimation
Parameter | Energy considered for CER estimation | Grid emission Factor | Emission Reductions
Line 1+Line 2
Unit ----> | kWh | tCO2/MWh | tCO2
Month
2006-05-01 | 1347710.2028 | 0.814 | 1097.0361
2006-06-01 | 4505150.6661 | 0.814 | 3667.1926
2006-07-01 | 12345437.7253 | 0.814 | 10049.1863
2006-08-01 | 10782087.6876 | 0.814 | 8776.6194
2006-09-01 | 10355911.7072 | 0.814 | 8429.7121
2006-10-01 | 7040484.9092 | 0.814 | 5730.9547
2006-11-01 | 3773290.5274 | 0.814 | 3071.4585
2006-12-01 | 2063935.9873 | 0.814 | 1680.0439
2007-01-01 | 1176100.0067 | 0.814 | 957.3454
2007-02-01 | 639030.3156 | 0.814 | 520.1707
2007-03-01 | 337719.5961 | 0.814 | 274.9038
2007-04-01 | 272830.3301 | 0.814 | 222.0839
Total | 54639689.6616 |  | 44476.7074