## historic generation data
Nanglamal Sugar Complex historic power generation data
A | The plant was run for 102 days from 27th December 2005 to 7th April 2006.
| Period | Electricity Generation
(KWH)
| 27 December '05 - 07 April '06 | 6007264
Nanglamal Sugar Complex was commissioned on 27th December 2005.
The plant was run for 102 days from 27th December 2005 to 7th April 2006.
| Total generation from 2.8 MW & 3.3 MW TG set = |  |  | 6007.264 | MWH
| Historic generation per day |  | = | 58.8947 | MWH
B | AS PER PDD
| Period | Electricity Generation
(KWH)
| 27 December '05 - 07 April '06 | 6007264
Considering a normal sugar season of 180 days
| Total generation from 2.8 MW & 3.3 MW TG set = |  |  | 6007.264 | MWH
| Historic generation per day |  | = | 33.3737 | MWH
C | The plant was run for 151 days from 27th December 2005 to 26th December 2006.
| Period | Electricity Generation
(KWH)
| 27 December '05 - 07 April '06 | 6007264
| 08 November '06 - 26 December'06 | 3380398
| Total | 9387662
The plant was run for 102 days from 27th December 2005 to 7th April 2006.
The plant was run for 49 days from 8th November 2006 to 26th December 2006
The plant was run for 151 days from 27th December 2005 to 26th December 2006.
| Total generation from 2.8 MW & 3.3 MW TG set = |  |  | 9387.662 | MWH
| Historic generation per day |  | = | 62.1699 | MWH