- CLEAN DEVELOPMENT MECHANISM

- PROJECT DESIGN DOCUMENT FORM (CDM-PDD)
Version 03 - in effect as of: 28 July 2006

# CONTENTS

A. 	General description of project activity

B. 	Application of a baseline and monitoring methodology

C. 	Duration of the project activity / crediting period

D. 	Environmental impacts

E. 	Stakeholders’ comments

## Annexes

Annex 1:  Contact information on participants in the project activity

Annex 2:  Information regarding public funding

Annex 3:  Baseline information

Annex 4:  Monitoring plan

SECTION A. 	General description of project activity

A.1 	Title of the project activity:

>>

10MW Waste Heat Recovery based Captive Power Project at Vikash Metal and Power Limited

Version-03

23rd August 2007

A.2.	Description of the project activity:

>>

Vikash Metal & Power Limited (VMPL) is proposing to install a waste gas based Captive Power Plant (CPP) for generation of electricity by recovering the sensible heat in waste gases from sponge iron exhaust. The purpose of the proposed project activity is to generate electricity using waste heat contained in the waste flue gases released from the Direct Reduced Iron (DRI) during the Sponge Iron making Process.

VMPL is a 400 TPD sponge iron unit with 4 DRI Kilns of 100 TPD each. Each of the DRI Kiln emits around 24,000NM3/hour of hot gas at a temperature of 950C50C, containing heat energy to the tune of 7Mkcal/hour which, under normal circumstances would go as waste. The project proposes to use the waste heat by installing Waste Heat Recovery Boiler at the tail end of each DRI Kiln. Heat that is extracted from the hot gas is used to transform water to high temperature-high pressure steam. This steam is used to run conventional condensing type steam turbo-generator for the generation of electricity.

Of the 10 MW installed capacity of the CPP, about 9.399MW of power will be generated through 4 Waste Heat Recovery Boilers of capacity 10 TPH each, operating at 66kg/cm2 and 4855C; and the rest through Atmospheric Fluidised Bed Combustion (AFBC) boiler. The total heat energy available from the waste gas of DRI kilns, on conversion to electrical energy produces about 9.399MW of electrical power. Harnessing this power by establishing a suitably designed CPP at the tail end of the DRI Kilns will enable VMPL to reduce green gas emission by generating power from waste gas / heat

The common practice in sponge iron units for meeting the energy requirements of its plants is to either produce the same in a coal-based power generation plant or import electricity from the state grid. In the absence of the project, the project proponents would have resorted to the above-mentioned ubiquitous practice. In view of the same, the proposed project will displace an equal amount of electricity imported from the state grid / generated by a coal based power plant.

The project will help in the following ways:

- To achieve energy efficiency by utilizing the available waste heat from the waste gases of sponge iron kiln, thus promoting cleaner and more efficient technologies;

- Meet the power requirement without any T & D losses;

- Conservation of energy and natural resources, to reduce direct and indirect consumption of scarce resources;

- Reduce the disparity between demand and supply of grid electricity and helps to become self reliant and less dependant on grid supply of electricity;

- Promotes the sustainable development

- Environmental improvements in sponge iron making process as well as reduction in Greenhouse Gases (GHG) emission;

The GHG emission reductions due to the project activity are equivalent to that quantity which would have been emitted from the combustion of a mixture of fossil fuels to produce the requisite electricity from the state grid.

Project’s Contribution to the Sustainable Development

Social well-being: The project is expected to create significant employment opportunities; directly, by way of manpower required to build / operate / maintain the unit and indirectly, by generating power and thus eliminating the need to draw power from an already deficit grid. Further, with growing technological advancement, the project activity will contribute to the capacity building in terms of technical knowledge and long-term skills. Such project, which involves energy efficiency, will certainly have long-term direct and indirect social benefits. The implementation of the project activity will bring about an increase in the business opportunities for contractors, suppliers, and erectors at different phases of its implementation. This will improve the local economic structure and hence social status of the involved people. The plant is located in a backward area and therefore the project activity will in a way help to improve the status of the local populace.

Economic well-being: With project activity’s ability to reduce an equivalent demand of electricity on the grid, there is an advantage to the regional grid in combating power shortage and making power available for other important purpose.

Environmental well-being: In India, a major share of the country’s electricity is generated from fossil fuel sources such as coal, diesel, furnace oil etc. The proposed waste heat recovery CDM project will displace or replace the equivalent quantity of electricity generated in the grid. Furthermore, the project will relieve the burden on the depleting resources of conventional fuel thereby making coal available for other utilizations. Since the project is able to avoid all the associated pollution occurring related to extraction, processing and transportation of natural resources, it promotes an overall environmental well being.  In India, coal is the most abundantly available fossil fuel, which is mainly used for power generation. Power plants run for supply of power to regional grid, contribute about 16477.78 MW of which more than 84% is accounted for by coal, gas and diesel based thermal power plants. The waste heat recovery CPP in VMPL has been able to displace/ replace electricity generated by grid-connected power plants in an equivalent amount. Being able to do away with grid power, VMPL has indirectly saved further depletion of natural resources in the form of coal, thus increasing its availability to other important processes in future. Thus the implementation of project activity is a demonstration of a clean technology.

Technological well-being: Waste Heat Recovery based captive power plant is a cleaner technology that uses the waste flue gases of sponge iron kilns which otherwise would have been emitted to the atmosphere leading to its pollution. The electricity generated by the plant is consumed for both auxiliary and captive purposes. Hence, the project activity has contributed to a better quality environment to the employees and the surrounding community.

A.3. 	Project participants:

>>

| Name of Party involved (*) ((Host) indicates a host Party) | Private and/or public entity(ies) project participants (*) (as applicable) | Kindly indicate if the Party involved wishes to be considered as project participant (Yes/No) |
| --- | --- | --- |
| Ministry of Environment and Forest, Government of India (Host Country) | Vikash Metal & Power Ltd (Private Entity, Project participant) | No |

A.4. 	Technical description of the project activity:

A.4.1.  Location of the project activity:

>>

A.4.1.1.		Host Party(ies):

>>

India

A.4.1.2.		Region/State/Province etc.:

>>

West Bengal

A.4.1.3.		City/Town/Community etc:

>>

Village-Poradiha; Tehsil-Santuri, District-Puruliya

A.4.1.4.		Detail of physical location, including information allowing the unique identification of this project activity (maximum one page):

>>

The proposed project will be located within the VMPL’s sponge iron and mini steel plant at Village-Poradiha (a notified backward area), in the district of Puruliya, State -West Bengal, India (see maps below). The plant is located about 328 kms away from the state capital, Kolkata. The district is well connected by trains and buses from Calcutta, Durgapur, Asansol , Tata , Bokaro, Dhanbad & Ranchi. Puruliya is connected to the rest of the state through National Highway 6. The physical location of the project is 21045’ – 23000’ N latitude and 86030’-87045’E Longitude

VMPL Waste Heat Recovery Project at Santuri Tehsil

A.4.2.  Category(ies) of project activity:

>>

The project activity is categorized under Sectoral Scope 01 “Energy Industries” (renewable / non-renewable sources). The project will be generating electricity by utilizing the waste gases from the sponge iron kiln. Thus, the approved methodology ACM0004 / Version02 is applicable to the project.

A.4.3.  Technology to be employed by the project activity:

>>

The Waste Heat Recovery based Captive Power Plant equipped with modern equipments, utilizes the heat content of the waste flue gas from Direct Reduced Iron (DRI) kilns of sponge iron unit to generate electricity for captive consumption of VMPL.

VMPL is a 400 TPD sponge iron unit with 4 DRI Kilns of 100TPD each. Each DRI Kiln emits around 24,000 NM3/hour of hot gas at a temperature of 950C50C that contains heat energy to the tune of 7 Mkcal/hour which, if not suitably utilized, goes to waste.

Such energy waste could be abated by installing Waste Heat Recovery Boiler at the tail end of each DRI Kiln, which in fact works as a cooler for the high temperature gas. The heat extracted from the hot gases is utilized for transforming water to high temperature-high pressure steam, to run conventional condensing type steam turbo-generator for generation of electricity as a part of forward and backward integration process.

The gross heat energy that would be available from the hot gases at the boiler front has been estimated to be 28 Mkcal/hr. Thus, the total heat energy available from the waste gas of four DRI Kilns, on conversion to electrical energy generates approximately 9.399 MW of electrical power. The proposed plant shall be configured with four numbers of Waste Heat Recovery Boilers (WHRB) of capacity 10 TPH each, operating at 66 kg/cm2 and 4855C, thus generating total power of 9.399MW.

The steam produced by the boilers will be routed to the 10MW single uncontrolled extraction condensing type steam turbine. The turbine is designed for main steam parameters of 64 ata 480C to generate 10MW at generator terminal. The power plant power cycle is designed with one common de-aerator. The steam requirements for the de-aerator will be taken from the extraction of the turbine. The low-pressure extraction will meet with the de-aerator steam requirements.

The WHRB shall be sized and designed to extract maximum sensible heat energy contained in the waste gases emanating from the Direct Reduction Kiln. The major technical parameters of WHRB are given below:

- The steam generator consists of radiant chamber, super heater, evaporator and economiser.

- Pressure parts

The complete system of boiler pressure parts, covering:

  - Steam drums

  - Water wall / radiant chamber

  - Evaporator

  - Super-heater

  - Economiser

  - Integral piping, interconnecting piping, valves, fittings, supports, etc. will be provided together with all the required headers.

  - The circulating system, essentially comprising of the drums, water walls etc, will be designed to provide an adequate circulation ratio. The sizing of the circulation system components will be adequate to ensure safe circulation ratios even under peak loading conditions.

The electricity requirements of the project activity and its associated systems are met by the project activity itself.

A.4.4	Estimated amount of emission reductions over the chosen crediting period:

>>

The total emissions reductions throughout the first crediting period (7 years) from the project are expected to be as under:

| Years | Annual estimation of emission reductions in tonnes of CO2 e |
| --- | --- |
| 2007 | 55,131 |
| 2008 | 55,131 |
| 2009 | 55,131 |
| 2010 | 55,131 |
| 2011 | 55,131 |
| 2012 | 55,131 |
| 2013 | 55,131 |
| Total estimated reductions for the first crediting period | - 3,85,917 |
| Total number of crediting years | - 21y-0m (7 x3) |
| Annual average over the first crediting period of estimated reductions (tones of CO2 e) | 55,131 |

A.4.5.  Public funding of the project activity:

>>

No funding from the Annex I parties is available to the project activity.

SECTION B. 	Application of a baseline and monitoring methodology

B.1.	Title and reference of the approved baseline and monitoring methodology applied to the project activity:

>>

Title:  “Consolidated baseline methodology for waste gas and/or heat and/or pressure for power generation”

Reference: Approved Consolidated baseline methodology ACM0004 / Version02 – Sectoral Scope: 01, 3rd March 2006.

B.2	Justification of the choice of the methodology and why it is applicable to the project activity:

>>

As stated in the “Consolidated baseline methodology for waste gas and/or heat for power generation”- “This methodology applies to project activities that generate electricity from waste heat or the combustion of waste gases in industrial facilities”.  The project activity under consideration recovers the heat content of waste gases emitted from the DRI kilns in WHRB and utilizes the same to produce steam which is further used to generate electricity.

Apart from the key applicability criteria, the project activity is required to meet the following conditions in order to apply the baseline methodology-

“The methodology applies to electricity generation project activities:”

1. “That displace electricity generation with fossil fuels in the electricity grid or displace captive electricity generation from fossil fuels,”- As per the Baseline Scenario analysis, conducted in Section B.4 of this PDD, the project activity displaces electricity generation with fossil fuels in the electricity grid (Eastern Regional Grid). Therefore the project activity meets this applicability criterion.

2. “Where no fuel switch is done in the process, where the waste heat or the waste gas is produced, after the implementation of the project activity”- The project activity involves utilization of the heat content of waste gases of the sponge iron kiln. There is no fuel switch involved in the sponge iron kiln operation.

Furthermore, “The methodology covers both new and existing facilities”- Out of the four DRI kilns; first two kilns exist and other two kilns have started operating from 2006. VMPL is also installing a CPP at the tail end of DRI kilns which will enable to generate power from waste gas. Since the VMPL sponge iron plant is planning to expand its capacity the added capacity is treated as a new facility and it takes into consideration both new and existing facilities.

As stated above, the project activity under consideration meets all the applicability conditions of the baseline methodology. This justifies the appropriateness of the choice of the methodology in view of the project activity.

B.3.	Description of the sources and gases included in the project boundary

>>

As per ACM0004 methodology the spatial extent of the project boundary comprises the waste heat (or gas sources), captive power generating equipment, any equipment used to provide auxiliary heat to the waste heat recovery process and the power plants connected physically to the electricity grid that the proposed project activity would affect.

In line with methodology, the project activity is for the recovery of Waste Heat from Flue Gases for generation of steam for the electricity to be generated from CPP. In line with methodology the project boundary comprises of the Waste Heat Recovery Boiler, FBC boiler, Captive Power generating equipment, Auxiliary equipment, Power synchronizing system, steam flow piping, flue gas ducts, where project participant has full Control.

Overview on emission sources included in or excluded from the project boundary

|  | Source | Gas | Included? | Justification/Explanation |
| --- | --- | --- | --- | --- |
| Baseline | Grid Electricity Generation | C02 | Yes | Main Emission Source |
|  |  | CH4 | No | Excluded for Simplification. This is conservative. |
|  |  | N20 | No | Excluded for Simplification. This is conservative. |
| Project Activity | On-site fossil fuel consumption due to the project activity | C02 | Yes | Is an important emission source if consumed in the project activity and is accounted for calculating the project emissions. |
|  |  | CH4 | No | Excluded for Simplification. This is conservative. |
|  |  | N20 | No | Excluded for Simplification. This is conservative. |
|  | Combustion of waste gas for electricity generation | C02 | No | The hot gases would have been let to atmosphere in the absence of the project activity. |
|  |  | CH4 | No | Excluded for simplification. |
|  |  | N20 | No | Excluded for simplification. |

Steam at

66kg/cm2, 485ºC

4 DRI kilns

FBC boiler

Waste gas @950-1000C

Condenser

Steam

10 MW

Turbine

Waste gas

ESP

Waste Heat Recovery Boilers (4 x 10 TPH)

Waste gas

Auxiliary consumption

VMPL plant facility

Power generation

Stack

ESP

Stack

Project Boundary

B.4.	Description of how the baseline scenario is identified and description of the identified baseline scenario:

>>

Identification of Alternative Baseline scenarios and selection of appropriate baseline scenario: As per the methodology, the project proponent should include all possible options that provide or produce electricity (for in-house consumption and/or other consumers) as baseline scenario alternatives. These alternatives are to be checked for legal and regulatory compliance requirements and also for their dependence on key resources such as fuels, materials or technology that are not available at the project site. Further, among those alternatives that do not face any prohibitive barriers, the most economically attractive alternative is to be considered as the baseline scenario.

The methodology has been applied to the project in following ways:

- Identification of alternative baseline scenarios consistent with current laws and regulations

- Additionality assessment

- Determination of emission reductions from the project activity.

Identification of alternative baseline scenarios consistent with current laws and regulations

As highlighted in the baseline methodology the determination of the baseline scenario requires consideration of the following potential alternatives:

(a) The proposed project activity not undertaken as a CDM project activity

(b) Import of electricity from the grid

(c) Existing or new captive power generation on-site using other energy sources other than waste heat and/or gas, such as   coal, diesel, natural gas, hydro, wind etc

d) A mix of options (b) and (c), in which case the mix of grid and captive power should be specified.

(e) Other uses of waste heat and waste gases

(f) The continuation of the current situation, whether this is captive or grid-based power supply.

Analysis of the alternative scenarios:

The analysis of each of the above scenarios is done bearing in mind the factors considered by the promoters while making the investment decision, namely:

- The iron and steel industry is a highly cyclical industry and all industry indicators seem to suggest that the peak has been reached;

- The generation of power by the system is completely dependent on the use of sponge iron unit, which in turn is dependent on the landed price of scrap metal which is also fluctuating and

- The power plant cannot be technically operated if the PLF is below 50%.

Option a: The proposed project activity not undertaken as a CDM project activity

The promoters have gone on record with their reluctance to set up the waste heat recovery based power unit, primarily on account of the high capital cost and the risks involved. In fact it was only when the CDM related revenue was highlighted to the investor group and concrete offers were produced to the investors that they agreed to invest the equity component required to fund the power plant.  Otherwise, the investors were of the opinion that the project was very risky and preferred to set up the project by drawing the required power from the state electricity grid. It is being stated that the plant was operating from power drawn from the State Electricity Board and even after the expansion from its existing 200 TPD to 400 TPD; it had received sanction for the required power from the State Electricity Board.

In view of the above, it may be concluded that at the point when the decision to proceed with the project was taken, the CDM related revenue aspect was seriously considered during the expansion phase) and was a key factor responsible for the favorable decision (suitable documents will be provided to the DOE at the time of validation).

Thus the option to undertake this project as a non-CDM project was/is not a viable baseline scenario.

Option b: Import of electricity from the grid

In the absence of the project activity, import of electricity from the state grid, would perhaps have been the most economically feasible option. The key advantage with the state grid electricity is the fact that the upfront capital investment (and thus the related project risk) is very low and this was a key factor under consideration by the project developers.

Furthermore, the plant meets all the legal and regulatory requirements needed to be able to purchase electricity. In addition, the project had received an offer from the state government for supply of the entire power required by the project.

Option c: Existing or new captive power generation on-site using other energy sources other than waste heat and/or gas, such as   coal, diesel, natural gas, hydro, wind etc .

In analyzing this option it is necessary to consider fuels, materials and technology available at the project site.

Natural gas as a possible fuel can be ruled out on account of lack of infrastructure for its supply to the project activity. In other words, supply constraints rules out natural gas as an option.

Wind & hydro: Renewable energy sources like wind and hydro are unreliable sources of power and are thus not serious contenders. In addition wind / hydro are very capital intensive and the state of West Bengal does not have too many suitable wind / hydro sites. The basic criterion for developing wind power project depends on the density of wind in the particular site. The state of West Bengal has not developed too many wind power projects. The total electricity generated from the wind power projects in West Bengal is only 1.08 MU with 1.1 MW of installed capacity. It is evident from these statistics that the region is not too favourable for switching over to a wind-based source for generation of electricity.

Coal and diesel (including other liquid fossil fuel) are therefore left as alternatives for power generation. Even though the sponge iron plant will be installing diesel generators as back up units, on account of the high cost of operation, they will not be used continuously. The power generated would partially meet VMPL’s own demand and the remaining power would be wheeled through the SEB grid. An equivalent amount of CO2 emissions would be released at the CPP end. This alternative is in compliance with all applicable legal and regulatory requirements and can be a part of baseline option. But it should be noted that diesel based power generation is not an economically feasible option.

Of the potential options for captive units we are essentially limited to a small coal based electricity generation system as an alternative. Coal based boilers are installed in sponge iron plants to utilize the “char” (unburnt coal that exits the rotary kiln). The coal based generation plant, being cheaper in terms of up-front investment costs (estimates from manufacturers identified coal based boilers as 50% cheaper than waste heat recovery boilers), is generally a preferred option.

However the char must be mixed with coal in order to reduce the size of the boiler. The feasibility of generation from this set up depends on the access to coal over time and as coal is available in plenty in the eastern part of the country, this was an option that was under serious consideration by the project developers. Moreover in addition to the cost advantage, it did not suffer from the risks of under utilization that the WHR based power plant was faced with.

The coal-based power plant was thus a viable option that could also be considered to be the baseline scenario.

Option d:  A mix of options (b) and (c), in which case the mix of grid and captive power should be specified.

In view of the issues mentioned above, option (d) is a possible baseline scenario. However in order to be conservative, the baseline emission has been computed considering a 100% power draw down from the eastern regional grid.

Option e :Other uses of waste heat and waste gases

In examining option (e), i.e. other uses of waste heat and waste gas, there have been no attempts to utilize the gases for other purposes in the region. The majority of plants have traditionally released the gas into the atmosphere and the installation of waste heat recovery boilers has only been considered recently. There are not too many sponge iron plants in West Bengal which has a Waste Heat Recovery Based Power Plant. Therefore it is plausible to rule out this option in cases where the waste gases are generated in a sponge iron plant.

Option f: The continuation of the current situation, whether this is captive or grid-based power supply.

Grid based power is available to projects in the state and there are no limitations on obtaining a grid connection either by the type of industry or region. A plausible alternative baseline scenario is that of the electricity being generated by the operation of grid-connected power plants and by the addition of new generation sources.

Therefore, through the examination of the alternatives available to the project promoter it can be demonstrated that the possible options were limited to three:

- Import of electricity from the grid;

- Setting up a coal based power plant;

- The project activity that involves investment in sponge iron waste heat recovery;

Of the three options, the most plausible (and reliable) option would have been a combination of coal-based power together with additional power being drawn from the grid. However, in order to be conservative, the baseline has been considered to be 100% grid based power. The project activity therefore gives rise to emission reductions through the displacement of grid based power generation sources in the supply of electricity to the sponge iron plant and to other third parties, both of which would have been satisfied by the grid under the baseline scenario.

The most likely baseline scenario of VMPL is electricity import from the grid and the following are the six decision-making issues, which made VMPL management to opt for, gird power over a captive power plant.

- Initial investment requirement for setting up of captive power plant

- Common practice in the region

- Non-availability of water for power plant operations

- Fuel supply hindrances

- Existing power condition in the VMPL facility

- VMPL additional power requirement.

Initial investment: The initial investment on setting up of a power plant is more than 40% in terms of a coal based power unit and more than 55% for a Waste heat recovery in comparison to that of the total sponge iron unit cost, and being a small player in the industry it is quiet difficult for VMPL to mobilize any funds in terms of equity and debt unless there are any additional advantages available to set up a power plant. So by default importing power from the grid is most plausible baseline condition. Our initial board discussions and the board proceedings would very well reckon the fact that the most likely option of our management is to import from the grid not setting up any captive power plant.

Common Practice region:

By the time when VMPL have decided to set up the sponge iron unit, historically more than 93% of the sponge iron manufacturers in the region are procuring power from the grid to meet their own power demands except a few who are the big players in the industry. Even now the situation prevails in the region is same, the latest study report published by the Joint plant Committee report (A Govt of India Institution) has concluded that the CPP available in the state is not as much of. Being a small player in the industry this is the second reason, which made VMPL to be sceptical on deciding up on setting a captive power unit.

Non-availability of water in the region.

Historically the place (poradiha) where the unit is located is scarce of water supply and the water table in the region is very low which is again a serious issue creep in the minds of the management not to opt for setting up of a any captive power plant unless there are any promotional grants available for developing such technologies. The consultants has very well appraised us that setting up of a captive power unit with fossils fuel sources would be not eco-friendly and projects like the waste heat recovery source based CPP are environmentally benign and would be capable of generating CDM revenues. As a result of the CDM benefits involved the unit has made concerted efforts to entangle the DVC for water supply. Again an serious issues that needs to be considered here is that even now the plant has set up only 10 MW power unit and it is expected to generate all the power from the WHR boilers, however as a precautionary measure the AFBC has been installed as a stand by/supporting unit. In a situation where the cross boundary water sharing issues are at high political issues, only with the confidence of the CDM revenue the management got various approvals from various organizations (including state and central government) to bring water from another state and to generate a green power. With all these uncertainties power generation from a captive power plant is really not in the minds of the management ever.

Fuel supply:

Since being a small player getting necessary approvals and sanction for uninterrupted coal linkage is very cumbersome process and for this small magnitude of power generation capacities it would be economically not feasible for VMPL to opt for captive coal based power units, more over the environmental program of our unit and our dedication to the environmental well being, we intent to use more than 50% of the char generated (with a Fixed carbon content of less than 23%) and would be burning the same in 70:30 ratio with coal in the AFBC boiler and the rest would be land filled in the closed mines. Because the PP is new in setting up of coal based captive power plant, Government statutory approvals are cumbersome because of coal linkage sanctions, air pollution hazards and ash handling problems. Delay in obtaining approvals and regular permissions from the concerned authority will lead to cost overrun. This option is unattractive when compared to the import of power from the grid, wherein the PP is already having power supply contracts for import.

# Existing power conditions in the VMPL unit

Historically VMPL used to import power from the Eastern regional grid system, for its existing sponge iron production (200 TPD) facility of to meet their captive power demand.

VMPL power requirement:

Additionally VMPL has requested for additional power supply (18 MVA) from the regional grid operators in the month of March 2004 itself to cater the needs of the plant power requirement. This would express the views of the management that at no time it is in the minds of the promoters/board to set up captive power plant until the CDM benefits are explained by the outside world/consultants

So the project proponent would like to conclude grid import may be possible baseline scenario, where as for the relative and the peculiar characteristics of this project would very well express that the import of power from the grid is eventual the most likely scenario for VMPL.

Further keeping in view of logic while two credible baselines exists the lowest emission factor among them needs to be considered and hence MVPL has chosen grid import as the most conservative baseline. From the below stated figures of baseline emission factor from grid replacement and coal based CPP the import of power from the grid is the conservative option for the CPP. Hence in absence of this project activity the equivalent power would have been imported from the grid.

| Baseline emission factor per GWh (Grid as baseline) | 927.19 | tCO2e/GWh |
| --- | --- | --- |
| Grid emission factor based on Combined margin (as per baseline data base of Central Electricity Authority of India) | 1058.2 | tCO2e/GWh |
| Baseline emission factor per GWh (Coal based CPP as baseline) | 1091.87 | tCO2e/GWh |

Key methodological Steps followed in determining the baseline scenario:

1. The methodology requires VMPL to establish base line scenario by considering all possible options that provide or produce electricity for in house consumption and /or sale to grid and/or other consumers. The methodology also identifies six possible alternative scenarios.

Each of the alternatives have been discussed above and illustrated that the import of power from grid as the baseline scenario.

2. The methodology requires us to demonstrate the additionality of project activity using the “ latest version of Tool for demonstration and assessment of additionality”.

The additionality of project activity using the “Tool for demonstration and assessment of additionality version 02 of 28 November 2005’’ in Section B.5.

3. The methodology applies to electricity generation project activities; that displaces electricity generation with fossil fuels in the electricity grid or displace captive electricity generation from fossil fuels, where no fuel switch is done in the process where the waste heat or pressure or the waste gas is produced after the implementation of project activity.

We have established that project activity generates electricity, which displaces grid power that is fossil fuel based and there is no fuel switch being done in the rotary kiln where the waste gases are produced in this project activity.

For determination of emission reductions please refer to B.6

B.5.	Description of how the anthropogenic emissions of GHG by sources are reduced below those that would have occurred in the absence of the registered CDM project activity (assessment and demonstration of additionality):

>>

As per the proposed baseline methodology, the project proponent is required to establish that the GHG reductions due to the project activity are additional to those that would have occurred in the absence of the present project activity as per  ‘Tool for the demonstration and assessment of additionality’ agreed by the CDM Executive Board.

Step 0: Preliminary screening based on the starting date of the project activity.

As the project will not be registered before the project date of commissioning (31st December 2006), the crediting period is expected to start after the project starts generating power. Since the project participants do not wish to have crediting period starting prior to the registration of their project activity the Step 0 is satisfied.

Step 1 – Identification of alternatives to the project activity consistent with current laws and regulations.

The demonstration of the baseline scenarios (in section B4) incorporated the steps contained within this section and therefore to summarize the conclusions of the baseline scenario, it has been shown that the alternatives might be limited to the project activity not undertaken as a CDM and in its stead, the supply of electricity coming from the grid.

Step 2 – Investment analysis

-------

Step 3 -- Barrier analysis

That the project activity is additional can be established by carrying out a barrier analysis as envisaged in Step 3.

Sub-step 3a. Identify barriers that would prevent the implementation of type of the proposed project activity

- Investment barrier(s)

The key investment barriers are:

Availability of equity required for the project: The principal investment barrier is the availability of equity for the project. The investors had made it absolutely clear that the project was too risky and was not a preferred option. It was only based upon the consideration of the additional revenue from the sale of CERs being highlighted that one investor, Mr. Akash Patni, agreed to increase his contribution.

It should be highlighted that the investor (Mr. Patni) had initially agreed to invest the additional amount required for the power project in the form of Cumulative Convertible Preference Shares and it was only much later when project was being developed under the CDM that he agreed to bring in his additional investments in the form of equity.

In view of the above, it may be concluded that the additional revenue from the sale of CERs played a very important role in facilitating the mobilization of the required equity and debt for the project.

- Technological barrier(s)

With a flow rate of the order of around 24,000 NM3/hour of hot gas at a temperature of 950C50C, the waste gas generated had a potential to generate net power of 10 MW. With the present heat energy available in the waste gases, the boiler capacity for the project was designed at 4X10 TPH each operating at 66kg/cm2 pressure and 4855C temperature. As the major activity of the proponent is steel manufacturing, the management lacks the experience of operating the plant at higher configurations and this may turn out to be a difficult exercise for them.

Besides these risks and barriers regarding stand-alone operations, the project activity had to face operations risks related to the waste gas generation and its heat content, which affect the successful implementation of the project activity.

- If the heat content of the waste gas is not sufficient, the project activity will be directly affected and as a result, unable to generate power;

- Cumulative effect of sustained variable frequency operation due to fluctuations in waste gas supply (flow rate & temp) may have substantial bearing on safe and sustained operation of assets like the power plant equipments.

- Quality of products of a number of process industries like ingot manufacturing is heavily dependent on the quality of power supply. Poor quality of power supply not only results in reduced life of equipment but also in poor quality of products.

- Non-availability of waste gas at the required temperature can also result in a complete closure of the project activity. It has been further stated that resumption of production process takes a long time. Hence the power interruption even for a short spell destabilizes the manufacturing process, besides causing production loss and damage to the sophisticated equipments due to thermal shock.

Moreover if the waste gas temperatures are greater than 1000oC, the corrosive nature of the waste gases increase manifolds and it would have a detrimental effect on the boiler tubes designed for waste gases between 950-1000oC. The project activity thus required the installation of expensive controls to ensure the waste gas temperatures does not exceed 1000oC, however in case of any failure of such controls the DRI kilns will have to be shut down immediately; else the boiler would be damaged

The suitable backup arrangements are required to be designed and created to take care of all fluctuations in power generation. Hence it is evident that the designing, installation and operation of a waste heat recovery based power plant with a sponge iron rotary kiln, based only on the flue gases, without any auxiliary fuel support, where the flue gas generation quality and quantity is not under control of the power plant operator and wherein the quantity & quality of the Waste Heat flue gas varies in accordance to a number of factors which influence the production of sponge iron in quantity as well as in quantity, is a great technology barrier.

Moreover the plant is located in the notified backward region of Poradiha where there is a shortage of skilled professionals and workers to run the CPP. The PLF (plant load factor) also is dependant on the proper operations of equipment, which in turn depends on skilled personnel. This would pose as a significant barrier for their proposed project activity.

The technical and operational barriers mentioned above make the investment in the proposed project activity a very risky proposition, not only from the project activity’s point of view but also from the larger steel manufacturing operations point of view as any mishap could adversely affect the steel manufacturing operations, leading to significant financial losses.

- Other barrier(s): Due to lack of awareness about available technologies, products, financial support; limited dissemination of information on operation know-how; limited managerial resources; organizational capacity

The sponge-iron manufacturing sector belongs to steel industry sector with limited knowledge and exposure of complications associated with production of power. VMPL personnel lacked the necessary technical background to develop and implement a waste heat recovery based power plant with technological innovation. They had to strengthen their internal capacity by inviting external expertise to implement the project activity. The VMPL personnel at various levels lacked relevant managerial background for project activity implementation, operation and maintenance. They were provided with training to ensure smooth operation. They had no background strength in the power sector economics and power generation sector.

The domestic sponge iron and Ferro alloy industry in India is witnessing a downward trend in prices of sponge iron. This can directly lead to a drop in allocation of working capital requirements (i.e. budget) of none core activities like that of the CPP. VMPL is committed to the cause of green power produced by the waste heat recovery project and although it will continue to support the successful implementation and operation of the project, it may be constrained for funding further development/training for the CPP operations in the event of squeeze in working capital as forecasted.

The market scenario of the sponge iron in the country is volatile; the prices for the final product too have been fluctuating as shown in the graph given below. The fluctuation in the price of the final product is significant as the project was conceptualized at a point in time when the steel prices had peaked and were showing a downward trend. The promoters, being aware of this, were very keen to limit their total project exposure.

The proposed project activity (waste heat based power plant) is totally dependent on the upstream sponge iron plant and also to a large extent on the prices of scrap (as below a level, it would make economic sense to shift partially / completely from sponge iron to scrap). Furthermore, the market conditions being volatile, there is the possibility of the project promoters having to discontinue the project activity and shift to alternative power sources. This may lead to either downscaling or shutting down the upstream sponge iron plant altogether and thus terminating the project activity (the project activity will cease to generate power at below ~ 35% PLF). Therefore there is a significant capital risk associated with the project.

In spite of all these barriers and large financial risks, VMPL has decided to implement the waste heat recovery based power plant, in order to reduce GHG emissions thereby generating power from an environment friendly source.

Sub-step 3 b. Show that the identified barriers would not prevent a wide spread implementation of at least one of the alternatives (except the proposed project activity already considered in step 3a):

VMPL’s project activity is a WHR based power project utilizing waste heat from sponge iron rotary kiln VMPL would not have faced any regulatory or investment barrier in case it would opt for Alternative b i.e., Import of electricity from the grid (existing sponge iron units of VMPL had imported the power from the grid to meet their requirements).  This alternative option was evaluated with respect to the above-mentioned barriers. So far as investment barrier is concerned, there is no high initial cost or high operational and maintenance cost required for this option. Further for import of power from grid, VMPL would not have to face any technological barriers as in the case of generation of waste heat based power. Therefore, it is most likely that in absence of the project activity VMPL would opt for the business-as-usual scenario, i.e. releasing the waste heat into the atmosphere and importing equivalent electricity from regional grid to cater to the need.

Step 4 – Common practice analysis

Sub-step 4a. Analyze other activities similar to the proposed project activity:

In the sponge iron sector of West Bengal with similar socio-economic environment, geographic conditions and technological circumstances, VMPL is one of the exceptions which is in the construction phase of the waste heat recovery based captive power plant in order to reduce GHG emissions and avail the revenues from sale of carbon emission reductions.

There are a total of 67 sponge iron plants already in operation in the state surrounding the proposed project activity. Of the 67 sponge iron plants, only four plants (including VMPL) have Waste Heat Recovery plants and the same also applies to availing carbon credits. They are namely Jai Balaji Sponge Ltd, Sri Ramrupia Balaji, Electrosteel Castings Ltd, Vikash Metal & Power Ltd. This indicates a very low penetration of technology. The project activity occurs in 6% of the similar industries and therefore is not a common practice.

It may be concluded that the there are significant barriers (technical / investment / market related etc.) that has resulted in the low penetration level of the technology in the area and the proposed project activity is NOT a common practice.

Sub-step 4b. Discuss any similar options that are occurring:

From the above analysis the proposed project activity is not common practice amongst plants facing similar techno-economic circumstances.

Step 5 – Impact of CDM registration

The main benefits of CDM registration relate to the financial and investment impacts of the CDM revenue stream as highlighted in step 2. Furthermore, the inherent risks in undertaking the project are reduced through the increased return associated with registering the project under CDM, thereby specifically offering the plant greater leeway in its first two years of operation when the promoter is gaining experience of operating the plant efficiently and assisting the project in achieving financial closure. In addition, the registration of the project under the CDM would enhance VMPL’s profile as a company that is concerned about the environment that it operates under.

B.6.	 Emission reductions:

B.6.1. Explanation of methodological choices:

>>

Baseline Emissions from grid electricity replacement are given as :

BEelecticity,y = EGy * EFelectricity,y

Where,

EGy = Net quantity of electricity supplied to the manufacturing facility by the project during the year y in MWh, and

EFelectricity,y = CO2 baseline emission factor for the electricity displaced due to the project activity during the year y (tCO2/MWh)

As per the methodology, if the project displaces the electricity generation by fossil fuel combustion for captive purpose then the baseline scenario is as follows:

Selected Option 2. Since baseline scenario is grid power imports (As illustrated in B.4)

Emission Factor of the Grid (EFy)

Baseline emission factor of eastern region (EFy) is calculated as a combined margin (CM), consisting of the combination of operating margin (OM) and build margin (BM) factors according to the following three steps.

STEP 1. Calculate the Operating Margin emission factor

As per ACM0002, the simple OM method can only be used where low-cost must run resources constitutes less then 50% of total grid generation of average of the five most recent years. As illustrated in Annex 3, Since the average of low cost must run resources in the five most recent years constitutes less then 50% of the total grid, the simple OM method is selected.

The simple OM emission factor (EFOM, simple,y) is calculated as the generation-weighted average emissions per electricity unit (tCO2/MU) of all generating sources serving the system, not including low-operating cost and must-run power plants.

 Fi ,j, y * COEFi,j y

EFOM, y =

  GENj,y

where Fi ,j, y is the amount of fuel i (in a mass or volume unit) consumed by relevant power sources j in year(s) y,

j refers to the power sources delivering electricity to the grid, not including low-operating cost and must run power plants, and including imports to the grid,

COEFi,j y is the CO2 emission coefficient of fuel i (tCO2 / mass or volume unit of the fuel), taking into account the carbon content of the fuels used by relevant power sources j and the percent oxidation of the fuel in year(s) y, and

GENj,y is the electricity (MWh) delivered to the grid by source

The fuel consumption in individual plants as required by the above formula is not readily and correctly available. However, Central Electricity Authority publishes the Station Heat Rate (SHR), which is a measure of plant efficiency in Kcal/KWh. In order to calculate the emission factor by the simple OM method, the formula in the numerator is expressed as:

GENj,y. SHRi

 Fi ,j, y * COEFi,j y=                                    X NCVi X EFCO2i X Oxidi

NCVi

Or 	 GENj,y. (SHRi X EFCO2i X 44/12 X Oxidi)

Where,

SHRi is the station heat rate with fuel i

EFCO2i is the emission factor per unit of energy of fuel j and

Oxidi is the oxidation factor for fuel i

The values of SHRi are available from CEA report on Performance Review of Thermal Power Stations 2004-05 Section 13 and Ministry of Power websites.

Values of EFCO2i, Oxidi are available from Revised 1996 IPCC guidelines for Greenhouse Gas Inventories Workbook and Reference Manual for various fuels used in Indian power plants.

STEP 2. Calculate the Build Margin emission factor

The project developer has adopted option 1 (Ex-ante), which requires to calculate the Build Margin emission factor EFBM,y ex-ante based on the most recent information available on plants already built for sample group m at the time of PDD submission

STEP 3. Baseline Emission Factor

This is in conformance with the guidelines in the section “Consolidated baseline methodology for grid-connected electricity generation from renewable sources” (ACM 0002).

Net quantity of electricity supplied to the manufacturing facility by the project (EGy )

Net units of electricity substituted in the grid (EGy) = (EGtotal - EGa)

where

EGtotal: Total electricity generated

EGa: Auxiliary Consumption

The details of the baseline calculations have been provided in Annex 3.

Leakage Effects:

No leakage is considered as per the methodology.

B.6.2. Data and parameters that are available at validation:

(Copy this table for each data and parameter)-

| Data / Parameter: | EFOM Y |
| --- | --- |
| Data unit: | tco2e/GWh |
| Description: | C02 Operating Margin Emission Factor of the grid |
| Source of data used: | Central Electricity Authority Reports. |
| Value applied: | To calculate the power contributed from waste heat recovery generation system of the CPP. |
| Justification of the choice of data or description of measurement methods and procedures actually applied : | Calculated as option 1 (simple OM) as per the referred methodology ACM 0002. As per ACM0002, the simple OM method can only be used where low-cost must run resources constitutes less then 50% of total grid generation of average of the five most recent years. From the detailed calculations provided in Annex 3, it is inferred that since low cost must run resources in the five most recent years constitutes less then 50% of the total grid, the simple OM method is selected. |
| Any comment: | Calculated as indicated in the relevant OM baseline methodology. This involves the use of official data released by the power generating company. Quality control of this data is beyond the control of the project operators. However, the data, if considered unreasonable, may be supplanted by more accurate data according to methods verified by the DOE |

| Data / Parameter: | EFBM,Y |
| --- | --- |
| Data unit: | tco2e/GWh |
| Description: | CO2 BM Emission Factor of the grid |
| Source of data used: | Central Electricity Authority Reports. |
| Value applied: | To calculate the power contributed from waste heat recovery generation system of the CPP |
| Justification of the choice of data or description of measurement methods and procedures actually applied : | Project developer has adopted option 1 (Ex-ante), which requires to calculate the Build Margin emission factor EFBM,y ex-ante based on the most recent information available on plants already built for sample group m at the time of PDD submission.The sample group m that consists of (b) the power plants capacity additions in the electricity system that comprise 20% of the system generation and that have built most recently is adopted. |
| Any comment: | This involves the use of official data released by the power generating company. Quality control of this data is beyond the control of the project operators. However, the data, if considered unreasonable, may be supplanted by more accurate data according to methods verified by the DOE |

| Data / Parameter: | EFY |
| --- | --- |
| Data unit: | tco2e/GWh |
| Description: | Baseline Emission Factor |
| Source of data used: | Central Electricity Authority Reports. |
| Value applied: | To calculate the power contributed from waste heat recovery generation system of the CPP. |
| Justification of the choice of data or description of measurement methods and procedures actually applied : | The baseline emission factor EF,y is calculated as the weighted average of the Operating Margin emission factor (EFOM, y) and the Build Margin emission factor (EFBM,y). The project activity would generate electricity by utilizing the heat content of the waste gas of the sponge iron kiln and displace an equivalent amount of electricity from the grid. The emission reduction resulting from the project activity would depend on the emission factor of the grid mix.. |
| Any comment: |  |

B.6.3 Ex-ante calculation of emission reductions:

>>

According to the methodology ACM0004, project emissions are applicable only if auxiliary fuels are fired for generation startup, in emergencies, or to provide additional heat gain before entering the Waste Heat Recovery Boiler.

The proposed project activity would be running entirely on the WHR sources i.e., The steam generated from the four WHR boilers (i.e., 40TPH, each boiler of 10TPH) would be sufficient to generate the entire power to cater the needs of the plant power requirement. PP had set up 10 MW power unit and it is expected to generate all the power from the WHR boilers, however as a precautionary measure the AFBC of 15TPH has been installed as a stand by/supporting unit. Further if one WHRB is not in operation it means that DRI kiln is not running. Ultimately this will result in variation of power generated in the CPP,  but with FBC Boiler in operation (on rare occasions the AFBC would be running.) that variation will be accommodated and maintain in constant power generation. Hence it is to be understood that the FBC is not installed to run all the time to operate 10MW CPP it is just to compensate the fluctuations of the steam supply from WHRB. The proposed project activity would be running entirely on the WHR sources.

Though the FBC boiler of capacity 15TPH which uses coal/dolochar is within the project boundary, it is used as standby. If any such usage of fossil fuel usage in FBC boiler the emissions from the same is accounted, monitored and is used for calculating emission reductions. There will not be any net increase in emissions from this operation of the AFBC boiler over and above the baseline situation. However the project emissions are given as:

PEy = ∑ Qi x NCVi x EFi x 44/12 x OXIDi

Where:

PEy 	Project emissions in year y (tCO2)

Qi 	Mass or volume unit of fuel i consumed (t or m3)

NCVi 	Net calorific value per mass or volume unit of fuel i (TJ/t or m3)

EFi 	Carbon emissions factor per unit of energy of the fuel i (tC/TJ)

OXIDi 	Oxidation factor of the fuel i (%)

The project is expected not to increase the generation of emission levels. However coal/dolochar will be monitored and emissions from them will be considered as project emissions and will be accounted for emission reductions accordingly. There will not be any net increase in emissions from this operation of the AFBC boiler over and above the baseline situation. The emission factors of both the char based AFBC and electricity from grid are compared and concluded that the net emissions would be less than that of the baseline situation; secondly the fuel used is again a waste source from the manufacturing facility. However, auxiliary fuel firing would not be required for start up and there is no provision for auxiliary fuel firing for additional heat gain of waste gases in the project activity. Thus project emissions are estimated to be zero.

Baseline Emissions are given as:

BEelecticity,y = EGy * EFelectricity,y

Where,

EGy = Net quantity of electricity supplied to the manufacturing facility by the project during the year y in MWh, and

EFelectricity,y = CO2 baseline emission factor for the electricity displaced due to the project activity during the year y (tCO2/MWh)

As per the methodology, if the project displaces the electricity generation by fossil fuel combustion for captive purpose then the baseline scenario is as follows:

The baseline emission factor EF,y is calculated as the weighted average of the Operating Margin emission factor (EFOM, y) and the Build Margin emission factor (EF BM,y) , where equal weights to them.

EFgrid,,y = 0.5(EFOM, y +EFBM, y)

The project activity is designed to generate gross electricity of 73.086 million units per annum with a PLF of 90% and 360 days of operation from four WHRBs with a capacity of 9.399MW from the total 10MW CPP. After 10% auxiliary consumption and taking into account production loss due to maintenance of klin, the net electricity available for captive purpose is 59.461 MU per annum.

The baseline emissions are estimated to be 55,131t CO2 e per year.

Leakage Effects:

No leakage is considered as per the methodology.

The emissions reductions from the project activity is given as : BEy - PEy -Ly

= 55,131 t CO2 e per annum.

The emissions reductions from the project activity as AFBC boiler is included within the project boundary is given as:

BEy - PEy -Ly

Baseline emissions (BEy) from the net electricity generation from total installed capacity of CPP i.e., 10MW

Project emissions (PEy) from the combustion of coal/dolochar if used in AFBC boiler

Leakage Effects(Ly) No leakage is considered as per the methodology.

B.6.4 Summary of the ex-ante estimation of emission reductions:

>>

| Year | Estimation of project activity emissions | Estimation of baseline emissions (t CO2 e) | Estimation of leakage | Estimation of overall emissions reductions |
| --- | --- | --- | --- | --- |
| 2007 | 0 | 55,131 | 0 | 55,131 |
| 2008 | 0 | 55,131 | 0 | 55,131 |
| 2009 | 0 | 55,131 | 0 | 55,131 |
| 2010 | 0 | 55,131 | 0 | 55,131 |
| 2011 | 0 | 55,131 | 0 | 55,131 |
| 2012 | 0 | 55,131 | 0 | 55,131 |
| 2013 | 0 | 55,131 | 0 | 55,131 |

B.7 Application of the monitoring methodology and description of the monitoring plan:

| B.7.1 Data and parameters monitored: |  |  |
| --- | --- | --- |
| (Copy this table for each data and parameter) |  |  |
| Data / Parameter: | EGy |  |
| Data unit: | MWh/day |  |
| Description: | Net Electricity Generation from Project Activity. |  |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |  |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data holds a significant purpose for determining the baseline emissions and the emissions reductions accruing due to the project activity. This is calculated as the difference between the gross waste heat power generated for a year from the auxiliary power consumption during that year. |  |
| Description of measurement methods and procedures to be applied: | This will be measured from the data recorded in the logbooks on a continuous basis. The data will be archived either electronically or in papers and will be available upto two years after the crediting period. The project activity has employed state-of-the-art monitoring and control equipments that will measure, record, report and control the net electricity generated from the project activity. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. The parameters essential to evaluate the net electricity generation from the WHRBs are: total steam generated from both WHR and AFBC boiler, total steam consumed by TG, Total steam vented in the CPP, flow of WHR steam from common header, effective WHR steam, average temperature and pressure of WHR steam and AFBC steam before common header, average pressure of WHR steam before common header, enthalpy of WHR steam and AFBC steam. |  |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. This data would be used for calculating power contributed from waste heat recovery steam generation system of the CPP. |  |
| Any comment: | Meters at plant will automatically measure the data. The data will be recorded in project logbooks. |  |

| Data / Parameter: | Ea |
| --- | --- |
| Data unit: | MWh/day |
| Description: | Auxiliary consumption of the power plant |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data holds a significant purpose for determining the baseline emissions and the emissions reductions accruing due to the project activity. |
| Description of measurement methods and procedures to be applied: | This will be measured from the data recorded in the logbooks on a continuous basis. The data will be archived either electronically or in papers and will be available upto two years after the crediting period. The project activity has employed state-of-the-art monitoring and control equipments that will measure, record, report and control the power used for auxiliary consumption. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. This data would be used for calculating power contributed from waste heat recovery steam generation system of the CPP. |
| Any comment: | Meters at plant will automatically measure the data. The data will be recorded in project logbooks. |

| Data / Parameter: | EGtotal |
| --- | --- |
| Data unit: | MWh/day |
| Description: | Total Electricity generated by the CPP |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data holds a significant purpose for determining the baseline emissions and the emissions reductions accruing due to the project activity. |
| Description of measurement methods and procedures to be applied: | This will be measured from the data recorded in the log books on a continuous basis. The data will be archived either electronically or in papers and will be available upto two years after the crediting period. The project activity has employed state-of-the-art monitoring and control equipments that will measure, record, report and control the power used for measuring the total electricity generated. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. This data would be used for calculating power contributed from waste heat recovery steam generation system of the CPP. |
| Any comment: | The data will be monitored from flow meters at plant and DCS. Manager in-charge would be responsible for calibration of the meters |

| Data / Parameter: | Sgen |
| --- | --- |
| Data unit: | Tonnes/ day |
| Description: | Total Steam Generated from both WHR and AFBC boiler |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the effective Waste heat recovery steam flow per day. |
| Description of measurement methods and procedures to be applied: | This will be measured from the data recorded in the logbooks on a daily basis. The data will be archived either electronically or in papers and will be available upto two years after the crediting period. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. It is a critical parameter that would used to calculate the net / effective WHR steam. |
| Any comment: | The data will be monitored from flow meters at plant and DCS. Manager in-charge would be responsible for calibration of the meters |

| Data / Parameter: | Scons |
| --- | --- |
| Data unit: | Tonnes/day |
| Description: | Total steam consumed by TG |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the effective Waste heat recovery steam flow per day. |
| Description of measurement methods and procedures to be applied: | This will be measured from the data recorded in the logbooks on a daily basis. The data will be archived either electronically or in papers and will be available upto two years after the crediting period. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. It is a critical parameter that would used to calculate the net / effective WHR steam. |
| Any comment: | The data will be monitored from flow meters at plant and DCS. Manager in-charge would be responsible for calibration of the meters. |

| Data / Parameter: | Svent |
| --- | --- |
| Data unit: | Tonnes |
| Description: | Total steam vented/dumped in the CPP |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the effective Waste heat recovery steam flow per day. |
| Description of measurement methods and procedures to be applied: | This will be measured from the data recorded in the log books on a daily basis. The data will be archived either electronically or in papers and will be available upto two years after the crediting period. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. It is a critical parameter that would used to calculate the net / effective WHR steam. |
| Any comment: | The data will be calculated on a daily basis. |

| Data / Parameter: | SWHR |
| --- | --- |
| Data unit: | Tonnes/day |
| Description: | Flow of WHR steam from common header |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the effective Waste heat recovery steam flow per day. |
| Description of measurement methods and procedures to be applied: | This will be measured from the data recorded in the log books on a daily basis. The data will be archived either electronically or in papers and will be available upto two years after the crediting period. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. It is a critical parameter that would used to calculate the net / effective WHR steam. |
| Any comment: | The data will be monitored from flow meters at plant and DCS. Manager in-charge would be responsible for calibration of the meters |

| Data / Parameter: | S 1 |
| --- | --- |
| Data unit: | Tonnes/day |
| Description: | Effective WHR Steam |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the effective Waste heat recovery steam flow per day. |
| Description of measurement methods and procedures to be applied: | This will be calculated (SWHR- Svent) and would be recorded on a daily basis. The data will be archived either electronically or in papers and will be available upto two years after the crediting period. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. It is a critical parameter that would used to calculate the net / effective WHR steam. |
| Any comment: | The data will be calculated on a daily basis. |

| Data / Parameter: | T1 |
| --- | --- |
| Data unit: | 0C |
| Description: | Avg. Temp of WHR steam before common header |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the Total Enthalpy from Effective WHR steam. |
| Description of measurement methods and procedures to be applied: | This will be measured from the data which is recorded continuously in the log books. The data will be archived either electronically or in papers and will be available upto two years after the crediting period. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. This data would be used for calculation of WHR steam parameters. |
| Any comment: | The data will be monitored from flow meters at plant and DCS. Manager in-charge would be responsible for calibration of the meters . |

| Data / Parameter: | P1 |
| --- | --- |
| Data unit: | 0C |
| Description: | Avg. pressure of WHR steam before common header |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the Total Enthalpy from Effective WHR steam. |
| Description of measurement methods and procedures to be applied: | This will be measured from the data which is recorded continuously in the log books. The data will be archived either electronically or in papers and will be available upto two years after the crediting period. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. This data would be used for calculation of WHR steam parameters |
| Any comment: | The data will be monitored from flow meters at plant and DCS. Manager in-charge would be responsible for calibration of the meters. |

| Data / Parameter: | h1 |
| --- | --- |
| Data unit: | Kcal/kg |
| Description: | Enthalphy |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the Total Enthalpy from Effective WHR steam. |
| Description of measurement methods and procedures to be applied: | This will be calculated from steam tables/mollier diagram The data will be archived either electronically or in papers and will be available upto two years after the crediting period. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. This data would be used for calculation of WHR steam parameters |
| Any comment: | The data will be monitored from flow meters at plant and DCS. Manager in-charge would be responsible for calibration of the meters. |

| Data / Parameter: | H1 |
| --- | --- |
| Data unit: | Kcal |
| Description: | Enthalphy of WHR steam |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the Total Enthalpy from Effective WHR steam. |
| Description of measurement methods and procedures to be applied: | This will be calculated as S1 x h1. The data will be recorded on daily basis and archived either electronically or in papers and will be available upto two years after the crediting period. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. This data would be used for calculation of WHR steam parameters |
| Any comment: | The data would be calculated on daily basis. |

| Data / Parameter: | T2 |
| --- | --- |
| Data unit: | 0C |
| Description: | Avg. Temp of AFBC steam before common header |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the Total Enthalpy from Effective AFBC steam. |
| Description of measurement methods and procedures to be applied: | This will be measured from the data which is recorded continuously in the log books. The data would be archived either electronically or in papers and will be available upto two years after the crediting period. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. This data would be used for calculation of FBC steam parameters. |
| Any comment: | The data will be monitored from flow meters at plant and DCS. Manager in-charge would be responsible for calibration of the meters |

| Data / Parameter: | P2 |
| --- | --- |
| Data unit: | Kg/cm2 |
| Description: | Avg. Pressure of AFBC steam before common header |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the Total Enthalpy from Effective AFBC steam. |
| Description of measurement methods and procedures to be applied: | This will be measured from the data which is recorded continuously in the log books. The data would be archived either electronically or in papers and will be available upto two years after the crediting period. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. This data would be used for calculation of FBC steam parameters |
| Any comment: | The data will be monitored from flow meters at plant and DCS. Manager in-charge would be responsible for calibration of the meters |

| Data / Parameter: | h2 |
| --- | --- |
| Data unit: | Kcal/kg |
| Description: | Enthalphy |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the Total Enthalpy from Effective WHR steam. |
| Description of measurement methods and procedures to be applied: | This will be calculated from steam tables/mollier diagram The data will be archived either electronically or in papers and will be available upto two years after the crediting period. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. This data would be used for calculation of FBC steam parameters |
| Any comment: | The data will be monitored from flow meters at plant and DCS. Manager in-charge would be responsible for calibration of the meters. |

| Data / Parameter: | S 2 |
| --- | --- |
| Data unit: | Tonnes/day |
| Description: | Flow of Steam from common header |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the Total Enthalpy from Effective WHR steam. |
| Description of measurement methods and procedures to be applied: | This will be calculated and would be recorded on a daily basis. The data will be archived either electronically or in papers and will be available upto two years after the crediting period. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. This data would be used for calculation of FBC steam parameters |
| Any comment: | The data will be monitored from flow meters at plant and DCS. Manager in-charge would be responsible for calibration of the meters |

| Data / Parameter: | H2 |
| --- | --- |
| Data unit: | Kcal |
| Description: | Enthalphy of AFBC steam |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the Total Enthalpy from Effective AFBC steam. |
| Description of measurement methods and procedures to be applied: | This will be calculated as S1 x h1. The data will be recorded on daily basis and archived either electronically or in papers and will be available upto two years after the crediting period. The monitoring and controls is part of the Distributed Control System (DCS) of the entire plant. All instruments are calibrated and marked at regular interval to ensure accuracy. |
| QA/QC procedures to be applied: | QA/QC procedures have been planned. The level of uncertainty level of data is low. This data would be used for calculation of FBC steam parameters |
| Any comment: | The data would be calculated on daily basis. |

| Data / Parameter: | Qff |
| --- | --- |
| Data unit: | Tonnes |
| Description: | Quantity of coal / dolochar |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data holds a significant purpose for determining emissions reductions accruing due to the project activity. |
| Description of measurement methods and procedures to be applied: | A log book will be maintained at the plant facility to record the total amount of Coal / Dolochar consumed. The data will be measured on daily basis in tonnes. The data will be recorded on daily basis and archived in papers and will be available upto two years after the crediting period. |
| QA/QC procedures to be applied: | Yes. Direct measurement of the data at the plant site will be cross-verified against the plant records. Person Incharge would be responsible for calibration of the meters as per national standards. |
| Any comment: | - |

| Data / Parameter: | NCVff |
| --- | --- |
| Data unit: | Kcal/kg |
| Description: | Net Calorific Value of Coal/ Dolochar |
| Source of data to be used: | Project records and log books maintained by the plant authorities. |
| Value of data applied for the purpose of calculating expected emission reductions in section B.5 | The data will be used for calculating the project emissions and calculating the quantity of coal / dolochar consumed for the project activity. The data holds a significant purpose for determining emissions reductions accruing due to the project activity. |
| Description of measurement methods and procedures to be applied: | Sample test carried out in internal laboratory for estimation of calorific value of the fuel. Data will be recorded in the paper and will be archived according to internal procedures, until 2years after the end of the crediting period. |
| QA/QC procedures to be applied: | Regular tests would be carried out for the calorific value of fuel to reduce the uncertainty. The calorific value of the fuel is fairly constant and thus no QA/QC procedures are required. Data will be archive for the Credit Period + 2 years. |
| Any comment: | - |

B.7.2 Description of the monitoring plan:

>>

The monitoring of the project activity will be according to the “Consolidated monitoring methodology for waste gas and/or heat and/or pressure for power generation.” -ACM0004 /version 02, Sectoral scope: 01, 03 March 2006.

(A) Purpose

To define the procedures and responsibilities for GHG Performance, Project Management , Registration, Monitoring, Measurement and Reporting of data and dealing with uncertainties.

(B) Scope

This procedure is applicable to 9.399 MW waste heat based power project i.e. of VMPL, West Bengal.

(C) Authorities and Responsibilities of Project Management, Registration, Monitoring, Measurement and Reporting:

Shift Inspector: Responsible for reporting hourly data of the steam generated from boilers, steam fed to turbines, parameters of steam and flow meter reading of the Captive Power Plant. The report is then sent to the Manager (Power Plant) for his review.

Manager (Power Plant): Responsible for reviewing the monitored parameters on an hourly based and presenting a monthly executive summary report, duly signed by himself, to the General Manager (Plant).

Shift Inspector (Electrical): Responsible for taking meter reading for electricity shift-wise. The report is then sent to the Manager (Electrical) for his review on a daily basis.

Manager (Electrical): Responsible for reviewing the monitored parameters shift-wise and presenting a monthly executive summary report, duly signed by himself, to the General Manager (Plant).

General Manager (Plant): Responsible for summarizing data of Electrical, Mechanical, Departments and authorize it on daily and monthly basis.

(D) Training of Monitoring Personnel:

A training schedule has been prepared for providing time to time training to the monitoring personnel by the senior competent authorities of the management as well as the equipments supplier and also by the Internal CDM Audit Team and CDM consultants.

(E) Procedure for emergency preparedness:

In accordance to the Industrial Health and Safety Department Government of West Bengal a Site Emergency Plan and Disaster Management Plan has been prepared and kept ready with the Personnel Department of the Project and requisite arrangements to deal with fire, electrical accident, mechanical accidents etc. are made in the project. Personal safety appliances are provided to the workers according to the requirement. Safety training and safety drill is provided from time to time by the personnel department.

(F) Procedure for calibration and maintenance of monitoring equipment:

All the monitoring equipments shall be calibrated as per the recommendation of the manufacturer at scheduled intervals from accredited laboratory Manager (Electrical) will be responsible for getting the instruments checked and calibrated as per calibration schedule

(G) Handling of Day-to-Day record: General Manager / Vice President (Plant): Responsible for summarizing data of Electrical, Mechanical Departments and authorize on a daily and monthly basis.

(H) Procedure for internal Audit.

An Internal CDM audit manual has been prepared and implemented. A team consisting of experienced personnel will be constituted for the Internal CDM Audit, who will conduct yearly Audit. Wherever required the assistance from the CDM PDD consultants will be sought.

B.8 Date of completion of the application of the baseline study and monitoring methodology and the name of the responsible person(s)/entity(ies)

>>

Name of person/ entity determining the baseline: Vikash Metal and Power Ltd.

Detailed contact information of the above is given in Annex 1

Date of completion of the baseline study: 10/07/2006

SECTION C. 	Duration of the project activity / crediting period

C.1	Duration of the project activity:

C.1.1.	Starting date of the project activity:

>>

01/08/2005

C.1.2.	Expected operational lifetime of the project activity:

>>

30y– 0m

C.2	Choice of the crediting period and related information:

C.2.1.	Renewable crediting period

Three crediting periods 3 x 7 =21 years

C.2.1.1.	 	Starting date of the first crediting period:

>>

01/01/2007 (after registration of the project activity with UNFCCC)

C.2.1.2.		Length of the first crediting period:

>>

7y-0m

C.2.2.	Fixed crediting period:

C.2.2.1.		Starting date:

>>

Not applicable

C.2.2.2.		Length:

>>

Not applicable

SECTION D. 	Environmental impacts

>>

D.1.	Documentation on the analysis of the environmental impacts, including transboundary impacts:

>>

The Project activity is to produce 9.399 MW power based on waste heat recovery. There are no additional GHG emissions other than the existing GHG emissions in the absence of project activity.

Environmental Impact Analysis:

The waste heat recovery based captive power project would cause an impact on environment in three distinct phases:

During Construction Phase

During Operational Phase and

Maintenance Phase

The impacts envisaged during construction of project activity were:

Impact on Soil Quality

Impact on Air Quality

Impact on Noise Levels

The environmental impact during the construction phase is regarded as temporary or short term and hence does not affect the environment significantly. The impacts that are evident during the operational and maintenance phases are discussed below. All possible environmental aspects for the various project activities have been identified and discussed for their impacts on the baseline environment that prevailed before the project was executed.

The project does not have any adverse impact on environment. The project requires an “approval for installation” from the Pollution Control Board and in each subsequent year, “consent to operate” will also be required from the Pollution Control Board. VMPL has already obtained NOC for Establishment from the West Bengal Pollution Control Board. These approvals will be part of the monitoring programme and will be produced at the time of validation and verification. The unit will only start operating only after obtaining “Consent to Operate” from the West Bengal State Electricity Board along with complete installation of pollution control devices and commissioning of the CPP using waste heat and AFBC boilers.

Sources of Pollution:

The major sources of pollution from the power plant are as follows:

- Pollutants in the gases emitting from the stack.

- Acidic effluents from chemical water treatment plant.

Pollution Control Measures

The various measures proposed to mitigate the impact of the above pollution sources are described below:

Stack Emissions

The exit gases from the kiln, after recovery of the sensible heat in WHRB, will be passed through an ESP to control the dust emissions in to the ambient atmosphere.  Provisions for a stack of adequate height and multi-field ESP for dust extraction in the exit gases before entry into the stack will ensure that particulate levels are within the acceptable limits.  The exact height of the stack will be determined during the detail engineering stage. Stack emissions would be restricted to less than 100 mg / Nm3.

### Plant Effluents

In the chemical water treatment plant, acidic and alkaline effluents are produced during the generation of cation/anion and mixed bed exchangers.  The effluents from the chemical water treatment plant will be led to a properly sized impervious, neutralization pit.  Normally these effluents are self neutralizing but provision will be made for dosing lime into the neutralizing pit to ensure the sufficiently high pH value before these effluents are disposed.

The sanitary sewage from ablution blocks etc. will be segregated from industrial waste and routed to the sewage treatment plant through sewage network.  The treated effluents will be used for the development of a green belt.  The aim of pollution control measures will be to ensure zero discharge such that no effluent is discharged outside the plant boundary.

As mentioned the plant will install an electrostatic precipitator and this will limit particle emissions to less than 100mg/Nm3. Particle emissions will therefore meet the regulations governing air pollution (Air Prevention and Control of Pollution Act, 1981) and assurances and guarantees have been sought from the manufacturer as to on-going performance of the ESP.

D.2.	If environmental impacts are considered significant by the project participants or the host Party, please provide conclusions and all references to support documentation of an environmental impact assessment undertaken in accordance with the procedures as required by the host Party:

>>

As per the host party regulations, the Environment Impact Assessment is not required for the project activity. The project activity is not polluting and the impacts associated with the project activity are insignificant. However the project proponent will monitor the environmental impacts and will abate the insignificant impacts.

Conclusion:

Project activity is environment friendly and creates employment and other benefits and promotes sustainable developments.

SECTION E. 	Stakeholders’ comments

>>

E.1.	Brief description how comments by local stakeholders have been invited and compiled:

>>

VMPL identifies the following as stakeholders to keep the transparency in the operational activity of the project promoter and thereby meeting local/ environmental regulations. The stakeholders identified are:

- State pollution control board

- Local Village Panchayat

- Project consultants

- Equipment suppliers

| Name of the Stakeholder | Summary |
| --- | --- |
| West Bengal Pollution Control Board (WBPCB) | WBPCB, have prescribed standards of environmental compliance and monitor the adherence to the standards. The project activity has received the Consent to Establish (or No Objection Certificate (NOC)) the necessary clearances from WBPCB. |
| Local Village Panchayat | The village Panchayat /local elected body of representatives administering the local area are a true representative of the local population in a democracy like India. Hence the public comments received from the village Panchayat / elected body of representatives administering the local area give a proper reflection of the opinions of the local people. The consent letter from the panchayat representing Village of Poradiha was also attained. |
| Project Consultants (Consultancy) | Project consultants were involved in the project activity to take care of various pre contract and post contract project activities like preparation of Detailed Project Report (DPR), preparation of basic and detailed engineering documents, preparation of tender documents, selection of vendors / suppliers, supervision of project implementation, successful commissioning and trial runs. |
| Equipment Suppliers | Equipment suppliers, one of the stakeholders, have supplied the equipments as per the specifications finalized for the project and are responsible for successful erection & commissioning of the same at the site. |

E.2.	Summary of the comments received:

>>

VMPL management apprised the representatives of village Panchayat of Poradiha about the project activity. The members of Panchayat appreciated and have expressed their no objection for project activity.

Permission has been sought from the State agency WBPCB, Project consultants and Equipment suppliers wherever required legally and have been received and apprised of the project activity.

E.3.	Report on how due account was taken of any comments received:

>>

All the stake holders appreciated the environment friendly project activity which has sustainable contribution to the development. No negative comment was reported from stake holders.

Annex 1

# CONTACT INFORMATION ON PARTICIPANTS IN THE PROJECT ACTIVITY

| Organization: | Vikash Metal and Power Limited |
| --- | --- |
| Street/P.O.Box: | Chittaranjan Ranjan Avenue |
| Building: | 35,6th Floor. |
| City: | Kolkata |
| State/Region: | West Bengal |
| Postfix/ZIP: | 700012 |
| Country: | India |
| Telephone: | +91 33 22893514/15 |
| FAX: | +91 33 22112154 |
| E-Mail: | info@vikashmetalpower.com , vikashmetal@vsnl.net |
| URL: | www.vikashmetalpower.com |
| Represented by: |  |
| Title: | Director |
| Salutation: | Mr. |
| Last Name: | Patni |
| Middle Name: |  |
| First Name: | Akash |
| Department: |  |
| Mobile: | 91 9831191212 |
| Direct FAX: |  |
| Direct tel: |  |
| Personal E-Mail: | akash@impex-infotech.com |

Annex 2

# INFORMATION REGARDING PUBLIC FUNDING

There is no public funding involved in the project activity.

# Annex 3

BASELINE INFORMATION

The project activity would generate electricity by utilizing the heat content of the waste gas of the sponge iron kiln and displace an equivalent amount of electricity from the grid. The emission reduction resulting from the project activity would depend on the emission factor of the grid mix. Therefore it is required to select the appropriate grid where an equivalent amount of electricity would be displaced by the electricity generated from the project activity.

Choice of the Grid

Indian power grid system (or the National Grid) is divided into five regional grids namely Northern, North Eastern, Eastern, and Southern and Western Region Grids. The Eastern Regional Grid consists of Bihar, Jharkhand, Orissa, West Bengal and Sikkim sector grids. These states under the regional grid have their own power generating stations as well as centrally shared power-generating stations. While the power generated by own generating stations is fully owned and consumed through the respective state’s grid systems, the power generated by central generating stations is shared by more than one state depending on their allocated share. Eastern Region Electricity grid facilitates the share of power generated by the central generating stations.

Eastern regional grid has a total generating capacity of 16477.78 MW as on 03.04.2006, of which private and Central stations has a generating capacity of 8425.14 MW and the balance is being generated by power stations at state level. Thus more than 50% of the generation capacity is coming from the central and private generating stations. As all the states forming part of the Eastern grid are dependent on power allocation from Central generating stations, Eastern region regional grid is considered as the appropriate grid system for the project activity.

As per the methodology, if the project displaces the electricity generation by fossil fuel for the captive purpose then the baseline scenario is Option b. If baseline scenario is grid power import.

Emission Factor of the Grid (EFy)

Baseline emission factor of eastern region (EFy) is calculated as a combined margin (CM), consisting of the combination of operating margin (OM) and build margin (BM) factors according to the following three steps.

STEP 1. Calculate the Operating Margin emission factor

STEP 2. Calculate the Build Margin emission factor

STEP 3. Baseline Emission Factor

The baseline emission factor (EFy) of the chosen grid is calculated as combined margin (CM), consisting of the combination of operating margin (OM) and build margin (BM) factors following the guidelines in the section “Consolidated baseline methodology for grid-connected electricity generation from renewable sources” (ACM 0002).

Step 1: Calculation of Operating Margin Emission Factor for the region based on Simple OM

As per ACM0002, the simple OM method can only be used where low-cost must run resources constitutes less then 50% of total grid generation of average of the five most recent years.

| Fuel | GWh |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 2005 | 2004 | 2003 | 2002 | 2001 |
| Hydro | 8266.6 | 7297 | 4479 | 7828 | 5809 |
| Thermal | 76649.06 | 68558 | 59972 | 55748 | 53436 |
| Total | 84915.66 | 75855 | 64451 | 63576 | 59245 |
| % of Low Cost must run projects | 9.735 | 9.61 | 6.94 | 12.3 | 9.80 |
| Average of five most recent years of low cost/must run projects constitutes less than 50% |  |  |  |  | 9.684415 |

Since the average of low cost must run resources in the five most recent years constitutes less then 50% of the total grid, the simple OM method is selected.

The simple OM emission factor (EFOM, simple,y) is calculated as the generation-weighted average emissions per electricity unit (tCO2/MU) of all generating sources serving the system, not including low-operating cost and must-run power plants.

 Fi ,j, y * COEFi,j y

EFOM, y =

  GENj,y

where Fi ,j, y is the amount of fuel i (in a mass or volume unit) consumed by relevant power sources j in year(s) y,

j refers to the power sources delivering electricity to the grid, not including low-operating cost and must run power plants, and including imports to the grid,

COEFi,j y is the CO2 emission coefficient of fuel i (tCO2 / mass or volume unit of the fuel), taking into account the carbon content of the fuels used by relevant power sources j and the percent oxidation of the fuel in year(s) y, and

GENj,y is the electricity (MWh) delivered to the grid by source j.

The fuel consumption in individual plants as required by the above formula is not readily and correctly available. However, Central Electricity Authority publishes the Station Heat Rate (SHR), which is a measure of plant efficiency in Kcal/KWh. In order to calculate the emission factor by the simple OM method, the formula in the numerator is expressed as:

GENj,y. SHRi

 Fi ,j, y * COEFi,j y=                                    X NCVi X EFCO2i X Oxidi

NCVi

Or 	 GENj,y. (SHRi X EFCO2i X 44/12 X Oxidi)

Where,

SHRi is the station heat rate with fuel i

EFCO2i is the emission factor per unit of energy of fuel j and

Oxidi is the oxidation factor for fuel i

The values of SHRi are available from CEA report on Performance Review of Thermal Power Stations 2004-05 Section 13 and Ministry of Power websites. Values of EFCO2i, Oxidi are available from Revised 1996 IPCC guidelines for Greenhouse Gas Inventories Workbook and Reference Manual for various fuels used in Indian power plants.

The power generation mix of eastern region comprises of coal based thermal power generation, diesel based thermal power generation and hydropower generation. The actual generation data of entire eastern region was analysed for the years 2003, 2004 and 2005 to arrive at the contribution of the fossil based power plants in the grid.

| Source of generation | MU |  |  |
| --- | --- | --- | --- |
|  | 2005 | 2004 | 2003 |
| Hydro power generation | 8266.6 | 7297 | 4479 |
| Coal power generation | 76607.74 | 68552 | 59965 |
| Diesel power generation | 41.32 | 6 | 7 |
| Total power generation in the grid | 84915.66 | 75855 | 64451 |
| % of Hydro power generation | 9.74 | 9.62 | 6.95 |
| % of thermal power generation | 90.26 | 90.38 | 93.05 |
| Average % of Hydro in the grid | 8.77 % average of three years |  |  |

VMPL has therefore adopted the ‘Simple OM’ method, and the simple OM emission factor is calculated using “A 3-year average statistics”

| Fuel | 2005 | Heat Rate | Carbon Emission Factor (tC/TJ) | Carbondioxide Emission Factor (tCO2e/GWh) | Carbondioxide Emissions (tCO2e) |
| --- | --- | --- | --- | --- | --- |
|  | GWH | Kcal/KWh |  |  |  |
| Hydro | 8266.6 | 0 | 0 | 0 | 0 |
| Coal | 76607.74 | 2429.04 | 26.2 | 977 | 74845762 |
| Diesel | 41.32 | 2062 | 20.2 | 639 | 26403.48 |
| Total | 84915.66 |  |  |  | 74872165 |

| Fuel | 2004 | Heat Rate | Carbon Emission Factor (tC/TJ) | Carbondioxide Emission Factor (tCO2e/GWh) | Carbondioxide Emissions (tCO2e) |
| --- | --- | --- | --- | --- | --- |
|  | GWH | Kcal/KWh |  |  |  |
| Hydro | 7297 | 0 | 0 | 0 | 0 |
| Coal | 68552 | 2429.04 | 26.2 | 977 | 66975304 |
| Diesel | 6 | 2062 | 20.2 | 639 | 3834 |
| Total | 75855 |  |  |  | 66979138 |

| Fuel | 2003 | Heat Rate | Carbon Emission Factor (tC/TJ) | Carbondioxide Emission Factor (tCO2e/GWh) | Carbondioxide Emissions (tCO2e) |
| --- | --- | --- | --- | --- | --- |
|  | GWH | Kcal/KWh |  |  |  |
| Hydro | 4479 | 0 | 0 | 0 | 0 |
| Coal | 59965 | 2717 | 26.2 | 977 | 58585805 |
| Diesel | 7 | 2062 | 20.2 | 639 | 4473 |
| Total | 64451 |  |  |  | 58590278 |

| Factor | 2005 | 2004 | 2003 |
| --- | --- | --- | --- |
| ∑ Fi,,j,y x COEF i,,j (tons/year) | 74872165 | 66979138 | 58590278 |
| ∑ GEN i,,j (MU) | 76649.06 | 68558 | 59972 |
| ∑ EF OM,y (tCO2/yr) | 976.8 | 976.9 | 976.94 |
| Average ∑ EF OM,y (tCO2/yr) | 976.9 |  |  |

Step 2: Calculation of Build Margin Emission Factor for the region (ex-ante):

The project developer has adopted option 1 (Ex-ante), which requires to calculate the Build Margin emission factor EFBM,y ex-ante based on the most recent information available on plants already built for sample group m at the time of PDD submission. The data used to determine the simple BM emission factor (EFBM,y )

 Fi,m, y * COEFi,m

EFBM, y  =

 GENm,y

where

Fi,m,y, COEFi,m are analogous to the variables described for the simple OM method above for plants m.

| A | 20% of state grid (MU) | 16983.13 |
| --- | --- | --- |
| B | Plants meeting 20% (MU) | 17005.81 |
| C | Last Five Plants Total (MU) | 8936.8 |

For the VMPL project, the sample group m that consists of (b) the power plants capacity additions in the electricity system that comprise 20% of the system generation and that have built most recently is adopted. Below is a list of power plants that comprises 20% of the system generation and which are built most recently.

| Power Stations | Installed capacity MW | Fuel | Generation GWh | Emissions tCO2 | Year of Commission |
| --- | --- | --- | --- | --- | --- |
|  |  |  | 2005 | 2005 |  |
| Talcher STPS | 500 | Coal-3E | 3317 | 3618963 | 2003 |
| Talcher STPS | 500 | Coal-3E | 3317 | 3618963 | 2003 |
| Chandil | 2 x 4 | Hydro | 0 | 0 | 2002 |
| Bakreswar | 210 | Coal 1D | 1590 | 1734745 | 2001 |
| Upper Indravati | 150 | Hydro | 2851.3 | 0 | 2001 |
| Upper Indravati | 150 | Hydro |  | 0 | 2000 |
| Upper Indravati | 150 | Hydro |  | 0 | 1999 |
| Upper Indravati | 150 | Hydro |  | 0 | 1999 |
| Bakreswar | 210 | Coal 1D | 991 | 1081216 | 2000 |
| Teesta | 7.5 x 3 | Hydro | 107.87 | 0 | 1999 |
| Teesta | 7.5 x 3 | Hydro |  | 0 | 1998 |
| Teesta | 7.5 x 3 | Hydro |  | 0 | 1997 |
| Bakreswar | 210 | Coal 1D | 1597 | 1742383 | 1999 |
| Mejia | 210 | Coal 3E | 1583 | 1727108 | 1999 |
| Rangit | 3 x 20 | Hydro | 369.64 | 0 | 1999 |
| Tenguhat | 210 | Coal 1D | 0 | 0 | 1998 |
| Mejia | 210 | Coal 3E | 1282 | 1398707 | 1998 |
| E.G. canal | 5 | Hydro |  | 0 | 1997 |
| Budge Budge | 500 | Coal 1D | 3784.46 | 4128978 | 1997 |

| ∑ Fi,,j,y x COEF i,,j (tons/year) | 14922084 |
| --- | --- |
| ∑ GEN i,,j (MU) | 17005.81 |
| ∑ EF BM,y (tCO2/yr) | 877.47 |

Step 3 Baseline Emission Factor (EF,y)

The baseline emission factor EF,y is calculated as the weighted average of the Operating Margin emission factor (EFOM, y) and the Build Margin emission factor (EFBM,y) , where the weights WOM and WBM, by default, are 50% and EFOM,,y and EFBM,y  are calculated as described in steps 1 and 2 above and are expressed in tCO2/MU.

EFgrid,,y = 0.5(EFOM, y +EFBM, y)

| ∑ EF BM,y | 877.47 tCO2e/ GWh |
| --- | --- |
| ∑ EF OM,y | 976.91 tCO2e/ GWh |
| ∑ EFy (Avg of OM &BM) | 927.19 tCO2e/Gwh |

## Annex 4

MONITORING PLAN

The CDM mechanism stands on the quantification of emission reductions and keeping the track of the emissions reduced. The project activity reduces the carbon dioxide whereas an appropriate monitoring system ensures this reduction is quantified and helps maintaining the required level.

The methodology requires monitoring the following

- Net electricity generation from the proposed project activity

VMPL have the monitoring plan with the aim that complete integrity and transparency shall be maintained in the following manner.

  - Data monitoring and maintaining records of readings /printouts of readings from installed instrumentation;

  - Calculation of emissions reductions

Dedicated personnel with defined responsibilities will be made available. A third party monitoring of the data and calculations will also be carried out for maintaining accuracy.

The following data will be submitted to concerned authorities

1. Monthly report on power generation

2. Monthly report on auxiliary consumptions

3. Monthly report on steam generation and consumption

Section B gives reporting tables to be followed:

- The following are the parameters to evaluate the net electricity generation from the WHRB of the captive power plant, along with the sources of emissions mentioned in section B needed to be monitored:

- Total steam generated from both WHR and AFBC boiler

- Total steam consumed by TG

- Total steam vented in the CPP

- Flow of WHR steam from common header

- Effective WHR steam

- Average temperature and pressure of WHR steam and AFBC steam before common header

- Average pressure of WHR steam before common header

- Enthalpy of WHR steam and AFBC steam

The monitoring system for the GHG abatement project activity is described below:

Monitoring System

The monitoring system for the CDM project activity has been developed in order to determine the baseline emissions and the project emissions (if any) over the entire credit period. The net units of electricity generated needs to be monitored by power meters at the plant. The actual amount of CO2 reduction however depends on the generation mix and production scenario of the grid that is taken into consideration in the grid emission factor calculation.

For monitoring the net unit of electricity generated, VMPL has devised an instrumentation system as described below:

Instrumentation and Control System

The instrumentation and control system is the key aspect for good functioning of any monitoring and verification system of a CDM project activity. The project activity has employed the state of art monitoring and control equipment that will measure, record, report, monitor and control various key parameters like total power generated, power used for auxiliary consumption, flow rate, temperature and pressure parameters of the waste gas, steam generated and steam sent to turbine to generate power. The instrumentation and control system for the power plant is designed with microprocessor-based instruments having adequate provisions to control and monitor the various operating parameters for safe and efficient operation of the waste heat recovery boiler and the turbo generator unit.

The monitoring system mainly comprises of metering of:

Gross Electrical Energy Generation:

The gross electrical energy generated by the waste heat recovery based power plant is monitored continuously in a PLC system installed in the power plant. The system facilitates automatic logging of gross electricity generation data on an hourly basis. The same can be verified with the monitored data on gross electricity generation, as recorded manually in the ‘Electrical Log Sheet’ maintained by the Electrical Department of VMPL.

In-house Electrical Energy Consumption:

The electrical energy consumption for VMPL plant is monitored and reported in the ‘Log Book’ maintained by the Electrical Department of VMPL.

Auxiliary Electrical Energy Consumption:

The auxiliary electrical energy consumption for power plant is monitored and reported in the ‘Log Book’ maintained by the Electrical Department of VMPL.

Frequency of monitoring

All the parameters related to the GHG abatement project activity are monitored as per the guidance provided in the “Approved consolidated monitoring methodology ACM0004”. The frequency of monitoring for each of the parameters is detailed in Section B. VMPL would ensure the adherence to the instructions as suggested by the methodology.

Reliability of monitored parameters

Quantification of GHG emission reductions resulting from the project activity depends on the accuracy of all the monitored parameters. The amount of emission reduction units is proportional to the net energy generation from the project activity. Since the reliability of the monitoring system is governed by the accuracy of the measurement system and the quality of the equipment to produce the result, all measuring instruments must be calibrated by third party/ government agency for ensuring reliability of the system.

Monitoring, Reporting and Reviewing the GHG Parameters – Roles and Responsibilities

The project activity has a micro-processor based online data registration process through the control cabin.

Daily, monthly and yearly reports will be prepared stating the gross electricity generation and in-house electricity consumption by VMPL based on the data monitored by the Electrical Department of VMPL. Daily report on auxiliary consumption will also be prepared by the Electrical Department of VMPL.

The monthly report prepared by the Electrical Department of VMPL will be presented by General Manager in the morning meeting in presence of all the departmental manager heads and the review meeting conducted every three months. Discrepancies, if identified in the in-house operational system, will be addressed immediately.

The actual amount of CO2 reduction however depends on the generation mix and production scenario of the grid that is taken into consideration in the grid emission factor calculation. The project does not have a direct control on the baseline. But since the baseline parameters like actual generation mix in million units and efficiency of thermal power plants in the grid will affect the actual emission reduction units that are attained during verification, they too will be included in the Monitoring and Verification procedure.

Central Electricity Authority (CEA) monitors the performance of all power generation units. The transmission and distribution network of Eastern Region includes monitoring and control facilities at each generation unit level, at each voltage level, substation level and consumer level. Hence, the transparency of measurements, recording, monitoring and control of the generation mix of the Eastern Regional Grid is ensured all the time.

The CEA report contains all information regarding type of generation like hydro, thermal etc., installed capacity, de-rated capacity, performance of generating unit, actual generation, capacity additions during the year, etc. which can be used for verification of the generation mix and emission factors for baseline calculation for a particular year.

The monitoring system, as discussed above, ensures proper quantification of the GHG emission reductions. At the same time, the monitoring system brings about the flaws in the system if any are identified and opens up the opportunities for improvement.

The General Manager of the plant is responsible for implementation of the Monitoring Plan and will have the authority to revise the monitoring plan in line with the methodology under infrastructural changes in the project activity and other associated operational systems.

- - - - - -

http://powermin.nic.in/generation/generation_state_wise.htm#estern

http://mnes.nic.in/wp12.htm

http://www.indianwindpower.com/potential.html

http://www.indiainfoline.com/sect/stee/db71.html

http://powermin.nic.in/generation/generation_state_wise.htm#estern