## Plan1
Mascarenhas Hydro Power: Genset # 4
Energy Characteristics |  | Legal Charges |  | Payment Schedule
Installed Capacity (MW) | 49.5 | ICMS |  | Year 1 | 42.89%
Energy (MWh average) | 22.9 | - ICMS on eletric energy | 25% | Electromechanic equipment | 19.47%
Availability factor | 100% | Taxes on invoiced revenues | 3.65% | Hydromechanic equipment | 18.13%
Minimum value | 65% | - PIS (in %) | 0.65% | Civil work | 3.76%
Maximum value | 100% | - COFINS (in %) | 3% | Facilities, appurtenances | 0%
Maximum generation ( in MWh/year) - FIRM | 200.604 | CPMF (in %) | 0.38% | Environment | 0.1%
|  | Taxes on revenues | 33% | Administration staff | 1.43%
Energy Cost |  | - Income tax (in %)+D40 | 25% | Engineering/ Management (EPC) | 0%
Rate for sales (mix of energy purchasing prices) | 21.1726 | - Social Contribution without revenues (in %) | 8% | Worksite | 0%
Rate for sales (after initial contracts) | 21.1726 | Finantial compensation =%*Cap*RCD (in US$) | 194951.7915 | Substation/Transmission line | 0%
Tariff for transportation | 0.5114 | - Reference Currently Duty - RCD (in US$) | 14.3974 | Eventual ( ensaio modelo reduzido) | 0%
- Rate for distribution | 0 | - Applied Percentual | 6.8% | Eventual (2) | 0%
- Connection fee | 0.5114 | ANEEL inspection taxes = 0.50% of revenues | 0.5% | Year 2 | 49.23%
|  |  |  | Electromechanic equipment | 22.35%
Hydro Power Lifetime |  | Operational Costs |  | Hydromechanic equipment | 20.81%
Hydro Power Lifetime (years) | 28 | O&M costs (in US$/MWh) |  | Civil work | 4.32%
|  | - Fixed costs (US$) | 48859.9349 | Facilities, appurtenances | 0%
Investiment Description |  | - Variable costs (US$/MWh) | 0 | Environment | 0.11%
Investiment in Hydro Power Plant ( in US$) | 19543.9739 | Security costs - Technic/Operational (in US$/ MWh) | 0 | Administration staff | 1.64%
- Administration staff | 716.6124 |  |  | Engineering/ Management (EPC) | 0%
- EPC | 18848.2085 |  |  | Worksite | 0%
- Others | 0 | Finantial Charges |  | Substation/Transmission line | 0%
- Facilities | 0 | Finantial tax ( in % per year) | 8.74% | Eventual ( ensaio modelo reduzido) | 0%
- Environment | 44.2997 | Working capital finantial tax ( in % per year) | 0% | Eventual (2) | 0%
Fluctuation value from the initial investiment | 1.51 | Investiments taxes (in% per year) | 0% | Year 3 | 7.88%
- Unitary cost (in US$/ Installed kW) |  | Exchange tax (R$/US$) | 3.12 | Electromechanic equipment | 3.58%
Minimum value - all in cost | 380.7687 |  |  | Hydromechanic equipment | 3.33%
EPC (calculated) | 18848.2085 | Weithed average cost of capital |  | Civil work | 0.69%
|  | Weithed average cost of capital | 12% | Facilities, appurtenances | 0%
Interest During Construction |  | Taxa de reajuste anual esperada | 6% | Environment | 0.02%
Own capital (Minimum value) | 10% |  |  | Administration staff | 0.26%
Third Market Capital ( Maximum value) | 0% |  |  | Engineering/ Management (EPC) | 0%
|  | Depreciation |  | Worksite | 0%
Amortization |  | Equipments | 3.68% | Substation/Transmission line | 0%
Method | Constant | Civil Works | 0% | Eventual ( ensaio modelo reduzido) | 0%
Period (years) | 6 | Engineering and Pre-operational | 0% | Eventual (2) | 0%
Grace period (years) | 3 | Annual Depreciation (average) | 3.68% | First Year of Operation
|  |  |  | Number of months of generation | 6
Cotação do dólar em 2003 | 3.07 | SHAREHOLDERS POSITION
|  | Dividend Payment (%) | 95%
|  | Leverage (%) | 0%