- CLEAN DEVELOPMENT MECHANISM

- PROJECT DESIGN DOCUMENT FORM (CDM-SSC-PDD)
Version 03 - in effect as of: 22 December 2006

# CONTENTS

A. 	General description of the small scale project activity

B. 	Application of a baseline and monitoring methodology

C. 	Duration of the project activity / crediting period

D. 	Environmental impacts

E. 	Stakeholders’ comments

## Annexes

Annex 1:  Contact information on participants in the proposed small scale project activity

Annex 2:  Information regarding public funding

Annex 3:  Baseline information

Annex 4:  Monitoring Information

Revision history of this document

| Version Number | Date | Description and reason of revision |
| --- | --- | --- |
| 01 | 21 January 2003 | Initial adoption |
| 02 | 8 July 2005 | - The Board agreed to revise the CDM SSC PDD to reflect guidance and clarifications provided by the Board since version 01 of this document. - As a consequence, the guidelines for completing CDM SSC PDD have been revised accordingly to version 2. The latest version can be found at <http://cdm.unfccc.int/Reference/Documents>. |
| 03 | 22 December 2006 | - The Board agreed to revise the CDM project design document for small-scale activities (CDM-SSC-PDD), taking into account CDM-PDD and CDM-NM. |

SECTION A. 	General description of small-scale project activity

A.1 	Title of the small-scale project activity:

>>

Baragran Hydro Electric Project, 3.0 MW (being expanded to 4.9 MW)

Version 04

24th September 2007

A.2.	Description of the small-scale project activity:

>>

This project is located on Sanjoin nala, a tributary of Beas River near village Patlikuhl in Kullu District, Himachal Pradesh. The power potential of Sanjoin nala is being exploited through the existing Baragran HEP being operated by M/s KKKHPL. Baragran HEP is a run-of-the-river development envisaging utilization of surplus water available in Sanjoin nala. The surplus discharge available in the nala is proposed to be utilized to develop full potential Sanjoin Stream.

On the basis of the discharge measurement data available, it is seen that it is possible to exploit discharge and natural head to generate 4900 KW of power at economical cost. The increase in installed capacity from 3 MW to 4.9 MW can be achieved by utilizing higher discharge available in the nala.

The purpose of the project activity is to generate electricity by using the renewable hydraulic resources to meet the ever-increasing demand for energy in the northern region. The development of the project activity would reduce the Green House Gas (GHG) emissions produced by the northern regional grid generation mix of India, which is mainly dominated by fossil fuel based power plants.

View of the project proponent about the project activity’s contribution to sustainable development

KKK Hydro Power Limited, which is the owner of the project activity, believes that the project activity has the potential to shape the economic, environmental and social life of the people in the region. The project activity is likely to have beneficial effect on agriculture, rural industries and employment in the region. Government of India has stipulated the following indicators for sustainable development in the interim approval guidelines for CDM projects.

The main purpose of the project activity is to generate electrical energy through sustainable means without causing negative impact on the environment and to contribute to the climate change mitigation efforts. Apart from the generation of electrical power, the project also contributes to the following:

- Sustainable development, through utilisation of renewable hydro resources available in the project region.

- Rural development due to the location of the project being in the rural area.

- Capacity addition to the present installed capacity and increase in the energy availability

- Generation of additional employment

SOCIAL WELL BEING:

  - Since the project activity is in the rural area, it would lead to the development of the region. It would significantly improve the conditions of the roads connecting site and nearby villages to existing roads.

  - Employment opportunities would be generated for local people, both during construction and operation phases.

  - The socio-economic conditions of the local people surrounding village like Baragran, Patlikuhl, etc. shall be improved by means of setting up of small scale/cottage industries in these villages

  - The project will also help locate, encourage and develop local entrepreneurs for the successful development of rural enterprises & for generation of non-farm employment.

ECONOMIC WELL BEING:

- The project activity would generate employment in the local area. The project would create a business opportunity for local stakeholders such as suppliers, manufacturers, contractors etc.

ENVIRONMENTAL WELL BEING:

- Since the project uses renewable hydroelectric resources for power generation, it doesn’t lead to any emissions in the environment.

- The project activity is a step towards environmental sustainability by saving exploitation and depletion of a natural, finite and non-renewable resource like coal/gas.

- The project will not cause any adverse effect on ecology of the area. Rather, it would improve the environment by providing pollution free source of energy to the people.

TECHNOLOGICAL WELL BEING:

- The technology selected for the power project would use well-established Horizontal Francis machine with directly coupled Generator type turbines.

- Development of small hydro locally with its well known and proved technology offers most attractive energy options as compared to petroleum, coal and wood based energy systems.

A.3. 	Project participants:

>>

| Name of the party involved ((host) indicates the host party) | Private and/or public entity(ies) project participants (as applicable) | Kindly indicate if the Party involved wishes to be considered as project participant (Yes/No) |
| --- | --- | --- |
| INDIA | KKK Hydro Power Limited | No |

A.4. 	Technical description of the small-scale project activity:

>>

A.4.1.  Location of the small-scale project activity:

>>

The project is located on Sanjoin nala, a tributary of Beas River near village Patlikuhl in Kullu district, Himachal Pradesh.

The project lies between Latitudes 31007’ N to 31013’ N and Longitudes 77004’ E to 77010’ E.

The project activity would generate electricity and sell it to the state grid, Himachal Pradesh State Electricity Board (HPSEB) through Power Purchase Agreement (PPA).

A.4.1.1.		Host Party(ies):

>>

The host party is the Government of India

A.4.1.2.		Region/State/Province etc.:

>>

State		-	Himachal Pradesh

A.4.1.3.		City/Town/Community etc:

>>

District		-	Kullu

A.4.1.4.		Details of physical location, including information allowing the unique identification of this small-scale  project activity :

>>

The project is located on Sanjoin nala, a tributary of Beas River near village Patlikuhl in Kullu district, Himachal Pradesh. The project site is approx. 25 km from Kullu off the Kullu - Manali State Highway near village Patlikuhl. A good motor able road exists up to diversion as well as powerhouse site.

The total catchment area up to proposed weir site is 58 sq. km. and is fan shaped. The total catchment area at the diversion site is 82.00 sq. km. The project lies between Latitudes 31007’ N to 31013’ N and Longitudes 77004’ E to 77010’ E.

The project site is easily accessible by road and air. The area can be approached from Patlikuhl town located on National Highway NH-21, by an all weather road. The distance from Kullu to Patlikuhl is about 20 km. The diversion site is located around 6 km from Patlikuhl and is connected by fair weather jeep able road at present. The powerhouse site is located near village Baragran on the right bank of Sanjoin nala before its confluence with Beas River.

The area around the project site is largely covered with overburden in the riverbed and adjoining terraces. Overburden consists of deep fill of ravine sediments whereas hill slopes are covered with slope wash material. The riverine terraces are mostly used as agricultural land. Rock outcrops are scanty. However, the hill slopes around the proposed project are stable and the area is conductive for constructing a small hydropower scheme on geological considerations.

A.4.2.  Type and category(ies) and technology/measure of the small-scale  project activity:

>>

According to the categorization of Appendix B to the simplified modalities and procedures for small scale CDM project activities (http://cdm.unfccc.int/methodologies/SSCmethodologies) the project activity fits the type and category as specified below:

Type: -		Renewable Energy Project

Category: -	Grid connected electricity generation

Approved Methodology: AMS I.D., Version 11, EB 31

Project Design & Technology:

This is a run-of-the-river development scheme of small hydropower projects in which the hydro power plant uses water limited to the rated capacity of the plant, from the natural flow of the river without storage.

The water shall be directed at an elevation of 1730.50 M through a trench weir and the silt will be eliminated at a de-silting unit after which it will be conveyed through partially an open channel and partially through cut and cover up to forebay which has a temporary storage of 3 minutes. From here the water shall be conveyed under pressure through penstock, which will run the turbine, which is housed, in the powerhouse. The water later on will be released into the river through tailrace stock.

The Technology used for generation of Power in the Baragran Hydro-Power Project is currently using Horizontal Francis Turbine (1500 KW) 2 Nos. these turbines have been selected based on available head at site and are ideally suited for such project.

The Baragran HEP has a potential of producing 4.9 MW power against the available gross head of 170 m and discharge of 2.7 m3/s approx. At present Baragran HEP has installation of two 1.5 MW Horizontal Francis machines and an additional 1.9 MW is to be installed based upon the optimised plant capacity of 4.9 MW derived from the power potential studies.

In the view of better efficiency of the Francis turbine at higher load conditions as compared to Pelton turbine and discharge availability, Francis turbine is selected.

Basic Parameters

Gross Head		:	173.8 m

Design Discharge	:	3.75 m3/sec

Installed Capacity	:	4900 KW (3000KW + 1900KW)

Generation Voltage 	:	3.3 KV

Plant Equipment

The turbine to be installed for the 1.9 MW would be of the same type as of 1.5 MW. The technical specifications of turbine are:

Turbine	 Type		:	Horizontal Francis Turbine with a directly coupled generator.

No. & Capacity		: 	2 x 1500 MW & 1 x 1900 MW

Design Head		:  	170 m

Rated Speed		:	100 rpm

Type of Generator	:	A.C. Synchronous

In the view of better efficiency of the Francis turbine at higher load conditions as compared to Pelton turbine and discharge availability, Francis turbine is selected.

The Baragran HEP has a potential of producing 4.9 MW power against the available gross head of 170 m and discharge of 2.7 m3/s approx. At present Baragran HEP has installation of two 1.5 MW Horizontal Francis machines and an additional 1.9 MW is to be installed based upon the optimised plant capacity of 4.9 MW derived from the power potential studies.

At present Baragran HEP has installation of 2 X 1.5 MW Horizontal Francis turbines and an additional 1.9 MW is to be installed based upon the optimised plant capacity of 4.9 MW derived from the power potential studies.

Evacuation of power:

The generated power from the project activity at 6.6 kV is stepped up to 33 kV by generator transformers and carried through 33 kV S/C transmission line to the nearest Himachal Pradesh State Electricity Board sub-station.

There is no technology transfer from other countries involved in the project activity.

FLOW CHART OF PRODUCTION

DIVERTED WATER DETS CHANNELISED THROUGH A TRENCH WEIR

INTAKE STRUCTURE

DISILTING WATER IS LED INTO THE CLOSED WATER CONDUCTOR SYSTEM (steel pipe 1400 mm diameter having a length of 1.60 km)

FINALLY WATER CONDUCTOR SYSTEM TERMINATES AT THE FOREBAY TANK

FOREBAY HAVING A CAPACITY OF 3 MINUTES STORAGE FEEDS WATER INTO THE PENSTOCK

PENSTOCK PIPE HAVING A 1200 MM & LENGTH OF 310 MTS SUPPLIES WATER TO TURBINES

THE PENSTOCK BIFURCATES INTO 2 BRANCH LINES IN ORDER TO SUPPLY WATER TO 2 TURBINES (PRESENTLY 2 ONLY) AND 3 IN FUTURE WHEN THE 3RD TURBINE OF 1.9 MW WILL BE OPERATIONAL

THE WATER COMING INTO TURBINES FROM A NET HEAD OF 165 MTRS IS ABLE TO ROTATE THE RUNNER OF THE TURBINE, WHICH RUNS THE GENERATORS.

THE ROTAION OF THE GENERATOR GENERATES ELECTRICITY WHICH IS IN PRINCIPLE CONVERTING POTENTIAL ENERGY OF THE WATER IN TO ELECTRIC ENERGY

THE WATER AFTER RUNNING THE TURBINE IS FED INTO TAIL RACE CHANNEL, THROUGH A DRAFT TUBE AND FINALLY WATER IS BACK INTO THE STREAM

WATER IS DIVERTED AT THE DIVERSION WEIR

[Keeping some water in the Normal course of river]

A.4.3	Estimated amount of emission reductions over the chosen crediting period:

>>

The emission reductions due to the project activity mainly depend upon the energy fed to the northern grid and the content of the fossil fuel based generation in the grid system. Hence the power fed to the northern grid and the generation mix in the baseline region becomes the basis for estimating the emission reductions.

| Years | Annual estimation of Emission Reductions in tonnes of CO2 |
| --- | --- |
| August 2007 – March 2008 | 10,838 |
| April 2008 – March 2009 | 21,672 |
| April 2009 – March 2010 | 21,672 |
| April 2010 – March 2011 | 21,672 |
| April 2011 – March 2012 | 21,672 |
| April 2012 – March 2013 | 21,672 |
| April 2013 – March 2014 | 21,672 |
| April 2013 – July 2014 | 5,419 |
| Total estimated amount of reductions (tonnes of CO2e) | 1,24,617 |
| Total number of Crediting Years | 7 years |
| Annual average over the crediting period of estimated reductions (tonnes of CO2e) | 17,802 |

A.4.4.  Public funding of the small-scale project activity:

>>

No public funding is involved in the project activity. The resources of the implementation have been organized by the investor through in house equity and debt from financial institution through equity debt structuring.

A.4.5. Confirmation that the small-scale project activity is not a debundled component of a large scale project activity:

>>

According to the Appendix C of the Simplified Modalities & Procedures for small scale CDM project activities; this small scale project is not a part of the large emission-reduction project, i.e. not a debundled component of the larger project or program, given that this is unique CDM project proposed by the project developer.

This project activity is not a debundled component of a larger project activity neither is a project activity registered nor there is an application to register another small scale CDM project activity:

- from the same project participant

- in the same project category and technology/measure and

- registered within the previous 2 years, and

- whose project boundary is within 1 km of project boundary of the proposed small scale activity at the closest point

SECTION B. 	Application of a baseline and monitoring methodology

B.1.	Title and reference of the approved baseline and monitoring methodology applied to the small-scale project activity:

>>

Title of approved baseline methodology: Grid Connected Renewable Electricity Generation

Reference of the Approved Baseline Methodology: Category I.D - Renewable Energy Projects – Version 11 of AMS –I.D., Sectoral Scope 1, EB 31 of the Appendix B of Simplified Modalities and Procedures (M & P) of Small Scale CDM Project Activities.

B.2	Justification of the choice of the project category:

>>

In accordance with the Appendix B of the simplified M&P for small scale CDM project activity indicative simplified baseline and monitoring methodologies for selected small-scale CDM project activity categories. As per this document the project activity falls under Category I.D. – Renewable electricity generation for a grid.

| Applicability Criteria | Project Scenario |
| --- | --- |
| Renewable energy generation units, such as photovoltaic, hydro, tidal/wave, wind, geothermal and biomass, that supply electricity to an electricity distribution system that is or would have been supplied by at least one fossil fuel or non-renewable biomass fired generating unit. | The project is a small hydro project hence applicable for this category. |
| If the unit added has both renewable and non-renewable components, the eligibility limit of 15 MW for a small scale CDM project activity applies only to the renewable component. If the unit added co-fires (non-) renewable biomass and fossil fuel, the capacity of the entire unit shall not exceed the limit of 15 MW. | There is neither non-renewable component added nor co-fixing is required for the proposed project activity. The renewable project capacity is 4.9 MW, well below the limit of 15 MW. |
| Grid connectivity | The net power generation from the project activity is being evacuated to the Himachal Pradesh State Electricity Board, which is a part of northern regional grid system of India. |

The methodology requires the project-monitoring plan to consist of metering the electricity generated by the renewable technology. In order to monitor the mitigation of GHG due to the project activity, the total energy exported and imported need to be measured. The net energy supplied to grid (difference of energy exported and imported) by the project activity multiplied by emission factor for Northern Region Grid, would form the baseline for the project activity.

GHG SOURCES

Direct on-site emissions

There would be no direct on-site emissions after implementation of the project activity since it is a run-of river hydropower project without any storage of water.

Direct off-site emission

Also there would be no direct off-site emissions after implementation of the project activity since it doesn't involve any transportation of fuel.

Indirect on-site emission

The indirect on-site GHG source is the consumption of energy and the emission of GHGs involved in the construction of project activity.

Considering the life of the project activity and the emissions to be avoided in the life span of 30 years, emission from above-mentioned source is too small and hence neglected.

No other indirect on-site emissions are anticipated from project activity.

Indirect off-site emissions

The indirect off-site emissions would include GHG emissions resulting from the erection of the HT lines from the point of generation to the nearest HT lines.

Considering the life of the power plant and the emissions to be avoided in the life span of 30 years, emissions from this source is also too small and hence neglected.

B.3.	Description of the project boundary:

>>

As per the guidelines mentioned in paragraph 6 of Type I.D. described in Annex. B of the simplified modalities and procedures for small-scale CDM project activities, project boundary encompasses the physical and geographical site of the renewable generation source.

For the project activity the project boundary is from the trench type diversion weir to the point of power supply to nearest sub-station where the project proponent has a full control. Thus, boundary covers diversion weir, intake chamber, desilting chamber, diversion channel, forebay, penstock, powerhouse HT lines and all other accessory equipments. However, for the purpose of calculation of baseline emissions, northern grid is included in the system boundary as outlined below -

B.4.	Description of baseline and its development:

>>

Using the methodology available in paragraph 9 of type I.D. described in Annex B of the simplified modalities and procedures for small-scale CDM project activities, the baseline of the project activity is the kWh generated by the project activity multiplied by the emission factor of the regional grid in which the project activity displaces the electricity.

The average of the approximate operating margin and the build margin (in kgCO2/kWh) of current generation mix of Northern region grid is used for the calculation of baseline emission factor.

The emission factor of the grid (Combined Margin), according to the outlines of the methodology, has been calculated in a transparent and conservative manner as a combined margin which is calculated as the average of the operating margin and the build margin. The detailed calculations of the operating and build margins have been provided in CO2 Baseline Database, Version 2.0, by Central Electricity Authority, Ministry of Power, Government of India. (Please refer to Annex 3 for baseline details.)

According to the CEA database the Carbon Emission Factor of Northern regional Grid for the baseline scenario (Combined Margin) has been considered as 0.80 tCO2/Mwh

The baseline emissions are calculated according to the equation as provided in section B.6.1.

B.5.	Description of how the anthropogenic emissions of GHG by sources are reduced below those that would have occurred in the absence of the registered small-scale CDM project activity:

The description and explanation on why the emission reductions would not occur in the absence of the proposed project activity, taking into account national and/or sectoral policies and circumstances is given below.

The installed capacities has increased from mere 1,713 MW in 1950 to 124,287 MW as on 31.03.06 consisting of 82,411 MW Thermal, 32,326 MW Hydro, 3,360 MW Nuclear. Region wise details of installed capacity are as shown below:

| Region | Thermal |  |  |  | Hydro | Nuclear | Renewable | # Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Coal | Gas | Diesel | Total |  |  |  |  |
| Northern | 17592.50 | 3213.19 | 14.99 | 20820.68 | 11061.88 | 1180.00 | 694.59 | 33757.15 |
| Western | 20941.50 | 5080.72 | 17.48 | 26039.70 | 6681.33 | 1300.00 | 1098.83 | 35119.86 |
| Southern | 15992.50 | 3434.50 | 939.32 | 20366.32 | 10967.71 | 880.00 | 4233.49 | 36447.52 |
| Eastern | 13662.38 | 190.00 | 17.20 | 13869.58 | 2496.53 | 0.00 | 111.67 | 16477.78 |
| North Eastern | 330.00 | 771.50 | 142.74 | 1244.24 | 1113.07 | 0.00 | 46.86 | 2404.17 |
| Island | 0 | 0.00 | 70.02 | 70.02 | 5.25 | 0.00 | 5.42 | - 80.69 |
| All India | 68518.88 | 12689.91 | 1201.75 | 82410.54 | 32325.77 | 3360.00 | 6190.86 | 124287.17 |

It is evident from the above table that the installed capacity is predominantly coal based and therefore is major source of carbon dioxide emissions from India. Hence, there exists scope for reducing the CO2 emissions from the country by way of fuel substitution, increased use of renewable energy sources, and also by improving the thermal efficiency of power generation.

In India electricity is a concurrent subject between the state and the central governments. The perspective planning, monitoring of implementation of power projects is the responsibility of Ministry of Power, Government of India. At the state level the state utilities or state electricity boards (SEBs) are responsible for supply, transmission and distribution of power. With power sector reforms there have been unbundling and privatisation of this sector in many states. Many of the state utilities are engaged in power generation also. In addition, there are different central/public sector organizations involved in generation like National Thermal Power Corporation (NTPC), National Hydro Power Corporation (NHPC), etc. in transmission e.g. Power Grid Corporation of India Ltd. (PGCIL) and in financing e.g. Power Finance Corporation Ltd. (PFC)

The management of generation and supply of power within the state and regional grid is undertaken by the state load dispatch centre (SLDC) and regional grid despatch centres (RLDC). Different states within the regional grid meet the demand from their own generation facilities plus generation by power plants owned by the central sector i.e. NTPC and NHPC etc. Specific quota is allocated to different states from the central sector power plants. Depending on the demand and generation there are exports and imports of power within different states in the regional grid. Thus there is an exchange of power among states in the regional grid. Similarly there exists imports and export of power between regional grids.

The project activity falls in Himachal Pradesh, which is a part of the Northern grid, is largely dependant on thermal generation. Commissioning of this project will therefore provide clean electricity to the northern grid of the country, which would have otherwise never been generated. The northern grid is currently dominated by thermal sources of energy and during the current five-year and next five-year plan; the following implementations are under execution for capacity addition in the northern grid.

| Type | 10th Five Year Plan |
| --- | --- |
| Hydro | 8974 MW |
| Thermal | 10436 MW |
| Nuclear | Nil |
| Renewable | Through private sector, thus not planned (less than 200 MW) |

Thermal plants perform at a higher PLF whereas the generation of electricity from hydroelectric projects depends upon the availability of water in the river. Thus even if about 46% of the new installations will be from hydro, their generation contribution would be less than 30% of the total generation added into the grid.

In accordance with paragraph 28 of the simplified modalities and procedures for small-scale CDM project activities, a simplified baseline and monitoring methodology listed in appendix B may be used for a small-scale CDM project activity if project participants are able to demonstrate to a designated operational entity that the project activity would otherwise not be implemented due to the existence of one or more barrier(s) listed in attachment A of Appendix B.

The implementation of the hydropower based project activity is voluntary step undertaken by KKK Hydro-Power with no direct or indirect mandate by law.

The main driving forces to this ‘Climate change initiative’ have been:

- GHG reduction

- The rural development of the region by making roads and creating job opportunities for the local people demonstrating of other entrepreneurs the untapped potential of generating clean power from small rivulets of water.

However, the project proponent was aware of the various barriers associated to project implementation. But it is felt that the availability of carbon financing against a sale consideration of carbon credits generate due to project activity would help to overcome these barriers. Some of the key barriers are discussed below:

Assessment of project additionality - The additionality aspects of the project are discussed below in accordance with Attachment A of Appendix B of the simplified M & P for small scale CDM project activities.

Investment barrier

- High capital cost involvement – The high initial cost related financial risk impacts significantly towards this kind of small scale hydro power plants, which are subject to face larger hydrological and technological risk. The project calls for an investment of INR 254.7 million (140.10 million for 3.0MW + Rs. 114.6 Million for 1.9 MW), which is high in comparison with the costs required for conventional power projects. Though the operating cost for small hydropower projects is low, but arranging adequate financing sources to the extent of the above mentioned magnitude is intricate, due to the obvious risk due to low plant load factor, irregular monsoons, uncertainty of the weather along with risks associated with hydropower projects.

The 3 MW project was commissioned with a debt-equity ratio of 77:23, with the term loan of Rs.1237.50 lakhs and Rs.150.0 Lakhs from IREDA & Canara Bank respectively and with equity investment of Rs.412.50 Lakhs by the promoters/associate concerns. Against the term loans taken from the financial institutions KKK Hydro Power Limited is liable to pay interest on the principal amount of loan at the rate of 13.75% p.a. exclusive of Interest Tax to IREDA and 13.25% p.a. to Canara Bank. Total cost of the project (3 MW) as on 31.03.06 has been increased to Rs. 1870.05   Lakhs. The cost of 1.9 MW project is Rs.1146 Lakhs. The term loan request applied to IREDA for a loan of Rs.802 Lakhs, as 70% of the targeted project cost i.e. Rs.1146 Lakhs for our 1.9 MW up gradation project.

- Increasing Cost overheads due to operational risk – As the project activity is located in the hilly terrain of Himachal Pradesh, the difficulties and additional cost have been envisaged regarding transportation of construction material and equipments, developing infrastructure (such as access road, pen stock etc.), construction and maintenance of transmission line for power evacuation. This aspect makes a significant barrier for conceiving small scale hydro power project.

- Risk associated with low return on interest – As the main revenue source for the project activity has been envisaged mainly through the sale of power to the State Grid, but the risk related to the payment option towards power tariff according to the Power Purchase Agreement signed between the project proponent and Himachal Pradesh State Electricity Board (Article 6 Sale & Purchase of The Energy), paragraph 6.2 (Tariff for Net Saleable Energy), it was clear that the Board shall pay KKKHPL for the net saleable energy delivered at the interconnection point at a rate of Rs. 2.50 per kilowatt-hour and the rate is firm and fixed and shall not be changed due to any reason.

The Internal Rate of Return (IRR) analysis has been prepared to ascertain the return on project investment have been derived as under:

IRR (Without CDM Benefit) -

| For Existing 3.0 MW Project | For Expanded 1.9 MW Project | For the total 4.9 MW |
| --- | --- | --- |
| 12.18% | 12.22% | 12.19% |

IRR (With CDM Benefit) -

| For Existing 3.0 MW Project | For Expanded 1.9 MW Project | For the total 4.9 MW |
| --- | --- | --- |
| 16.56% | 15.33% | 16.11% |

Depending on the benchmark return of 16 % on investment for the project activity as all the power projects in India are considered viable only if the guaranteed returns of minimum 16% on the capital are ensured, the IRR value with CDM revenue shows its necessity of the same for this project activity.

Because of non escalation clause of power tariff in Power Purchase Agreement for a period of 30 years and envisaging operational risk (cost overruns) of the project activity due to its high terrain location financial closure was achieved with great difficulty.

The financial analysis of the project indicates the Internal Rate of Return is 12.19%, which is by, low every standard (considering emissions reductions the inflation rate of 6% in case of India). The CDM revenue by sale of will raise the IRR to respectable levels helping in the repayment of loan.

Barrier due to prevailing practice

The large and medium scale power projects hugely dominate the Indian power sector and the same is true for the Northern Grid. The private investors, due to apparent advantages of assured return on investment, economies of scale and easy availability of finances are attracted towards the large and medium fossil fuel based projects and hence hydropower is hugely ignored. The trend is evident from a host of planned projects that comprises mostly large-scale fossil fuel based power generation projects.

As per table 1 shown on Page No. 2 of chapter 1 (Background and Objective) of CO2 Baseline database for the Indian Power Sector User Guide Version 1.1 December, 2006 of Central Electricity Authority, Ministry of Power, Govt. of India, the contribution of coal and gas based power generation is more than 67% in the grid.

In accordance with Ministry of Power, Government of India; India has the total power generation installed capacity of 1,32,110.21 MW including only 26.2% hydro and renewable 5.9 %, which establish the current scenario of power generation mix in India. According to Central Electricity Authority, Ministry of Power, Government of India, as on 31.03.2006, the hydro-electric schemes in operation account for only 19.08% and those under execution are 5.61% of the total potential. Thus, the bulk of the potential (75.32%) remains yet to be developed. According to the Ministry of New & Renewable Energy, Government of India, (tabulated as follows) out of total 525.72 MW installed capacity of SHP in Northern region Himachal Pradesh has only 22% of total project installed and 6.8% of total projects under implementation.

| Small Hydro Power Project | Identified Capacity | Projects Installed (as on 31.12.05) | Projects under implementation (as on 31.12.05) |
| --- | --- | --- | --- |
| Himachal Pradesh | 1624.78 MW | 119.08 MW | 52.50 MW |
| Northern Region (Total) | 4699.916 MW | 525.72 MW | 112.77 MW |
| India (Total) | 10106.02 MW | 1747.98 MW | 585.13 MW |

According to the Ministry of New & Renewable Energy, Government of India so far, private sector SHP projects with  an  aggregate  capacity  of  about  only 400  MW  have  been  set  up  mainly  in  Andhra  Pradesh,  Karnataka,  Himachal Pradesh, Punjab, Uttaranchal and Maharashtra state of India out of total estimated potential of 15,000 MW for the country. Through the existing public sector facts and figures it can be established that the private sector small hydro power project development is not the prevailing practice in state of Himachal Pradesh.

Hence, the proposed project is additional and not the same as the baseline scenario and would not have occurred with out considering CDM revenue. CDM revenues are expected to facilitate the project activity to overcome the project barrier as envisaged and leverage the project economics in case of any unforeseen outages, which resulted due to the above uncertainties.

The management of KKK Hydro Power Ltd. decided to incorporate the scope of carbon credit revenue for initial 3 MW project capacity during early project planning stage i.e. 15th July 2000 and further during discussion regarding identified scope for project capacity expansion of 1.9 MW, carbon credit revenue has been also considered for risk mitigation of project investment as the proceedings of the earlier decision  and the board of the company decided to consider carbon credit revenue for the project financing plan on 23rd April 2004. Afterwards due to delay towards implementation of initial 3 MW project capacity and non availability of required knowledge support to proceed in to the Clean Development Mechanism project modalities, the management of the company decided to consider the initial 3 MW project capacity and planned capacity expansion of 1.9 MW at the same project site as the single entity to go ahead with the implementation of the CDM project modalities and serious consideration of carbon credit revenue in August 2004.

Inspite of above discussed barriers; KKKHPL was one such entrepreneur to initiate this GHG abatement project under Clean Development Mechanism. KKKHPL's success would depend on securing the proposed carbon finance and it would definitely encourage other entrepreneurs to come up with similar project activities contributing further towards GHG emission reduction through the huge untapped small hydro-power potential.

In the absence of the project proponent’s initiative to implement the project, the regional grid mix dominated by fossil fuel based power plants would generate the equivalent. With the implementation of the project, of clean electricity would be generated over a period of 7 years.

B.6.	 Emission reductions:

B.6.1. Explanation of methodological choices:

>>

A. Baseline Emissions: According to the methodology the baseline is the kWh produced by the renewable generating unit multiplied by an emission coefficient measured in kg CO2 equivalent/kWh. Two methods are provided for category I.D for estimating the emission coefficient in a transparent and conservative manner as follows:

The emission factor has been calculated in a transparent and conservative manner as: 'the average of the approximate operating margin and the build margin'.

The step-by-step calculation of the baseline emission is as follows:

Step 1. Calculation of Operating Margin emission factor (EFOM)

EFOM 	=	I,JFi,j×COEFi,jjGENj

Where,

COEFi,j	=	is the CO2 emission coefficient of the fuel i (tCO2/mass or volume unit  of the fuel), calculated as given below

GENj	=	is the electricity generated to the grid by source j (MWh)

Fi,j	=	is the amount of fuel i (in a mass or volume unit) consumed by relevant power sources j, calculated as given below

j	=	refers to the power sources delivering electricity to the grid, not including low-operating cost and must run power plants

The CO2 emission coefficient COEFi is obtained as

COEFi	=	NCVi	x  EFCO2i  x	OXID

Where,

NCVi                    =	is the net calorific value (energy content) per mass or volume unit of a  fuel i

EFCO2,i	=	is the CO2 emission factor per unit of energy of the fuel i

OXIDi	=	is the oxidation factor of the fuel

Step 2. Calculation of Build Margin emission factor (EFBM)

It is calculated as the generation weighted average emission factor (tCO2/MWh) of a sample of power plant m of grid, as follows:

EFBM 	=	i,mFi,m×COEFi,mmGEMm

Where,

Fi,m, COEFi,m, and GENm – are analogous to the variables described for the OM method for plants m.

Calculations for the Build Margin emission factor EFBM has been done as ex ante based on the most recent information available on plants already built for sample group m of northern grid at the time of PDD submission. The sample group consists of the 20% of power plants supplying electricity to the grid that have been built most recently, since it comprises of larger annual power generation.

Further, none of the power plant capacity additions in the sample group have been registered as CDM project activities.

Step 3. Calculation of electricity baseline emission factor (EFy)

It is calculated as the weighted average of the Operating Margin emission factor (EFOM) and the Build Margin emission factor (EFBM):

EFy	=	WOM	x    EFOM     +    WBM	   x     EFBM

where the weights WBM and WOM by default, are 50% (i.e. WOM  = WBM = 0.5), and EFOM & EFBM are calculated as described in Steps 1 and 2 above and are expressed in tCO2/MWh

Electricity baseline emission factor of Northern regional grid (EFy) has been calculated by the Central Electric Authority (CEA) of India (Central Electric Authority: CO2 Baseline Database, Version 2.0,) as per the guidelines of ACM0002/Ver 06. The same emission factor for the grid has been used for calculation of emission reductions. For details please refer to Annex 3 of this project document.

Baseline Emission Calculations

BEy = EFy x EGy

where,

BEy = are the baseline emission due to displacement of electricity during the year y in tonnes of CO2

EGy = is the net quantity of electricity generated by the project activity during the year y in MWh, and

EFy = is the CO2 baseline emission factor for the electricity displaced due to the project activity in tonnes CO2/MWh.

If the same amount of electricity generated by the Northern region grid mix, it adds to the emissions that are ultimately getting reduced by the project activity. Hence, the baseline calculated using above methods/scenarios would represent the realistic anthropogenic emissions by sources that would occur in absence of the project activity.

The uncertainties in the baseline, arising out of capacity additions trends are already taken into consideration

B. Project Emissions: The project activity is a run-of-river hydroelectric project. There are no anthropogenic emissions by sources of GHGs in the project boundary as a result of the project activity.

C. Leakage Emissions: There are no anthropogenic emissions identified by sources outside the project boundary. Further, the project proponent confirms that the equipments used by the project activity are not transferred from another project. Hence, there is no leakage calculation required for the project activity.

D. Emission Reductions: The emission reductions of the project activity are calculated as the difference between the baseline emissions and the project emissions.

ERy = (BEy – PEy - Ly)

where,

ERy = emission reductions for the project activity in tonnes of CO2 e

BEy = Baseline emissions in tonnes of CO2 e

PEy = Project emissions in tonnes of CO2 e

Ly = Leakage emissions in tonnes of CO2 e

B.6.2. Data and parameters that are available at validation:

| Data / Parameter: | EFy |
| --- | --- |
| Data unit: | tCO2/ MWh |
| Description: | CO2 emission factor of the grid |
| Source of data used: | CO2 Baseline Database Version 2.0, (Combined Margin Emission Factor for Northern Regional Grid) published by Central Electric Authority (CEA), India |
| Value applied: | 0.8 |
| Justification of the choice of data or description of measurement methods and procedures actually applied : | Information available from authorised government agencies – National standard value has been calculated by Central Electricity Authority (CEA) as per guidelines of ACM0002 methodology. |
| Any comment: | Please refer Annex 3 of PDD for details. |

B.6.3 Ex-ante calculation of emission reductions:

>>

1. Baseline Emissions: Baseline emissions due to the project activity are calculated as follow –

Baseline Emissions (BEy) = CO2 emission factor of the grid (EFy) x Power exported to the Northern Regional grid by the project activity per year (EGy)

Where,

EFy has been taken from CEA CO2 Baseline Database, Version 2.0 for Northern regional grid system of India as applicable.

EGy has been considered as per the Detailed Project Report for the project activity.

2. Project Emissions: As the project activity is a run-off the river small hydro power plant, thus the possibility of any kind of GHG emissions within the project boundary (PEy) has been considered as ‘nil’.

3. Leakage: As described under Appendix B of the Simplified M & P for small-scale CDM project activities, Category I.D, leakage estimation is only required if the energy generating equipment is transferred from another activity or if the existing equipment is transferred to another activity. In case of this project activity all the energy generating equipments have been procured brand new from respective equipment suppliers. Thus the leakage emissions (Ly) for the project activity have been considered as ‘nil’.

4. Emission reductions due to project activity: The following formula is used to determine emission reductions –

ERy  =  (BEy – PEy – Ly)

The average annual emissions reductions due to the project activity for seven years crediting period has been calculated ex-ante as 17, 802 tCO2e per annum.

B.6.4 Summary of the ex-ante estimation of emission reductions:

>>

| Years | Estimation of the project activity emission (tonnes of CO2e) | Estimation of baseline emission (tonnes of CO2e) | Estimation of leakage (tonnes of CO2e) | Estimation of overall emission reduction (tonnes of CO2e) |
| --- | --- | --- | --- | --- |
| August 2007 – March 2008 | 0 | 10,838 | 0 | 10,838 |
| April 2008 – March 2009 | 0 | 21,672 | 0 | 21,672 |
| April 2009 – March 2010 | 0 | 21,672 | 0 | 21,672 |
| April 2010 – March 2011 | 0 | 21,672 | 0 | 21,672 |
| April 2011 – March 2012 | 0 | 21,672 | 0 | 21,672 |
| April 2012 – March 2013 | 0 | 21,672 | 0 | 21,672 |
| April 2013 – March 2014 | 0 | 21,672 | 0 | 21,672 |
| April 2013 – July 2014 | 0 | 5,419 | 0 | 5,419 |
| Total tonnes of CO2e) | 0 | 1,24,617 | 0 | 1,24,617 |

B.7 Application of a monitoring methodology and description of the monitoring plan:

| B.7.1 Data and parameters monitored: |  |
| --- | --- |
| (Copy this table for each data and parameter) |  |
| Data / Parameter: | EGexport |
| Data unit: | KWh |
| Description: | Total electrical energy exported by the project activity |
| Source of data to be used: | Plant records (Power Export Bills) |
| Value of data | 27.9 x 106 |
| Description of measurement methods and procedures to be applied: | The data will be recorded by Main and Check meters of reputed make installed at the Himachal Pradesh State Electricity Board (HPSEB) grid substation. The meters will be calibrated and maintained by HPSEB. Records of monthly electricity sales bills will be used as evidence for power exported to HPSEB grid |
| QA/QC procedures to be applied: | Main and Check meters of M/s L & T Make, Model No./Type No. AC – 3 Phase 4 Wire / Type – ER 300 P. Sealed meter installed. Monitored by HP State Electricity Board. |
| Any comment: | The power export bills can be cross checked with monthly joint meter reading report duly verified and authorised by HP State Electricity Board. |

| Data / Parameter: | Eimport |
| --- | --- |
| Data unit: | KWh |
| Description: | Total electrical energy imported by the project activity |
| Source of data to be used: | Plant records (Power Export Bills) |
| Value of data | Monthly value from Power Export Bill |
| Description of measurement methods and procedures to be applied: | The data will be recorded by duly tested and sealed meter installed. The meter will be calibrated and maintained by HPSEB. Records of monthly electricity sales bills will be used as evidence for power imported from the HPSEB grid |
| QA/QC procedures to be applied: | Total electrical energy imported will be monitored by duly tested and sealed meter installed. Monitored by HP State Electricity Board. |
| Any comment: | The power export bills can be cross checked with monthly joint meter reading report duly verified and authorised by HP State Electricity Board. |

| Data / Parameter: | EGy |
| --- | --- |
| Data unit: | KWh |
| Description: | Net elecrical energy exported by the project activity |
| Source of data to be used: | Plant records (Power Export Bills) |
| Value of data | Monthly value from Power Export Bill |
| Description of measurement methods and procedures to be applied: | The data will be calculated and recorded by Himachal Pradesh State Electricity Board (HPSEB). Records of monthly electricity sales bills will be used as evidence for net power exported to HPSEB grid |
| QA/QC procedures to be applied: | Difference of (EGexport) and (Eimport). Therefore No QC/QA is required. |
| Any comment: | The power export bills can be cross checked with monthly joint meter reading report duly verified and authorised by HP State Electricity Board. |

B.7.2 Description of the monitoring plan:

>>

Key Project Parameters affecting Emission Reductions

Power Exported by the Project: The power exported by KKKHPL would be measured to the best accuracy at the nearest substation of Himachal Pradesh State Electricity Board. The parameter would substantiate the smooth operation of the power plant.

Power Imported by the Project: The power imported by KKKHPL during the lean period would also be recorded to the best accuracy. The project site is located in Kullu district of Himachal Pradesh. Especially, in winter season as the project is partially or totally unable to operate, the company may draw energy required for start up and maintenance of the project from the Himachal Pradesh State Electricity Boards system, which shall be metered at the interconnection point and adjusted against the Net Saleable Energy in corresponding month’s bill.

Net Power exported to the grid: The project revenue is based on the net units exported by KKKHPL and would be measured to the best accuracy at the nearest substation of Himachal Pradesh State Electricity Board.

The general principles for monitoring above parameters are based on:

- Frequency

- Registration and reporting

- Reliability

Frequency of Monitoring

Monthly joint meter readings of main and check meters installed at interconnection point shall be taken and signed by authorised officials of KKKHPL and HPSEB at 9:00 hrs on the first day of every month. The hourly, daily & monthly log sheets are maintained in hard copies as well as in soft also.

Registration and Reporting

Records of this joint meter reading at interconnection would be maintained by KKKHPL. Monthly reports stating the generation, auxiliary consumption, and net power exports would be prepared by the shift in-charge and verified by plant manager.

Reliability

Payments to KKKHPL by HPSEB and emission reduction calculations would be based on net energy supplied by KKKHPL at interconnection point. For measuring the delivery and import of energy by KKKHPL at interconnection point, one set of main meter and check meter shall be provided by KKKHPL and HPSEB respectively at interconnection point

KKKHPL as well as HPSEB would keep requisite sets of metering equipment, duly tested/calibrated, as spares, for replacement as and when required. Main or check meter would be replaced by spare set of meter with, mutual consent of parties.

The technical details of main and check meter installed at interconnection point are :

Nomenclature		:	Electronic Trivector Energy Meter (Digital Display), Bidirectional

Model No./Type No.	:	AC – 3 Phase 4 Wire / Type – ER 300 P

Trade Mark or Make	:	M/s L & T Limited, Mysore

Serial No.		:	05390244

Voltage Ratio		:	33KV/110V

Current Ratio		:	75/1A

The main and check meter would be test checked for accuracy every sixth months. The main and check meter installed at the Interconnection point have one year validity. The main and check meters are installed at the interconnection point in presence of both the parties namely, KKKHPL & HPSEB. These meters are calibrated at the National Accreditation Board for Testing & Calibration Laboratories (NABL) accredited laboratory e.g. RTL Jalandhar. The check meter would be calibrated or replaced with spare tested calibrated meter, as may be necessary. The main meter would be immediately calibrated or replaced with spare tested calibrated meter, as may be necessary where after billing as well as emission reduction calculation would be as per main meter.

After the replacement of the meters correction would be applied to data recorded by main meter to arrive at correct energy figures for billing as well as emission reduction calculation purposes for period of two months prior to the month in which test check has been done up to time of calibration/replacement of defective meter.

While taking joint meter reading, if effectiveness between data recorded by main check meter if found to be outside the permissible limits, then both the meters would be tested. Pending such calibration of main meter, billing, payment as well as emission reduction calculation would be provisionally based on energy recorded by check meter ad would be subjected to adjustment on testing of check meter. If both main and check meters are found to be beyond the permissible limits of error, the energy recorded by main meter for previous billing month and up to date of removal of such meter in current month shall be corrected by applying appropriate correction factor. If on testing error in main meter is within accuracy limit and check meter is beyond accuracy limit, the main meter reading shall be used for billing as well as emission reduction calculation and check meter would be recalibrated. However, if check meter is found to be within accuracy limit and error in main meter is beyond accuracy limit, then check meter reading would be used for billing as well as emission reduction calculation purposes for previous billing month and till the time main meter is calibrated.

If during joint meter reading both the main and check meters are found to be non-operational, then energy figures for billing as well as emission reduction calculation for previous month would be computed on a mutually agreeable basis between KKKHPL and HPSEB.

KKKHPL shall archive and preserve all the monthly bills raised against net saleable energy for at least two years after end of the crediting period.

PLANT INCHARGE (A)

PLANT MANAGER (B)

JUNIOR ENGINEER & SHIFT INCHARGE

(C1)

JUNIOR ENGINEER & SHIFT INCHARGE

(C2)

JUNIOR ENGINEER & SHIFT INCHARGE

(C3)

JUNIOR ENGINEER & SHIFT INCHARGE

(C4)

The CDM management structure would be as follows -

A		 =	 Plant Incharge is the responsible for the overall project activities

B	=	 Plant Manger is responsible for the administration and for the     management of the Plant

C1, C2, C3, C4 =	Four Junior Engineers have been appointed who would also work as the Shift incharge and also take care of the technical faults occurring in the plant

- The generated electricity from the project is sold to the state electricity utility (HPSEB) for the complete project lifespan, for which the promoter has entered into a long-term power purchase agreement (PPA) with the state power utility. Thus throughout the project cycle (crediting period) and beyond the electricity generated from the project will be monitored by both the project proponent and a third party i.e. HPSEB.

- The generated electricity, before entering into the grid, at the grid interconnection point will be measured by digital, sealed kilowatt hour (kwh) meter on monthly basis and will be documented both on paper as well as in electronic form. The generation records will be signed by the officials of project proponent and third party (HPSEB). This generation record will be maintained and would be made available on demand throughout the crediting period of the project.

- The project proponent has appointed a full time project in-charge to manage the overall project activities after commissioning. The project in-charge will be stationed at the project site and will be responsible for monitoring the generation of electricity and maintaining statutory minimum discharge between the diversion weir and tailrace of the stream. To ensure that the micro-ecosystem of the stream is not disturbed due to the candidate CDM project, the discharge in the stream will be measured on fortnightly basis during the lean season of the stream i.e. the months of January, February and March. This data will also be recorded and preserved throughout the crediting period of the project.

- For duration other than lean season, random measurement of the discharge between diversion weir and tailrace will be carried out.

- The plant manager would be qualified diploma/degree engineer with 5-7 year experience in power industry. All the shift in-charges would be diploma/degree holders and would undergo related training including data monitoring & report generation etc.

B.8 Date of completion of the application of the baseline and monitoring methodology and the name of the responsible person(s)/entity(ies)

>>

28th July 2007

Pawan Kumar Kohli, KKK Hydro Power Ltd., contact details as listed in Annex 1

SECTION C. 	Duration of the project activity / crediting period

C.1	Duration of the project activity:

C.1.1.	Starting date of the project activity:

>>

| 3.0 Mega-Watt | 1.9 Mega-Watt |
| --- | --- |
| 5th August 2004 | Expected in July 2007 |

C.1.2.	Expected operational lifetime of the project activity:

>>

The expected lifetime of the project is 40 years, which can be extended further for 20 years on the basis of terms and conditions settled at that time.

C.2	Choice of the crediting period and related information:

C.2.1.	Renewable crediting period

C.2.1.1.	 	Starting date of the first crediting period:

>>

01.08.2007 or from the date of registration with UNFCCC, whichever is later.

C.2.1.2.		Length of the first crediting period:

>>

7 years

C.2.2.	Fixed crediting period:

C.2.2.1.		Starting date:

>>

NA

C.2.2.2.		Length:

>>

NA

SECTION D. 	Environmental impacts

>>

D.1.	If required by the host Party, documentation on the analysis of the environmental impacts of the project activity:

>>

Project Impacts

- Impacts due to Construction

Impact on human settlements, flora and fauna

The effects of the projects construction on the human floral and faunal aspects were negligible. There is no displacement of any local inhabitants and very small area of private land is required for project. Therefore, no rehabilitation measures were required.

Air and Water Pollution

The only anticipated air pollution was during the construction phase of the projects due to dust levels in air. Simple procedures like spraying water to keep dust and SPM levels low were followed during construction.

- Impact due to project operation

Land inundation

The project activity is run-of-river project; therefore it doesn't involve any storage reservoir. Thus, the project operation would not lead to any inundation of surrounding area.

The preliminary environmental study has been carried out for the Baragran project findings of the study are described below:

- The proposed Baragran project is the run-of-river scheme and hence doesn’t involve any water impoundment and submergence.

- Since the area between diversion weir and powerhouse is sparsely populated, the project shall not cause any displacement of human population.

- Part catchment area upstream of diversion site comprises of protected forests viz. Haripani & Shilagarh none of the project components shall interfere with these forests.

- The project having no submergence and impoundment shall not have any effect on the microclimate of the area because of its small magnitude.

- The construction of the project greatly promotes the socio-economic development of the area. The electricity from the project will be supplied to the HPSEB for distribution to the villages around the project area who hitherto were depending on forest produce for their energy needs. Also with the availability of cheap & reliable electricity, economic development of the Apple Valley will get a big boost.

- Plantations will be done in the project area for which adequate provision has been made in the cost estimates under head ‘M – Plantation’.

No adverse environmental impact has been envisaged in the project activity, still all the necessary clearances from the state pollution control board, public works department, department of irrigation and local villages as well the ministry of environment and forests has been obtained.

D.2.	If environmental impacts are considered significant by the project participants or the host Party, please provide conclusions and all references to support documentation of an environmental impact assessment undertaken in accordance with the procedures as required by the host Party:

>>

Since the project capacity is 4.9 MW, therefore according to the Ministry of Environment & Forest, Govt. of India, the project doesn’t require EIA study vide Notification No. S.O.60 (E), dated 27/01/1994.

The Ministry of Environment & Forests is the nodal agency in the administrative structure of the Government of India for the planning, promotion, co-ordination and overseeing the implementation of environmental and forestry programmes. The Ministry is also the Nodal agency in the country for the United Nations Environment Programme (UNEP). One of principal activities undertaken by Ministry of Environment & Forests prevention & control of pollution and protection of environment. The main tools utilized for this include environment impact assessment among all sectors.

The Notification No. S.O.60 (E), dated 27/01/1994 is primary notification regulating the EIA studies and approvals. Various amendments have been carried out in this notification from time to time. Hydel Power is covered under Entry No. 2 of Schedule 1 of the said notification. Point No. 3(b) of the same notification reads as under, “Nothing contained in this Notification shall apply to  (b) item falling under entry no.1, 2,3,4,5,7,9,10,13,14,16,17,19,21,25,27 of Schedule-I if the investment is less than Rs.100 crores for new projects and less than Rs. 50 crores for expansion / modernization projects.”

The Baragran is micro hydel power project requiring investment of much less than the threshold limit of Rs. 100 Crores. Hence no EIA study was required for the project.

SECTION E. 	Stakeholders’ comments

>>

E.1.	Brief description how comments by local stakeholders have been invited and compiled:

>>

KKKHPL organised stakeholder consultation meeting with individual village panchayat (elected body of representatives administering the local area) in the area with the objective to inform the interested stakeholders on the environmental and social impacts of the project activity and discuss their concerns regarding the project activity. For the consultation with the local stake holder an advertisement was given in the local newspaper ‘Divya Himachal’ on 28th October 2006. Invitation for stakeholder consultation meetings were sent out requesting the members of village panchayat to participate and communicate any suggestions/objections regarding the project activity in writing. The Stakeholder meeting was held on 5th November 2006 at 12:00 pm, venue was Hilltone Resorts, opposite Spam Resorts, Manali, Himachal Pradesh. On the day of meeting, KKKHPL representatives presented the salient features of the company and the project activity to the participants and requested their suggestions/objections. The opinions expressed by them were recorded and are available on request.

The other stakeholders identified for the project activity are as under:

- Local Population

- Himachal Pradesh State Pollution Control Board

- Himachal Pradesh State Electricity Board

- Consultants

- Equipment Suppliers

Stakeholders list includes the government and non-government parties, which are involved in the project activity at various stages. At the appropriate stage of the project development, KKKHPL consulted/would consult stakeholders / relevant bodies to get the comments. The comments received are available on request.

E.2.	Summary of the comments received:

>>

Local population comprises of the local people in and around the project area. The roles of the local people are as a beneficiary of the project. The project activity would provide good direct employment opportunities to the local person, which is encouraging the project.

The project doesn't require displacement of any local population. The distance between the electrical substation for power evacuation and the plant is rather small; hence installation of transmission lines would not create any inconvenience to the local population.

Thus the project will not cause any adverse social impacts on local population. Rather, it will help in improvising their quality of life. KKKHPL has already completed the necessary consultation and documented the approval by local population for this project.

HPSPCB has prescribed standards of environmental compliance and monitors the adherence to the standards. HPSPCB have issued Consent to Establish (CTE) to Baragran HEP project under the provisions of Water (Prevention and Control of Pollution) Act, 1974 / Air (Prevention and Control of Pollution) Act 1981.

As a buyer of power, the HPSEB is a major stakeholder in the project. They hold the key to the commercial success of the project. KKKHPL has already signed Power Purchase Agreement (PPA) with HPSEB.

Project consultants were involved in the project activity to take care of the previous pre contract and post contract issue / activities like preparation of basic and detailed engineering documents, preparation of tender documents, and selection of vendors/suppliers. They would be further involved in supervision of project operation, implementation, successful commissioning and trial run.

In the stakeholder consultation the local people were informed about the Project Activity, its expansion & Clean Development Mechanism. They were also informed about the benefits, which they would have from the project activity. There were some quarries from the local people such as the problem, which they are facing due to the pipeline & about the plantation. The Project Manager satisfied the people by saying that the pipeline would be painted in green or cemented. For the maintenance of the plantation they have appointed a person.

E.3.	Report on how due account was taken of any comments received:

>>

In view of various direct and indirect benefits (social, economical, environmental), no concerns were raised during the consultation with stakeholders, hence it is not required to take due account of the comments.

The stakeholder consultation meet was held on 5th November 2006, 12:00 pm at Hilltone Resorts, opposite Spam Resorts, Manali, Himachal Pradesh. The invitation for the Stakeholder Consultation was advertised on 28th October 2006 in local newspaper ‘Divya Himachal’ in the local language, requesting the members of village panchayat to participate and communicate any suggestions/objections regarding the project activity in writing.

The relevant comments and important clauses mentioned in the project documents like Detailed Project Report (DPR), environmental clearances, power purchase agreement, local stakeholders comments etc., were considered in the preparation of CDM project design document.

Annex 1

# CONTACT INFORMATION ON PARTICIPANTS IN THE PROJECT ACTIVITY

| Organization: | KKK Hydro Power Limited |
| --- | --- |
| Street/P.O.Box: | DLF Industrial Area, Phase-I |
| Building: | I-41 |
| City: | Faridabad |
| State/Region: | Haryana |
| Postfix/ZIP: | 121 003 |
| Country: | India |
| Telephone: | 0129-2257552-53, 2270235 |
| FAX: | 0129-2270212 |
| E-Mail: | kkkhpl@dataone.in |
| URL: |  |
| Represented by: |  |
| Title: | Director |
| Salutation: | Mr. |
| Last Name: | Kohli |
| Middle Name: | Kumar |
| First Name: | Pawan |
| Department: | - |
| Mobile: | - |
| Direct FAX: | - |
| Direct tel: | 0129-2257552-53, 2270235 |
| Personal E-Mail: | kkkhpl@dataone.in |

Annex 2

# INFORMATION REGARDING PUBLIC FUNDING

# No public funding is available for this project activity from annex 1 countries.

# Annex 3

BASELINE INFORMATION

Northern region's present generation mix, thermal efficiency, and emission coefficient are used to arrive at the net carbon intensity/baseline factor of the chosen grid. As per the provisions of the methodology the emission coefficient for the electricity displaced would be calculated in accordance with provisions of paragraph 7 of Type I.D. mentioned in Appendix B of Draft Simplified Modalities and Procedures for Small Scale CDM Project Activities for grid system.

According to the ACM0002, the provisions require the emission coefficient (measured in kg CO2equ/kWh) to be calculated in a transparent and conservative manner as:

- The average of the "approximate operating margin" and the "build margin" (or combined margin)

OR

- The weighted average emissions (in kg CO2/kWh) of the current generation mix.

Complete analysis of the electricity generation has been carried out in for calculation of the emission coefficient as per paragraph 7 (a).

COMBINED MARGIN

The baseline methodology suggests that the project activity will have an effect on both the operating margin (i.e. the present power generation sources of the grid, weighted according to the actual participation in the grid mix) and the build margin (i.e. weighted average emission of recent capacity additions) of the selected grid and the baseline emission factor would therefore incorporate an average of both these elements.

OPERATING MARGIN

The "approximate operating margin" is defined as the weighted average emission (in kgCO2/kWh) of all generating sources serving the system, excluding hydro, geothermal, wing, low-cost biomass, nuclear and solar generation.

The project activity would have some effect on the operating margin of the Northern region grid. The carbon emission factor as per the operating margin takes into consideration the power generation mix of 2005-2006 excluding hydro, geothermal, wind, low-cost biomass, nuclear and solar generation of the selected grid, and the default value of emission factors of the fuel used for power generation.

Key parameters with their data sources

| S. No | Key Parameters | Data Sources |
| --- | --- | --- |
| 1. | Generation data for all plants for the year 2005-06 (kWh) | Annual reports of Northern Region Electricity Board (NREB) (http://www.nreb.nic.in/Reports/ar05-06/chapter2/annx2.7.pdf) |
| 2. | Coal Consumption | Annual Performance Review of Thermal Power Plants; CEA (http://www.cea.nic.in/Th_per_rev/CEA_Thermal%20Performance%20Review0506/section-9.pdf) |
| 3. | Calorific value of gas | IPCC |
| 4. | Calorific value of coal | IPCC |
| 5. | Oxidation factors | IPCC |
| 6. | Efficiency of gas based power plants supplying power to grid | Emission Baselines-Estimating the Unknown, page 156: by International Energy Agency (www.iea.org/textbase/nppdf/free/2000/embase2000.pdf) |

The Net Calorific Values (NCV) and emission factors (EFCO2) of various fuel types (grades of coal from D to F, lignite, gas, diesel) utilized in power stations were also obtained from the report “Baseline for Renewable Energy Projects under CDM” who have used the values obtained from CEA in planning studies.

Emission Factors

The emission factors are based on IPCC Guidelines for National Greenhouse Gas Inventories 1996 and are given below.

| Fuel | Emission Factor (tC/TJ) | Emission Factor (tCO2/TJ) |
| --- | --- | --- |
| Natural gas | 15.3 | 56.1 |
| Sub-Bituminous coal | 25.8 | 94.6 |

Average efficiency of gas/combustion turbine (peak load) works out to be 35 % and that for gas turbines in combined cycle work out to be 50 %. On conservative basis average efficiency for base line calculation is considered as 50 %. Standard emission factors given in IPCC for coal and gas (thermal generation) are applied over the expected over the expected generation mix and net emission factor is determined.

The formulae are presented in Section-E. Carbon Emission Factor of grid as per operating margin is    0.99 tCO2/Mwh electricity generation.

BUILD MARGIN

The "build margin" emission factor is the weighted average emissions (in kgCO2equ/kWh) of recent capacity additions to the system, which capacity additions are defined as the greater (in MWh) of most recent 20% of existing plants or 5 the most recent plants.

It requires the data for recent capacity additions to the grid. The generation details of these capacity additions for the year 2005-2006 were obtained from Performance Review of Thermal Power Station 2005-2006 and NRLDC Annual Report 2005-2006.

The project activity will have some effect on the build margin of the northern region grid. The baseline factor as per the build margin takes into consideration the delay effect on the future projects and assumes that the past trend will continue in the future. Capacity additions of most recent 20% of existing plants is greater than (in MWh) than 5 most recent plants hence, for our build margin calculation we would take into consideration 20% of most recent plants built in Northern region grid. The key parameters for calculating build margin have been assumed same as that for calculating operating margin. Carbon Emission Factor of grid as per build margin is 0.60 tCO2/Mwh electricity generation.

The emission factor of the grid (Combined Margin), according to the outlines of the methodology, has been calculated in a transparent and conservative manner as a combined margin which is calculated as the average of the operating margin and the build margin. The detailed calculations of the operating and build margins have been provided in CO2 Baseline Database, Version 2.0, by Central Electricity Authority (CEA), Ministry of Power, Government of India.

According to the CEA database the Carbon Emission Factor of Northern regional Grid for the baseline scenario (Combined Margin) has been considered as 0.80 tCO2/Mwh

## Annex 4

MONITORING INFORMATION

- As described under Section B.7.2 of the PDD.

- - - - - -

The electricity system in India is divided into five regional grids viz. Northern, Eastern, Southern, Western and North-Eastern. Himachal Pradesh is part of the northern grid, which further consists of Delhi, Punjab, Haryana, Rajasthan, Uttar Pradesh, Chandigarh, Jammu & Kashmir and Uttaranchal.

Ministry of Environment & Forests web site: http://envfor.nic.in/cdm/host_approval_criteria.htm

Source: Detailed Project Report of the project

http://www.cea.nic.in/planning/c%20and%20e/Government%20of%20India%20website.htm

CEA CO2 Baseline Database, Version 2.0

http://www.cea.nic.in/c%20&%20e/user20%of%20guide%20ver1.1.pdf

www.cea.nic.in/thermal/project monitoring/indexThermal_Project_Monitoring.htm

http://www.energywatch.org.in/india_powersector.htm; http://iis-db.stanford.edu/evnts/1565/India.pdf

http://powermin.nic.in/JSP_SERVLETS/internal.jsp

http://cea.nic.in/about_us/Annual%20Report/2005-06/CEA%20AR%202006%20Final.pdf

http://www.mnes.nic.in/annual report/2005_2006_English/CH9/1.html

http://www.mnes.nic.in/annual report/2005_2006_English/CH9/2.html

http://www.mnes.nic.in/annual report/2005_2006_English/CH9/3.html

http://www.mnes.nic.in/annual report/2005_2006_English/CH9/4.html

http://www.cea.nic.in/c%20&%20e/user20%of%20guide%20ver1.1.pdf

Taken from Detailed Project reports for the project activity.

http://cdm.unfccc.int/UserManagement/FileStorage/CDMWF_AM_BW759ID58ST5YEEV6WUCN5744MN763

CEA CO2 Baseline Database, Version 2.0

CEA CO2 Baseline Database, Version 2.0

http://www.cea.nic.in/planning/c%20and%20e/Government%20of%20India%20website.htm

CEA CO2 Baseline Database, Version 2.0