## Assumptions
Units
Season days |  | 150
Off season days |  | 75
Season export | MW | 3.6
Off season export | MW | 6
Bagasse saving | mt | 22699
Electricity sold | MWh | 20196
PLF | % | 85%
Previous season exports | MW | 0.54802
Eghistorical | MWh | 2006.1367
CERs |  | 15643.2825
Total CERs |  | 109502.9773
CEF | tCO2e/MWh | 0.86
Investment cost | Rs | 200949000
Debt | Rs | 150000000
Equity | Rs | 50949000
Expected CER price | euro/tCO2e | 10
Exchange rate | Rs/euro | 56
Interest cost | % | 7.75%
PPA price | Rs/kWh | 2.71
Bagasse price | Rs/tonne | 950
Discount rate | % | 7%
Investment
General
Consultancy | 5
Civil and structural
Site development | 6
Internal roads, fencing | 9.6
TG building | 95.6
STG foundation | 26.5
Clarified | 11.3
Reservoir | 16
CW pumps | 2
Cooling tower | 17.5
DM plant | 5
Storage tanks | 1.5
Cable and pipe trenches | 6
CBD, Neutralisation pits | 2
Switchyard civil foundation | 18
Misc civil works | 20
Mechanical works
STG & auxiliaries | 1065.63
Raw water pumps | 3.3
Clarifier | 7.91
Reservoir | 3.3
CW pumps | 9.56
CS piping | 19.78
Cooling tower | 19.78
Compressed air piping | 1.32
DM plant and piping | 15.82
HP piping | 57.54
EOT crane | 5
Misc pump sets and piping | 8.57
Misc cranes and hoists | 1.65
Storage tanks with valves | 14.38
Insulation and cladding | 11.87
Spares at 4% | 47.55
Electrical and instrumentation works
Generator and accessories | 0
11kV switchgear boards | 52.67
11kV busduct | 0
Transformers | 65.84
33kV switchyard equipment | 125.1
33kV control panels | 6.58
LT switchgear | 32.92
LT busducts | 6.32
Cables | 42.13
DC systems | 4.61
Station lighting | 10.41
Station earthing | 5.27
PA system | 0
Communications | 0.79
EPBAX with phones | 0
Tools, tackles and testing equipment | 1.32
15 ton AC | 10.53
Ventilating system | 2.24
Control and instrumentation | 19.75
Spares at 4% | 14.45
Lines | 73.6
Total | 2009.49

## Financial
NBVL
| Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25
MWh |  | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196 | 20196
CO2e, mt |  | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825 | 15643.2825
Revenue, Rs 1000
Electricity |  | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672 | 50352.6672
Emission reductions |  | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382 | 8760.2382
Costs, Rs 1000
Fuel |  | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05 | 21564.05
O&M |  | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725 | 5023.725
Cash Flows without CDM | -200949 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922
Project IRR | Year 0: 10.94%
Cash Flows with CDM | -200949 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 32525.1304 | 23764.8922 | 23764.8922 | 23764.8922 | 23764.8922
Project IRR | Year 0: 15.67%

## PDD data
| Estimation of project activity emissions (tonnes of CO2e) | Estimation of baseline emissions (tonnes of CO2e) | Estimation of leakage (tonnes of CO2e) | Estimation of overall emission reductions (tonnes of CO2e)
Year 2007 3mths | 0 | 3910.8206 | 0 | 3910.8206
Year 2008 | 0 | 15643.2825 | 0 | 15643.2825
Year 2009 | 0 | 15643.2825 | 0 | 15643.2825
Year 2010 | 0 | 15643.2825 | 0 | 15643.2825
Year 2011 | 0 | 15643.2825 | 0 | 15643.2825
Year 2012 | 0 | 15643.2825 | 0 | 15643.2825
Year 2013 | 0 | 15643.2825 | 0 | 15643.2825
Year 2014 9mths | 0 | 11732.4618 | 0 | 11732.4618
Total tonnes of CO2e | 0 | 109502.9773 | 0 | 109502.9773

## Factory data
| 2002/03 | 2003/04 | 2004/05 | Average
Exported power, kWh | 1434870 | 3841690 | 741850 | 2006136.6667
Operation days | 162 | 149 | 154 | 155
Average, MW | 0.36905 | 1.0743 | 0.20072 | 0.54802
Sales of bagasse, mt | 8086 | 7125 | 13737 | 9649.3333
Av price of bagasse, Rs | 996 | 810 | 1041 | 949