## WS-0 NEC Actualizacion
Plant Name | NECs | Generation |  | Technology | Partial |  |  | Average NEC
|  | GWh |  |  | Generation |  |  | by Technology
CHILCA1 TG 1 - GAS | 0.36 | 89.494 |  | GAS |  | 32.2178 |  | 0.31486
AGUAYTIA TG 2 - GAS | 0.31 | 541.596 |  |  |  | 167.8948
AGUAYTIA TG 1 - GAS | 0.3 | 606.375 |  |  |  | 181.9125
MALACAS2 TG 4 - GAS | 0.28 | 517.1 |  |  |  | 144.788
VENTANILLA TG 4 - GAS + TG3 | 0.34 | 1526.838 |  |  |  | 519.1249
VENTANILLA TG 3 - GAS | 0.34 | 0 |  |  |  | 0
STA ROSA WEST TG7 - GAS | 0.31 | 525.793 |  |  |  | 162.9958
STA ROSA WEST TG7 - GAS + H2O | 0.3 |  |  |  |  | 0
STA ROSA UTI 6 - GAS + UTI 5 | 0.26 | 185.782 |  |  |  | 48.3033
STA ROSA UTI 5 - GAS | 0.26 |  |  |  | 3992.978 | 0 | 1257.2372
MALACAS2 TG 4 - GAS + H2O | 0.28 | 517.1 |  | PURE METANO |  | 144.788 |  | 0.27208
MALACAS TG 3 - GAS | 0.22 | 16.159 |  |  |  | 3.555
MALACAS TG 2 - GAS | 0.22 | 38.747 |  |  |  | 8.5243
MALACAS TG 1 - GAS | 0.21 | 19.92 |  |  | 591.926 | 4.1832 | 161.0505 |  | 228.499 | 365
VENTANILLA CC TG 3 & TG 4 - GAS | 0.49 | 46.9518 |  | CC DRY |  | 23.0064 |  | 0.48603 | 46.9518 | 75 | 0.20548
VENTANILLA CC TG 3 - GAS F.DIRECTO | 0.49 | 45.3868 |  |  |  | 22.2395 |  |  | 45.3868
VENTANILLA CC TG 3 - GAS | 0.49 | 45.3868 |  |  |  | 22.2395 |  |  | 45.3868
VENTANILLA CC TG 4 - GAS | 0.48 | 45.3868 |  |  |  | 21.7857 |  |  | 45.3868
VENTANILLA CC TG 4 - GAS F.DIRECTO | 0.48 | 45.3868 |  |  |  | 21.7857 |  |  | 45.3868
[5 empty] | 228.499 |  | 111.0568
CHILINA CC - D2 | 0.29 | 0.383 | Memoria EGASA | CC D2 |  |  |  | 0.29
ILO2 TV1 - CARB | 0.41 | 880.977 |  | CARBON |  |  |  | 0.41
ILO1 TV1 - R500 | 0.35 | 13.002 |  | R500 |  | 4.5507 |  | 0.34317
ILO1 TV2 - R500 | 0.35 | 82.682 |  |  |  | 28.9387
ILO1 TV3 - R500 | 0.34 | 226.177 |  |  |  | 76.9002
ILO1 TV4 - R500 | 0.34 | 108.519 |  |  |  | 36.8965
SAN NICOLAS TV 3 - R500 | 0.31 | 64.744 |  |  |  | 20.0706
SAN NICOLAS TV 1 - R500 | 0.29 | 30.644 |  |  |  | 8.8868
SAN NICOLAS TV 2 - R500 | 0.29 | 9.602 |  |  |  | 2.7846
CHILINA TV3 - R500 | 0.23 | 2.0406 |  |  |  | 0.46934
CHILINA TV2 - R500 | 0.21 | 1.4284 |  |  |  | 0.29997
MOLLENDO 123 - R500 | 0.43 | 58.893 |  |  |  | 25.324
[5 empty] | 597.732 |  | 205.1213
YARINACOCHA - R6 | 0.43 | 73.767 |  | R6 |  | 31.7198 |  | 0.40735
CHILINA SULZ 12 - R500 D2(R6) | 0.42 | 22.279 |  |  |  | 9.3572
TUMBES - R6 | 0.43 | 42.378 |  |  |  | 18.2225
CALANA 123 - R6 | 0.4 | 6.6915 |  |  |  | 2.6766
CALANA 4 - R6 | 0.37 | 2.2305 |  |  |  | 0.82529
PIURA 1 - R6 | 0.37 | 28.646 |  |  |  | 10.599
CHICLAYO OESTE - R6 | 0.35 | 25.382 |  |  |  | 8.8837
PIURA 2 - R6 | 0.34 | 3.777 |  |  |  | 1.2842
[5 empty] | 205.151 |  | 83.5683
SAN NICOLAS CUMMINS - D2 | 0.4 | 0.952 |  | D2 |  | 0.3808 |  | 0.3306
CNP SULZER 123 - D2 | 0.36 | 2.934 |  |  |  | 1.0562
PAITA 1- D2 | 0.35 | 2.0215 |  |  |  | 0.70752
BELLAVISTA MAN 1 - D2 | 0.37 | 0.696 |  |  |  | 0.25752
SULLANA - D2 | 0.34 | 3.323 |  |  |  | 1.1298
DOLORES(GM 123 ALC 12) - D2 | 0.33 | 0.25768 | 0.80026 |  |  | 0.085035
ILO1 CATKATO - D2 | 0.38 | 0.829 |  |  |  | 0.31502
DOLORES (SZ 12) - D2 | 0.33 | 0.064318 | 0.19974 |  |  | 0.021225
TAPARACHI - D2 | 0.36 | 1.789 |  |  |  | 0.64404
PAITA 2 - D2 | 0.32 | 2.0215 |  |  |  | 0.64688
CNP MAN - D2 | 0.31 | 2.934 |  |  |  | 0.90954
BELLAVISTA ALCO - D2 | 0.31 | 3.323 |  |  |  | 1.0301
STA ROSA UTI - D2 | 0.33 | 14.468 |  |  |  | 4.7744
MOLLENDO TG 2 - D2 | 0.32 | 8.711 |  |  |  | 2.7875
ILO1 TG2 - D2 | 0.32 | 8.69 |  |  |  | 2.7808
[5 empty] | 53.014 |  | 17.5265
PIURA TG - R6 | 0.26

## (WS-1) CEF per technology
| Current Technologies in the SEIN |  |  | Future Technologies in the SEIN
| Type of Fuel | COEF(tCO2/MWh) |  | Type of Fuel | COEF (tCO2/MWh) | Calculation COEF:
| Coal | 0.81402 |  | Diesel CC | 0.91 | COEF(tCO2/MWh) | Open Cycle | [5 empty] | Combined Cycle
| Oil based | 0.79847 |  |  |  | Type of Fuel | D2 | R6 | R500 | Gas Dry | Gas PM | Coal | D2 | Gas Dry
| Diesel 2 | 0.79847 |  | Gas Dry CC | 0.41 | NEC | 33.06% | 40.74% | 34.32% | 31.49% | 27.21% | 41% | 29% | 48.6%
| Residual 6 | 0.67682 |  |  |  | C Content | 20.2 | 21.1 | 21.1 | 15.3 | 14.5 | 25.8 | 20.2 | 15.3
| R500 | 0.80342 |  |  |  | Oxidation Factor | 0.99 | 0.99 | 0.99 | 0.995 | 0.995 | 0.98 | 0.99 | 0.995
| Gas | 0.63814 |  |  |  | COEF(tCO2/MWh) | 0.79847 | 0.67682 | 0.80342 | 0.63814 | 0.6999 | 0.81402 | 0.91025 | 0.41348
| Dry | 0.63814
| Pure Methane | 0.6999
| Hydro | 0
| Residual 6 and Diesel 2 | 0.7
| Pure Methane or Diesel 2 | DEPENDS
| ILO TV2 Cogeneration Plant | 0
Name Plant/Technology/COEF:
ag_tg1 | AGUAYTIA 1 (2) | Dry | 0.64
ag_tg2 | AGUAYTIA 2 (2) | Dry | 0.64
arcata | Arcata | Hydro | 0
aricota | CH ARICOTA | Hydro | 0
bvista1 | BELL MAN 1,2 | Diesel 2 | 0.8
bvista2 | BELL MAN 1,2 | Diesel 2 | 0.8
cahua | Cahua | Hydro | 0
calana123 | CALANA 123 | Residual 6 | 0.68
calana4 | CALANA 4 | Residual 6 | 0.68
call | CH Callahuanca | Hydro | 0
ccomb | C. COMBINADO | Diesel 2 | 0.91
chariii | CH CHARCANI | Hydro | 0
chariv | CH CHARCANI | Hydro | 0
charv | CH CHARCANI | Hydro | 0
charvi | CH CHARCANI | Hydro | 0
chi_slz12 | SULZER CHILINA | Diesel 2 | 0.8
chicl_o | DS CHICLAYO OESTE-D | Diesel 2 | 0.8
chiltv1 | chiltv1 | R500 | 0.8
chiltv2 | TV2 CHILINA | R500 | 0.8
chiltv3 | TV3 CHILINA | R500 | 0.8
chimay | CH Chimay | Hydro | 0
chimb | TG1 CHIMBOTE | Diesel 2 | 0.8
cnp_mann | DS PACAS-MAN | Residual 6 and Diesel 2 | 0.8
cnp_slz | DS PACAS-SULZER | Residual 6 | 0.68
cpato | CH Cañón del Pato | Hydro | 0
cqro | CH Carhuaquero | Hydro | 0
dolores1 | DOL ALCO 1-2 GM 1-2-3 | Diesel 2 | 0.8
dolores2 | DOL ALCO 1-2 GM 1-2-3 | Diesel 2 | 0.8
gciego | CH Gallito Ciego | Hydro | 0
herc | CH HERCA | Hydro | 0
hp1 | HP1 | Hydro | 0
hp2 | HP2 | Hydro | 0
hp3 | HP3 | Hydro | 0
hp4 | HP4 | Hydro | 0
hp5 | HP5 | Hydro | 0
hp6 | sta Rosa1 | Hydro | 0
hp7 | yuncan | Hydro | 0 | Start filling from hp7 to hp1
hpni | CH Huampaní | Hydro | 0
huanchor | CH Huanchor | Hydro | 0
huin | CH Huinco | Hydro | 0
ilo1catk | KATCATO (ENERSUR) | Diesel 2 | 0.8
ilo1tg1 | TG1 ILO | Diesel 2 | 0.8
ilo1tg2 | TG2 ILO | Diesel 2 | 0.8
ilo1tv1 | ILO TV1 | R500 | 0.8
ilo1tv2 | ILO TV2 | R500 | 0.8 | COGENERATION
ilo1tv3 | ILO TV3 | R500 | 0.8
ilo1tv4 | ILO TV4 | R500 | 0.8
ilo2_carb | TV CARBON ILO II | Coal | 0.8
machup | CH MACHUPICCHU | Hydro | 0
mal_tg1 | TG1 | Pure Methane or Diesel 2 | 0.7
mal_tg2 | TG2 | Pure Methane or Diesel 2 | 0.7
mal_tg3 | TG3 | Pure Methane or Diesel 2 | 0.7
mal_tg4 | TGN4 | Pure Methane | 0.7
malp | CH Malpaso | Hydro | 0
man | CH MANTARO | Hydro | 0
mat | CH Matucana | Hydro | 0
moll123 | MOLLENDO 1,2,3 | R500 | 0.8
molltg1 | TGM1 MOLLENDO | Diesel 2 | 0.8
molltg2 | TGM2 MOLLENDO | Diesel 2 | 0.8
moq12 | MOQUEGUA | Diesel 2 | 0.8
moy | CH Moyopampa | Hydro | 0
oro_p | CH Oroya-Pachac. | Hydro | 0
paita1 | DS PAITA1 | Diesel 2 | 0.8
paita2 | DS PAITA2 | Diesel 2 | 0.8
pariac | Pariac | Hydro | 0
piura1 | DS PIURA1 | Diesel 2 | 0.8
piura2 | DS PIURA2 | Diesel 2 | 0.8
ron | CH RESTITUCION | Hydro | 0
sgab2 | CH SAN GABAN | Hydro | 0
shcummins | CUMMINS | Diesel 2 | 0.8
shou_tv1 | TV1 SHOUGESA | R500 | 0.8
shou_tv2 | TV2 SHOUGESA | R500 | 0.8
shou_tv3 | TV3 SHOUGESA | R500 | 0.8
sullana | DS SULLANA | Diesel 2 | 0.8
taparachi | TAPARACHI | Diesel 2 | 0.8
tg_piu | TG PIURA | Diesel 2 | 0.8
tintaya | TINTAYA | Diesel 2 | 0.8
tp55 | Chilca1 | Gas Dry CC | 0.64 | Start filling from tp55 to tp66
tp56 | TP56 | Unknown | 0
tp57 | TP57 | Unknown | 0
tp58 | TP58 | Unknown | 0
tp59 | TP59 | Unknown | 0
tp60 | TP60 | Unknown | 0
tp61 | TP61 | Unknown | 0
tp62 | TP62 | Unknown | 0
tp63 | TP63 | Unknown | 0
tp64 | TP64 | Unknown | 0
tp65 | TP65 | Unknown | 0
tp66 | TP66 | Unknown | 0
truji | TG TRUJILLO | Diesel 2 | 0.8
trupal | TRUPAL | Residual 6 | 0.68
tumbes | TUMBES | Residual 6 | 0.68
uti_5 | TG S.ROSA UTI5 | Diesel 2 | 0.8
uti_6 | TG S.ROSA UTI6 | Diesel 2 | 0.8
vent3 | TG VENTANILLA-3 | Diesel 2 | 0.8
vent4 | TG VENTANILLA-4 | Diesel 2 | 0.8
westin | TG WESTINGHOUSE | Diesel 2 | 0.8
yanan | CH Yanango | Hydro | 0
yarinac | Yarinacocha (5) | Residual 6 | 0.68
yaupi | CH Yaupi | Hydro | 0
Source COES internal data:
EEPSA | MALACAS TGN-4 DIESEL | DIESEL 2
ETEVENSA | TG VENTANILLA-4 | DIESEL 2
SHOUGESA | TV1 SHOUGESA | RESID-500
SHOUGESA | TV2 SHOUGESA | RESID-500
SHOUGESA | TV3 SHOUGESA | RESID-500
ETEVENSA | TG VENTANILLA-3 | DIESEL 2
EEPSA | GN MALACAS A,B,C (1) | GAS NAT.
EGENOR | DS PAITA1 | DIESEL 2
EGENOR | DS PIURA1 | DIESEL 2
EGENOR | DS PIURA2 | DIESEL 2
EGENOR | DS CHICLAYO OESTE-D | DIESEL2
EGENOR | DS SULLANA | DIESEL 2
EGENOR | DS PAITA2 | DIESEL 2
EDEGEL | STA ROSA BBC | DIESEL 2
ETEVENSA | TG VENTANILLA-2 | DIESEL 2
ETEVENSA | TG VENTANILLA-1 | DIESEL 2
EDEGEL | TG WESTINGHOUSE | DIESEL 2
EDEGEL | TG S.ROSA UTI5 | DIESEL 2
EDEGEL | TG S.ROSA UTI6 | DIESEL 2
EGENOR | TG TRUJILLO | DIESEL 2
EGENOR | TG1 CHIMBOTE | DIESEL 2
EGENOR | TG2 CHIMBOTE | DIESEL 2
EGENOR | TG3 CHIMBOTE | DIESEL 2
EGENOR | TG PIURA | DIESEL 2
E. PACASMAYO | DS PACAS-SULZER | RESIDUAL 6
EEPSA | MALACAS TGN-4 (GAS) (1) | GAS NAT.
TERMOSELVA | AGUAYTIA 1 (2) | GAS NAT.
TERMOSELVA | AGUAYTIA 2 (2) | GAS NAT.
E. PACASMAYO | DS PACAS-MAN | RESI-DIES.
EGENOR | TRUPAL | RESIDUAL 6
ENERSUR | TV2 ENERSUR (3) | RESID-500
ENERSUR | TG1 ILO | DIESEL 2
ENERSUR | TV3 ENERSUR (3) | RESID-500
EGESUR | CALANA 123 | RESIDUAL 6
ENERSUR | TV4 ENERSUR (3) | RESID-500
EGASA | SULZER CHILINA | DIESEL 2
ENERSUR | KATCATO (ENERSUR) | DIESEL 2
ENERSUR | TG2 ILO | DIESEL 2
EGASA | TV2 CHILINA | RESID-500
EGASA | TV3 CHILINA | RESID-500
EGASA | C. COMBINADO | DIESEL 2
SAN GABAN | BELL MAN 1,2 | DIESEL 2
SAN GABAN | BELL ALCO-DEUSTZ | DIESEL 2
SAN GABAN | TAPARACHI | DIESEL 2
EGESUR | MOQUEGUA | DIESEL 2
EGEMSA | DOL ALCO 1-2 GM 1-2-3 | DIESEL 2
EGEMSA | DOL SULZER 1,2 | DIESEL 2
EGASA | MOLLENDO 1,2,3 | RESID-500
SAN GABAN | TINTAYA | DIESEL 2
SAN GABAN | SAN RAFAEL | DIESEL 2
EGESUR | CALANA 4 | RESIDUAL 6
EGASA | TGM1 MOLLENDO | DIESEL 2
EGASA | TGM2 MOLLENDO | DIESEL 2
ENERSUR | TV CARBON ILO II | CARBON
ELECTROPERU | TUMBES | RESIDUAL 6
EEPSA | MALACAS TGN-4 (GAS CON H2O) | GAS CON AGUA
EEPSA | VERDUN | DIESEL 2
SHOUGESA | CUMMINS | DIESEL 2
Note on B69: Paola Solidoro: Functions only with Gas
Note on B87: Paola Solidoro: CT San Nicolas (R500)
Note on B88: Paola Solidoro: CT San Nicolas (R500)
Note on B89: Paola Solidoro: CT San Nicolas (R500)
Note on E94: Paola Solidoro: If not filled its contamination is "0"