## Parameters
Parameter | Value | Unit | Source
installed capacity | 24 | MW | FSR
Total Power Generation | 182000 | MWh | FSR | 1
net delivered power | 138680 | MWh | FSR
construction period | 2 | years | FSR
operation period | 15 | years | FSR
electricity tariff (exclusive) | 427 | RMB/MWh | FSR
other revenue | 71419080 | RMB | FSR
where: steam revenue | 53268000 |  |  | 40.2225
revenue from cost saving in self consumption | 18151080 | 18151080
Fixed assets | 382230600 | RMB | FSR | 1
Loan amount | 0 | RMB | FSR
Working capital | 12000000 | RMB | FSR
power and fuel | 15404000 | RMB | FSR
material expenditure | 16711000 | RMB | FSR
auxiliary material expenditure | 5000 | RMB | FSR
material recovery | 1418000 | RMB | FSR
Employee expenditure | 4350000 | RMB | FSR
Maintenance and repairs | 25000000 | RMB | FSR
Other O&M expenditure | 9000000 | RMB | FSR | 0.065406
Depreciation pa (buildings) | 1989000 | RMB | FSR
Depreciation period (buildings) | 30 | years | FSR
Depreciation pa (machinery) | 18960000 | RMB | FSR
Depreciation period (machinery) | 15 | years | FSR
Amortisation of intangible assets pa | 4007000 | RMB | FSR
Amortisation of intangible assets period | 5 | years | FSR
Sales tax and additional tax | 1848000 | RMB | FSR
Income tax | 33% |  | FSR

## costs
item | unit | construction period |  | operation period
|  | year 1 | year 2 | year 3 | year 4 | year 5 | year 6 | year 7 | year 8 | year 9 | year10 | year11 | year12 | year13 | year14 | year 15 | year 16 | year 17
Power and Fuel expenditure | RMB | 0 | 0 | 15404000 | 15404000 | 15404000 | 15404000 | 15404000 | 15404000 | 15404000 | 15404000 | 15404000 | 15404000 | 15404000 | 15404000 | 15404000 | 15404000 | 15404000
Material expenditure | RMB | 0 | 0 | 16711000 | 16711000 | 16711000 | 16711000 | 16711000 | 16711000 | 16711000 | 16711000 | 16711000 | 16711000 | 16711000 | 16711000 | 16711000 | 16711000 | 16711000
AuxiliaryMaterial expenditure | RMB | 0 | 0 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000
material recovery | RMB | 0 | 0 | 1418000 | 1418000 | 1418000 | 1418000 | 1418000 | 1418000 | 1418000 | 1418000 | 1418000 | 1418000 | 1418000 | 1418000 | 1418000 | 1418000 | 1418000
Employee expenditure | RMB | 0 | 0 | 4350000 | 4350000 | 4350000 | 4350000 | 4350000 | 4350000 | 4350000 | 4350000 | 4350000 | 4350000 | 4350000 | 4350000 | 4350000 | 4350000 | 4350000
Maintenance and repairs | RMB | 0 | 0 | 25000000 | 25000000 | 25000000 | 25000000 | 25000000 | 25000000 | 25000000 | 25000000 | 25000000 | 25000000 | 25000000 | 25000000 | 25000000 | 25000000 | 25000000
Other O&M expenditure | RMB | 0 | 0 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000
Depreciation | RMB | 0 | 0 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 314235000
Amortisation of intangible assets pa | RMB | 0 | 0 | 4007000 | 4007000 | 4007000 | 4007000 | 4007000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20035000
Interest payments | RMB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total costs | RMB | 0 | 0 | 94008000 | 94008000 | 94008000 | 94008000 | 94008000 | 90001000 | 90001000 | 90001000 | 90001000 | 90001000 | 90001000 | 90001000 | 90001000 | 90001000 | 90001000
O&M costs | RMB | 0 | 0 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000
|  |  |  | 1 |  | 379.4066
Note on B15: rchild: not including depreciation or amortisation

## sensitivity analysis
Sensitivity analysis
| -10% | -5% | 0 | 5% | 10%
Total investment | 9.79 | 9.17 | 8.61 | 8.12 | 7.67
Annual generation | 7.4 | 8.01 | 8.61 | 9.2 | 9.78
Annual O&M cost | 9.97 | 9.3 | 8.61 | 7.91 | 7.2

## profit & loss
no CERs | item | unit | construction period |  | operation period
|  |  | year 1 | year 2 | year 3 | year 4 | year 5 | year 6 | year 7 | year 8 | year 9 | year10 | year11 | year12 | year13 | year14 | year 15 | year 16 | year 17
| Revenue | RMB | 0 | 0 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440
| Sales tax & additional tax | RMB | 0 | 0 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000
| Total O&M Costs | RMB | 0 | 0 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000
| Depreciation | RMB | 0 | 0 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000 | 20949000
| Amortisation | RMB | 0 | 0 | 4007000 | 4007000 | 4007000 | 4007000 | 4007000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PBT | RMB | 0 | 0 | 34779440 | 34779440 | 34779440 | 34779440 | 34779440 | 38786440 | 38786440 | 38786440 | 38786440 | 38786440 | 38786440 | 38786440 | 38786440 | 38786440 | 38786440
| Taxable income | RMB | 0 | 0 | 34779440 | 34779440 | 34779440 | 34779440 | 34779440 | 38786440 | 38786440 | 38786440 | 38786440 | 38786440 | 38786440 | 38786440 | 38786440 | 38786440 | 38786440
| Tax due this year | RMB | 0 | 0 | 11477215.2 | 11477215.2 | 11477215.2 | 11477215.2 | 11477215.2 | 12799525.2 | 12799525.2 | 12799525.2 | 12799525.2 | 12799525.2 | 12799525.2 | 12799525.2 | 12799525.2 | 12799525.2 | 12799525.2
| Income after tax | RMB | 0 | 0 | 23302224.8 | 23302224.8 | 23302224.8 | 23302224.8 | 23302224.8 | 25986914.8 | 25986914.8 | 25986914.8 | 25986914.8 | 25986914.8 | 25986914.8 | 25986914.8 | 25986914.8 | 25986914.8 | 25986914.8

## cash flow (no CERs)
series | item | construction period |  | operation period
|  | year 1 | year 2 | year 3 | year 4 | year 5 | year 6 | year 7 | year 8 | year 9 | year10 | year11 | year12 | year13 | year14 | year 15 | year 16 | year 17
1.1 | Revenue | 0 | 0 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440
1.2 | Fixed asset residue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47960600
1.3 | Working capital recovery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12000000
1 | Cash flow in | 0 | 0 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 130635440 | 190596040
2.1 | Equiy in fixed assets | 191115300 | 191115300 | 12000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.2 | O&M costs | 0 | 0 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000 | 69052000
2.3 | Sales tax & additional tax | 0 | 0 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000 | 1848000
2.4 | Income tax | 0 | 0 | 11477215.2 | 11477215.2 | 11477215.2 | 11477215.2 | 11477215.2 | 12799525.2 | 12799525.2 | 12799525.2 | 12799525.2 | 12799525.2 | 12799525.2 | 12799525.2 | 12799525.2 | 12799525.2 | 12799525.2
2.5 | Interest payments | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.6 | Principal repayments | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Cash flow out | 191115300 | 191115300 | 94377215.2 | 82377215.2 | 82377215.2 | 82377215.2 | 82377215.2 | 83699525.2 | 83699525.2 | 83699525.2 | 83699525.2 | 83699525.2 | 83699525.2 | 83699525.2 | 83699525.2 | 83699525.2 | 83699525.2
3 | Net cash flow | -191115300 | -191115300 | 36258224.8 | 48258224.8 | 48258224.8 | 48258224.8 | 48258224.8 | 46935914.8 | 46935914.8 | 46935914.8 | 46935914.8 | 46935914.8 | 46935914.8 | 46935914.8 | 46935914.8 | 46935914.8 | 106896514.8
IRR | 8.611%

## Levelized cost
Power Generation
|  | Reference | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
Annual Power Supply (MWh) | A | FSR | 0 | 0 | 138680 | 138680 | 138680 | 138680 | 138680 | 138680 | 138680 | 138680 | 138680
Discount Factor | B | = 1 / (1 + DR)n | 1 | 0.88496 | 0.78315 | 0.69305 | 0.61332 | 0.54276 | 0.48032 | 0.42506 | 0.37616 | 0.33288 | 0.29459
Present Value of Annual Generation (MWh) | C | = A x B | 0 | 0 | 108607.242 | 96112.174 | 85055.2176 | 75269.9568 | 66610.7776 | 58947.3208 | 52165.8688 | 46163.7984 | 40853.7412
Total Present Value of Annual Generation (MWh) | D | = Sum (Ci) | 1: 793101.2124
Power Price (RMB/MWh) | E | FSR | 1: 427
|  | Reference | 12 | 13 | 14 | 15 | 16 | 17
Annual Power Generation (MWh) | A | FSR | 138680 | 138680 | 138680 | 138680 | 138680 | 138680
Discount Factor | B | = 1 / (1 + DR)n | 0.2607 | 0.23071 | 0.20416 | 0.18068 | 0.15989 | 0.1415
Present Value of Annual Generation (MWh) | C | = A x B | 36153.876 | 31994.8628 | 28312.9088 | 25056.7024 | 22173.5452 | 19623.22
Total Present Value of Annual Generation (MWh) | D | = Sum (Ci)
Power Price (RMB/MWh) | E | FSR
Total revenue of the project |  | FSR | 427 14: 130635440
where: revenue from steam |  | FSR | 427 14: 53268000
revenue from power generation |  | FSR | 427 14: 77367440
proportion of the power generation |  | calculation | 427 14: 0.59224
proportion of steam supply |  | calculation | 427 14: 0.40776
Scenario 1. CDQ
|  | Reference | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
Capital Cost | F | FSR | 1: 113185989.2372; 2: 113185989.2372; 3: 0
Depreciation | G | FSR | 0 | 0 | 12406820.8486 | 12406820.8486 | 12406820.8486 | 12406820.8486 | 12406820.8486 | 12406820.8486 | 12406820.8486 | 12406820.8486 | 12406820.8486
Amortization | H | FSR | 0 | 0 | 2373102.8278 | 2373102.8278 | 2373102.8278 | 2373102.8278 | 2373102.8278 | 0 | 0 | 0 | 0
O&M Cost | I | FSR | 0 | 0 | 40895307.3292 | 40895307.3292 | 40895307.3292 | 40895307.3292 | 40895307.3292 | 40895307.3292 | 40895307.3292 | 40895307.3292 | 40895307.3292
Residue | J | FSR
Income Tax saved (@ 33%) | k | = (F+G+H+I-J) x 0.33 | 37351376.4483 | 37351376.4483 | 18372826.2319 | 18372826.2319 | 18372826.2319 | 18372826.2319 | 18372826.2319 | 17589702.2987 | 17589702.2987 | 17589702.2987 | 17589702.2987
Total Cost | L | = F + I - K | 75834612.7889 | 75834612.7889 | 22522481.0973 | 22522481.0973 | 22522481.0973 | 22522481.0973 | 22522481.0973 | 23305605.0305 | 23305605.0305 | 23305605.0305 | 23305605.0305
Discount Factor | M | = 1 / (1 + DR)n | 1 | 0.88496 | 0.78315 | 0.69305 | 0.61332 | 0.54276 | 0.48032 | 0.42506 | 0.37616 | 0.33288 | 0.29459
Present Value of Total Annual Cost | N | = LxM | 75834612.7889 | 67110598.9337 | 17638481.0714 | 15609205.5245 | 13813488.1066 | 12224301.8404 | 10817998.1207 | 9906280.4743 | 8766636.3883 | 7757969.8026 | 6865598.1859
Total Present Value of Annual Costs | O | = Sum (Ni) | 1: 275117115.8044
Levelised Cost (RMB/MWh) | P | = O / D | 1: 346.8878
|  | Reference | 12 | 13 | 14 | 15 | 16 | 17
Capital Cost | F | FSR
Depreciation | G | FSR | 12406820.8486 | 12406820.8486 | 12406820.8486 | 12406820.8486 | 12406820.8486 | 12406820.8486
Amortization | H | FSR | 0 | 0 | 0 | 0 | 0 | 0
O&M Cost | I | FSR | 40895307.3292 | 40895307.3292 | 40895307.3292 | 40895307.3292 | 40895307.3292 | 40895307.3292
Residue | J | FSR | 346.8878 17: 28404151.6059
Income Tax saved (@ 33%) | k | = (F+G+H+I-J) x 0.33 | 17589702.2987 | 17589702.2987 | 17589702.2987 | 17589702.2987 | 17589702.2987 | 8216332.2687
Total Cost | L | = F + I - J | 23305605.0305 | 23305605.0305 | 23305605.0305 | 23305605.0305 | 23305605.0305 | 32678975.0604
Discount Factor | M | = 1 / (1 + DR)n | 0.2607 | 0.23071 | 0.20416 | 0.18068 | 0.15989 | 0.1415
Present Value of Total Annual Cost | N | = LxM | 6075771.2314 | 5376836.1366 | 4758072.323 | 4210856.7169 | 3726333.1883 | 4624074.9711
Total Present Value of Annual Costs | O | = Sum (Ni)
Levelised Cost (RMB/MWh) | P | = O / D
Scenario 2. Power Purchase
|  | Reference | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
Capital Cost | F | FSR
Cost of power purchase | G | FSR | 0 | 0 | 59216360 | 59216360 | 59216360 | 59216360 | 59216360 | 59216360 | 59216360 | 59216360 | 59216360
Income Tax saved (@ 33%) | H | = G x 0.33 |  |  | 19541398.8 | 19541398.8 | 19541398.8 | 19541398.8 | 19541398.8 | 19541398.8 | 19541398.8 | 19541398.8 | 19541398.8
Total Cost | J | = F + G - H | 0 | 0 | 39674961.2 | 39674961.2 | 39674961.2 | 39674961.2 | 39674961.2 | 39674961.2 | 39674961.2 | 39674961.2 | 39674961.2
Discount Factor | K | = 1 / (1 + DR)n | 1 | 0.88496 | 0.78315 | 0.69305 | 0.61332 | 0.54276 | 0.48032 | 0.42506 | 0.37616 | 0.33288 | 0.29459
Present Value of Total Annual Cost | L | = J x K | 0 | 0 | 31071445.8638 | 27496731.8597 | 24333447.2032 | 21533981.9409 | 19056677.3636 | 16864239.0077 | 14924133.405 | 13207001.0843 | 11687846.8199
Total Present Value of Annual Costs | M | = Sum (Li) | 1: 226898325.8555
Levelised Cost (RMB/MWh) | N | = M / D | 1: 286.09
|  | Reference | 12 | 13 | 14 | 15 | 16 | 17
Capital Cost | F | FSR
Cost of power purchase | G | FSR | 59216360 | 59216360 | 59216360 | 59216360 | 59216360 | 59216360
Income Tax saved (@ 33%) | H | = G x 0.33 | 19541398.8 | 19541398.8 | 19541398.8 | 19541398.8 | 19541398.8 | 19541398.8
Total Cost | J | = F + G - H | 39674961.2 | 39674961.2 | 39674961.2 | 39674961.2 | 39674961.2 | 39674961.2
Discount Factor | K | = 1 / (1 + DR)n | 0.2607 | 0.23071 | 0.20416 | 0.18068 | 0.15989 | 0.1415
Present Value of Total Annual Cost | L | = J x K | 10343262.3848 | 9153410.2985 | 8100040.0786 | 7168471.9896 | 6343629.5463 | 5614007.0098
Total Present Value of Annual Costs | M | = Sum (Li)
Levelised Cost (RMB/MWh) | N | = M / D