## IRR without CERs
Cash Flow Statement(total investment) Unit: 10000yuan
| Year | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
| Item | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
| Installed capacity(MW) |  | 5.1 | 10.2 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
| Annual power supply（MWh） | 0 | 8925 | 71400 | 84000 | 84000 | 84000 | 84000 | 84000 | 84000 | 84000 | 84000 | 84000 | 84000 | 84000 | 84000 | 84000 | 84000 | 84000 | 84000 | 84000 | 84000
| Power tariff with inflation | 0.364 | 0.37601 | 0.38842 | 0.40124 | 0.41448 | 0.42816 | 0.44229 | 0.45688 | 0.47196 | 0.48753 | 0.50362 | 0.52024 | 0.53741 | 0.55514 | 0.57346 | 0.59239 | 0.61194 | 0.63213 | 0.65299 | 0.67454 | 0.6968
1 | Cash in | 0 | 346.8107 | 2795.4316 | 3403.4015 | 3514.6247 | 3629.5183 | 3748.2034 | 3870.8051 | 3997.4527 | 4128.2797 | 4263.4239 | 4403.0279 | 4547.2388 | 4696.2087 | 4850.0946 | 5009.0587 | 5173.2686 | 5342.8975 | 5518.1241 | 5699.1332 | 6670.6656
1.1 | Sale of power | 0 | 335.5907 | 2773.3216 | 3370.4015 | 3481.6247 | 3596.5183 | 3715.2034 | 3837.8051 | 3964.4527 | 4095.2797 | 4230.4239 | 4370.0279 | 4514.2388 | 4663.2087 | 4817.0946 | 4976.0587 | 5140.2686 | 5309.8975 | 5485.1241 | 5666.1332 | 5853.1156 |  | 23383.4222
1.2 | Static total investment recovery | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 738.55
1.3 | Current fund recovery and avoided coal costs | 0 | 11.22 | 22.11 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 33 | 79
1.4 | CERs | 0 | 112895 | 301054 | 351230 | 351230 | 351230 | 351230 | 351230 | 351230 | 351230 | 351230 | 351230 | 351230 | 351230 | 351230 | 351230 | 351230 | 351230 | 351230 | 351230 | 351230
1.4 | CER revenues | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Cash out | 5926.4 | 8974.7346 | 624.9775 | 730.5179 | 752.8831 | 776.2144 | 3672.2224 | 5979.8571 | 1621.2871 | 1718.3621 | 1821.8682 | 1932.2442 | 2049.9588 | 5779.9219 | 7894.4734 | 2452.3168 | 3068.1074 | 3257.6151 | 3459.298 | 3673.9549 | 3986.0997
2.1 | Static total investment | 5908.4 | 8862.6 | 0 | 0 | 0 | 0 | 2363.36 | 3545.04 | 0 | 0 | 0 | 0 | 0 | 2363.36 | 3545.04 | 0 | 0 | 0 | 0 | 0 | 0
2.2 | Curren fund | 18 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CMM usage charge | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.3 | Operating cost | 0 | 301.6668 | 472.6359 | 512.15 | 502.7951 | 493.4401 | 484.0851 | 474.7302 | 465.3752 | 456.0202 | 446.6653 | 437.3103 | 427.9553 | 418.6004 | 409.2454 | 399.8904 | 399.8904 | 399.8904 | 399.8904 | 399.8904 | 461.2293 | 417.3027
2.3.1 | Material cost | 0 | 2.7405 | 21.9243 | 25.7932 | 25.7932 | 25.7932 | 25.7932 | 25.7932 | 25.7932 | 25.7932 | 25.7932 | 25.7932 | 25.7932 | 25.7932 | 25.7932 | 25.7932 | 25.7932 | 25.7932 | 25.7932 | 25.7932 | 25.7932
2.3.2 | Water cost | 0 | 4.8873 | 39.0983 | 45.998 | 45.998 | 45.998 | 45.998 | 45.998 | 45.998 | 45.998 | 45.998 | 45.998 | 45.998 | 45.998 | 45.998 | 45.998 | 45.998 | 45.998 | 45.998 | 45.998 | 45.998
2.3.3 | Sarlary and welfare | 0 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16 | 56.16
2.3.4 | Maintenance cost | 0 | 94.9564 | 189.9129 | 221.565 | 221.565 | 221.565 | 221.565 | 221.565 | 221.565 | 221.565 | 221.565 | 221.565 | 221.565 | 221.565 | 221.565 | 221.565 | 221.565 | 221.565 | 221.565 | 221.565 | 221.565
2.3.5 | Insurance | 0 | 138.355 | 129.0001 | 119.6451 | 110.2901 | 100.9352 | 91.5802 | 82.2252 | 72.8703 | 63.5153 | 54.1603 | 44.8054 | 35.4504 | 26.0954 | 16.7405 | 7.3855 | 7.3855 | 7.3855 | 7.3855 | 7.3855 | 16.7405
2.3.6 | Other cost | 0 | 4.5676 | 36.5404 | 42.9887 | 42.9887 | 42.9887 | 42.9887 | 42.9887 | 42.9887 | 42.9887 | 42.9887 | 42.9887 | 42.9887 | 42.9887 | 42.9887 | 42.9887 | 42.9887 | 42.9887 | 42.9887 | 42.9887 | 42.9887
2.4 | Depreciation | 0 | 935.4967 | 935.4967 | 935.4967 | 935.4967 | 935.4967 | 935.4967 | 935.4967 | 935.4967 | 935.4967 | 935.4967 | 935.4967 | 935.4967 | 935.4967 | 935.4967 | 935.4967
2.5 | Total cost | 0 | 1237.1635 | 1408.1325 | 1447.6467 | 1438.2917 | 1428.9368 | 1419.5818 | 1410.2268 | 1400.8719 | 1391.5169 | 1382.1619 | 1372.807 | 1363.452 | 1354.097 | 1344.7421 | 1335.3871 | 399.8904 | 399.8904 | 399.8904 | 399.8904 | 461.2293
| City maintenance and education cost | 0 | 5.705 | 47.1465 | 57.2968 | 59.1876 | 61.1408 | 63.1585 | 65.2427 | 67.3957 | 69.6198 | 71.9172 | 74.2905 | 76.7421 | 79.2745 | 81.8906 | 84.593 | 87.3846 | 90.2683 | 93.2471 | 96.3243 | 99.503
| Total profit | 0 | -907.2778 | 1318.0426 | 1865.4579 | 1984.1453 | 2106.4407 | 2232.4632 | 2362.3356 | 2496.1851 | 2634.143 | 2776.3447 | 2922.9304 | 3074.0447 | 3229.8371 | 3390.4619 | 3556.0786 | 4652.9936 | 4819.7388 | 4991.9865 | 5169.9185 | 5292.3833
2.6 | Income tax | 0 | -226.8195 | 0 | 0 | 0 | 0 | 0 | 590.5839 | 624.0463 | 658.5357 | 694.0862 | 730.7326 | 768.5112 | 807.4593 | 847.6155 | 889.0196 | 1163.2484 | 1204.9347 | 1247.9966 | 1292.4796 | 1323.0958
| Public welfare fund | 0 | 0 | 65.9021 | 93.2729 | 99.2073 | 105.322 | 111.6232 | 88.5876 | 93.6069 | 98.7804 | 104.1129 | 109.6099 | 115.2767 | 121.1189 | 127.1423 | 133.3529 | 174.4873 | 180.7402 | 187.1995 | 193.8719 | 198.4644
3 | Net cash flow | -5926.4 | -8627.9239 | 2170.4542 | 2672.8835 | 2761.7416 | 2853.304 | 75.981 | -2109.052 | 2376.1656 | 2409.9175 | 2441.5557 | 2470.7837 | 2497.28 | -1083.7132 | -3044.3789 | 2556.7418 | 2105.1613 | 2085.2823 | 2058.8261 | 2025.1783 | 2684.5659
4 | Accumulated net cash fow | -5926.4 | -14554.3239 | -12383.8698 | -9710.9862 | -6949.2446 | -4095.9407 | -4019.9596 | -6129.0116 | -3752.846 | -1342.9285 | 1098.6272 | 3569.4109 | 6066.6909 | 4982.9777 | 1938.5988 | 4495.3406 | 6600.5019 | 8685.7842 | 10744.6103 | 12769.7886 | 15454.3545
5 | Net cash flow before income tax | -5926.4 | -8854.7434 | 2170.4542 | 2672.8835 | 2761.7416 | 2853.304 | 75.981 | -1518.4681 | 3000.2119 | 3068.4533 | 3135.6418 | 3201.5163 | 3265.7912 | -276.254 | -2196.7634 | 3445.7615 | 3268.4097 | 3290.217 | 3306.8227 | 3317.6579 | 4007.6617
6 | Accumulated net cash fow before income tax | -5926.4 | -14781.1434 | -12610.6892 | -9937.8057 | -7176.0641 | -4322.7601 | -4246.7791 | -5765.2472 | -2765.0352 | 303.418 | 3439.0599 | 6640.5762 | 9906.3673 | 9630.1134 | 7433.35 | 10879.1115 | 14147.5211 | 17437.7381 | 20744.5609 | 24062.2188 | 28069.8805
|  |  |  | Before income tax |  | After income tax
|  | IRR |  | 11.97% |  | 8.069%
|  | NPV |  | -24.6878 |  | -2275.2406
|  | Payback period (y) |  | 9.9011 |  | 10.5707
| PV before income tax | -5291.4286 | -7058.9472 | 1544.8864 | 1698.6658 | 1567.0864 | 1445.5726 | 34.37 | -613.2838 | 1081.9065 | 987.9598 | 901.4221 | 821.7495 | 748.435 | -56.527 | -401.3405 | 562.0783 | 476.0254 | 427.8585 | 383.9445 | 343.9309 | 370.9476
| PV after income tax | -5291.4286 | -6878.1281 | 1544.8864 | 1698.6658 | 1567.0864 | 1445.5726 | 34.37 | -851.8107 | 856.8692 | 775.9289 | 701.8889 | 634.1886 | 572.3121 | -221.7492 | -556.1966 | 417.06 | 306.6048 | 271.1693 | 239.0437 | 209.9437 | 248.4824
| Inputs | 2007 1: Data; 2008 2: Source; 2010 4: Inputs; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: Data; Cash Flow Statement(total investment) Unit: 10000yuan 2012 6: Source
| Power tariff for Industry in big scale in Shanxi province (35-110kV)（Yuan/kWh) | 2007 1: 0.364; 2008 2: Electricity tarriff in Shanxi (en).pdf; 2010 4: Generators (00000045); Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: 4436.34; Cash Flow Statement(total investment) Unit: 10000yuan 2012 6: Receipts; Cash Flow Statement(total investment) Unit: 10000yuan 2013 7: 11162.1126; Cash Flow Statement(total investment) Unit: 10000yuan 2014 8: for 6 gensets from EPC Contract
| Price for power stadnard gas（Yuan/m3) | 2007 1: 0; 2008 2: Gas approval.pdf; 2010 4: Gas purification system(01241013); Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: 108; Cash Flow Statement(total investment) Unit: 10000yuan 2012 6: Receipts
| City maintenance tax rate | 2007 1: 0.07; 2008 2: FSR page 33; 2010 4: Central control system (01241012); Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: 73.31; Cash Flow Statement(total investment) Unit: 10000yuan 2012 6: Receipts
| Education tax rate | 2007 1: 0.03; 2008 2: FSR page 33; 2010 4: Waste heat recovery system (01241017); Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: 90; Cash Flow Statement(total investment) Unit: 10000yuan 2012 6: Receipts
| Public welfare fund rate(of the profit after income tax) | 2007 1: 0.05; 2008 2: FSR page 36; 2010 4: Flare and monitoring system; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: 330; Cash Flow Statement(total investment) Unit: 10000yuan 2012 6: Receipts
| CMM consumption of Deutz engine (m3/h) | 2007 1: 1172; 2008 2: p.4/41,Technical specification from the manafacturer; Cash Flow Statement(total investment) Unit: 10000yuan 2013 7: 11763.4226
| Annual operating hours(h) | 2007 1: 7000; 2008 2: p.4, FSR states 7000
| Auxiliary power consumption rate of the project activity | 2007 1: 0.023; 2008 2: FSR page 34
| Static total investment | 2007 1: 14771; 2008 2: project receipts Duerping.pdf
| Water cost (Yuan/MWh) | 2007 1: 5.35; 2008 2: FSR page 32
| Material cost (Yuan/MWh) | 2007 1: 3; 2008 2: FSR page 32
| Other cost (Yuan/MWh) | 2007 1: 5; 2008 2: FSR page 32
| Maintenance cost | 2007 1: 221.565; 2008 2: FSR page 34; 2009 3: Labelled as repair fee 1.5%; 2010 4: Calcualted as 1.5% of static total investment
| Depreciation period(year) | 2007 1: 15; 2008 2: FSR page 32
| Remained value of the static total investment | 2007 1: 0.05; 2008 2: FSR page 32
| The percentage of power generation related equipment in the static total investment | 2007 1: 0.792; 2008 2: FSR page 7; 2009 3: Calcualted as 8161 divided by 10304; 2010 4: Cost of gensets over static total investment. This data is NOT used in the IRR /NPV calculations
| Insurance rate(of the remained static total investment) | 2007 1: 0.01; 2008 2: FSR page 32
| welfare costs | 2007 1: 0.56; 2008 2: FSR page 32; 2009 3: Used to calucate salary and welfare costs in row 17 and C60
| Salary costs | 2007 1: 3; 2008 2: FSR page 32
| Number of people | 2007 1: 12; 2008 2: FSR page 32
| Salary and welfare costs | 2007 1: 56.16; 2008 2: Calculated in row 17 (12 peope * 30,000* 156%)
| Operating cost | 2007 1: calculated; 2008 2: average operating costs over 21, calculated in row 14
| Interest rate for NPV | 2007 1: 0.12
| refurb costs | 2007 1: 0.4; 2009 3: -24.6878
0
| Inflation on power tariff | 2007 1: 0.033; 2010 4: Inflation in power tariff
| Inflation on O&M costs | 2007 1: 0.033; 2009 3: Inflation in O&M costs; 2010 4: 0%; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: 2.5%; Cash Flow Statement(total investment) Unit: 10000yuan 2012 6: 3.3%; Cash Flow Statement(total investment) Unit: 10000yuan 2013 7: 5%; Cash Flow Statement(total investment) Unit: 10000yuan 2014 8: 7.5%; Cash Flow Statement(total investment) Unit: 10000yuan 2015 9: 10%
| coal cost | 2007 1: 150; 2009 3: 0%; 2010 4: -1543.95; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: 2220.13; Cash Flow Statement(total investment) Unit: 10000yuan 2012 6: 3643.16; Cash Flow Statement(total investment) Unit: 10000yuan 2013 7: 7094.2; Cash Flow Statement(total investment) Unit: 10000yuan 2014 8: 13458.8; Cash Flow Statement(total investment) Unit: 10000yuan 2015 9: 21831.02
| annual consumption | 2007 1: 2200; 2009 3: 2.5%; 2010 4: -3677.24; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: -286.44; Cash Flow Statement(total investment) Unit: 10000yuan 2012 6: 988.67; Cash Flow Statement(total investment) Unit: 10000yuan 2013 7: 4068.22; Cash Flow Statement(total investment) Unit: 10000yuan 2014 8: 9709.49; Cash Flow Statement(total investment) Unit: 10000yuan 2015 9: 17074.18
| CER price USD | 2007 1: 0; 2009 3: 3.3%; 2010 4: -4483.84; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: -1240.96; Cash Flow Statement(total investment) Unit: 10000yuan 2012 6: -24.69; Cash Flow Statement(total investment) Unit: 10000yuan 2013 7: 2906.68; Cash Flow Statement(total investment) Unit: 10000yuan 2014 8: 8258.07; Cash Flow Statement(total investment) Unit: 10000yuan 2015 9: 15216.96
| Exchange rate RMB to USD (for CER calcaultaions only) | 2007 1: 7.1; 2009 3: 5%; 2010 4: -6438.19; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: -3566.79; Cash Flow Statement(total investment) Unit: 10000yuan 2012 6: -2498.71; Cash Flow Statement(total investment) Unit: 10000yuan 2013 7: 58.61; Cash Flow Statement(total investment) Unit: 10000yuan 2014 8: 467.74; Cash Flow Statement(total investment) Unit: 10000yuan 2015 9: 10602.8
| Sensitivity to static total investment | 2007 1: 100%; 2009 3: 7.5%; 2010 4: -19031.62; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: -7883.55; Cash Flow Statement(total investment) Unit: 10000yuan 2012 6: -7105.34; Cash Flow Statement(total investment) Unit: 10000yuan 2013 7: -5282.28; Cash Flow Statement(total investment) Unit: 10000yuan 2014 8: -2114.55; Cash Flow Statement(total investment) Unit: 10000yuan 2015 9: 1763.4
| Sensitivity to operating cost | 2007 1: 100%; 2009 3: 10%; 2010 4: -14731.86; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: -13591.33; Cash Flow Statement(total investment) Unit: 10000yuan 2012 6: -13218.92; Cash Flow Statement(total investment) Unit: 10000yuan 2013 7: -12427.7; Cash Flow Statement(total investment) Unit: 10000yuan 2014 8: -11309.07; Cash Flow Statement(total investment) Unit: 10000yuan 2015 9: -10346.91; Cash Flow Statement(total investment) Unit: 10000yuan 2016 10: 5
| Sensitivity to power tarriff | 2007 1: 100%
| Sens to inflation on power tariff | 2007 1: 100%
| Sens to inflation on O&M costs | 2007 1: 100%
| Inflation in O&M costs | 2007 1: Inflation in power tariff
| -24.6878 | 2007 1: 0; 2008 2: 0.5; 2009 3: 1; 2010 4: 1.5; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: 2
| 0 | 2007 1: 3530.3389; 2008 2: 3530.3389; 2009 3: 3530.3389; 2010 4: 3530.3389; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: 3530.3389
| 0.5 | 2007 1: 1752.8256; 2008 2: 1752.8256; 2009 3: 1752.8256; 2010 4: 1752.8256; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: 1752.8256
| 1 | 2007 1: -24.6878; 2008 2: -24.6878; 2009 3: -24.6878; 2010 4: -24.6878; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: -24.6878
| 1.5 | 2007 1: -1802.2012; 2008 2: -1802.2012; 2009 3: -1802.2012; 2010 4: -1802.2012; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: -1802.2012
| 2 | 2007 1: -3579.7145; 2008 2: -3579.7145; 2009 3: -3579.7145; 2010 4: -3579.7145; Cash Flow Statement(total investment) Unit: 10000yuan 2011 5: -3579.7145
| Capex Costs | 14771 | 14771 | 14771 | 14771 | 14771 | 14771 | 14771 | 14771 | 14771 | 14771 | 14771 | 14771 | 14771 | 14771 | 14771 | 14771 | 14771 | 14771
Note on D28: Gareth Phillipd: % years tax free status permitted