1 The tool may be used for heat generation in boilers of a co-generation system, which  means the tool can be used for steam generation and supply in element processes before electricity/heat generation.

2 Generally auxiliary fuels will be used, more or less, in boilers for start-up, or keeping stable combustion in occasionally situation, which should be permitted, unless the auxiliary fuels used is more than 1% of main fuel in a year.

3. In the tool "new" refers to the life of equipment is less than 15 years, but in actual, for smaller  boiler with less than 10t/h capacity, 10-15 years  may be its whole life time. so 15 years is too long for some boilers, it is suggested that the threshold to distinguish between new and old would be defined as the half of life time in the boiler’s specifications.