## Sheet1
Calculation sheet
Proposal: | Standardized baseline of energy use in rice mill sector of Cambodia
Version: | 1
Date: | 2012-08-09

## Tech1
Table 1.1 Cost summery of Technology 1
|  | Unit | Source
Annual milled rice production | 4000 | t
Operating hour | 10 | h
Annual operating days | 200
Energy generation equipment capacity | 250 | kW
Instalation cost
Rice mill machines | 177500 | USD | Estimated: Capital cost in Table 1.3 times 5 minus cost of engine
Construction
Diesel engine | 10000 | USD | SME renewable
Annual operating cost
Diesel price | 0.98 | USD | World Bank
Disel consumption per milled rice | 20.1 | l/t | Survey
Diesel | 78792 | USD
Maintenance | 9861.5 | USD | Estimated: maintenance cost in Table 1.3 times 5
Employment | 4800 | USD | Estimate 6 unskilled persons
Interest | 1706.25 | USD | Estimated: 70% of initial cost for loan, 10 years for payment period, 13% of interests
Table1.2 Paddy rice weight component in Cambodia
Paddy rice | 100%
White rice | 60%
Rice husk | 22%
Rice bran | 7.8%
Source:NEDO(2011)
Table 1.3 Average initial cost and operating cost of rice miller in Cambodia
Items |  | Unit | Unit range from cases/other source
Prosessing capacity (Quantity of input of paddy rice) | 1306 | t/y
Milled rice | 783.6 | t/y | Calculated: Refered with Table 1.3
Capital cost | 37500 | USD
Paddy | 152080.51 | USD | 100-130USD/t
Fuel | 3317.64 | USD | Diesel 0.3USD/L
Electricity | 692.26 | USD
Bags | 1306.16 | USD
Maintenance | 1972.3 | USD
Depreciation | 0.27 | USD
Tax | 300.42 | USD
Labor | 1770.15 | USD | 5000-8000 riel/day/person 4000Riel=1USD | 4100riel=1USD | 2012-06-27
Annual operating cost | 161439.71 | USD
Rice sales | 181713 | USD | 205-230USD/t
By-product sales | 15183.32 | USD
Revenue | 196896.32 | USD
Gross Margin | 35456.61 | USD
Installation cost per annual milled rice(USD/t) | 47.856 |  | Calculated
Source:Agrifood Consulting International(2002)
Table 1.4 Number of labors
Annual paddy milled(t) | Number of labors
60 | 1 | own
110 | 1 | own
120 | 1 | own
220 | 2
300 | 5
5400 | 8
Source:Agrifood Consulting International(2002)
Table 1.5 Estimation of employment cost per day(USD)
Unskilled | 4
Skilled | 8
Refered to Table4.2

## Tech2
Table 2.1 Cost summery of Technology 2
|  | Unit | Source
Annual milled rice production | 4800 | t
Annual electricity consumption | 216000 | kWh | Calculated
Daily consumption | 900 | kWh | Survey
Operating hours | 10 | hours | Estimated
Annual operating days | 240 | days | Survey
Instalation cost
Rice mill machines | 1175000 | USD | Table4.2 System of 120kW generator
Energy generation system | 0 | USD | Survey
Civil construction | 18750 | USD | Estimated:Half of the figure in Table4.2 System of 120kW generator
Annual operating cost
| 0.56 | USD/kWh | EAC(2010)
Electricity | 120960 | USD | Calculated
Maintenance cost | 28125 | USD | Estimated:Half of the figure in Table4.2 System of 120kW generator
Employment cost | 15000 | USD | Table4.2 System of 120kW generator
Interest | 10863.125 | USD | Estimated: 70% of initial cost for loan, 10 years for payment period, 13% of interests

## Tech3
Table 3.1 Cost summery of Technology 3
|  | Unit | Source
Annual milled rice production | 4000 | t
Operating hour | 10 | h
Annual operating days | 200 | days
Engine capacity | 250 | kW
Gasifier capacity | 200 | kW
Instalation cost
Rice mill machines | 177500 | USD | Capital cost in Table 1.3 times 5 minus cost of diesel engine
Dual mode modified engine | 20000 | USD | Double of figure of hearing to SME renewable
Gasifier system | 73500 | USD | Table 3.2
Water system | 15000 | USD | Table 3.2
Civil construction | 10000 | USD | Table 3.2
| 296000 | USD
Annual operating cost
Diesel price | 0.98 | USD | World Bank
Disel consumption per milled rice | 7.2 | L/t | Survey
Diesel | 28224 | USD | Calculated
Maintenance
Related to gasifire system | 34800 | USD | Survey
Others | 9861.5 | USD | Capital cost in Table 1.3 times 5
Employment
Related to gasifire system | 3200 | USD | Estimate 1 skilled person and 2 unskilled persons
Others | 4800 | USD | Estimate 6 unskilled persons
Interest | 2693.6 | USD | Estimated: 70% of initial cost for loan, 10 years for payment period, 13% of interests
Table 3.2
| NCPO |  | SME renewable
Annual milled rice production(t) | 24000
Installation cost
Electricity generation
Gasifier | 2 Gasifiers 200 & 250KVA with Gas Cleaning system | 109000 | 200kW | 73500
Duel fuel Generators | 750 kVA | 47000 |  | -
Water treatment and recycle system for gasifier |  | 15000 |  | -
Cooling Tower for recycling water for gasifier |  | 5000 |  | 10000
Construction
Rice mill machines
Paddy Dryer | 2 | 153000 |  | -
Silo collective rice stock |  | 80000 |  | -
High efficient new set of rice miller machine |  | 320000 |  | -
Electrical pneumatic rubber roller husker with a vibrating cleaning | 2 | 41000 |  | -
Operating cost
Employment cost |  |  | Labor: 2 unskilled people | 1800
|  |  | Labor: 1 skilled person | 1080
Rice husk requirements |  |  | 2 kg/kWh | 2160
Other costs, including O&M for gasifier system and diesel engine |  |  |  | 500
Interest rate on capital investment |  |  |  | 13 percent
Source:NCPO(2012), IFC(2011),SME renewable
Table3.3
Name | Province/ City | Year of establishment | Capacity Range (kW) |  | Price Range (US$)
|  |  | Min | Max. | Min. | Max.
Local Assembler/Supplier of Gasifier
Nou Chanrith | Banteay Meanchey | 2007 | 100 | 300 | 18000 | 45000
Seng Khuch | Kampong Cham | 2006 | 300 | 600 | 15000 | 27000
Lim Heang | Kandal | 2008 | 300 | 300 | 25000 | 30000
Khun Sambo | Kampong Cham | 2007 | 250 | 300 | - | 40000
Hour Bun Khy | Phnom Penh | 2006 | 100 | 300 | 27000 | 45000
Importer/Supplier of Gasifier
SME Renewables | Phnom Penh | 2006 | 150 | 400 | 64000 | 140,00
Source: MoE(2010), EIC(2009)
Hearing to SME renewable
SME Renewables's 200kW gasifire: 2-2.5t/h processing. 150kW:1-1.5t/h
Rice miller use second hand engine. 264kW of diesel engin costs 10,000USD. Diesel engin is modified to dual mode.
70% of initial cost of gasification system for loan and 5 years for payment period.12% interest

## Tech4
Table 4.1 Cost summery of Technology 4
|  | Unit | Source
Annual milled rice production | 3600 | t | Table4.2 System of 120kW generator
Electricity generator capacity | 120 | kW | Table4.2 System of 120kW generator
Annual electricity generation | 360000 | KWh | Calculated
Instalation cost
Rice mill machines | 1175000 | USD | Table4.2 System of 120kW generator
Energy generation system | 1562500 | USD | Table4.2 System of 120kW generator
Civil construction | 37500 | USD | Table4.2 System of 120kW generator
Annual operating cost
Energy/fuel | 0 | USD | NEDO(2011)
Maintenance cost | 56250 | USD | Table4.2 System of 120kW generator
Employment cost | 18750 | USD | Table4.2 System of 120kW generator
Interest | 25252.5 | USD | Estimated: 70% of initial cost for loan, 10 years for payment period, 13% of interests
Table 4.2 Cost of electricity generation system and electricity controlled rice mill system (JPY)
Annual milled rice production(t) |  |  | 3600 | t | 9000 | t | 18000 | t
Operating days | 300
Operating hours | 10
Energy generation equipment capacity |  |  | 120 | kW | 180 | kW | 400 | kW
Annual electricity generation |  |  | 360000 | kWh | 540000 | kWh | 1200000 | kWh
Type |  |  | System unit |  | Plant |  | Plant
Instalation cost |  | unit |  | unit |  | unit
Paddy dryer |  | 1 | 2000000 | 1 | 5000000 | 1 | 5000000
Rice mill system |  | 1 | 94000000 | 1 | 126000000 | 1 | 177000000
Energy generation
| Pyrolytic furnace | 1 | 55000000 | 1 | 60000000 | 2 | 120000000
| Steam boiler | 1 | 35000000 | 1 | 70000000 | 1 | 70000000
| Generator | 1 | 25000000 | 1 | 50000000 | 1 | 50000000
| Water system | 1 | 10000000 | 1 | 20000000 | 1 | 20000000
Construction |  |  | 3000000 |  | 3000000 | 1 | 7000000
Operating cost | [7 empty] | Unit/Day
Employment cost | Rice mill machines operator | 1 | 300000 | 1 | 300000 | 2 | 600000 | 1000
| Paddy dryer/labor | 1 | 150000 | 1 | 150000 | 2 | 300000 | 500
| Paddy & rice transfer/labor | 4 | 600000 | 8 | 1200000 | 16 | 2400000 | 500
| Generator operator | 1 | 300000 | 1 | 300000 | 2 | 600000 | 1000
| Rice husk ash/labor | 2 | 300000 | 2 | 300000 | 4 | 600000 | 500
Maintenance cost |  |  | 4500000 |  | 6700000 |  | 8900000
Source:NEDO(2011)
JPY/USD | 80

## Comparison
Table 6 Cost assumption of the technologies
Technology | Technology1 | Technology2 | Technology3 | Technology4
| Power-driven by a diesel engine | Electricity supplied from REE | Power-driven by a dual mode engine and gasification with rice husk | Electricity generated by steam turbine with combustion of rice husk
Carbon intensity CO2 emissions equivalent per one tonne of milled rice production | 0.054166 | 0.036 | 0.016203 | 0 | t-CO2/t-rice
Annual milled rice production | 4000 | 4800 | 4000 | 3600 | t
Energy generation equipment capacity | Diesel engine: 250kW | Electricity consumption :90kWh/h | Engine: 250kW Gasifier: 200kW | Generator:120kW
Initial cost
Rice mill machines | 177500 | 1175000 | 177500 | 1175000 | USD
Energy generation system | 10000 | 0 | 108500 | 1562500 | USD
Construction | Included | 18750 | 10000 | 37500 | USD
Initial cost total | 187500 | 1193750 | 296000 | 2775000 | USD
Initial cost per unit of milled rice | 46.875 | 248.6979 | 74 | 770.8333 | USD/t
Annual operating cost
Electricity/fuel | 78792 | 120960 | 28224 | 0 | USD
Maintenance | 9861.5 | 28125 | 44661.5 | 56250 | USD
Employment cost | 4800 | 15000 | 8000 | 18750 | USD
Interest | 1706.25 | 10863.125 | 7493.6 | 25252.5 | USD
Annual operating cost total | 95159.75 | 174948.125 | 88379.1 | 100252.5 | USD
Annual operating cost per unit of milled rice | 23.7899 | 36.4475 | 22.0948 | 27.8479 | USD/t
1. Following costs are not included;
Initial cost: dryer, land and others not related to facility investment
Operating cost: sales of cost (paddy purchase, bags, transportation etc.) and others not related to milling process and facility investment)
2. Finance cost: 70% of initial cost for loan, 10 years for payment period, 13% interests

## Sample
Table 7.1 List of samples in the sampling survay
No. | Location | Qt. of milled rice production/day (t) | Annual operating days | Type of technology | Qt. of electricity consumption/day (kWh) | Capacity of diesel engine (kW) | Capacity of dynamo (kW) | Qt. of diesel consumption/day(l) | Annnual milled rice production (t) | Annual diesel consumptions(l) | Annual electricity consumptions (MWh) | Diesel consumption per production (l/t) | Carbon intensity per production (t-CO2/t-rice)
1 | Banteay Meanchey | 8 | 200 | Technology 1 |  | 225 |  | 150 | 1600 | 30000 |  | 18.75 | 0.050634
2 | Banteay Meanchey | 15 | 180 | Technology 1 |  | 225 |  | 200 | 2700 | 36000 |  | 13.3333 | 0.036006
3 | Banteay Meanchey | 15 | 200 | Technology 1 | 30 | 225 | 30 | 120 | 3000 | 24000 | 6 | 8 | 0.021604
4 | Banteay Meanchey | 15 | 200 | Technology 1 | 240 | 340 | 260 | 280 | 3000 | 56000 | 48 | 18.6667 | 0.050409
5 | Banteay Meanchey | 20 | 200 | Technology 3 |  | 340 |  | 120 | 4000 | 24000 |  | 6 | 0.016203
6 | Kampong Speu | 1 | 100 | Technology 1 |  |  |  | 20 | 100 | 2000 |  | 20 | 0.05401
7 | Kampong Speu | 1 | 200 | Technology 1 |  |  |  | 20 | 200 | 4000 |  | 20 | 0.05401
8 | Kampot | 1.5 | 200 | Technology 1 |  |  |  | 50 | 300 | 10000 |  | 33.3333 | 0.090016
9 | Kampot | 1.8 | 200 | Technology 1 |  |  |  | 40 | 360 | 8000 |  | 22.2222 | 0.060011
10 | Kampot | 2 | 200 | Technology 1 |  |  |  | 50 | 400 | 10000 |  | 25 | 0.067512
11 | Kampot | 2 | 200 | Technology 1 |  |  |  | 50 | 400 | 10000 |  | 25 | 0.067512
12 | Kampot | 2 | 200 | Technology 1 |  |  |  | 50 | 400 | 10000 |  | 25 | 0.067512
13 | Kampot | 2 | 200 | Technology 1 |  |  |  | 50 | 400 | 10000 |  | 25 | 0.067512
14 | Kampot | 2 | 200 | Technology 1 |  |  |  | 50 | 400 | 10000 |  | 25 | 0.067512
15 | Kampot | 2 | 200 | Technology 1 |  |  |  | 50 | 400 | 10000 |  | 25 | 0.067512
16 | Kampot | 2 | 200 | Technology 1 |  |  |  | 50 | 400 | 10000 |  | 25 | 0.067512
17 | Kampot | 2 | 200 | Technology 1 |  |  |  | 50 | 400 | 10000 |  | 25 | 0.067512
18 | Kampot | 2.5 | 200 | Technology 1 |  |  |  | 60 | 500 | 12000 |  | 24 | 0.064812
19 | Kampot | 3 | 200 | Technology 1 |  |  |  | 60 | 600 | 12000 |  | 20 | 0.05401
20 | Kampot | 3 | 200 | Technology 1 |  |  |  | 70 | 600 | 14000 |  | 23.3333 | 0.063011
21 | Kampot | 3 | 200 | Technology 1 |  |  |  | 70 | 600 | 14000 |  | 23.3333 | 0.063011
22 | Kandal | 2 | 240 | Technology 1 |  |  |  | 50 | 480 | 12000 |  | 25 | 0.067512
23 | Kandal | 7 | 210 | Technology 1 |  |  |  | 180 | 1470 | 37800 |  | 25.7143 | 0.069441
24 | Kandal | 8 | 200 | Technology 1 |  |  |  | 180 | 1600 | 36000 |  | 22.5 | 0.060761
25 | Kandal | 8 | 210 | Technology 1 |  |  |  | 180 | 1680 | 37800 |  | 22.5 | 0.060761
26 | Kandal | 10 | 180 | Technology 1 |  |  |  | 210 | 1800 | 37800 |  | 21 | 0.05671
27 | Kompong Cham | 8 | 150 | Technology 1 |  |  |  | 200 | 1200 | 30000 |  | 25 | 0.067512
28 | Kompong Cham | 8 | 100 | Technology 1 |  |  |  | 150 | 800 | 15000 |  | 18.75 | 0.050634
29 | Kompong Cham | 10 | 150 | Technology 1 |  |  |  | 180 | 1500 | 27000 |  | 18 | 0.048609
30 | Kompong Cham | 10 | 180 | Technology 1 |  |  |  | 240 | 1800 | 43200 |  | 24 | 0.064812
31 | Kompong Cham | 6 | 330 | Technology 1 |  |  | 75 | 180 | 1980 | 59400 |  | 30 | 0.081014
32 | Kompong Cham | 10 | 200 | Technology 1 |  |  |  | 300 | 2000 | 60000 |  | 30 | 0.081014
33 | Kompong Cham | 10 | 200 | Technology 1 |  |  |  | 240 | 2000 | 48000 |  | 24 | 0.064812
34 | Kompong Cham | 10 | 200 | Technology 1 |  |  |  | 210 | 2000 | 42000 |  | 21 | 0.05671
35 | Kompong Cham | 12 | 180 | Technology 1 |  |  |  | 240 | 2160 | 43200 |  | 20 | 0.05401
36 | Kompong Cham | 13 | 210 | Technology 1 |  | 30 | 30 | 210 | 2730 | 44100 |  | 16.1538 | 0.043623
37 | Kompong Cham | 15 | 240 | Technology 1 |  |  |  | 270 | 3600 | 64800 |  | 18 | 0.048609
38 | Kompong Cham | 18 | 200 | Technology 1 | 900 | 250 |  | 270 | 3600 | 54000 | 180 | 15 | 0.040507
39 | Kraties | 1 | 90 | Technology 1 |  |  |  | 20 | 90 | 1800 |  | 20 | 0.05401
40 | Kraties | 2 | 200 | Technology 1 |  |  |  | 50 | 400 | 10000 |  | 25 | 0.067512
41 | Kraties | 16 | 320 | Technology 1 |  |  |  | 350 | 5120 | 112000 |  | 21.875 | 0.059073
42 | Prey Veng | 1 | 100 | Technology 1 |  |  |  | 20 | 100 | 2000 |  | 20 | 0.05401
43 | Pursat | 1 | 100 | Technology 1 |  |  |  | 20 | 100 | 2000 |  | 20 | 0.05401
44 | Pursat | 15 | 210 | Technology 1 |  |  |  | 180 | 3150 | 37800 |  | 12 | 0.032406
45 | Pursat | 20 | 240 | Technology 2 | 900 |  |  | 0 | 4800 | 0 | 216 |  | 0.036
46 | Pursat | 20 | 240 | Technology 1 |  |  |  | 210 | 4800 | 50400 |  | 10.5 | 0.028355
47 | Pursat | 25 | 210 | Technology 1 |  |  |  | 250 | 5250 | 52500 |  | 10 | 0.027005
48 | Pursat | 27 | 198 | Technology 1 |  |  |  | 550 | 5346 | 108900 |  | 20.3704 | 0.05501
49 | Siem Reap | 3.6 | 100 | Technology 1 |  | 90 |  | 120 | 360 | 12000 |  | 33.3333 | 0.090016
50 | Siem Reap | 3.6 | 150 | Technology 1 |  |  | 37 | 45 | 540 | 6750 |  | 12.5 | 0.033756
51 | Siem Reap | 6.4 | 150 | Technology 1 |  |  | 37 | 80 | 960 | 12000 |  | 12.5 | 0.033756
52 | Siem Reap | 7.2 | 150 | Technology 1 |  | 265 |  | 90 | 1080 | 13500 |  | 12.5 | 0.033756
53 | Siem Reap | 5.4 | 200 | Technology 1 |  | 150 |  | 60 | 1080 | 12000 |  | 11.1111 | 0.030005
54 | Siem Reap | 6.4 | 200 | Technology 1 |  | 225 |  | 70 | 1280 | 14000 |  | 10.9375 | 0.029537
55 | Siem Reap | 18 | 75 | Technology 1 | 50 | 300 | 50 | 220 | 1350 | 16500 | 3.75 | 12.2222 | 0.033006
56 | Siem Reap | 8 | 200 | Technology 1 |  | 90.72 |  | 90 | 1600 | 18000 |  | 11.25 | 0.03038
57 | Siem Reap | 9.6 | 200 | Technology 1 |  | 225 |  | 200 | 1920 | 40000 |  | 20.8333 | 0.05626
58 | Siem Reap | 10 | 200 | Technology 1 |  | 264.6 |  | 120 | 2000 | 24000 |  | 12 | 0.032406
59 | Siem Reap | 10 | 200 | Technology 1 |  | 265 |  | 130 | 2000 | 26000 |  | 13 | 0.035106
60 | Svay Reang | 1 | 100 | Technology 1 |  |  |  | 20 | 100 | 2000 |  | 20 | 0.05401
61 | Svay Reang | 1 | 100 | Technology 1 |  |  |  | 20 | 100 | 2000 |  | 20 | 0.05401
62 | Svay Reang | 1 | 100 | Technology 1 |  |  |  | 20 | 100 | 2000 |  | 20 | 0.05401
63 | Takeo | 1 | 100 | Technology 1 |  |  |  | 20 | 100 | 2000 |  | 20 | 0.05401
Density of diesel |  | 0.8439 | kg/L
CO2 emission factor of diesel |  | 3.2 | kg-CO2per kg of diesel
Emission Factor of rural electricity entrepreneur |  | 0.8 | t/MWh
Table 7.2 Summery of sampling survay 2
| Number of rice miller | Annual milled rice total | % of annual milled rice | Diesel consumption per production (l/t) | Carbon intensity per production (t-CO2/t-rice)
Technology 1 0.0542t-CO2/t-rice | 61 | 87006 | 90.81% | 20.0578 | 0.054166
Technology 2 0.0360t-CO2/t-rice | 1 | 4800 | 5.01% |  | 0.036
Technology 3 0.0162t-CO2/t-rice | 1 | 4000 | 4.175% | 6 | 0.016203
Technology 4 0t-CO2/t-rice | 0 | 0 | 0% |  | 0
Total/Average | 63 | 95806 | 100% | 19.831 | 0.052703

## Gasification
Table 8 List of rice millers installing gasification system
| Location of rice miller | Qt. of milled rice production/day (t) | Annual operating days | Qt. of electricity consumption/day (kWh) | Capacity of engine(kW) | Capacity of dynamo (kW) | Capacity of Gasifier (kW) | Qt. of diesel consumption/day(l) | Qt. of rice husk consumption/day(t) | Qt. of diesel consumption/day before installing gasifier(l) | Annnual milled rice production (t) | Annual diesel consumptions(l) | Diesel consumption per production (l/t) | Annual deisel consumptions before installing gasifier(l) | Diesel consumption per production before installing gasifier (l/t) | Deisel replacement rate
1 | Siem Reap | 8 | 200 |  | 265 |  |  | 120 | 1.6 | 240 | 1600 | 24000 | 15 | 48000 | 30 | 50%
2 | Siem Reap | 60 | 200 | 700 | 900 | 700 |  | 200 | 4.5 | 700 | 12000 | 40000 | 3.3333 | 140000 | 11.6667 | 71.43%
3 | Siem Reap | 24 | 250 |  | 340 | 120 |  | 80 | 2.5 | 250 | 6000 | 20000 | 3.3333 | 62500 | 10.4167 | 68%
4 | Banteay Meanchey | 17 | 250 | 75 | 300 | 75 | 200 | 150 | 2 | 300 | 4250 | 37500 | 8.8235 | 75000 | 17.6471 | 50%
5 | Banteay Meanchey | 15 | 250 | 70 | 225 | 70 | 150 | 200 | 2.5 | 550 | 3750 | 50000 | 13.3333 | 137500 | 36.6667 | 63.64%
6 | Banteay Meanchey | 8 | 250 |  | 225 | 150 | 200 | 70 | 2.5 | 220 | 2000 | 17500 | 8.75 | 55000 | 27.5 | 68.18%
7 | Banteay Meanchey | 16 | 200 | 50 | 340 | 50 | 200 | 56 | 2.5 | 215 | 3200 | 11200 | 3.5 | 43000 | 13.4375 | 73.95%
8 | Battambang | 27 | 198 | 500 | 900 | 500 | 600 | 250 | 5.5 | 550 | 5346 | 49500 | 9.2593 | 108900 | 20.3704 | 54.55%
9 | Battambang | 15 | 200 | 100 | 340 |  | 200 | 150 | 2.5 | 450 | 3000 | 30000 | 10 | 90000 | 30 | 66.67%
10 | Battambang | 33 | 200 | 3000 | 700 |  |  | 150 | 6 | 500 | 6600 | 30000 | 4.5455 | 100000 | 15.1515 | 70%
11 | Battambang | 30 | 200 | 600 | 700 |  | 250 | 240 | 7.5 | 600 | 6000 | 48000 | 8 | 120000 | 20 | 60%
12 | Banteay Meanchey | 20 | 200 |  | 340 |  |  | 120 | 3 | 360 | 4000 | 24000 | 6 | 72000 | 18 | 66.67%
13 | Battambang | 15 | 200 | 100 | 225 |  |  | 90 | 1 | 380 | 3000 | 18000 | 6 | 76000 | 25.3333 | 76.32%
14 | Kompong Cham | 36 | 300 |  |  |  |  | 180 | 10 | 600 | 10800 | 54000 | 5 | 180000 | 16.6667 | 70%
15 | Kompong Cham | 15 | 270 |  |  |  |  | 150 | 2.5 | 350 | 4050 | 40500 | 10 | 94500 | 23.3333 | 57.14%
16 | Kompong Cham | 60 | 200 | 700 | 900 | 700 |  | 200 | 4.5 | 700 | 12000 | 40000 | 3.3333 | 140000 | 11.6667 | 71.43%
17 | Kandal | 27 | 198 | 500 | 900 | 500 |  | 250 | 5.5 | 550 | 5346 | 49500 | 9.2593 | 108900 | 20.3704 | 54.55%
18 | Kandal | 30 | 200 | 600 | 700 |  |  | 240 | 7.5 | 600 | 6000 | 48000 | 8 | 120000 | 20 | 60%
19 | Kandal | 30 | 300 |  |  |  |  | 210 | 5 | 550 | 9000 | 63000 | 7 | 165000 | 18.3333 | 61.82%
20 | Kandal | 18 | 300 |  |  |  | 250 | 90 | 2.6 | 390 | 5400 | 27000 | 5 | 117000 | 21.6667 | 76.92%
21 | Kampong Speu | 80 | 300 | 1400 |  |  |  | 600 | 10 | 1500 | 24000 | 180000 | 7.5 | 450000 | 18.75 | 60%
22 | Pursat | 30 | 200 | 600 | 700 |  | 200 | 240 | 7.5 | 600 | 6000 | 48000 | 8 | 120000 | 20 | 60%
23 | Kandal | 25-30 | 325 |  | 300+400 |  | 200+250 | 204 | 1.6875 | 708 | 8937.5 | 66300 | 7.4182 | 230100 | 25.7455 | 71.19%
24 | Kandal | 12 | 250 |  | 150 | 150 |  | 60 | 2 | 300 | 3000 | 15000 | 5 | 75000 | 25 | 80%
25 | Kompong Cham | 19.2 | 250 |  | 500+250+75+100 | 150 |  | 100 |  | 288 | 4800 | 25000 | 5.2083 | 72000 | 15 | 65.28%
| Average | [11 empty] | 7.2239 |  | 20.5089 | 65.11%
Interview with rice millers of a client of SME renewable or members of rice miller associations in 2012